## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-08-20 | ug/L | 1.0101 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.99747 | 0.017856 | 0.99747 | 0.025253 | 0.018719
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-10-20 | ug/L | 0.98485 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98485 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.99747 | 0.017856 | 0.99747 | 0.025253 | 0.018719
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-12-03 | ug/L | 0.91418 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91418 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.91418 |  | 0.91418 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-10-01 | ug/L | 1.0149 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.1212 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0149 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90347 | 0.15752 | 0.90347 | 0.22277 | 0.16514
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-11-17 | ug/L | 0.79208 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0606 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79208 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90347 | 0.15752 | 0.90347 | 0.22277 | 0.16514
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-08-06 | ug/L | 0.86606 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.2725 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86606 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.86606 |  | 0.86606 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-10-22 | ug/L | 0.72222 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.77778 | 0.078567 | 0.77778 | 0.11111 | 0.082366
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-23 | ug/L | 0.83333 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.77778 | 0.078567 | 0.77778 | 0.11111 | 0.082366
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-05-30 | ug/L | 0.80333 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80333 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80333 |  | 0.80333 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-09-17 | ug/L | 0.9596 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89331 | 0.093745 | 0.89331 | 0.13258 | 0.098277
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-02-26 | ug/L | 0.82702 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1584 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82702 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89331 | 0.093745 | 0.89331 | 0.13258 | 0.098277
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-16 | ug/L | 0.83955 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83955 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.83955 |  | 0.83955 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-12-04 | ug/L | 1 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.92727 | 0.10285 | 0.92727 | 0.14545 | 0.10782
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-23 | ug/L | 0.85455 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85455 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.92727 | 0.10285 | 0.92727 | 0.14545 | 0.10782
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-10-16 | ug/L | 1.0974 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.2424 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0974 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0974 |  | 1.0974 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-13 | ug/L | 0.81531 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1202 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81531 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81531 |  | 0.81531 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-12-15 | ug/L | 0.80541 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.9759 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80541 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-04-14 | ug/L | 0.94896 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.39306 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94896 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-07-07 | ug/L | 0.72959 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72959 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-17 | ug/L | 0.92475 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92474 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-11-22 | ug/L | 0.92347 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92347 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-01-16 | ug/L | 0.86735 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86735 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-06 | ug/L | 0.94898 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.98 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94898 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-07 | ug/L | 0.90816 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90816 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-04-10 | ug/L | 0.87143 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.98 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.854 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87143 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-27 | ug/L | 1.0077 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0077 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-17 | ug/L | 0.80808 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86806 | 0.084817 | 0.86806 | 0.11995 | 0.088917
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-12-04 | ug/L | 0.92803 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1584 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92803 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86806 | 0.084817 | 0.86806 | 0.11995 | 0.088917
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-08-21 | ug/L | 0.90909 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0038 | 0.083515 | 1.0354 | 0.15783 | 0.117
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-09-23 | ug/L | 1.0669 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.1584 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0669 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0038 | 0.083515 | 1.0354 | 0.15783 | 0.117
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-04-22 | ug/L | 1.0354 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0038 | 0.083515 | 1.0354 | 0.15783 | 0.117
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-09-30 | ug/L | 0.9571 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1212 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9571 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90759 | 0.070011 | 0.90759 | 0.09901 | 0.073395
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-12 | ug/L | 0.85809 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2424 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85809 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90759 | 0.070011 | 0.90759 | 0.09901 | 0.073395
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-09-26 | ug/L | 0.96364 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96364 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.96364 |  | 0.96364 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-06-12 | ug/L | 0.81481 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.135 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82407 | 0.013095 | 0.82407 | 0.018519 | 0.013728
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-02-05 | ug/L | 0.83333 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82407 | 0.013095 | 0.82407 | 0.018519 | 0.013728
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-12 | ug/L | 0.78833 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78833 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78833 |  | 0.78833 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-05-29 | ug/L | 0.86 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.86 |  | 0.86 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-20 | ug/L | 0.81667 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-09-18 | ug/L | 0.87333 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87333 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87333 |  | 0.87333 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-07-15 | ug/L | 0.60288 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60288 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66026 | 0.081152 | 0.66026 | 0.11477 | 0.085075
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-20 | ug/L | 0.71765 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71765 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66026 | 0.081152 | 0.66026 | 0.11477 | 0.085075
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-05-19 | ug/L | 0.90841 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90841 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94327 | 0.049295 | 0.94327 | 0.069713 | 0.051678
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-10-18 | ug/L | 0.97813 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97813 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94327 | 0.049295 | 0.94327 | 0.069713 | 0.051678
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-07-20 | ug/L | 0.66942 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.82011 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66942 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76992 | 0.090323 | 0.79602 | 0.1749 | 0.12965
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-20 | ug/L | 0.84432 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.20964 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84432 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76992 | 0.090323 | 0.79602 | 0.1749 | 0.12965
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-20 | ug/L | 0.79602 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.40828 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79602 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76992 | 0.090323 | 0.79602 | 0.1749 | 0.12965
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-31 | ug/L | 0.98 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86333 | 0.16499 | 0.86333 | 0.23333 | 0.17297
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-03-27 | ug/L | 0.74667 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74667 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86333 | 0.16499 | 0.86333 | 0.23333 | 0.17297
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-19 | ug/L | 0.78417 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1.2 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.941 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78417 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75875 | 0.035945 | 0.75875 | 0.050833 | 0.037682
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-02-07 | ug/L | 0.73333 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75875 | 0.035945 | 0.75875 | 0.050833 | 0.037682
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-08-01 | ug/L | 0.85091 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.275 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85091 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74364 | 0.15171 | 0.74364 | 0.21455 | 0.15904
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-22 | ug/L | 0.63636 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63636 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74364 | 0.15171 | 0.74364 | 0.21455 | 0.15904
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-11-14 | ug/L | 0.88889 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88889 |  | 0.88889 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-05-22 | ug/L | 0.69652 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69652 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.69652 |  | 0.69652 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-09 | ug/L | 0.73383 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73383 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86443 | 0.18469 | 0.86443 | 0.26119 | 0.19362
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-04-21 | ug/L | 0.99502 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99502 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86443 | 0.18469 | 0.86443 | 0.26119 | 0.19362
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-24 | ug/L | 0.73383 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73383 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73383 |  | 0.73383 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-06-04 | ug/L | 0.6592 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6592 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74005 | 0.11433 | 0.74005 | 0.16169 | 0.11986
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-10-21 | ug/L | 0.8209 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8209 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74005 | 0.11433 | 0.74005 | 0.16169 | 0.11986
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-11-05 | ug/L | 0.79451 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2404 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79451 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79451 |  | 0.79451 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-07-09 | ug/L | 0.99834 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.0601 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99834 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.99834 |  | 0.99834 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-09-29 | ug/L | 0.99834 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.0601 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99834 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90682 | 0.12942 | 0.90682 | 0.18303 | 0.13568
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-14 | ug/L | 0.81531 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1202 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81531 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90682 | 0.12942 | 0.90682 | 0.18303 | 0.13568
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-02-03 | ug/L | 0.61685 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.39394 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61685 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-04-26 | ug/L | 0.9218 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.39488 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9218 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-06-29 | ug/L | 0.82937 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.5675 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82937 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-07 | ug/L | 0.77215 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.58 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77215 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-10-04 | ug/L | 0.76709 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76709 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-11-22 | ug/L | 0.79089 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.9875 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79089 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-01 | ug/L | 0.8962 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8962 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-26 | ug/L | 0.8481 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-05-13 | ug/L | 0.6715 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.42294 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6715 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73907 | 0.09556 | 0.73907 | 0.13514 | 0.10018
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-18 | ug/L | 0.80664 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87276 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80664 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73907 | 0.09556 | 0.73907 | 0.13514 | 0.10018