## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-08-20 | ug/L | 0.88384 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOQUINOLINE | . | 0.8 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.88384 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.75758 | 0.17856 | 0.75758 | 0.25253 | 0.18719
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-10-20 | ug/L | 0.63131 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOQUINOLINE | . | 0.8 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.75758 | 0.17856 | 0.75758 | 0.25253 | 0.18719
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-12-03 | ug/L | 0.62189 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ISOQUINOLINE | . | 0.8 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62189 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 1 | 0.62189 |  | 0.62189 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-09-29 | ug/L | 0.99486 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 1.2062 | ISOQUINOLINE | . | 0.8 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99486 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8705 | 0.17587 | 0.8705 | 0.24871 | 0.18437
ISOQUINOLINE | 4433 | 62826GCM99 | 2016-01-26 | ug/L | 0.74614 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 2.4124 | ISOQUINOLINE | . | 0.8 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74614 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8705 | 0.17587 | 0.8705 | 0.24871 | 0.18437
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-10-02 | ug/L | 0.74614 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 1.2062 | ISOQUINOLINE | . | 0.8 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74614 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74614 |  | 0.74614 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-05-30 | ug/L | 0.916 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.916 |  | 0.916 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-09-17 | ug/L | 0.63131 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOQUINOLINE | . | 0.8 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.63131 | 0 | 0.63131 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-02-26 | ug/L | 0.63131 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1584 | ISOQUINOLINE | . | 0.8 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.63131 | 0 | 0.63131 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-07-16 | ug/L | 0.62189 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ISOQUINOLINE | . | 0.8 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62189 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 1 | 0.62189 |  | 0.62189 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-12-15 | ug/L | 0.84092 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.2249 | ISOQUINOLINE | . | 0.04 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84092 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-04-14 | ug/L | 0.87568 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.49333 | ISOQUINOLINE | . | 0.04 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87568 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-07-07 | ug/L | 0.69512 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.492 | ISOQUINOLINE | . | 0.04 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69512 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-08-17 | ug/L | 0.95528 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.968 | ISOQUINOLINE | . | 0.04 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95528 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-11-22 | ug/L | 0.80894 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.492 | ISOQUINOLINE | . | 0.04 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80894 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-01-16 | ug/L | 0.63008 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.968 | ISOQUINOLINE | E | 0.04 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63008 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-03-06 | ug/L | 0.82927 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.23 | ISOQUINOLINE | . | 0.04 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82927 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-03-07 | ug/L | 0.85366 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.492 | ISOQUINOLINE | . | 0.04 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85366 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-04-10 | ug/L | 1.0325 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.23 | ISOQUINOLINE | . | 0.04 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-07-27 | ug/L | 0.9248 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.968 | ISOQUINOLINE | . | 0.04 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9248 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-07-17 | ug/L | 0.50505 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0792 | ISOQUINOLINE | . | 0.8 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.50505 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.56818 | 0.089281 | 0.56818 | 0.12626 | 0.093597
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-12-04 | ug/L | 0.63131 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1584 | ISOQUINOLINE | . | 0.8 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.56818 | 0.089281 | 0.56818 | 0.12626 | 0.093597
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-08-21 | ug/L | 0.63131 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0792 | ISOQUINOLINE | . | 0.8 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.71549 | 0.1458 | 0.63131 | 0.25253 | 0.18719
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-09-23 | ug/L | 0.63131 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.1584 | ISOQUINOLINE | . | 0.8 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.71549 | 0.1458 | 0.63131 | 0.25253 | 0.18719
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-04-22 | ug/L | 0.88384 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0792 | ISOQUINOLINE | . | 0.8 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.88384 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.71549 | 0.1458 | 0.63131 | 0.25253 | 0.18719
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-09-30 | ug/L | 0.95341 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 2.4124 | ISOQUINOLINE | . | 0.8 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95341 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83941 | 0.16121 | 0.83941 | 0.22799 | 0.16901
ISOQUINOLINE | 4433 | 62826GCM99 | 2016-01-12 | ug/L | 0.72542 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 4.8248 | ISOQUINOLINE | . | 0.8 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72542 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83941 | 0.16121 | 0.83941 | 0.22799 | 0.16901
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-10-15 | ug/L | 0.83333 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 1.2 | ISOQUINOLINE | . | 0.8 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83333 |  | 0.83333 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-09-26 | ug/L | 1.0806 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.062 | ISOQUINOLINE | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0806 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0806 |  | 1.0806 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-06-12 | ug/L | 0.8 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.155 | ISOQUINOLINE | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72258 | 0.10949 | 0.72258 | 0.15484 | 0.11478
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-02-05 | ug/L | 0.64516 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.062 | ISOQUINOLINE | . | 0.8 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.64516 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.72258 | 0.10949 | 0.72258 | 0.15484 | 0.11478
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-11-14 | ug/L | 1 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.062 | ISOQUINOLINE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82258 | 0.25091 | 0.82258 | 0.35484 | 0.26304
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-04-23 | ug/L | 0.64516 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.062 | ISOQUINOLINE | . | 0.8 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.64516 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.82258 | 0.25091 | 0.82258 | 0.35484 | 0.26304
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-06-14 | ug/L | 0.64516 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.155 | ISOQUINOLINE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64516 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64516 |  | 0.64516 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-12-12 | ug/L | 0.576 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.576 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.576 |  | 0.576 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-05-29 | ug/L | 0.736 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.736 |  | 0.736 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-12-20 | ug/L | 0.646 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.646 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.646 |  | 0.646 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-09-18 | ug/L | 0.824 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.824 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.824 |  | 0.824 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-07-15 | ug/L | 0.25539 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOQUINOLINE | E | 0.2 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25539 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46191 | 0.29207 | 0.46191 | 0.41305 | 0.30619
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-20 | ug/L | 0.66844 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOQUINOLINE | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66844 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46191 | 0.29207 | 0.46191 | 0.41305 | 0.30619
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-07-20 | ug/L | 0.23575 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.6331 | ISOQUINOLINE | E | 0.2 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23575 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.60601 | 0.32566 | 0.73429 | 0.61225 | 0.45385
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-20 | ug/L | 0.84799 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.41746 | ISOQUINOLINE | . | 0.2 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84799 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60601 | 0.32566 | 0.73429 | 0.61225 | 0.45385
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-20 | ug/L | 0.73429 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.81303 | ISOQUINOLINE | . | 0.2 | 0.597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73429 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60601 | 0.32566 | 0.73429 | 0.61225 | 0.45385
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-07-22 | ug/L | 0.875 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 2.4 | ISOQUINOLINE | E | 0.8 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.875 |  | 0.875 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-11-17 | ug/L | 0.75 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 1.2 | ISOQUINOLINE | . | 0.8 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75 |  | 0.75 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-07-31 | ug/L | 0.908 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.798 | 0.15556 | 0.798 | 0.22 | 0.16308
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-03-27 | ug/L | 0.688 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.688 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.798 | 0.15556 | 0.798 | 0.22 | 0.16308
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-12-19 | ug/L | 0.543 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | ISOQUINOLINE | . | 0.04 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.543 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6395 | 0.13647 | 0.6395 | 0.193 | 0.14307
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-02-07 | ug/L | 0.736 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6395 | 0.13647 | 0.6395 | 0.193 | 0.14307
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-05-22 | ug/L | 0.49751 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0804 | ISOQUINOLINE | . | 0.8 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.49751 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 1 | 0.49751 |  | 0.49751 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-07-09 | ug/L | 0.62189 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0804 | ISOQUINOLINE | . | 0.8 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62189 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.62189 | 0 | 0.62189 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-04-21 | ug/L | 0.62189 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0804 | ISOQUINOLINE | . | 0.8 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62189 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.62189 | 0 | 0.62189 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-04-24 | ug/L | 0.62189 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0804 | ISOQUINOLINE | E | 0.8 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62189 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.62189 |  | 0.62189 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-06-04 | ug/L | 0.49751 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | ISOQUINOLINE | E | 0.8 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.49751 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.5597 | 0.087949 | 0.5597 | 0.12438 | 0.0922
ISOQUINOLINE | 4433 | 62826GCM99 | 2014-10-21 | ug/L | 0.62189 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | ISOQUINOLINE | . | 0.8 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62189 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 0.5597 | 0.087949 | 0.5597 | 0.12438 | 0.0922
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-11-05 | ug/L | 0.8705 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 4.8248 | ISOQUINOLINE | E | 0.8 | 4.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8705 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.8705 |  | 0.8705 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2015-09-29 | ug/L | 0.91667 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 1.2 | ISOQUINOLINE | . | 0.8 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77083 | 0.20624 | 0.77083 | 0.29167 | 0.21621
ISOQUINOLINE | 4433 | 62826GCM99 | 2016-01-14 | ug/L | 0.625 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 2.4 | ISOQUINOLINE | . | 0.8 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.625 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77083 | 0.20624 | 0.77083 | 0.29167 | 0.21621
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-02-03 | ug/L | 0.78145 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.50803 | ISOQUINOLINE | . | 0.04 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78145 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-04-26 | ug/L | 0.91311 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.50925 | ISOQUINOLINE | . | 0.04 | 0.465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91311 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-06-29 | ug/L | 0.90035 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.0214 | ISOQUINOLINE | . | 0.04 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90035 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-08-07 | ug/L | 0.8245 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.0376 | ISOQUINOLINE | . | 0.04 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8245 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-10-04 | ug/L | 0.86769 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5094 | ISOQUINOLINE | . | 0.04 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86769 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-11-22 | ug/L | 0.60777 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.2735 | ISOQUINOLINE | . | 0.04 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60777 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-03-01 | ug/L | 0.70082 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5094 | ISOQUINOLINE | . | 0.04 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70082 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-07-26 | ug/L | 1.1288 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5094 | ISOQUINOLINE | . | 0.04 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1288 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-05-13 | ug/L | 0.3932 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.84181 | ISOQUINOLINE | . | 0.2 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3932 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.54488 | 0.2145 | 0.54488 | 0.30335 | 0.22487
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-18 | ug/L | 0.69655 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.7371 | ISOQUINOLINE | E | 0.2 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69655 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54488 | 0.2145 | 0.54488 | 0.30335 | 0.22487