## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MENTHOL | 4433 | 62827GCM99 | 2014-08-20 | ug/L | 0.97313 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.6402 | MENTHOL | . | 0.32 | 0.623 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97313 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2621 | 0.40867 | 1.2621 | 0.57794 | 0.42842
MENTHOL | 4433 | 62827GCM99 | 2014-10-20 | ug/L | 1.5511 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.6402 | MENTHOL | . | 0.32 | 0.993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5511 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2621 | 0.40867 | 1.2621 | 0.57794 | 0.42842
MENTHOL | 4433 | 62827GCM99 | 2014-12-03 | ug/L | 1.0778 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 1.2804 | MENTHOL | . | 0.32 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0778 |  | 1.0778 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2015-10-01 | ug/L | 0.8954 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.956 | MENTHOL | . | 0.32 | 0.856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8954 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97699 | 0.11539 | 0.97699 | 0.16318 | 0.12096
MENTHOL | 4433 | 62827GCM99 | 2015-11-17 | ug/L | 1.0586 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.478 | MENTHOL | . | 0.32 | 0.506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0586 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97699 | 0.11539 | 0.97699 | 0.16318 | 0.12096
MENTHOL | 4433 | 62827GCM99 | 2015-05-08 | ug/L | 1.3506 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.482 | MENTHOL | . | 0.32 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3506 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3506 |  | 1.3506 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-10-22 | ug/L | 0.84611 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.7304 | MENTHOL | . | 0.32 | 0.618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84611 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8687 | 0.031948 | 0.8687 | 0.045181 | 0.033492
MENTHOL | 4433 | 62827GCM99 | 2014-04-23 | ug/L | 0.89129 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.7304 | MENTHOL | . | 0.32 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89129 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8687 | 0.031948 | 0.8687 | 0.045181 | 0.033492
MENTHOL | 4433 | 62827GCM99 | 2014-06-05 | ug/L | 0.94658 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.6402 | MENTHOL | . | 0.32 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94658 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0549 | 0.10159 | 1.07 | 0.2015 | 0.14937
MENTHOL | 4433 | 62827GCM99 | 2014-09-23 | ug/L | 1.07 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 1.2804 | MENTHOL | . | 0.32 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0549 | 0.10159 | 1.07 | 0.2015 | 0.14937
MENTHOL | 4433 | 62827GCM99 | 2015-05-07 | ug/L | 1.1481 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.6402 | MENTHOL | . | 0.32 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1481 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0549 | 0.10159 | 1.07 | 0.2015 | 0.14937
MENTHOL | 4433 | 62827GCM99 | 2014-08-20 | ug/L | 1.0368 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 1.2732 | MENTHOL | . | 0.32 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0368 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0313 | 0.0077753 | 1.0313 | 0.010996 | 0.0081512
MENTHOL | 4433 | 62827GCM99 | 2015-04-20 | ug/L | 1.0258 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.6366 | MENTHOL | . | 0.32 | 0.653 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0258 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0313 | 0.0077753 | 1.0313 | 0.010996 | 0.0081512
MENTHOL | 4433 | 62827GCM99 | 2013-02-06 | ug/L | 0.4555 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2 | MENTHOL | E | 0.32 | 0.911 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4555 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4555 |  | 0.4555 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2014-09-17 | ug/L | 1.098 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.6366 | MENTHOL | . | 0.32 | 0.699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.098 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97314 | 0.17661 | 0.97314 | 0.24976 | 0.18515
MENTHOL | 4433 | 62827GCM99 | 2015-02-26 | ug/L | 0.84826 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 1.2732 | MENTHOL | . | 0.32 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84826 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97314 | 0.17661 | 0.97314 | 0.24976 | 0.18515
MENTHOL | 4433 | 62827GCM99 | 2014-07-16 | ug/L | 0.91894 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 1.2732 | MENTHOL | . | 0.32 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91894 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91894 |  | 0.91894 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-12-04 | ug/L | 1.0565 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.726 | MENTHOL | . | 0.32 | 0.767 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0565 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9759 | 0.11396 | 0.9759 | 0.16116 | 0.11946
MENTHOL | 4433 | 62827GCM99 | 2014-04-23 | ug/L | 0.89532 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.726 | MENTHOL | . | 0.32 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89532 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9759 | 0.11396 | 0.9759 | 0.16116 | 0.11946
MENTHOL | 4433 | 62827GCM99 | 2013-08-15 | ug/L | 0.61796 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 7.282 | MENTHOL | E | 0.32 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61796 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61796 |  | 0.61796 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2015-10-16 | ug/L | 0.97803 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 1.912 | MENTHOL | . | 0.32 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97803 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97803 |  | 0.97803 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2016-01-13 | ug/L | 1.0581 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.964 | MENTHOL | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0581 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0581 |  | 1.0581 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2012-08-24 | ug/L | 0.964 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.964 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.055 | 0.12869 | 1.055 | 0.182 | 0.13491
MENTHOL | 4433 | 62827GCM99 | 2012-12-18 | ug/L | 1.146 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.146 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.055 | 0.12869 | 1.055 | 0.182 | 0.13491
MENTHOL | 4433 | 62827GCM99 | 2012-07-29 | ug/L | 1.12 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 1 | MENTHOL | . | 0.32 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.12 |  | 1.12 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2010-12-15 | ug/L | 1.0657 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.61741 | MENTHOL | . | 0.32 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0657 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-04-14 | ug/L | 1.0616 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.24867 | MENTHOL | . | 0.32 | 0.264 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0616 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-07-07 | ug/L | 0.77823 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.248 | MENTHOL | . | 0.32 | 0.193 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77823 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-08-17 | ug/L | 1.0282 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.992 | MENTHOL | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0282 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-11-22 | ug/L | 1.004 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.248 | MENTHOL | . | 0.32 | 0.249 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.004 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-01-16 | ug/L | 0.61996 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.992 | MENTHOL | . | 0.32 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61996 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-03-06 | ug/L | 0.88387 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.62 | MENTHOL | E | 0.32 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88387 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-03-07 | ug/L | 1.004 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.248 | MENTHOL | E | 0.32 | 0.249 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.004 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-04-10 | ug/L | 1.2887 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.62 | MENTHOL | E | 0.32 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2887 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-07-27 | ug/L | 1.002 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.992 | MENTHOL | . | 0.32 | 0.994 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2015-09-30 | ug/L | 0.98536 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.956 | MENTHOL | . | 0.32 | 0.942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98536 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.966 | 0.027367 | 0.966 | 0.038703 | 0.02869
MENTHOL | 4433 | 62827GCM99 | 2016-01-12 | ug/L | 0.94665 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 1.912 | MENTHOL | . | 0.32 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94665 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.966 | 0.027367 | 0.966 | 0.038703 | 0.02869
MENTHOL | 4433 | 62827GCM99 | 2015-10-15 | ug/L | 0.91841 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.478 | MENTHOL | . | 0.32 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91841 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91841 |  | 0.91841 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-11-14 | ug/L | 0.75069 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.726 | MENTHOL | . | 0.32 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75069 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77273 | 0.031167 | 0.77273 | 0.044077 | 0.032674
MENTHOL | 4433 | 62827GCM99 | 2014-04-23 | ug/L | 0.79477 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.726 | MENTHOL | . | 0.32 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79477 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77273 | 0.031167 | 0.77273 | 0.044077 | 0.032674
MENTHOL | 4433 | 62827GCM99 | 2013-06-14 | ug/L | 1.1446 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.826 | MENTHOL | . | 0.32 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1446 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1446 |  | 1.1446 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-05-29 | ug/L | 1.268 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.268 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.268 |  | 1.268 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2012-09-18 | ug/L | 1.09 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.09 |  | 1.09 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2010-07-15 | ug/L | 0.64893 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | MENTHOL | . | 0.2 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64893 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74993 | 0.14283 | 0.74993 | 0.20199 | 0.14973
MENTHOL | 4433 | 62827GCM99 | 2010-08-20 | ug/L | 0.85092 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | MENTHOL | . | 0.2 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85092 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74993 | 0.14283 | 0.74993 | 0.20199 | 0.14973
MENTHOL | 4433 | 62827GCM99 | 2011-05-19 | ug/L | 0.96798 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | MENTHOL | . | 0.32 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96798 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87657 | 0.12928 | 0.87657 | 0.18282 | 0.13553
MENTHOL | 4433 | 62827GCM99 | 2011-10-18 | ug/L | 0.78516 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | MENTHOL | . | 0.32 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78516 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87657 | 0.12928 | 0.87657 | 0.18282 | 0.13553
MENTHOL | 4433 | 62827GCM99 | 2010-07-20 | ug/L | 0.68872 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.8295 | MENTHOL | E | 0.2 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68872 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.79191 | 0.09534 | 0.81029 | 0.18801 | 0.13937
MENTHOL | 4433 | 62827GCM99 | 2010-08-20 | ug/L | 0.87673 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.46765 | MENTHOL | . | 0.2 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87673 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79191 | 0.09534 | 0.81029 | 0.18801 | 0.13937
MENTHOL | 4433 | 62827GCM99 | 2010-08-20 | ug/L | 0.81029 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.91079 | MENTHOL | . | 0.2 | 0.738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81029 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79191 | 0.09534 | 0.81029 | 0.18801 | 0.13937
MENTHOL | 4433 | 62827GCM99 | 2014-07-08 | ug/L | 0.83568 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 1.2804 | MENTHOL | . | 0.32 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83568 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91612 | 0.11376 | 0.91612 | 0.16089 | 0.11926
MENTHOL | 4433 | 62827GCM99 | 2014-09-11 | ug/L | 0.99656 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.6402 | MENTHOL | . | 0.32 | 0.638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99656 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91612 | 0.11376 | 0.91612 | 0.16089 | 0.11926
MENTHOL | 4433 | 62827GCM99 | 2014-11-05 | ug/L | 1.076 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 1.2732 | MENTHOL | . | 0.32 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0069 | 0.097746 | 1.0069 | 0.13823 | 0.10247
MENTHOL | 4433 | 62827GCM99 | 2015-01-27 | ug/L | 0.93779 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.6366 | MENTHOL | . | 0.32 | 0.597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93779 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0069 | 0.097746 | 1.0069 | 0.13823 | 0.10247
MENTHOL | 4433 | 62827GCM99 | 2012-12-19 | ug/L | 0.935 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | MENTHOL | . | 0.32 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9975 | 0.088388 | 0.9975 | 0.125 | 0.092661
MENTHOL | 4433 | 62827GCM99 | 2013-02-07 | ug/L | 1.06 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | MENTHOL | . | 0.32 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9975 | 0.088388 | 0.9975 | 0.125 | 0.092661
MENTHOL | 4433 | 62827GCM99 | 2014-02-05 | ug/L | 0.82094 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1.815 | MENTHOL | . | 0.32 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82094 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82094 |  | 0.82094 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2014-04-24 | ug/L | 0.7845 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.7304 | MENTHOL | . | 0.32 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7845 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7845 |  | 0.7845 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-03-28 | ug/L | 0.845 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | MENTHOL | . | 0.32 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.845 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.845 |  | 0.845 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2014-05-22 | ug/L | 0.82006 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.6402 | MENTHOL | . | 0.32 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82006 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82006 |  | 0.82006 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2014-04-24 | ug/L | 0.68803 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.6366 | MENTHOL | E | 0.32 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68803 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68803 |  | 0.68803 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2015-11-05 | ug/L | 1.0944 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 1.928 | MENTHOL | . | 0.32 | 2.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0944 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0944 |  | 1.0944 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2015-07-09 | ug/L | 1.0228 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.482 | MENTHOL | . | 0.32 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0228 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0228 |  | 1.0228 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2015-09-29 | ug/L | 1.1763 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.482 | MENTHOL | . | 0.32 | 0.567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1763 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1068 | 0.098291 | 1.1068 | 0.139 | 0.10304
MENTHOL | 4433 | 62827GCM99 | 2016-01-14 | ug/L | 1.0373 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.964 | MENTHOL | . | 0.32 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0373 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1068 | 0.098291 | 1.1068 | 0.139 | 0.10304
MENTHOL | 4433 | 62827GCM99 | 2011-02-03 | ug/L | 0.83425 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.25052 | MENTHOL | . | 0.32 | 0.209 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83425 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-04-26 | ug/L | 0.77651 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.25112 | MENTHOL | . | 0.32 | 0.195 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77651 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-06-29 | ug/L | 0.96105 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 0.99683 | MENTHOL | . | 0.32 | 0.958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96105 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-08-07 | ug/L | 0.92655 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.0048 | MENTHOL | . | 0.32 | 0.931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92655 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-10-04 | ug/L | 1.4013 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2512 | MENTHOL | . | 0.32 | 0.352 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4013 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-11-22 | ug/L | 0.91879 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.628 | MENTHOL | . | 0.32 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91879 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2012-03-01 | ug/L | 2.5 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2512 | MENTHOL | E | 0.32 | 0.628 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856 | 2
MENTHOL | 4433 | 62827GCM99 | 2012-07-26 | ug/L | 0.5215 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2512 | MENTHOL | . | 0.32 | 0.131 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.5215 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2012-07-28 | ug/L | 0.866 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.866 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.866 |  | 0.866 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2010-05-13 | ug/L | 0.75678 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.94347 | MENTHOL | . | 0.2 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75678 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78159 | 0.035089 | 0.78159 | 0.049623 | 0.036785
MENTHOL | 4433 | 62827GCM99 | 2010-08-18 | ug/L | 0.8064 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.9469 | MENTHOL | . | 0.2 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8064 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78159 | 0.035089 | 0.78159 | 0.049623 | 0.036785