## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METALAXYL | 4433 | 04254GCM99 | 2014-08-20 | ug/L | 0.92922 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3207 | METALAXYL | . | 0.16 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92922 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0181 | 0.12568 | 1.0181 | 0.17774 | 0.13175
METALAXYL | 4433 | 04254GCM99 | 2014-10-20 | ug/L | 1.107 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3207 | METALAXYL | . | 0.16 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.107 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0181 | 0.12568 | 1.0181 | 0.17774 | 0.13175
METALAXYL | 4433 | 04254GCM99 | 2014-12-03 | ug/L | 1.1085 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.6414 | METALAXYL | . | 0.16 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1085 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1085 |  | 1.1085 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2011-02-17 | ug/L | 0.97436 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.48545 | METALAXYL | . | 0.16 | 0.473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97436 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-04-15 | ug/L | 1.1241 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.192 | METALAXYL | . | 0.16 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1241 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-05-03 | ug/L | 1.0373 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.46852 | METALAXYL | . | 0.16 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0373 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-07-07 | ug/L | 0.88542 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1972 | METALAXYL | . | 0.16 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-08-16 | ug/L | 1.0273 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.477 | METALAXYL | . | 0.16 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0273 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-11-22 | ug/L | 0.95912 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.908 | METALAXYL | . | 0.16 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95912 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-12-08 | ug/L | 0.84277 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.477 | METALAXYL | . | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84277 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2012-03-07 | ug/L | 1.0985 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1925 | METALAXYL | . | 0.16 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0985 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2012-04-10 | ug/L | 1.1635 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.477 | METALAXYL | . | 0.16 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1635 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2012-05-04 | ug/L | 0.98952 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1925 | METALAXYL | . | 0.16 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98952 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2013-08-06 | ug/L | 0.73513 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.3535 | METALAXYL | . | 0.16 | 0.995 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73513 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73513 |  | 0.73513 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-10-22 | ug/L | 0.70318 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5404 | METALAXYL | . | 0.16 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70318 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69393 | 0.013085 | 0.69393 | 0.018505 | 0.013717
METALAXYL | 4433 | 04254GCM99 | 2014-04-23 | ug/L | 0.68468 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5404 | METALAXYL | . | 0.16 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68468 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69393 | 0.013085 | 0.69393 | 0.018505 | 0.013717
METALAXYL | 4433 | 04254GCM99 | 2014-06-05 | ug/L | 0.7889 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3207 | METALAXYL | . | 0.16 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7889 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0404 | 0.23832 | 1.0695 | 0.47396 | 0.35134
METALAXYL | 4433 | 04254GCM99 | 2014-09-23 | ug/L | 1.0695 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.6414 | METALAXYL | . | 0.16 | 0.686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0695 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0404 | 0.23832 | 1.0695 | 0.47396 | 0.35134
METALAXYL | 4433 | 04254GCM99 | 2015-05-07 | ug/L | 1.2629 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3207 | METALAXYL | . | 0.16 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2629 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0404 | 0.23832 | 1.0695 | 0.47396 | 0.35134
METALAXYL | 4433 | 04254GCM99 | 2014-08-20 | ug/L | 1.0248 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.6372 | METALAXYL | . | 0.16 | 0.653 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0248 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92514 | 0.14093 | 0.92514 | 0.19931 | 0.14775
METALAXYL | 4433 | 04254GCM99 | 2015-04-20 | ug/L | 0.82549 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.3186 | METALAXYL | . | 0.16 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82549 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92514 | 0.14093 | 0.92514 | 0.19931 | 0.14775
METALAXYL | 4433 | 04254GCM99 | 2015-09-29 | ug/L | 1.2998 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.2408 | METALAXYL | . | 0.16 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2998 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1306 | 0.23932 | 1.1306 | 0.33846 | 0.25089
METALAXYL | 4433 | 04254GCM99 | 2016-01-26 | ug/L | 0.96138 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.4816 | METALAXYL | . | 0.16 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96138 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1306 | 0.23932 | 1.1306 | 0.33846 | 0.25089
METALAXYL | 4433 | 04254GCM99 | 2015-10-02 | ug/L | 1.2417 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.2408 | METALAXYL | . | 0.16 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2417 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2417 |  | 1.2417 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-02-06 | ug/L | 0.91331 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0256 | METALAXYL | . | 0.16 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91331 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91331 |  | 0.91331 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-05-30 | ug/L | 0.82642 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0128 | METALAXYL | . | 0.16 | 0.837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82642 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82642 |  | 0.82642 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2010-12-15 | ug/L | 0.88185 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4706 | METALAXYL | . | 0.16 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88185 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-02-18 | ug/L | 0.79919 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.46673 | METALAXYL | . | 0.16 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79918 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-06-28 | ug/L | 0.91368 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.8934 | METALAXYL | . | 0.16 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91368 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-08-06 | ug/L | 0.81394 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.1905 | METALAXYL | . | 0.16 | 0.969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81394 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-08-17 | ug/L | 1.0773 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4762 | METALAXYL | . | 0.16 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-02-01 | ug/L | 0.44099 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.1905 | METALAXYL | E | 0.16 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44099 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-03-06 | ug/L | 0.88723 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.9048 | METALAXYL | . | 0.16 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88723 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-03-07 | ug/L | 0.99958 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4762 | METALAXYL | . | 0.16 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99958 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-05-04 | ug/L | 0.99118 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.1905 | METALAXYL | . | 0.16 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99118 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-05-22 | ug/L | 0.79798 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.9048 | METALAXYL | . | 0.16 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79798 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2010-05-19 | ug/L | 1.2656 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.086913 | METALAXYL | E | 0.2 | 0.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2656 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 1.2656 |  | 1.2656 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2014-09-17 | ug/L | 1.0546 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3186 | METALAXYL | . | 0.16 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0546 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9581 | 0.13649 | 0.9581 | 0.19303 | 0.14309
METALAXYL | 4433 | 04254GCM99 | 2015-02-26 | ug/L | 0.86158 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.6372 | METALAXYL | . | 0.16 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86158 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9581 | 0.13649 | 0.9581 | 0.19303 | 0.14309
METALAXYL | 4433 | 04254GCM99 | 2014-07-16 | ug/L | 0.78625 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.6372 | METALAXYL | . | 0.16 | 0.501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78625 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78625 |  | 0.78625 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-12-04 | ug/L | 0.88617 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.5394 | METALAXYL | . | 0.16 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88617 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80923 | 0.10881 | 0.80923 | 0.15387 | 0.11407
METALAXYL | 4433 | 04254GCM99 | 2014-04-23 | ug/L | 0.7323 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.5394 | METALAXYL | . | 0.16 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7323 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80923 | 0.10881 | 0.80923 | 0.15387 | 0.11407
METALAXYL | 4433 | 04254GCM99 | 2013-08-15 | ug/L | 0.61293 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 2.692 | METALAXYL | E | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61293 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61293 |  | 0.61293 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-08-24 | ug/L | 0.878 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METALAXYL | . | 0.16 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.878 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.927 | 0.069296 | 0.927 | 0.098 | 0.072646
METALAXYL | 4433 | 04254GCM99 | 2012-12-18 | ug/L | 0.976 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METALAXYL | . | 0.16 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.976 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.927 | 0.069296 | 0.927 | 0.098 | 0.072646
METALAXYL | 4433 | 04254GCM99 | 2015-09-30 | ug/L | 1.2375 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.4816 | METALAXYL | . | 0.16 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2375 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0979 | 0.19748 | 1.0979 | 0.27928 | 0.20703
METALAXYL | 4433 | 04254GCM99 | 2016-01-12 | ug/L | 0.95826 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.9632 | METALAXYL | . | 0.16 | 0.923 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95826 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0979 | 0.19748 | 1.0979 | 0.27928 | 0.20703
METALAXYL | 4433 | 04254GCM99 | 2015-10-15 | ug/L | 1.0875 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | METALAXYL | . | 0.16 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0875 |  | 1.0875 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-09-26 | ug/L | 1.0059 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2714 | METALAXYL | . | 0.16 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0059 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0059 |  | 1.0059 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-06-12 | ug/L | 0.8237 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.675 | METALAXYL | . | 0.16 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8237 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79889 | 0.035093 | 0.79889 | 0.04963 | 0.03679
METALAXYL | 4433 | 04254GCM99 | 2014-02-05 | ug/L | 0.77407 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.27 | METALAXYL | . | 0.16 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77407 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79889 | 0.035093 | 0.79889 | 0.04963 | 0.03679
METALAXYL | 4433 | 04254GCM99 | 2013-11-14 | ug/L | 0.76119 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.268 | METALAXYL | . | 0.16 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76119 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72948 | 0.044854 | 0.72948 | 0.063433 | 0.047022
METALAXYL | 4433 | 04254GCM99 | 2014-04-23 | ug/L | 0.69776 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.268 | METALAXYL | . | 0.16 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69776 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72948 | 0.044854 | 0.72948 | 0.063433 | 0.047022
METALAXYL | 4433 | 04254GCM99 | 2013-06-14 | ug/L | 0.82988 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.676 | METALAXYL | . | 0.16 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82988 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82988 |  | 0.82988 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-12-12 | ug/L | 0.91133 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0128 | METALAXYL | . | 0.16 | 0.923 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91133 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91133 |  | 0.91133 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-12-20 | ug/L | 0.872 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | METALAXYL | . | 0.16 | 0.872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.872 |  | 0.872 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2010-03-11 | ug/L | 0.55507 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.3459 | METALAXYL | E | 0.2 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55507 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80015 | 0.3466 | 0.80015 | 0.49016 | 0.36335
METALAXYL | 4433 | 04254GCM99 | 2010-07-23 | ug/L | 1.0452 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.17412 | METALAXYL | E | 0.2 | 0.182 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0452 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.80015 | 0.3466 | 0.80015 | 0.49016 | 0.36335
METALAXYL | 4433 | 04254GCM99 | 2010-07-15 | ug/L | 0.75255 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | METALAXYL | . | 0.2 | 0.719 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75255 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85197 | 0.1406 | 0.85197 | 0.19884 | 0.1474
METALAXYL | 4433 | 04254GCM99 | 2010-08-20 | ug/L | 0.95139 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | METALAXYL | . | 0.2 | 0.928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95139 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85197 | 0.1406 | 0.85197 | 0.19884 | 0.1474
METALAXYL | 4433 | 04254GCM99 | 2011-05-19 | ug/L | 1.1417 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | METALAXYL | . | 0.16 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1417 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0513 | 0.12783 | 1.0513 | 0.18078 | 0.13401
METALAXYL | 4433 | 04254GCM99 | 2011-10-18 | ug/L | 0.96094 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | METALAXYL | . | 0.16 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96094 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0513 | 0.12783 | 1.0513 | 0.18078 | 0.13401
METALAXYL | 4433 | 04254GCM99 | 2014-07-08 | ug/L | 0.66729 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.6414 | METALAXYL | . | 0.16 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66729 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82788 | 0.2271 | 0.82788 | 0.32117 | 0.23808
METALAXYL | 4433 | 04254GCM99 | 2014-09-11 | ug/L | 0.98846 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.3207 | METALAXYL | . | 0.16 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98846 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82788 | 0.2271 | 0.82788 | 0.32117 | 0.23808
METALAXYL | 4433 | 04254GCM99 | 2014-11-05 | ug/L | 1.0609 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.6372 | METALAXYL | . | 0.16 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0609 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0609 | 0 | 1.0609 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2015-01-27 | ug/L | 1.0609 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.3186 | METALAXYL | . | 0.16 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0609 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0609 | 0 | 1.0609 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2015-07-22 | ug/L | 1.1417 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | METALAXYL | . | 0.16 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1417 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1417 |  | 1.1417 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2015-11-17 | ug/L | 1.1083 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | METALAXYL | . | 0.16 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1083 |  | 1.1083 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-07-31 | ug/L | 1.013 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5064 | METALAXYL | . | 0.16 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.013 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83926 | 0.24576 | 0.83926 | 0.34755 | 0.25764
METALAXYL | 4433 | 04254GCM99 | 2013-03-27 | ug/L | 0.66548 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5064 | METALAXYL | . | 0.16 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66548 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83926 | 0.24576 | 0.83926 | 0.34755 | 0.25764
METALAXYL | 4433 | 04254GCM99 | 2013-08-01 | ug/L | 0.66765 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.357 | METALAXYL | . | 0.16 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66765 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67465 | 0.0099005 | 0.67465 | 0.014001 | 0.010379
METALAXYL | 4433 | 04254GCM99 | 2014-04-22 | ug/L | 0.68165 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2714 | METALAXYL | . | 0.16 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68165 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67465 | 0.0099005 | 0.67465 | 0.014001 | 0.010379
METALAXYL | 4433 | 04254GCM99 | 2013-11-14 | ug/L | 0.90741 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.27 | METALAXYL | . | 0.16 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90741 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90741 |  | 0.90741 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2014-02-05 | ug/L | 0.88358 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.67 | METALAXYL | . | 0.16 | 0.592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88358 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88358 |  | 0.88358 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2014-04-24 | ug/L | 0.69527 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.2704 | METALAXYL | . | 0.16 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69527 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69527 |  | 0.69527 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-03-28 | ug/L | 0.71 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | METALAXYL | . | 0.16 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71 |  | 0.71 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2014-05-22 | ug/L | 0.71406 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.3207 | METALAXYL | . | 0.16 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71406 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71406 |  | 0.71406 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2014-04-24 | ug/L | 0.59008 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.3186 | METALAXYL | E | 0.16 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59008 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59008 |  | 0.59008 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2015-11-05 | ug/L | 1.1628 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.9632 | METALAXYL | . | 0.16 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1628 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1628 |  | 1.1628 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2015-09-29 | ug/L | 1.2958 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | METALAXYL | . | 0.16 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2958 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1792 | 0.16499 | 1.1792 | 0.23333 | 0.17297
METALAXYL | 4433 | 04254GCM99 | 2016-01-14 | ug/L | 1.0625 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.48 | METALAXYL | . | 0.16 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1792 | 0.16499 | 1.1792 | 0.23333 | 0.17297