## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-08-20 | ug/L | 0.9613 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1602 | METHYL_SALICYLATE | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9613 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0237 | 0.088278 | 1.0237 | 0.12484 | 0.092546
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-10-20 | ug/L | 1.0861 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1602 | METHYL_SALICYLATE | . | 0.08 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0861 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0237 | 0.088278 | 1.0237 | 0.12484 | 0.092546
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-12-03 | ug/L | 1.0581 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.3204 | METHYL_SALICYLATE | . | 0.08 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0581 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0581 |  | 1.0581 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-10-01 | ug/L | 0.87315 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.2428 | METHYL_SALICYLATE | . | 0.08 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87315 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95552 | 0.11649 | 0.95552 | 0.16474 | 0.12212
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-11-17 | ug/L | 1.0379 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.1214 | METHYL_SALICYLATE | . | 0.08 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0379 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95552 | 0.11649 | 0.95552 | 0.16474 | 0.12212
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-05-08 | ug/L | 1.0991 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.1201 | METHYL_SALICYLATE | . | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0991 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0991 |  | 1.0991 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-08-06 | ug/L | 0.75316 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.106 | METHYL_SALICYLATE | . | 0.08 | 0.833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75316 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75316 |  | 0.75316 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-10-22 | ug/L | 0.95045 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.222 | METHYL_SALICYLATE | . | 0.08 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95045 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89414 | 0.079629 | 0.89414 | 0.11261 | 0.083479
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-04-23 | ug/L | 0.83784 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.222 | METHYL_SALICYLATE | . | 0.08 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83784 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89414 | 0.079629 | 0.89414 | 0.11261 | 0.083479
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-06-05 | ug/L | 0.82397 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1602 | METHYL_SALICYLATE | . | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82397 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95818 | 0.12842 | 0.97066 | 0.25593 | 0.18972
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-09-23 | ug/L | 0.97066 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3204 | METHYL_SALICYLATE | . | 0.08 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97066 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95818 | 0.12842 | 0.97066 | 0.25593 | 0.18972
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-05-07 | ug/L | 1.0799 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1602 | METHYL_SALICYLATE | . | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0799 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95818 | 0.12842 | 0.97066 | 0.25593 | 0.18972
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-08-20 | ug/L | 0.96226 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.318 | METHYL_SALICYLATE | . | 0.08 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96226 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89308 | 0.097839 | 0.89308 | 0.13836 | 0.10257
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-04-20 | ug/L | 0.8239 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.159 | METHYL_SALICYLATE | . | 0.08 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8239 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89308 | 0.097839 | 0.89308 | 0.13836 | 0.10257
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-02-06 | ug/L | 0.81586 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0224 | METHYL_SALICYLATE | . | 0.08 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81586 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81586 |  | 0.81586 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-05-30 | ug/L | 0.80004 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0112 | METHYL_SALICYLATE | . | 0.08 | 0.809 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80004 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80004 |  | 0.80004 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-09-17 | ug/L | 0.99371 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.159 | METHYL_SALICYLATE | . | 0.08 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99371 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95755 | 0.051143 | 0.95755 | 0.072327 | 0.053615
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-02-26 | ug/L | 0.92138 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.318 | METHYL_SALICYLATE | . | 0.08 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92138 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95755 | 0.051143 | 0.95755 | 0.072327 | 0.053615
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-07-16 | ug/L | 0.86792 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.318 | METHYL_SALICYLATE | . | 0.08 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86792 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86792 |  | 0.86792 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-12-04 | ug/L | 0.98457 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2204 | METHYL_SALICYLATE | . | 0.08 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98457 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94147 | 0.060957 | 0.94147 | 0.086207 | 0.063904
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-04-23 | ug/L | 0.89837 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2204 | METHYL_SALICYLATE | . | 0.08 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89837 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94147 | 0.060957 | 0.94147 | 0.086207 | 0.063904
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-10-16 | ug/L | 1.0091 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.4856 | METHYL_SALICYLATE | . | 0.08 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0091 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0091 |  | 1.0091 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2016-01-13 | ug/L | 1.1074 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.2402 | METHYL_SALICYLATE | . | 0.08 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1074 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1074 |  | 1.1074 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-08-24 | ug/L | 0.862 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METHYL_SALICYLATE | . | 0.08 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.862 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.907 | 0.06364 | 0.907 | 0.09 | 0.066716
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-12-18 | ug/L | 0.952 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METHYL_SALICYLATE | . | 0.08 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.952 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.907 | 0.06364 | 0.907 | 0.09 | 0.066716
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-12-15 | ug/L | 0.73019 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.2846 | METHYL_SALICYLATE | . | 0.08 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73019 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-04-14 | ug/L | 1.034 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.5174 | METHYL_SALICYLATE | . | 0.08 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.034 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-07-07 | ug/L | 0.70736 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.516 | METHYL_SALICYLATE | . | 0.08 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70736 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-08-17 | ug/L | 0.92054 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.064 | METHYL_SALICYLATE | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92054 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-11-22 | ug/L | 0.78682 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.516 | METHYL_SALICYLATE | . | 0.08 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78682 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-01-16 | ug/L | 0.93508 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.064 | METHYL_SALICYLATE | . | 0.08 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93508 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-03-06 | ug/L | 0.81395 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.29 | METHYL_SALICYLATE | . | 0.08 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81395 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-03-07 | ug/L | 0.91085 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.516 | METHYL_SALICYLATE | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91085 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-04-10 | ug/L | 0.83721 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.29 | METHYL_SALICYLATE | . | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83721 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-07-27 | ug/L | 0.83818 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.064 | METHYL_SALICYLATE | . | 0.08 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83818 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-09-30 | ug/L | 1.0997 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.2428 | METHYL_SALICYLATE | . | 0.08 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0997 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99259 | 0.15144 | 0.99259 | 0.21417 | 0.15876
METHYL SALICYLATE | 4433 | 62828GCM99 | 2016-01-12 | ug/L | 0.8855 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.4856 | METHYL_SALICYLATE | . | 0.08 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8855 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99259 | 0.15144 | 0.99259 | 0.21417 | 0.15876
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-10-15 | ug/L | 0.95552 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.1214 | METHYL_SALICYLATE | . | 0.08 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95552 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95552 |  | 0.95552 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-09-26 | ug/L | 0.83485 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2204 | METHYL_SALICYLATE | . | 0.08 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83485 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83485 |  | 0.83485 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-06-12 | ug/L | 0.7964 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.555 | METHYL_SALICYLATE | . | 0.08 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7964 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77658 | 0.028029 | 0.77658 | 0.03964 | 0.029384
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-02-05 | ug/L | 0.75676 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.222 | METHYL_SALICYLATE | . | 0.08 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75676 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77658 | 0.028029 | 0.77658 | 0.03964 | 0.029384
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-12-12 | ug/L | 0.81092 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0112 | METHYL_SALICYLATE | . | 0.08 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81092 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81092 |  | 0.81092 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-12-20 | ug/L | 0.889 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | METHYL_SALICYLATE | . | 0.08 | 0.889 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.889 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.889 |  | 0.889 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-07-15 | ug/L | 0.65521 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | METHYL_SALICYLATE | . | 0.2 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65521 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73769 | 0.11664 | 0.73769 | 0.16495 | 0.12228
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-20 | ug/L | 0.82017 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | METHYL_SALICYLATE | . | 0.2 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82017 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73769 | 0.11664 | 0.73769 | 0.16495 | 0.12228
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-05-19 | ug/L | 1.1268 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | METHYL_SALICYLATE | . | 0.08 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1268 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0415 | 0.12062 | 1.0415 | 0.17058 | 0.12645
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-10-18 | ug/L | 0.95625 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | METHYL_SALICYLATE | . | 0.08 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0415 | 0.12062 | 1.0415 | 0.17058 | 0.12645
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-07-20 | ug/L | 0.5587 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.38 | METHYL_SALICYLATE | E | 0.2 | 0.771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5587 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68008 | 0.10911 | 0.71155 | 0.2113 | 0.15663
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-20 | ug/L | 0.71155 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.35275 | METHYL_SALICYLATE | . | 0.2 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71155 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68008 | 0.10911 | 0.71155 | 0.2113 | 0.15663
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-20 | ug/L | 0.77 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.68702 | METHYL_SALICYLATE | . | 0.2 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68008 | 0.10911 | 0.71155 | 0.2113 | 0.15663
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-07-08 | ug/L | 0.7834 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.3204 | METHYL_SALICYLATE | . | 0.08 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7834 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87235 | 0.1258 | 0.87235 | 0.1779 | 0.13188
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-09-11 | ug/L | 0.9613 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.1602 | METHYL_SALICYLATE | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9613 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87235 | 0.1258 | 0.87235 | 0.1779 | 0.13188
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-11-05 | ug/L | 1.0031 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.318 | METHYL_SALICYLATE | . | 0.08 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0031 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98585 | 0.02446 | 0.98585 | 0.034591 | 0.025642
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-01-27 | ug/L | 0.96855 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.159 | METHYL_SALICYLATE | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96855 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98585 | 0.02446 | 0.98585 | 0.034591 | 0.025642
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-07-31 | ug/L | 0.91772 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5056 | METHYL_SALICYLATE | . | 0.08 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91772 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84256 | 0.10629 | 0.84256 | 0.15032 | 0.11143
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-03-27 | ug/L | 0.76741 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5056 | METHYL_SALICYLATE | . | 0.08 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76741 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84256 | 0.10629 | 0.84256 | 0.15032 | 0.11143
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-08-01 | ug/L | 0.70599 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.102 | METHYL_SALICYLATE | . | 0.08 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70599 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75907 | 0.075074 | 0.75907 | 0.10617 | 0.078703
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-04-22 | ug/L | 0.81216 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2204 | METHYL_SALICYLATE | . | 0.08 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81216 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75907 | 0.075074 | 0.75907 | 0.10617 | 0.078703
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-11-14 | ug/L | 0.93243 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.222 | METHYL_SALICYLATE | . | 0.08 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93243 |  | 0.93243 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-03-28 | ug/L | 0.745 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | METHYL_SALICYLATE | . | 0.08 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.745 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.745 |  | 0.745 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-05-22 | ug/L | 0.73034 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.1602 | METHYL_SALICYLATE | . | 0.08 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73034 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73034 |  | 0.73034 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2014-04-24 | ug/L | 0.72327 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.159 | METHYL_SALICYLATE | E | 0.08 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72327 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72327 |  | 0.72327 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-11-05 | ug/L | 1.1324 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.4804 | METHYL_SALICYLATE | . | 0.08 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1324 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1324 |  | 1.1324 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-07-09 | ug/L | 0.87427 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.1201 | METHYL_SALICYLATE | . | 0.08 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87427 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87427 |  | 0.87427 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2015-09-29 | ug/L | 1.0741 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.1201 | METHYL_SALICYLATE | . | 0.08 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0741 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0866 | 0.017663 | 1.0866 | 0.024979 | 0.018517
METHYL SALICYLATE | 4433 | 62828GCM99 | 2016-01-14 | ug/L | 1.0991 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.2402 | METHYL_SALICYLATE | . | 0.08 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0991 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0866 | 0.017663 | 1.0866 | 0.024979 | 0.018517
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-02-03 | ug/L | 0.67299 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.51561 | METHYL_SALICYLATE | . | 0.08 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67299 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-04-26 | ug/L | 0.84745 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.51684 | METHYL_SALICYLATE | . | 0.08 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84745 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-06-29 | ug/L | 0.83838 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.0516 | METHYL_SALICYLATE | . | 0.08 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83838 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-08-07 | ug/L | 0.83656 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.068 | METHYL_SALICYLATE | . | 0.08 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83656 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-10-04 | ug/L | 0.90329 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.517 | METHYL_SALICYLATE | . | 0.08 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90329 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-11-22 | ug/L | 0.88201 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.2925 | METHYL_SALICYLATE | . | 0.08 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88201 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-03-01 | ug/L | 0.82592 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.517 | METHYL_SALICYLATE | . | 0.08 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82592 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-07-26 | ug/L | 0.98646 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.517 | METHYL_SALICYLATE | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98646 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-05-13 | ug/L | 0.47915 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.71167 | METHYL_SALICYLATE | E | 0.2 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47915 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55723 | 0.11042 | 0.55723 | 0.15615 | 0.11575
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-18 | ug/L | 0.63531 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.4686 | METHYL_SALICYLATE | . | 0.2 | 0.933 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63531 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55723 | 0.11042 | 0.55723 | 0.15615 | 0.11575