## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METOLACHLOR | 4433 | 82612GCM99 | 2014-08-20 | ug/L | 0.9204 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | METOLACHLOR | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9204 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95771 | 0.052769 | 0.95771 | 0.074627 | 0.05532
METOLACHLOR | 4433 | 82612GCM99 | 2014-10-20 | ug/L | 0.99502 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | METOLACHLOR | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99502 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95771 | 0.052769 | 0.95771 | 0.074627 | 0.05532
METOLACHLOR | 4433 | 82612GCM99 | 2014-12-03 | ug/L | 1.0323 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1608 | METOLACHLOR | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0323 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0323 |  | 1.0323 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2015-10-01 | ug/L | 0.95833 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.12 | METOLACHLOR | . | 0.04 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99583 | 0.053033 | 0.99583 | 0.075 | 0.055597
METOLACHLOR | 4433 | 82612GCM99 | 2015-11-17 | ug/L | 1.0333 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.06 | METOLACHLOR | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99583 | 0.053033 | 0.99583 | 0.075 | 0.055597
METOLACHLOR | 4433 | 82612GCM99 | 2015-05-08 | ug/L | 1.3833 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.06 | METOLACHLOR | . | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3833 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3833 |  | 1.3833 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2010-05-12 | ug/L | 0.7131 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 0.49502 | METOLACHLOR | . | 0.2 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7131 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71706 | 0.0056068 | 0.71706 | 0.0079292 | 0.0058779
METOLACHLOR | 4433 | 82612GCM99 | 2010-08-21 | ug/L | 0.72103 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 0.92091 | METOLACHLOR | . | 0.2 | 0.664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72103 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71706 | 0.0056068 | 0.71706 | 0.0079292 | 0.0058779
METOLACHLOR | 4433 | 82612GCM99 | 2014-06-05 | ug/L | 0.79602 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0804 | METOLACHLOR | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79602 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9743 | 0.18712 | 0.95771 | 0.37313 | 0.2766
METOLACHLOR | 4433 | 82612GCM99 | 2014-09-23 | ug/L | 0.95771 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.1608 | METOLACHLOR | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95771 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9743 | 0.18712 | 0.95771 | 0.37313 | 0.2766
METOLACHLOR | 4433 | 82612GCM99 | 2015-05-07 | ug/L | 1.1692 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0804 | METOLACHLOR | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1692 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9743 | 0.18712 | 0.95771 | 0.37313 | 0.2766
METOLACHLOR | 4433 | 82612GCM99 | 2014-08-20 | ug/L | 1.052 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.1578 | METOLACHLOR | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.052 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96958 | 0.11651 | 0.96958 | 0.16477 | 0.12214
METOLACHLOR | 4433 | 82612GCM99 | 2015-04-20 | ug/L | 0.8872 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0789 | METOLACHLOR | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8872 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96958 | 0.11651 | 0.96958 | 0.16477 | 0.12214
METOLACHLOR | 4433 | 82612GCM99 | 2015-09-29 | ug/L | 1.1667 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.06 | METOLACHLOR | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0167 | 0.21213 | 1.0167 | 0.3 | 0.22239
METOLACHLOR | 4433 | 82612GCM99 | 2016-01-26 | ug/L | 0.86667 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.12 | METOLACHLOR | . | 0.04 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0167 | 0.21213 | 1.0167 | 0.3 | 0.22239
METOLACHLOR | 4433 | 82612GCM99 | 2015-10-02 | ug/L | 1.1552 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.058 | METOLACHLOR | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1552 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1552 |  | 1.1552 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2013-05-30 | ug/L | 0.715 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6 | METOLACHLOR | . | 0.04 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.715 |  | 0.715 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2014-09-17 | ug/L | 1.1534 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0789 | METOLACHLOR | . | 0.04 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1534 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99493 | 0.22405 | 0.99493 | 0.31686 | 0.23488
METOLACHLOR | 4433 | 82612GCM99 | 2015-02-26 | ug/L | 0.8365 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1578 | METOLACHLOR | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8365 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99493 | 0.22405 | 0.99493 | 0.31686 | 0.23488
METOLACHLOR | 4433 | 82612GCM99 | 2014-07-16 | ug/L | 0.8365 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1578 | METOLACHLOR | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8365 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8365 |  | 0.8365 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2015-10-16 | ug/L | 1.069 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.232 | METOLACHLOR | . | 0.04 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.069 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.069 |  | 1.069 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2016-01-13 | ug/L | 1.1379 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.116 | METOLACHLOR | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1379 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1379 |  | 1.1379 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2010-12-15 | ug/L | 0.60124 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.5684 | METOLACHLOR | . | 0.04 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60124 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2011-04-14 | ug/L | 0.92765 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.63171 | METOLACHLOR | . | 0.04 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92765 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2011-07-07 | ug/L | 0.7127 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.63 | METOLACHLOR | . | 0.04 | 0.449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7127 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2011-08-17 | ug/L | 0.76984 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.52 | METOLACHLOR | . | 0.04 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76984 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2011-11-22 | ug/L | 0.83016 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.63 | METOLACHLOR | . | 0.04 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83016 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2012-01-16 | ug/L | 0.78571 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.52 | METOLACHLOR | E | 0.04 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2012-03-06 | ug/L | 0.73651 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.575 | METOLACHLOR | . | 0.04 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73651 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2012-03-07 | ug/L | 0.86508 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.63 | METOLACHLOR | . | 0.04 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86508 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2012-04-10 | ug/L | 0.8254 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.575 | METOLACHLOR | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8254 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2012-07-27 | ug/L | 0.81746 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.52 | METOLACHLOR | . | 0.04 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81746 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.78717 | 0.09007 | 0.80159 | 0.093651 | 0.069422
METOLACHLOR | 4433 | 82612GCM99 | 2010-08-18 | ug/L | 0.79124 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.45751 | METOLACHLOR | . | 0.2 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79124 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76819 | 0.032592 | 0.76819 | 0.046092 | 0.034168
METOLACHLOR | 4433 | 82612GCM99 | 2010-09-29 | ug/L | 0.74515 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.46702 | METOLACHLOR | . | 0.2 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74515 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76819 | 0.032592 | 0.76819 | 0.046092 | 0.034168
METOLACHLOR | 4433 | 82612GCM99 | 2013-09-26 | ug/L | 0.92857 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92857 |  | 0.92857 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2013-06-12 | ug/L | 0.94857 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.175 | METOLACHLOR | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94857 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84571 | 0.14546 | 0.84571 | 0.20571 | 0.15249
METOLACHLOR | 4433 | 82612GCM99 | 2014-02-05 | ug/L | 0.74286 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74286 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84571 | 0.14546 | 0.84571 | 0.20571 | 0.15249
METOLACHLOR | 4433 | 82612GCM99 | 2013-11-14 | ug/L | 0.78571 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77857 | 0.010102 | 0.77857 | 0.014286 | 0.01059
METOLACHLOR | 4433 | 82612GCM99 | 2014-04-23 | ug/L | 0.77143 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77143 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77857 | 0.010102 | 0.77857 | 0.014286 | 0.01059
METOLACHLOR | 4433 | 82612GCM99 | 2013-06-14 | ug/L | 0.93714 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.175 | METOLACHLOR | . | 0.04 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93714 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93714 |  | 0.93714 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2012-12-12 | ug/L | 0.72667 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6 | METOLACHLOR | . | 0.04 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72667 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72667 |  | 0.72667 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2013-05-29 | ug/L | 0.75333 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.3 | METOLACHLOR | . | 0.04 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75333 |  | 0.75333 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2012-12-20 | ug/L | 0.675 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | METOLACHLOR | . | 0.04 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.675 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.675 |  | 0.675 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2012-09-18 | ug/L | 0.84 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.3 | METOLACHLOR | . | 0.04 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84 |  | 0.84 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2010-07-15 | ug/L | 0.77453 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | METOLACHLOR | E | 0.2 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77453 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83016 | 0.078663 | 0.83016 | 0.11125 | 0.082466
METOLACHLOR | 4433 | 82612GCM99 | 2010-08-20 | ug/L | 0.88578 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | METOLACHLOR | . | 0.2 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88578 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83016 | 0.078663 | 0.83016 | 0.11125 | 0.082466
METOLACHLOR | 4433 | 82612GCM99 | 2011-05-19 | ug/L | 1.1516 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | METOLACHLOR | . | 0.04 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1516 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0868 | 0.091763 | 1.0868 | 0.12977 | 0.096199
METOLACHLOR | 4433 | 82612GCM99 | 2011-10-18 | ug/L | 1.0219 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | METOLACHLOR | . | 0.04 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0868 | 0.091763 | 1.0868 | 0.12977 | 0.096199
METOLACHLOR | 4433 | 82612GCM99 | 2014-07-08 | ug/L | 0.70896 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.1608 | METOLACHLOR | . | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70896 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90174 | 0.27264 | 0.90174 | 0.38557 | 0.28582
METOLACHLOR | 4433 | 82612GCM99 | 2014-09-11 | ug/L | 1.0945 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0804 | METOLACHLOR | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90174 | 0.27264 | 0.90174 | 0.38557 | 0.28582
METOLACHLOR | 4433 | 82612GCM99 | 2014-11-05 | ug/L | 1.0139 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.1578 | METOLACHLOR | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0139 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0456 | 0.04481 | 1.0456 | 0.063371 | 0.046977
METOLACHLOR | 4433 | 82612GCM99 | 2015-01-27 | ug/L | 1.0773 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0789 | METOLACHLOR | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0456 | 0.04481 | 1.0456 | 0.063371 | 0.046977
METOLACHLOR | 4433 | 82612GCM99 | 2015-07-22 | ug/L | 1.025 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | METOLACHLOR | . | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.025 |  | 1.025 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2015-11-17 | ug/L | 1.0517 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.058 | METOLACHLOR | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0517 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0517 |  | 1.0517 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2012-07-31 | ug/L | 0.85 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | METOLACHLOR | . | 0.04 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75833 | 0.12964 | 0.75833 | 0.18333 | 0.1359
METOLACHLOR | 4433 | 82612GCM99 | 2013-03-27 | ug/L | 0.66667 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | METOLACHLOR | . | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75833 | 0.12964 | 0.75833 | 0.18333 | 0.1359
METOLACHLOR | 4433 | 82612GCM99 | 2012-12-19 | ug/L | 0.70417 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1.2 | METOLACHLOR | . | 0.04 | 0.845 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70417 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65125 | 0.074835 | 0.65125 | 0.10583 | 0.078453
METOLACHLOR | 4433 | 82612GCM99 | 2013-02-07 | ug/L | 0.59833 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.6 | METOLACHLOR | . | 0.04 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59833 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65125 | 0.074835 | 0.65125 | 0.10583 | 0.078453
METOLACHLOR | 4433 | 82612GCM99 | 2013-08-01 | ug/L | 0.54286 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.35 | METOLACHLOR | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54286 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58571 | 0.060609 | 0.58571 | 0.085714 | 0.063539
METOLACHLOR | 4433 | 82612GCM99 | 2014-04-22 | ug/L | 0.62857 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62857 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58571 | 0.060609 | 0.58571 | 0.085714 | 0.063539
METOLACHLOR | 4433 | 82612GCM99 | 2013-11-14 | ug/L | 0.78571 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78571 |  | 0.78571 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2014-02-05 | ug/L | 0.84571 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.175 | METOLACHLOR | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84571 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84571 |  | 0.84571 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2014-04-24 | ug/L | 0.58571 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.07 | METOLACHLOR | . | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58571 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.58571 |  | 0.58571 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2014-05-22 | ug/L | 0.67164 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0804 | METOLACHLOR | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67164 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67164 |  | 0.67164 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2014-04-24 | ug/L | 0.54499 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0789 | METOLACHLOR | E | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54499 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.54499 |  | 0.54499 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2015-07-09 | ug/L | 1.1379 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.058 | METOLACHLOR | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1379 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1379 |  | 1.1379 | 0 | 0
METOLACHLOR | 4433 | 82612GCM99 | 2011-02-03 | ug/L | 0.68092 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.63149 | METOLACHLOR | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68092 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2011-04-26 | ug/L | 0.67613 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.63301 | METOLACHLOR | . | 0.04 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67613 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2011-06-29 | ug/L | 0.64075 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5127 | METOLACHLOR | . | 0.04 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64075 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2011-08-07 | ug/L | 0.67909 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5328 | METOLACHLOR | . | 0.04 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67909 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2011-10-04 | ug/L | 0.80543 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6332 | METOLACHLOR | . | 0.04 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80543 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2011-11-22 | ug/L | 0.65698 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.583 | METOLACHLOR | . | 0.04 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65698 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2012-03-01 | ug/L | 0.78332 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6332 | METOLACHLOR | . | 0.04 | 0.496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78332 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724
METOLACHLOR | 4433 | 82612GCM99 | 2012-07-26 | ug/L | 0.73121 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6332 | METOLACHLOR | . | 0.04 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73121 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70673 | 0.060241 | 0.68001 | 0.090707 | 0.06724