## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-08-20 | ug/L | 0.8209 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8209 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95149 | 0.18469 | 0.95149 | 0.26119 | 0.19362
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-10-20 | ug/L | 1.0821 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0821 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95149 | 0.18469 | 0.95149 | 0.26119 | 0.19362
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-12-03 | ug/L | 0.98627 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1602 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98627 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98627 |  | 0.98627 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-02-17 | ug/L | 0.67152 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.34846 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67152 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-04-15 | ug/L | 0.96651 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.85566 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96651 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-05-03 | ug/L | 0.8504 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.33631 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8504 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-07-07 | ug/L | 0.77733 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.85935 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.668 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77733 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-08-16 | ug/L | 0.7243 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3424 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7243 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-11-22 | ug/L | 0.87617 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.3696 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87617 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-12-08 | ug/L | 0.71262 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3424 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71262 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-03-07 | ug/L | 0.97196 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.856 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97196 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-04-10 | ug/L | 0.91121 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3424 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91121 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-05-04 | ug/L | 0.81192 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.856 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81192 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82739 | 0.10595 | 0.83116 | 0.18692 | 0.13856
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-09-29 | ug/L | 0.93443 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.061 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93443 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96721 | 0.046368 | 0.96721 | 0.065574 | 0.048609
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2016-01-26 | ug/L | 1 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.122 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96721 | 0.046368 | 0.96721 | 0.065574 | 0.048609
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-10-02 | ug/L | 0.85246 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.061 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85246 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85246 |  | 0.85246 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-05-30 | ug/L | 0.8675 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.8 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8675 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8675 |  | 0.8675 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2010-12-15 | ug/L | 0.90019 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33659 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90019 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-02-18 | ug/L | 1.0005 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33382 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.04 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0005 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-06-28 | ug/L | 0.75317 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3543 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75317 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-08-06 | ug/L | 0.83617 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8515 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83617 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-08-17 | ug/L | 0.78097 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3406 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78097 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-02-01 | ug/L | 0.44979 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8515 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.04 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44979 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-03-06 | ug/L | 0.82942 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3624 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82942 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-03-07 | ug/L | 0.86612 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3406 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86612 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-05-04 | ug/L | 0.86436 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8515 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86436 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-05-22 | ug/L | 0.88814 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3624 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88814 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.81689 | 0.1457 | 0.85026 | 0.10716 | 0.079439
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2010-05-19 | ug/L | 1.0238 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.20413 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.2 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0238 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0238 |  | 1.0238 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-09-17 | ug/L | 0.95771 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0804 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95771 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89863 | 0.083551 | 0.89863 | 0.11816 | 0.08759
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-02-26 | ug/L | 0.83955 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1608 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83955 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89863 | 0.083551 | 0.89863 | 0.11816 | 0.08759
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-07-16 | ug/L | 0.79276 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1602 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79276 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79276 |  | 0.79276 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-07-17 | ug/L | 0.79602 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0804 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79602 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86132 | 0.092346 | 0.86132 | 0.1306 | 0.09681
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-12-04 | ug/L | 0.92662 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1608 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92662 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86132 | 0.092346 | 0.86132 | 0.1306 | 0.09681
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-08-21 | ug/L | 0.99502 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0804 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99502 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9743 | 0.018999 | 0.97015 | 0.037313 | 0.02766
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-09-23 | ug/L | 0.97015 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97015 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9743 | 0.018999 | 0.97015 | 0.037313 | 0.02766
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-04-22 | ug/L | 0.95771 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0804 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95771 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9743 | 0.018999 | 0.97015 | 0.037313 | 0.02766
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-09-30 | ug/L | 0.98361 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.122 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98361 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96311 | 0.02898 | 0.96311 | 0.040984 | 0.030381
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2016-01-12 | ug/L | 0.94262 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.244 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94262 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96311 | 0.02898 | 0.96311 | 0.040984 | 0.030381
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-10-15 | ug/L | 0.85 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-09-26 | ug/L | 0.9 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-06-12 | ug/L | 0.81 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.2 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7675 | 0.060104 | 0.7675 | 0.085 | 0.06301
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-02-05 | ug/L | 0.725 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7675 | 0.060104 | 0.7675 | 0.085 | 0.06301
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-11-14 | ug/L | 0.825 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75625 | 0.097227 | 0.75625 | 0.1375 | 0.10193
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-04-23 | ug/L | 0.6875 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75625 | 0.097227 | 0.75625 | 0.1375 | 0.10193
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-06-14 | ug/L | 0.9 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.2 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-12-12 | ug/L | 0.6775 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.8 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6775 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6775 |  | 0.6775 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-05-29 | ug/L | 0.7425 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.4 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7425 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7425 |  | 0.7425 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-12-20 | ug/L | 0.61 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.8 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61 |  | 0.61 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-09-18 | ug/L | 0.9775 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.4 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9775 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9775 |  | 0.9775 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2010-03-11 | ug/L | 0.58988 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.82051 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.2 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58988 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63147 | 0.058821 | 0.63147 | 0.083185 | 0.061664
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2010-07-23 | ug/L | 0.67306 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.41304 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.2 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67306 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63147 | 0.058821 | 0.63147 | 0.083185 | 0.061664
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2010-07-15 | ug/L | 0.73267 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.2 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73267 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87074 | 0.19526 | 0.87074 | 0.27614 | 0.2047
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2010-08-20 | ug/L | 1.0088 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.2 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87074 | 0.19526 | 0.87074 | 0.27614 | 0.2047
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-05-19 | ug/L | 1.1616 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.137 | 0.034702 | 1.137 | 0.049076 | 0.036379
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2011-10-18 | ug/L | 1.1125 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.137 | 0.034702 | 1.137 | 0.049076 | 0.036379
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-07-22 | ug/L | 0.86667 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.12 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86667 |  | 0.86667 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-11-17 | ug/L | 0.96667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.06 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-07-31 | ug/L | 1.0075 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.4 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0075 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91625 | 0.12905 | 0.91625 | 0.1825 | 0.13529
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-03-27 | ug/L | 0.825 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.4 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91625 | 0.12905 | 0.91625 | 0.1825 | 0.13529
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2012-12-19 | ug/L | 0.6625 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1.6 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70125 | 0.054801 | 0.70125 | 0.0775 | 0.05745
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-02-07 | ug/L | 0.74 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.8 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70125 | 0.054801 | 0.70125 | 0.0775 | 0.05745
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-08-01 | ug/L | 0.5375 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.4 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5375 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6375 | 0.14142 | 0.6375 | 0.2 | 0.14826
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-04-22 | ug/L | 0.7375 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7375 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6375 | 0.14142 | 0.6375 | 0.2 | 0.14826
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2013-11-14 | ug/L | 0.85 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-02-05 | ug/L | 0.865 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.2 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.865 |  | 0.865 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-04-24 | ug/L | 0.675 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.675 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.675 |  | 0.675 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-05-22 | ug/L | 0.73658 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0801 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73658 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73658 |  | 0.73658 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-07-09 | ug/L | 0.82397 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0801 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82397 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84894 | 0.035311 | 0.84894 | 0.049938 | 0.037018
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-04-21 | ug/L | 0.87391 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0801 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87391 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84894 | 0.035311 | 0.84894 | 0.049938 | 0.037018
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-04-24 | ug/L | 0.58677 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0801 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.04 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58677 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58677 |  | 0.58677 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-06-04 | ug/L | 0.59301 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1602 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59301 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71785 | 0.17656 | 0.71785 | 0.24969 | 0.18509
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2014-10-21 | ug/L | 0.8427 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1602 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8427 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71785 | 0.17656 | 0.71785 | 0.24969 | 0.18509
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-11-05 | ug/L | 1.168 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.244 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.168 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.168 |  | 1.168 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2015-09-29 | ug/L | 0.95 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.06 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0333 | 0.11785 | 1.0333 | 0.16667 | 0.12355
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 4433 | 61947GCM99 | 2016-01-14 | ug/L | 1.1167 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.12 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.04 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1167 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0333 | 0.11785 | 1.0333 | 0.16667 | 0.12355