## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NAPHTHALENE | 4433 | 34696GCM99 | 2014-08-20 | ug/L | 1.0697 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0402 | NAPHTHALENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0697 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0945 | 0.035179 | 1.0945 | 0.049751 | 0.03688
NAPHTHALENE | 4433 | 34696GCM99 | 2014-10-20 | ug/L | 1.1194 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0402 | NAPHTHALENE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0945 | 0.035179 | 1.0945 | 0.049751 | 0.03688
NAPHTHALENE | 4433 | 34696GCM99 | 2014-12-03 | ug/L | 0.98259 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.0804 | NAPHTHALENE | . | 0.02 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98259 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98259 |  | 0.98259 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-10-01 | ug/L | 0.98684 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.0608 | NAPHTHALENE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98684 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97039 | 0.02326 | 0.97039 | 0.032895 | 0.024385
NAPHTHALENE | 4433 | 34696GCM99 | 2015-11-17 | ug/L | 0.95395 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0304 | NAPHTHALENE | . | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95395 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97039 | 0.02326 | 0.97039 | 0.032895 | 0.024385
NAPHTHALENE | 4433 | 34696GCM99 | 2015-05-08 | ug/L | 1.0667 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.03 | NAPHTHALENE | . | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0667 |  | 1.0667 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2011-02-17 | ug/L | 0.73572 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.36699 | NAPHTHALENE | . | 0.02 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73572 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2011-04-15 | ug/L | 0.97321 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.90114 | NAPHTHALENE | . | 0.02 | 0.877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97321 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2011-05-03 | ug/L | 0.82724 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.35419 | NAPHTHALENE | . | 0.02 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82724 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2011-07-07 | ug/L | 0.86075 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.90503 | NAPHTHALENE | . | 0.02 | 0.779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86075 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2011-08-16 | ug/L | 0.81808 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3606 | NAPHTHALENE | . | 0.02 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81808 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2011-11-22 | ug/L | 0.93594 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.4424 | NAPHTHALENE | . | 0.02 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93594 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2011-12-08 | ug/L | 0.74321 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3606 | NAPHTHALENE | . | 0.02 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74321 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2012-03-07 | ug/L | 0.98835 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9015 | NAPHTHALENE | . | 0.02 | 0.891 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98835 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2012-04-10 | ug/L | 0.96783 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3606 | NAPHTHALENE | . | 0.02 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96783 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2012-05-04 | ug/L | 0.83306 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9015 | NAPHTHALENE | . | 0.02 | 0.751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83306 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.86834 | 0.093472 | 0.8469 | 0.14975 | 0.11101
NAPHTHALENE | 4433 | 34696GCM99 | 2014-06-05 | ug/L | 0.9204 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0402 | NAPHTHALENE | . | 0.02 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9204 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99502 | 0.08969 | 0.97015 | 0.17413 | 0.12908
NAPHTHALENE | 4433 | 34696GCM99 | 2014-09-23 | ug/L | 0.97015 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.0804 | NAPHTHALENE | . | 0.02 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97015 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99502 | 0.08969 | 0.97015 | 0.17413 | 0.12908
NAPHTHALENE | 4433 | 34696GCM99 | 2015-05-07 | ug/L | 1.0945 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.0402 | NAPHTHALENE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99502 | 0.08969 | 0.97015 | 0.17413 | 0.12908
NAPHTHALENE | 4433 | 34696GCM99 | 2014-08-20 | ug/L | 0.92172 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.0792 | NAPHTHALENE | . | 0.02 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92172 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8649 | 0.080353 | 0.8649 | 0.11364 | 0.084237
NAPHTHALENE | 4433 | 34696GCM99 | 2015-04-20 | ug/L | 0.80808 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.0396 | NAPHTHALENE | . | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8649 | 0.080353 | 0.8649 | 0.11364 | 0.084237
NAPHTHALENE | 4433 | 34696GCM99 | 2013-05-30 | ug/L | 0.895 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6 | NAPHTHALENE | . | 0.02 | 0.537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.895 |  | 0.895 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2010-12-14 | ug/L | 1.8938 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.35221 | NAPHTHALENE | . | 0.02 | 0.667 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8938 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2011-02-18 | ug/L | 0.84452 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.34931 | NAPHTHALENE | . | 0.02 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84452 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2011-06-28 | ug/L | 0.86091 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4171 | NAPHTHALENE | . | 0.02 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86091 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2011-08-06 | ug/L | 0.69136 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.891 | NAPHTHALENE | . | 0.02 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69136 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2011-08-17 | ug/L | 0.87542 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3564 | NAPHTHALENE | . | 0.02 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87542 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2012-02-01 | ug/L | 0.54882 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.891 | NAPHTHALENE | E | 0.02 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54882 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2012-03-06 | ug/L | 0.9119 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4256 | NAPHTHALENE | . | 0.02 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9119 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2012-03-07 | ug/L | 0.84736 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3564 | NAPHTHALENE | . | 0.02 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84736 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2012-05-04 | ug/L | 0.85634 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.891 | NAPHTHALENE | . | 0.02 | 0.763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85634 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2012-05-22 | ug/L | 0.78563 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4256 | NAPHTHALENE | . | 0.02 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78563 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.9116 | 0.36151 | 0.85185 | 0.089787 | 0.066558
NAPHTHALENE | 4433 | 34696GCM99 | 2010-05-19 | ug/L | 0.73157 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.13669 | NAPHTHALENE | E | 0.2 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73157 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.73157 |  | 0.73157 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2014-09-17 | ug/L | 0.98485 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0396 | NAPHTHALENE | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98485 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90278 | 0.11607 | 0.90278 | 0.16414 | 0.12168
NAPHTHALENE | 4433 | 34696GCM99 | 2015-02-26 | ug/L | 0.82071 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.0792 | NAPHTHALENE | . | 0.02 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82071 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90278 | 0.11607 | 0.90278 | 0.16414 | 0.12168
NAPHTHALENE | 4433 | 34696GCM99 | 2014-07-16 | ug/L | 0.84596 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.0792 | NAPHTHALENE | . | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84596 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84596 |  | 0.84596 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-10-16 | ug/L | 1.0197 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.1216 | NAPHTHALENE | . | 0.02 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0197 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0197 |  | 1.0197 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2016-01-13 | ug/L | 1 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.06 | NAPHTHALENE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-09-30 | ug/L | 1.0362 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.0608 | NAPHTHALENE | . | 0.02 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0362 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0115 | 0.03489 | 1.0115 | 0.049342 | 0.036577
NAPHTHALENE | 4433 | 34696GCM99 | 2016-01-12 | ug/L | 0.98684 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.1216 | NAPHTHALENE | . | 0.02 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98684 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0115 | 0.03489 | 1.0115 | 0.049342 | 0.036577
NAPHTHALENE | 4433 | 34696GCM99 | 2015-10-15 | ug/L | 1.1184 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.0304 | NAPHTHALENE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1184 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1184 |  | 1.1184 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2013-09-26 | ug/L | 1 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2013-06-12 | ug/L | 0.93 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.1 | NAPHTHALENE | . | 0.02 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9025 | 0.038891 | 0.9025 | 0.055 | 0.040771
NAPHTHALENE | 4433 | 34696GCM99 | 2014-02-05 | ug/L | 0.875 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9025 | 0.038891 | 0.9025 | 0.055 | 0.040771
NAPHTHALENE | 4433 | 34696GCM99 | 2013-11-14 | ug/L | 0.975 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9875 | 0.017678 | 0.9875 | 0.025 | 0.018532
NAPHTHALENE | 4433 | 34696GCM99 | 2014-04-23 | ug/L | 1 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9875 | 0.017678 | 0.9875 | 0.025 | 0.018532
NAPHTHALENE | 4433 | 34696GCM99 | 2013-06-14 | ug/L | 1.05 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.1 | NAPHTHALENE | . | 0.02 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.05 |  | 1.05 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2012-12-12 | ug/L | 0.8 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6 | NAPHTHALENE | . | 0.02 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2013-05-29 | ug/L | 0.85 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.3 | NAPHTHALENE | . | 0.02 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2012-12-20 | ug/L | 0.89333 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | NAPHTHALENE | . | 0.02 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89333 |  | 0.89333 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2012-09-18 | ug/L | 0.91667 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.3 | NAPHTHALENE | . | 0.02 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91667 |  | 0.91667 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2010-03-11 | ug/L | 0.76781 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.54701 | NAPHTHALENE | . | 0.2 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76781 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66899 | 0.13976 | 0.66899 | 0.19765 | 0.14651
NAPHTHALENE | 4433 | 34696GCM99 | 2010-07-23 | ug/L | 0.57016 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.27536 | NAPHTHALENE | E | 0.2 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57016 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.66899 | 0.13976 | 0.66899 | 0.19765 | 0.14651
NAPHTHALENE | 4433 | 34696GCM99 | 2010-07-15 | ug/L | 0.67824 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | NAPHTHALENE | E | 0.2 | 0.081 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.67824 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.7287 | 0.07136 | 0.7287 | 0.10092 | 0.07481
NAPHTHALENE | 4433 | 34696GCM99 | 2010-08-20 | ug/L | 0.77916 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | NAPHTHALENE | E | 0.2 | 0.095 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77916 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.7287 | 0.07136 | 0.7287 | 0.10092 | 0.07481
NAPHTHALENE | 4433 | 34696GCM99 | 2011-05-19 | ug/L | 1.0822 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | NAPHTHALENE | . | 0.02 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0822 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0661 | 0.022735 | 1.0661 | 0.032152 | 0.023834
NAPHTHALENE | 4433 | 34696GCM99 | 2011-10-18 | ug/L | 1.05 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | NAPHTHALENE | . | 0.02 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0661 | 0.022735 | 1.0661 | 0.032152 | 0.023834
NAPHTHALENE | 4433 | 34696GCM99 | 2014-07-08 | ug/L | 0.80846 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.0804 | NAPHTHALENE | . | 0.02 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80846 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96393 | 0.21987 | 0.96393 | 0.31095 | 0.2305
NAPHTHALENE | 4433 | 34696GCM99 | 2014-09-11 | ug/L | 1.1194 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.0402 | NAPHTHALENE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96393 | 0.21987 | 0.96393 | 0.31095 | 0.2305
NAPHTHALENE | 4433 | 34696GCM99 | 2014-11-05 | ug/L | 0.90909 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.0792 | NAPHTHALENE | . | 0.02 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90909 | 0 | 0.90909 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-01-27 | ug/L | 0.90909 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.0396 | NAPHTHALENE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90909 | 0 | 0.90909 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2012-07-31 | ug/L | 1.0533 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | NAPHTHALENE | . | 0.02 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93667 | 0.16499 | 0.93667 | 0.23333 | 0.17297
NAPHTHALENE | 4433 | 34696GCM99 | 2013-03-27 | ug/L | 0.82 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | NAPHTHALENE | . | 0.02 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93667 | 0.16499 | 0.93667 | 0.23333 | 0.17297
NAPHTHALENE | 4433 | 34696GCM99 | 2012-12-19 | ug/L | 0.89167 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1.2 | NAPHTHALENE | . | 0.02 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8325 | 0.083674 | 0.8325 | 0.11833 | 0.087719
NAPHTHALENE | 4433 | 34696GCM99 | 2013-02-07 | ug/L | 0.77333 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.6 | NAPHTHALENE | . | 0.02 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8325 | 0.083674 | 0.8325 | 0.11833 | 0.087719
NAPHTHALENE | 4433 | 34696GCM99 | 2013-08-01 | ug/L | 0.825 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.2 | NAPHTHALENE | . | 0.02 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8 | 0.035355 | 0.8 | 0.05 | 0.037064
NAPHTHALENE | 4433 | 34696GCM99 | 2014-04-22 | ug/L | 0.775 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8 | 0.035355 | 0.8 | 0.05 | 0.037064
NAPHTHALENE | 4433 | 34696GCM99 | 2013-11-14 | ug/L | 1.05 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.05 |  | 1.05 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2014-02-05 | ug/L | 0.92 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 0.1 | NAPHTHALENE | . | 0.02 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92 |  | 0.92 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2014-04-24 | ug/L | 0.85 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.04 | NAPHTHALENE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2014-05-22 | ug/L | 0.8209 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0402 | NAPHTHALENE | . | 0.02 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8209 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8209 |  | 0.8209 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2014-04-24 | ug/L | 0.68182 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0396 | NAPHTHALENE | E | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68182 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68182 |  | 0.68182 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-11-05 | ug/L | 0.95833 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.12 | NAPHTHALENE | . | 0.02 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95833 |  | 0.95833 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-07-09 | ug/L | 1.0333 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.03 | NAPHTHALENE | E | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0333 |  | 1.0333 | 0 | 0
NAPHTHALENE | 4433 | 34696GCM99 | 2015-09-29 | ug/L | 1.0333 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.03 | NAPHTHALENE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98333 | 0.070711 | 0.98333 | 0.1 | 0.074129
NAPHTHALENE | 4433 | 34696GCM99 | 2016-01-14 | ug/L | 0.93333 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.06 | NAPHTHALENE | . | 0.02 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98333 | 0.070711 | 0.98333 | 0.1 | 0.074129