## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
P-CRESOL | 4433 | 77146GCM99 | 2013-08-06 | ug/L | 0.75496 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.706 | P-CRESOL | . | 0.08 | 0.533 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75496 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75496 |  | 0.75496 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-10-22 | ug/L | 0.96479 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.142 | P-CRESOL | . | 0.08 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96479 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90845 | 0.079674 | 0.90845 | 0.11268 | 0.083526
P-CRESOL | 4433 | 77146GCM99 | 2014-04-23 | ug/L | 0.85211 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.142 | P-CRESOL | . | 0.08 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85211 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90845 | 0.079674 | 0.90845 | 0.11268 | 0.083526
P-CRESOL | 4433 | 77146GCM99 | 2014-06-05 | ug/L | 0.79482 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1623 | P-CRESOL | . | 0.08 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79482 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83898 | 0.054271 | 0.82255 | 0.10474 | 0.077646
P-CRESOL | 4433 | 77146GCM99 | 2014-09-23 | ug/L | 0.82255 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3246 | P-CRESOL | . | 0.08 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82255 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83898 | 0.054271 | 0.82255 | 0.10474 | 0.077646
P-CRESOL | 4433 | 77146GCM99 | 2015-05-07 | ug/L | 0.89957 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1623 | P-CRESOL | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89957 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83898 | 0.054271 | 0.82255 | 0.10474 | 0.077646
P-CRESOL | 4433 | 77146GCM99 | 2014-08-20 | ug/L | 0.84412 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.3246 | P-CRESOL | . | 0.08 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84412 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74861 | 0.13506 | 0.74861 | 0.191 | 0.14159
P-CRESOL | 4433 | 77146GCM99 | 2015-04-20 | ug/L | 0.65311 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.1623 | P-CRESOL | . | 0.08 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65311 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74861 | 0.13506 | 0.74861 | 0.191 | 0.14159
P-CRESOL | 4433 | 77146GCM99 | 2015-09-29 | ug/L | 1.1228 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.1238 | P-CRESOL | . | 0.08 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1228 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0339 | 0.12566 | 1.0339 | 0.17771 | 0.13173
P-CRESOL | 4433 | 77146GCM99 | 2016-01-26 | ug/L | 0.94507 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.2476 | P-CRESOL | . | 0.08 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94507 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0339 | 0.12566 | 1.0339 | 0.17771 | 0.13173
P-CRESOL | 4433 | 77146GCM99 | 2015-10-02 | ug/L | 0.59774 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.1238 | P-CRESOL | . | 0.08 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59774 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59774 |  | 0.59774 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-02-06 | ug/L | 0.83005 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.0144 | P-CRESOL | . | 0.08 | 0.842 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83005 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83005 |  | 0.83005 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-05-30 | ug/L | 0.89314 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5072 | P-CRESOL | . | 0.08 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89314 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89314 |  | 0.89314 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-12-04 | ug/L | 1.0328 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1404 | P-CRESOL | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79772 | 0.3324 | 0.79772 | 0.47009 | 0.34847
P-CRESOL | 4433 | 77146GCM99 | 2014-04-23 | ug/L | 0.56268 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1404 | P-CRESOL | . | 0.08 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56268 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79772 | 0.3324 | 0.79772 | 0.47009 | 0.34847
P-CRESOL | 4433 | 77146GCM99 | 2012-08-24 | ug/L | 0.808 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | P-CRESOL | . | 0.08 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.808 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.914 | 0.14991 | 0.914 | 0.212 | 0.15715
P-CRESOL | 4433 | 77146GCM99 | 2012-12-18 | ug/L | 1.02 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | P-CRESOL | . | 0.08 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.914 | 0.14991 | 0.914 | 0.212 | 0.15715
P-CRESOL | 4433 | 77146GCM99 | 2010-12-15 | ug/L | 0.78662 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.83649 | P-CRESOL | . | 0.08 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78662 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-04-14 | ug/L | 1.0596 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.33691 | P-CRESOL | . | 0.08 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0596 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-07-07 | ug/L | 0.6994 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.336 | P-CRESOL | . | 0.08 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6994 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-08-17 | ug/L | 0.89286 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.344 | P-CRESOL | . | 0.08 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-11-22 | ug/L | 0.84821 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.336 | P-CRESOL | . | 0.08 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84821 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-01-16 | ug/L | 0.95982 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.344 | P-CRESOL | . | 0.08 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95982 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-03-06 | ug/L | 0.92619 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.84 | P-CRESOL | . | 0.08 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92619 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-03-07 | ug/L | 0.84226 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.336 | P-CRESOL | . | 0.08 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84226 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-04-10 | ug/L | 0.90238 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.84 | P-CRESOL | . | 0.08 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90238 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-07-27 | ug/L | 0.93006 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.344 | P-CRESOL | . | 0.08 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93006 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2014-07-17 | ug/L | 0.66543 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1623 | P-CRESOL | . | 0.08 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66543 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.48983 | 0.24834 | 0.48983 | 0.3512 | 0.26034
P-CRESOL | 4433 | 77146GCM99 | 2014-12-04 | ug/L | 0.31423 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3246 | P-CRESOL | . | 0.08 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31423 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.48983 | 0.24834 | 0.48983 | 0.3512 | 0.26034
P-CRESOL | 4433 | 77146GCM99 | 2014-08-21 | ug/L | 0.33271 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1593 | P-CRESOL | . | 0.08 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33271 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78364 | 0.40063 | 0.91965 | 0.76585 | 0.56772
P-CRESOL | 4433 | 77146GCM99 | 2014-09-23 | ug/L | 0.91965 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.3186 | P-CRESOL | . | 0.08 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91965 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78364 | 0.40063 | 0.91965 | 0.76585 | 0.56772
P-CRESOL | 4433 | 77146GCM99 | 2015-04-22 | ug/L | 1.0986 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1593 | P-CRESOL | . | 0.08 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0986 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78364 | 0.40063 | 0.91965 | 0.76585 | 0.56772
P-CRESOL | 4433 | 77146GCM99 | 2015-09-30 | ug/L | 1.046 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.2476 | P-CRESOL | . | 0.08 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.046 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96123 | 0.11995 | 0.96123 | 0.16963 | 0.12574
P-CRESOL | 4433 | 77146GCM99 | 2016-01-12 | ug/L | 0.87641 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.4952 | P-CRESOL | . | 0.08 | 0.434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87641 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96123 | 0.11995 | 0.96123 | 0.16963 | 0.12574
P-CRESOL | 4433 | 77146GCM99 | 2013-09-26 | ug/L | 0.95442 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1404 | P-CRESOL | . | 0.08 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95442 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95442 |  | 0.95442 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-06-12 | ug/L | 0.83662 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.355 | P-CRESOL | . | 0.08 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83662 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71408 | 0.17329 | 0.71408 | 0.24507 | 0.18167
P-CRESOL | 4433 | 77146GCM99 | 2014-02-05 | ug/L | 0.59155 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.142 | P-CRESOL | . | 0.08 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59155 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71408 | 0.17329 | 0.71408 | 0.24507 | 0.18167
P-CRESOL | 4433 | 77146GCM99 | 2012-12-12 | ug/L | 0.6802 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5072 | P-CRESOL | . | 0.08 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68021 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68021 |  | 0.68021 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2012-12-20 | ug/L | 0.796 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | P-CRESOL | . | 0.08 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.796 |  | 0.796 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2010-07-15 | ug/L | 0.55264 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | P-CRESOL | . | 0.2 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55264 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70998 | 0.22252 | 0.70998 | 0.31469 | 0.23327
P-CRESOL | 4433 | 77146GCM99 | 2010-08-20 | ug/L | 0.86733 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | P-CRESOL | . | 0.2 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86733 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70998 | 0.22252 | 0.70998 | 0.31469 | 0.23327
P-CRESOL | 4433 | 77146GCM99 | 2011-05-19 | ug/L | 1.1516 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | P-CRESOL | . | 0.08 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1516 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0485 | 0.1459 | 1.0485 | 0.20634 | 0.15295
P-CRESOL | 4433 | 77146GCM99 | 2011-10-18 | ug/L | 0.94531 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | P-CRESOL | . | 0.08 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94531 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0485 | 0.1459 | 1.0485 | 0.20634 | 0.15295
P-CRESOL | 4433 | 77146GCM99 | 2010-07-20 | ug/L | 0.48541 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.1907 | P-CRESOL | E | 0.2 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48541 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62872 | 0.12853 | 0.66694 | 0.2484 | 0.18413
P-CRESOL | 4433 | 77146GCM99 | 2010-08-20 | ug/L | 0.66694 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.30437 | P-CRESOL | . | 0.2 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66694 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62872 | 0.12853 | 0.66694 | 0.2484 | 0.18413
P-CRESOL | 4433 | 77146GCM99 | 2010-08-20 | ug/L | 0.73381 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.5928 | P-CRESOL | . | 0.2 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73381 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62872 | 0.12853 | 0.66694 | 0.2484 | 0.18413
P-CRESOL | 4433 | 77146GCM99 | 2014-07-08 | ug/L | 0.78468 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.3186 | P-CRESOL | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78468 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82863 | 0.062144 | 0.82863 | 0.087884 | 0.065148
P-CRESOL | 4433 | 77146GCM99 | 2014-09-11 | ug/L | 0.87257 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.1593 | P-CRESOL | . | 0.08 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87257 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82863 | 0.062144 | 0.82863 | 0.087884 | 0.065148
P-CRESOL | 4433 | 77146GCM99 | 2014-11-05 | ug/L | 0.92906 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.3186 | P-CRESOL | . | 0.08 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92906 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93534 | 0.0088777 | 0.93534 | 0.012555 | 0.0093068
P-CRESOL | 4433 | 77146GCM99 | 2015-01-27 | ug/L | 0.94162 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.1593 | P-CRESOL | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94162 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93534 | 0.0088777 | 0.93534 | 0.012555 | 0.0093068
P-CRESOL | 4433 | 77146GCM99 | 2015-07-22 | ug/L | 1.0417 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.24 | P-CRESOL | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0417 |  | 1.0417 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2015-11-17 | ug/L | 0.79167 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.12 | P-CRESOL | . | 0.08 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79167 |  | 0.79167 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2012-07-31 | ug/L | 0.95032 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2536 | P-CRESOL | . | 0.08 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95032 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78667 | 0.23143 | 0.78667 | 0.32729 | 0.24261
P-CRESOL | 4433 | 77146GCM99 | 2013-03-27 | ug/L | 0.62303 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2536 | P-CRESOL | . | 0.08 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62303 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78667 | 0.23143 | 0.78667 | 0.32729 | 0.24261
P-CRESOL | 4433 | 77146GCM99 | 2013-08-01 | ug/L | 0.54558 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.702 | P-CRESOL | . | 0.08 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54558 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68234 | 0.1934 | 0.68234 | 0.2735 | 0.20275
P-CRESOL | 4433 | 77146GCM99 | 2014-04-22 | ug/L | 0.81909 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.1404 | P-CRESOL | . | 0.08 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81909 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68234 | 0.1934 | 0.68234 | 0.2735 | 0.20275
P-CRESOL | 4433 | 77146GCM99 | 2013-11-14 | ug/L | 0.80282 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.142 | P-CRESOL | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80282 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80282 |  | 0.80282 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-03-28 | ug/L | 0.73 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | P-CRESOL | . | 0.08 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73 |  | 0.73 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2014-07-09 | ug/L | 0.86876 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1623 | P-CRESOL | . | 0.08 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86876 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72089 | 0.20913 | 0.72089 | 0.29575 | 0.21924
P-CRESOL | 4433 | 77146GCM99 | 2015-04-21 | ug/L | 0.57301 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1623 | P-CRESOL | . | 0.08 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57301 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72089 | 0.20913 | 0.72089 | 0.29575 | 0.21924
P-CRESOL | 4433 | 77146GCM99 | 2014-10-21 | ug/L | 0.88826 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.3186 | P-CRESOL | . | 0.08 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88826 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88826 |  | 0.88826 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2015-11-05 | ug/L | 0.86026 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.4952 | P-CRESOL | . | 0.08 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86026 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86026 |  | 0.86026 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2015-09-29 | ug/L | 1.0083 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.12 | P-CRESOL | . | 0.08 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.675 | 0.4714 | 0.675 | 0.66667 | 0.49419
P-CRESOL | 4433 | 77146GCM99 | 2016-01-14 | ug/L | 0.34167 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.24 | P-CRESOL | . | 0.08 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34167 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.675 | 0.4714 | 0.675 | 0.66667 | 0.49419
P-CRESOL | 4433 | 77146GCM99 | 2011-02-03 | ug/L | 0.6022 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.34208 | P-CRESOL | . | 0.08 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6022 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-04-26 | ug/L | 0.89823 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3429 | P-CRESOL | . | 0.08 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89823 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-06-29 | ug/L | 0.88163 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.3611 | P-CRESOL | . | 0.08 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88163 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-08-07 | ug/L | 0.8965 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.372 | P-CRESOL | E | 0.08 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8965 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-10-04 | ug/L | 0.83673 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.343 | P-CRESOL | . | 0.08 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83673 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-11-22 | ug/L | 0.7965 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.8575 | P-CRESOL | . | 0.08 | 0.683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7965 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2012-03-01 | ug/L | 0.83382 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.343 | P-CRESOL | . | 0.08 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83382 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2012-07-26 | ug/L | 1.0175 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.343 | P-CRESOL | . | 0.08 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0175 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2010-05-13 | ug/L | 0.49506 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.61407 | P-CRESOL | . | 0.2 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49506 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55412 | 0.083521 | 0.55412 | 0.11812 | 0.087559
P-CRESOL | 4433 | 77146GCM99 | 2010-08-18 | ug/L | 0.61317 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.2672 | P-CRESOL | . | 0.2 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61317 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55412 | 0.083521 | 0.55412 | 0.11812 | 0.087559