## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-08-20 | ug/L | 0.86443 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.216 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86443 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.824 | 0.057167 | 0.824 | 0.080846 | 0.05993
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-10-20 | ug/L | 0.78358 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.216 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78358 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.824 | 0.057167 | 0.824 | 0.080846 | 0.05993
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-12-03 | ug/L | 0.90485 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 6.432 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 5.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90485 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.90485 |  | 0.90485 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-10-01 | ug/L | 0.33471 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 4.84 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33471 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59298 | 0.36524 | 0.59298 | 0.51653 | 0.3829
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-11-17 | ug/L | 0.85124 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 2.42 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85124 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59298 | 0.36524 | 0.59298 | 0.51653 | 0.3829
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-05-08 | ug/L | 0.94245 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 2.398 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94245 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.94245 |  | 0.94245 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-05-12 | ug/L | 0.65509 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 4.3964 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65509 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7133 | 0.082328 | 0.7133 | 0.11643 | 0.086308
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-08-21 | ug/L | 0.77152 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 8.1787 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 6.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77152 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7133 | 0.082328 | 0.7133 | 0.11643 | 0.086308
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-10-22 | ug/L | 0.60433 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 3.144 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60433 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63295 | 0.040483 | 0.63295 | 0.057252 | 0.04244
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-04-23 | ug/L | 0.66158 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 3.144 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66158 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63295 | 0.040483 | 0.63295 | 0.057252 | 0.04244
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-06-05 | ug/L | 0.77425 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 3.216 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77425 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78617 | 0.10081 | 0.77425 | 0.20056 | 0.14867
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-09-23 | ug/L | 0.69185 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 6.432 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 4.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69185 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78617 | 0.10081 | 0.77425 | 0.20056 | 0.14867
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-05-07 | ug/L | 0.89241 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 3.216 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89241 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78617 | 0.10081 | 0.77425 | 0.20056 | 0.14867
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-08-20 | ug/L | 0.63574 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 6.402 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 4.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63574 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.53655 | 0.14027 | 0.53655 | 0.19838 | 0.14705
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-04-20 | ug/L | 0.43736 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 3.201 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43736 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.53655 | 0.14027 | 0.53655 | 0.19838 | 0.14705
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-02-06 | ug/L | 0.54125 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 8 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 4.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54125 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.54125 |  | 0.54125 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-09-17 | ug/L | 0.61231 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 3.201 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61231 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.53343 | 0.11156 | 0.53343 | 0.15776 | 0.11695
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-02-26 | ug/L | 0.45455 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 6.402 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45455 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.53343 | 0.11156 | 0.53343 | 0.15776 | 0.11695
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-07-16 | ug/L | 0.52484 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 6.402 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 3.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52484 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52484 |  | 0.52484 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-12-04 | ug/L | 0.70667 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70667 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57 | 0.19328 | 0.57 | 0.27333 | 0.20262
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-04-23 | ug/L | 0.43333 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43333 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57 | 0.19328 | 0.57 | 0.27333 | 0.20262
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-08-15 | ug/L | 0.39388 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 30.72 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 12.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39388 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39388 |  | 0.39388 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-10-16 | ug/L | 1.095 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 9.68 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 10.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.095 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.095 |  | 1.095 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2016-01-13 | ug/L | 0.57339 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 4.796 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57339 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57339 |  | 0.57339 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-08-24 | ug/L | 0.52 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.595 | 0.10607 | 0.595 | 0.15 | 0.11119
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-12-18 | ug/L | 0.67 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.595 | 0.10607 | 0.595 | 0.15 | 0.11119
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-07-29 | ug/L | 0.7 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 4 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7 |  | 0.7 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-12-15 | ug/L | 0.72282 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 9.8088 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 7.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72282 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2011-04-14 | ug/L | 0.76443 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.9507 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76443 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2011-07-07 | ug/L | 0.53046 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.94 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53046 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2011-08-17 | ug/L | 0.66624 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 15.76 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 10.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66624 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2011-11-22 | ug/L | 0.64975 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.94 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64975 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-01-16 | ug/L | 0.69797 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 15.76 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69797 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-03-06 | ug/L | 0.69137 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 9.85 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 6.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69137 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-03-07 | ug/L | 0.7335 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.94 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7335 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-04-10 | ug/L | 0.9533 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 9.85 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 9.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9533 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-07-27 | ug/L | 0.60025 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 15.76 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 9.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60025 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.70101 | 0.11174 | 0.69467 | 0.083756 | 0.062088
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-08-18 | ug/L | 0.59164 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0734 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59164 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67339 | 0.11562 | 0.67339 | 0.16351 | 0.12121
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-09-29 | ug/L | 0.75515 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.1581 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 3.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75515 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67339 | 0.11562 | 0.67339 | 0.16351 | 0.12121
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-09-30 | ug/L | 0.83884 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 4.84 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 4.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83884 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81508 | 0.033602 | 0.81508 | 0.047521 | 0.035227
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2016-01-12 | ug/L | 0.79132 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 9.68 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 7.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79132 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81508 | 0.033602 | 0.81508 | 0.047521 | 0.035227
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-10-15 | ug/L | 0.35537 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 2.42 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35537 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.35537 |  | 0.35537 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-11-14 | ug/L | 0.49 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.49667 | 0.0094281 | 0.49667 | 0.013333 | 0.0098839
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-04-23 | ug/L | 0.50333 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50333 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.49667 | 0.0094281 | 0.49667 | 0.013333 | 0.0098839
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-06-14 | ug/L | 0.72646 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 7.86 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 5.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72646 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72646 |  | 0.72646 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-05-29 | ug/L | 0.645 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 2 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.645 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.645 |  | 0.645 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-09-18 | ug/L | 0.79183 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2.008 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79183 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79183 |  | 0.79183 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-07-15 | ug/L | 0.8164 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8164 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81572 | 0.00096123 | 0.81572 | 0.0013594 | 0.0010077
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2010-08-20 | ug/L | 0.81504 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81504 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81572 | 0.00096123 | 0.81572 | 0.0013594 | 0.0010077
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2011-05-19 | ug/L | 1.0549 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0548 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.95711 | 0.13822 | 0.95711 | 0.19547 | 0.1449
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2011-10-18 | ug/L | 0.85938 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85938 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.95711 | 0.13822 | 0.95711 | 0.19547 | 0.1449
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-07-08 | ug/L | 0.5768 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 6.432 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5768 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75637 | 0.25395 | 0.75637 | 0.35914 | 0.26623
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-09-11 | ug/L | 0.93595 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 3.216 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 3.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93595 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75637 | 0.25395 | 0.75637 | 0.35914 | 0.26623
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-11-05 | ug/L | 0.6373 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 6.402 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 4.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6373 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62949 | 0.011045 | 0.62949 | 0.01562 | 0.011579
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-01-27 | ug/L | 0.62168 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 3.201 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62168 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62949 | 0.011045 | 0.62949 | 0.01562 | 0.011579
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-12-19 | ug/L | 0.65115 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 8.032 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 5.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65115 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62189 | 0.041377 | 0.62189 | 0.058516 | 0.043377
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-02-07 | ug/L | 0.59263 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 4.016 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59263 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62189 | 0.041377 | 0.62189 | 0.058516 | 0.043377
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-02-05 | ug/L | 0.59467 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 7.5 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 4.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59467 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59467 |  | 0.59467 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-04-24 | ug/L | 0.56616 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 3.144 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56616 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56616 |  | 0.56616 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2013-03-28 | ug/L | 0.63247 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 8.032 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 5.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63247 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63247 |  | 0.63247 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-05-22 | ug/L | 0.63433 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 3.216 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63433 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63433 |  | 0.63433 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2014-04-24 | ug/L | 0.37488 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 3.201 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37488 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.37488 |  | 0.37488 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-11-05 | ug/L | 0.91639 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 9.592 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 8.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91639 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.91639 |  | 0.91639 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-07-09 | ug/L | 0.88824 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 2.398 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88824 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88824 |  | 0.88824 | 0 | 0
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2015-09-29 | ug/L | 0.85488 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 2.398 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85488 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64533 | 0.29635 | 0.64533 | 0.4191 | 0.31067
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2016-01-14 | ug/L | 0.43578 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 4.796 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43578 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64533 | 0.29635 | 0.64533 | 0.4191 | 0.31067
PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 4433 | 62829GCM99 | 2012-07-28 | ug/L | 0.81673 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2.008 | PARA-NONYLPHENOL_(TOTAL)_(BRANCHED) | E | 1.6 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81673 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81673 |  | 0.81673 | 0 | 0