## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-08-20 | ug/L | 0.62305 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.21 | PENTACHLOROPHENOL | E | 1.6 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62305 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81464 | 0.27095 | 0.81464 | 0.38318 | 0.28405
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-10-20 | ug/L | 1.0062 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 3.21 | PENTACHLOROPHENOL | E | 1.6 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0062 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81464 | 0.27095 | 0.81464 | 0.38318 | 0.28405
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-12-03 | ug/L | 0.95908 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 6.402 | PENTACHLOROPHENOL | E | 1.6 | 6.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95908 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.95908 |  | 0.95908 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-05-12 | ug/L | 0.44317 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 4.3098 | PENTACHLOROPHENOL | E | 0.8 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44317 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54961 | 0.15052 | 0.54961 | 0.21287 | 0.1578
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-08-21 | ug/L | 0.65605 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 8.0177 | PENTACHLOROPHENOL | E | 0.8 | 5.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65605 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54961 | 0.15052 | 0.54961 | 0.21287 | 0.1578
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-10-22 | ug/L | 0.68114 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 4.008 | PENTACHLOROPHENOL | E | 1.6 | 2.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68114 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61252 | 0.097033 | 0.61252 | 0.13723 | 0.10172
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-04-23 | ug/L | 0.54391 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 4.008 | PENTACHLOROPHENOL | E | 1.6 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54391 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61252 | 0.097033 | 0.61252 | 0.13723 | 0.10172
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2016-01-26 | ug/L | 0.66377 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 4.836 | PENTACHLOROPHENOL | E | 1.6 | 3.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66377 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66377 |  | 0.66377 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-02-06 | ug/L | 0.871 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 10 | PENTACHLOROPHENOL | E | 1.6 | 8.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.871 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.871 |  | 0.871 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-09-17 | ug/L | 0.10903 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 3.21 | PENTACHLOROPHENOL | E | 1.6 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10903 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50545 | 0.56062 | 0.50545 | 0.79283 | 0.58772
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2015-02-26 | ug/L | 0.90187 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 6.42 | PENTACHLOROPHENOL | E | 1.6 | 5.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90187 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50545 | 0.56062 | 0.50545 | 0.79283 | 0.58772
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-07-16 | ug/L | 0.36239 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 6.402 | PENTACHLOROPHENOL | E | 1.6 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36239 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.36239 |  | 0.36239 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-12-04 | ug/L | 0.685 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 4 | PENTACHLOROPHENOL | E | 1.6 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.635 | 0.070711 | 0.635 | 0.1 | 0.074129
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-04-23 | ug/L | 0.585 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 4 | PENTACHLOROPHENOL | E | 1.6 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.585 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.635 | 0.070711 | 0.635 | 0.1 | 0.074129
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-08-15 | ug/L | 0.52448 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 40.04 | PENTACHLOROPHENOL | E | 1.6 | 21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52448 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52448 |  | 0.52448 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-08-24 | ug/L | 0.588 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.5 | PENTACHLOROPHENOL | E | 1.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.588 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.612 | 0.033941 | 0.612 | 0.048 | 0.035582
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-12-18 | ug/L | 0.636 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.5 | PENTACHLOROPHENOL | E | 1.6 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.612 | 0.033941 | 0.612 | 0.048 | 0.035582
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-29 | ug/L | 0.882 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 5 | PENTACHLOROPHENOL | E | 1.6 | 4.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.882 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.882 |  | 0.882 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-12-15 | ug/L | 0.79163 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.4107 | PENTACHLOROPHENOL | E | 1.6 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79163 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-04-14 | ug/L | 1.2812 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.3737 | PENTACHLOROPHENOL | E | 1.6 | 1.76 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2812 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-07-07 | ug/L | 0.31387 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.37 | PENTACHLOROPHENOL | E | 1.6 | 0.43 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.31387 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-08-17 | ug/L | 0.88686 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.48 | PENTACHLOROPHENOL | E | 1.6 | 4.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88686 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-11-22 | ug/L | 0.93431 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.37 | PENTACHLOROPHENOL | E | 1.6 | 1.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93431 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-01-16 | ug/L | 0.94708 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.48 | PENTACHLOROPHENOL | E | 1.6 | 5.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94708 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-03-06 | ug/L | 0.75328 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.425 | PENTACHLOROPHENOL | E | 1.6 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75328 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-03-07 | ug/L | 0.72263 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.37 | PENTACHLOROPHENOL | E | 1.6 | 0.99 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72263 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-04-10 | ug/L | 0.72993 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.425 | PENTACHLOROPHENOL | E | 1.6 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72993 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-27 | ug/L | 0.89051 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.48 | PENTACHLOROPHENOL | E | 1.6 | 4.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89051 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-08-18 | ug/L | 0.71049 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9691 | PENTACHLOROPHENOL | E | 0.8 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71049 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60083 | 0.15509 | 0.60083 | 0.21933 | 0.16258
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-09-29 | ug/L | 0.49116 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0516 | PENTACHLOROPHENOL | E | 0.8 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49116 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60083 | 0.15509 | 0.60083 | 0.21933 | 0.16258
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-12-04 | ug/L | 0.81776 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 6.42 | PENTACHLOROPHENOL | E | 1.6 | 5.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81776 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81776 |  | 0.81776 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-08-21 | ug/L | 0.8785 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.21 | PENTACHLOROPHENOL | E | 1.6 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8785 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9107 | 0.028946 | 0.919 | 0.056075 | 0.041568
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-09-23 | ug/L | 0.919 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 6.42 | PENTACHLOROPHENOL | E | 1.6 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.919 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9107 | 0.028946 | 0.919 | 0.056075 | 0.041568
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2015-04-22 | ug/L | 0.93458 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 3.21 | PENTACHLOROPHENOL | E | 1.6 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93458 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9107 | 0.028946 | 0.919 | 0.056075 | 0.041568
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2016-01-12 | ug/L | 0.69065 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 9.672 | PENTACHLOROPHENOL | E | 1.6 | 6.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69065 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.69065 |  | 0.69065 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-11-14 | ug/L | 0.2525 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 4 | PENTACHLOROPHENOL | E | 1.6 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2525 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.35375 | 0.14319 | 0.35375 | 0.2025 | 0.15011
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-04-23 | ug/L | 0.455 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 4 | PENTACHLOROPHENOL | E | 1.6 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.455 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.35375 | 0.14319 | 0.35375 | 0.2025 | 0.15011
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-06-14 | ug/L | 0.62475 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 10.02 | PENTACHLOROPHENOL | E | 1.6 | 6.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62475 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.62475 |  | 0.62475 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-05-29 | ug/L | 0.6 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 2.5 | PENTACHLOROPHENOL | E | 1.6 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6 |  | 0.6 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-09-18 | ug/L | 0.96645 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2.504 | PENTACHLOROPHENOL | E | 1.6 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96645 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.96645 |  | 0.96645 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-08-20 | ug/L | 0.91244 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | PENTACHLOROPHENOL | E | 0.8 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91244 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.91244 |  | 0.91244 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-05-19 | ug/L | 0.78183 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | PENTACHLOROPHENOL | E | 1.6 | 0.63 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78183 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.78154 | 0.0004101 | 0.78154 | 0.00057997 | 0.00042993
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-10-18 | ug/L | 0.78125 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | PENTACHLOROPHENOL | E | 1.6 | 1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78125 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 2 | 0.78154 | 0.0004101 | 0.78154 | 0.00057997 | 0.00042993
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2015-07-22 | ug/L | 0.98958 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 4.8 | PENTACHLOROPHENOL | E | 1.6 | 4.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98958 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.98958 |  | 0.98958 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2015-11-17 | ug/L | 0.84167 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 2.4 | PENTACHLOROPHENOL | E | 1.6 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84167 |  | 0.84167 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-12-19 | ug/L | 0.76078 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 10.016 | PENTACHLOROPHENOL | E | 1.6 | 7.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76078 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7508 | 0.01412 | 0.7508 | 0.019968 | 0.014802
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-02-07 | ug/L | 0.74081 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 5.008 | PENTACHLOROPHENOL | E | 1.6 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74081 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7508 | 0.01412 | 0.7508 | 0.019968 | 0.014802
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-02-05 | ug/L | 0.828 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 10 | PENTACHLOROPHENOL | E | 1.6 | 8.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.828 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.828 |  | 0.828 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-04-24 | ug/L | 0.5489 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 4.008 | PENTACHLOROPHENOL | E | 1.6 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5489 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5489 |  | 0.5489 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-03-28 | ug/L | 0.70787 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 10.016 | PENTACHLOROPHENOL | E | 1.6 | 7.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70787 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70787 |  | 0.70787 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-05-22 | ug/L | 0.46548 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 3.201 | PENTACHLOROPHENOL | E | 1.6 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46548 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.46548 |  | 0.46548 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-07-09 | ug/L | 0.6248 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 3.201 | PENTACHLOROPHENOL | E | 1.6 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6248 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81068 | 0.26287 | 0.81068 | 0.37176 | 0.27558
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2015-04-21 | ug/L | 0.99656 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 3.201 | PENTACHLOROPHENOL | E | 1.6 | 3.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99656 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81068 | 0.26287 | 0.81068 | 0.37176 | 0.27558
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-04-24 | ug/L | 0.50297 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 3.201 | PENTACHLOROPHENOL | E | 1.6 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50297 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50297 |  | 0.50297 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-06-04 | ug/L | 0.37957 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 6.402 | PENTACHLOROPHENOL | E | 1.6 | 2.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37957 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63496 | 0.36117 | 0.63496 | 0.51078 | 0.37863
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2014-10-21 | ug/L | 0.89035 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 6.402 | PENTACHLOROPHENOL | E | 1.6 | 5.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89035 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63496 | 0.36117 | 0.63496 | 0.51078 | 0.37863
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2015-11-05 | ug/L | 0.83127 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 9.672 | PENTACHLOROPHENOL | E | 1.6 | 8.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83127 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.83127 |  | 0.83127 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2016-01-14 | ug/L | 0.77292 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 4.8 | PENTACHLOROPHENOL | E | 1.6 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77292 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77292 |  | 0.77292 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-02-03 | ug/L | 0.6949 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3671 | PENTACHLOROPHENOL | E | 1.6 | 0.95 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6949 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-04-26 | ug/L | 0.97053 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3704 | PENTACHLOROPHENOL | E | 1.6 | 1.33 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97053 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-06-29 | ug/L | 0.82174 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.4397 | PENTACHLOROPHENOL | E | 1.6 | 4.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82174 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-08-07 | ug/L | 0.82434 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.4832 | PENTACHLOROPHENOL | E | 1.6 | 4.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82434 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-10-04 | ug/L | 0.41582 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3708 | PENTACHLOROPHENOL | E | 1.6 | 0.57 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41582 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-11-22 | ug/L | 0.68281 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 3.427 | PENTACHLOROPHENOL | E | 1.6 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68281 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-03-01 | ug/L | 0.69303 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3708 | PENTACHLOROPHENOL | E | 1.6 | 0.95 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69303 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-26 | ug/L | 0.79516 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3708 | PENTACHLOROPHENOL | E | 1.6 | 1.09 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79516 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-28 | ug/L | 1.0304 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2.504 | PENTACHLOROPHENOL | E | 1.6 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0304 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0304 |  | 1.0304 | 0 | 0