## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHENOL | 4433 | 34694GCM99 | 2014-08-20 | ug/L | 0.66975 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.324 | PHENOL | . | 0.16 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66975 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73148 | 0.087297 | 0.73148 | 0.12346 | 0.091517
PHENOL | 4433 | 34694GCM99 | 2014-10-20 | ug/L | 0.79321 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.324 | PHENOL | . | 0.16 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79321 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73148 | 0.087297 | 0.73148 | 0.12346 | 0.091517
PHENOL | 4433 | 34694GCM99 | 2014-12-03 | ug/L | 0.89035 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.6402 | PHENOL | . | 0.16 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89035 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89035 |  | 0.89035 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2011-02-17 | ug/L | 0.74643 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.34297 | PHENOL | . | 0.16 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74643 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-04-15 | ug/L | 0.92975 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.84216 | PHENOL | . | 0.16 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92975 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-05-03 | ug/L | 0.93351 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.33101 | PHENOL | E | 0.16 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93351 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-07-07 | ug/L | 0.76969 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8458 | PHENOL | . | 0.16 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76969 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-08-16 | ug/L | 0.68546 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.337 | PHENOL | . | 0.16 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68546 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-11-22 | ug/L | 0.55267 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.348 | PHENOL | . | 0.16 | 0.745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55267 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-12-08 | ug/L | 0.49852 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.337 | PHENOL | . | 0.16 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49852 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2012-03-07 | ug/L | 0.95074 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8425 | PHENOL | . | 0.16 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95074 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2012-04-10 | ug/L | 0.82196 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.337 | PHENOL | . | 0.16 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82196 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2012-05-04 | ug/L | 0.62671 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8425 | PHENOL | . | 0.16 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62671 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2013-08-06 | ug/L | 0.57676 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.5015 | PHENOL | . | 0.16 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57676 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57676 |  | 0.57676 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-10-22 | ug/L | 0.81333 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81333 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69667 | 0.16499 | 0.69667 | 0.23333 | 0.17297
PHENOL | 4433 | 34694GCM99 | 2014-04-23 | ug/L | 0.58 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69667 | 0.16499 | 0.69667 | 0.23333 | 0.17297
PHENOL | 4433 | 34694GCM99 | 2015-09-29 | ug/L | 0.97541 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.244 | PHENOL | . | 0.16 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97541 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86783 | 0.15214 | 0.86783 | 0.21516 | 0.1595
PHENOL | 4433 | 34694GCM99 | 2016-01-26 | ug/L | 0.76025 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.488 | PHENOL | . | 0.16 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76025 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86783 | 0.15214 | 0.86783 | 0.21516 | 0.1595
PHENOL | 4433 | 34694GCM99 | 2015-10-02 | ug/L | 0.54918 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.244 | PHENOL | . | 0.16 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54918 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54918 |  | 0.54918 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-02-06 | ug/L | 0.7373 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.2288 | PHENOL | . | 0.16 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7373 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7373 |  | 0.7373 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-05-30 | ug/L | 0.86914 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6144 | PHENOL | . | 0.16 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86914 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86914 |  | 0.86914 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2010-12-15 | ug/L | 0.7742 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33067 | PHENOL | . | 0.16 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7742 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-02-18 | ug/L | 0.80502 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.32794 | PHENOL | . | 0.16 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80502 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-06-28 | ug/L | 0.55772 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3304 | PHENOL | . | 0.16 | 0.742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55772 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-08-06 | ug/L | 0.65989 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8365 | PHENOL | . | 0.16 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65989 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-08-17 | ug/L | 0.75015 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3346 | PHENOL | . | 0.16 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75015 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-02-01 | ug/L | 0.1841 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8365 | PHENOL | E | 0.16 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1841 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-03-06 | ug/L | 0.70607 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3384 | PHENOL | . | 0.16 | 0.945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70607 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-03-07 | ug/L | 0.72923 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3346 | PHENOL | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72923 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-05-04 | ug/L | 0.60251 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8365 | PHENOL | . | 0.16 | 0.504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60251 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-05-22 | ug/L | 0.7113 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3384 | PHENOL | . | 0.16 | 0.952 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7113 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2010-05-19 | ug/L | 0.72609 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 1.391 | PHENOL | . | 0.2 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72609 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72609 |  | 0.72609 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2014-09-17 | ug/L | 0.62346 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.324 | PHENOL | . | 0.16 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62346 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7446 | 0.17132 | 0.7446 | 0.24228 | 0.1796
PHENOL | 4433 | 34694GCM99 | 2015-02-26 | ug/L | 0.86574 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.648 | PHENOL | . | 0.16 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86574 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7446 | 0.17132 | 0.7446 | 0.24228 | 0.1796
PHENOL | 4433 | 34694GCM99 | 2014-07-16 | ug/L | 0.54514 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.6402 | PHENOL | . | 0.16 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54514 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54514 |  | 0.54514 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-12-04 | ug/L | 0.80838 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.3006 | PHENOL | . | 0.16 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80838 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79009 | 0.025875 | 0.79009 | 0.036593 | 0.027126
PHENOL | 4433 | 34694GCM99 | 2014-04-23 | ug/L | 0.77179 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.3006 | PHENOL | . | 0.16 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77179 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79009 | 0.025875 | 0.79009 | 0.036593 | 0.027126
PHENOL | 4433 | 34694GCM99 | 2012-08-24 | ug/L | 0.56333 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56333 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.725 | 0.22863 | 0.725 | 0.32333 | 0.23968
PHENOL | 4433 | 34694GCM99 | 2012-12-18 | ug/L | 0.88667 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.725 | 0.22863 | 0.725 | 0.32333 | 0.23968
PHENOL | 4433 | 34694GCM99 | 2014-07-17 | ug/L | 0.44753 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.324 | PHENOL | . | 0.16 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44753 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61343 | 0.23461 | 0.61343 | 0.33179 | 0.24595
PHENOL | 4433 | 34694GCM99 | 2014-12-04 | ug/L | 0.77932 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.648 | PHENOL | . | 0.16 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77932 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61343 | 0.23461 | 0.61343 | 0.33179 | 0.24595
PHENOL | 4433 | 34694GCM99 | 2014-08-21 | ug/L | 0.66667 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.324 | PHENOL | . | 0.16 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81893 | 0.21495 | 0.72531 | 0.39815 | 0.29514
PHENOL | 4433 | 34694GCM99 | 2014-09-23 | ug/L | 0.72531 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.648 | PHENOL | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72531 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81893 | 0.21495 | 0.72531 | 0.39815 | 0.29514
PHENOL | 4433 | 34694GCM99 | 2015-04-22 | ug/L | 1.0648 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.324 | PHENOL | . | 0.16 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0648 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81893 | 0.21495 | 0.72531 | 0.39815 | 0.29514
PHENOL | 4433 | 34694GCM99 | 2015-09-30 | ug/L | 0.91598 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.488 | PHENOL | . | 0.16 | 0.447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91598 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84119 | 0.10578 | 0.84119 | 0.14959 | 0.11089
PHENOL | 4433 | 34694GCM99 | 2016-01-12 | ug/L | 0.76639 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.976 | PHENOL | . | 0.16 | 0.748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76639 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84119 | 0.10578 | 0.84119 | 0.14959 | 0.11089
PHENOL | 4433 | 34694GCM99 | 2015-10-15 | ug/L | 0.85833 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | PHENOL | . | 0.16 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85833 |  | 0.85833 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-09-26 | ug/L | 0.74518 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.3006 | PHENOL | . | 0.16 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74518 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74518 |  | 0.74518 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-06-12 | ug/L | 0.60667 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.75 | PHENOL | . | 0.16 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60667 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58667 | 0.028284 | 0.58667 | 0.04 | 0.029652
PHENOL | 4433 | 34694GCM99 | 2014-02-05 | ug/L | 0.56667 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56667 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58667 | 0.028284 | 0.58667 | 0.04 | 0.029652
PHENOL | 4433 | 34694GCM99 | 2012-12-12 | ug/L | 0.55664 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6144 | PHENOL | . | 0.16 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55664 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55664 |  | 0.55664 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2012-12-20 | ug/L | 0.56833 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | PHENOL | . | 0.16 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56833 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56833 |  | 0.56833 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2010-03-11 | ug/L | 0.53021 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 5.5827 | PHENOL | . | 0.2 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53021 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.52486 | 0.0075582 | 0.52486 | 0.010689 | 0.0079235
PHENOL | 4433 | 34694GCM99 | 2010-07-23 | ug/L | 0.51952 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 2.8103 | PHENOL | . | 0.2 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51952 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.52486 | 0.0075582 | 0.52486 | 0.010689 | 0.0079235
PHENOL | 4433 | 34694GCM99 | 2010-07-15 | ug/L | 0.30144 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | PHENOL | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30144 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50852 | 0.29285 | 0.50852 | 0.41416 | 0.30701
PHENOL | 4433 | 34694GCM99 | 2010-08-20 | ug/L | 0.7156 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | PHENOL | . | 0.2 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7156 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50852 | 0.29285 | 0.50852 | 0.41416 | 0.30701
PHENOL | 4433 | 34694GCM99 | 2011-05-19 | ug/L | 0.77687 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | PHENOL | . | 0.16 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77687 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88218 | 0.14894 | 0.88218 | 0.21063 | 0.15614
PHENOL | 4433 | 34694GCM99 | 2011-10-18 | ug/L | 0.9875 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | PHENOL | . | 0.16 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88218 | 0.14894 | 0.88218 | 0.21063 | 0.15614
PHENOL | 4433 | 34694GCM99 | 2015-07-22 | ug/L | 0.79375 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | PHENOL | . | 0.16 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79375 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79375 |  | 0.79375 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2015-11-17 | ug/L | 0.80833 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | PHENOL | . | 0.16 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80833 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80833 |  | 0.80833 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2012-07-31 | ug/L | 0.81055 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3072 | PHENOL | . | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81055 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61035 | 0.28312 | 0.61035 | 0.40039 | 0.29681
PHENOL | 4433 | 34694GCM99 | 2013-03-27 | ug/L | 0.41016 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3072 | PHENOL | . | 0.16 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41016 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61035 | 0.28312 | 0.61035 | 0.40039 | 0.29681
PHENOL | 4433 | 34694GCM99 | 2013-08-01 | ug/L | 0.27811 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.503 | PHENOL | . | 0.16 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27811 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.41018 | 0.18677 | 0.41018 | 0.26414 | 0.1958
PHENOL | 4433 | 34694GCM99 | 2014-04-22 | ug/L | 0.54225 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.3006 | PHENOL | . | 0.16 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54225 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.41018 | 0.18677 | 0.41018 | 0.26414 | 0.1958
PHENOL | 4433 | 34694GCM99 | 2013-11-14 | ug/L | 0.87 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87 |  | 0.87 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-03-28 | ug/L | 0.46333 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1.2 | PHENOL | . | 0.16 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46333 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.46333 |  | 0.46333 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2014-05-22 | ug/L | 0.59981 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.3201 | PHENOL | . | 0.16 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59981 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59981 |  | 0.59981 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2014-07-09 | ug/L | 0.6248 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.3201 | PHENOL | . | 0.16 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6248 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6248 |  | 0.6248 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2014-04-24 | ug/L | 0.54983 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.3201 | PHENOL | E | 0.16 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54983 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.54983 |  | 0.54983 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2014-06-04 | ug/L | 0.41706 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.6402 | PHENOL | E | 0.16 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41706 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59122 | 0.24631 | 0.59122 | 0.34833 | 0.25821
PHENOL | 4433 | 34694GCM99 | 2014-10-21 | ug/L | 0.76539 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.6402 | PHENOL | . | 0.16 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76539 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.59122 | 0.24631 | 0.59122 | 0.34833 | 0.25821
PHENOL | 4433 | 34694GCM99 | 2015-11-05 | ug/L | 0.61783 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.976 | PHENOL | . | 0.16 | 0.603 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61783 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61783 |  | 0.61783 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2016-01-14 | ug/L | 0.725 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.48 | PHENOL | . | 0.16 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.725 |  | 0.725 | 0 | 0