## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROMETON | 4433 | 39056GCM99 | 2015-10-01 | ug/L | 0.90417 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.48 | PROMETON | . | 0.16 | 0.434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90417 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0521 | 0.20919 | 1.0521 | 0.29583 | 0.2193
PROMETON | 4433 | 39056GCM99 | 2015-11-17 | ug/L | 1.2 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.24 | PROMETON | . | 0.16 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0521 | 0.20919 | 1.0521 | 0.29583 | 0.2193
PROMETON | 4433 | 39056GCM99 | 2015-05-08 | ug/L | 1.2333 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.24 | PROMETON | . | 0.16 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2333 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2333 |  | 1.2333 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2011-02-17 | ug/L | 0.93258 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2359 | PROMETON | . | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93258 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-04-15 | ug/L | 1.1238 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.57927 | PROMETON | . | 0.16 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1238 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-05-03 | ug/L | 1.0058 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.22768 | PROMETON | . | 0.16 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0058 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-07-07 | ug/L | 0.93852 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.58177 | PROMETON | . | 0.16 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93852 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-08-16 | ug/L | 1.0181 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2318 | PROMETON | . | 0.16 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0181 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-11-22 | ug/L | 0.95449 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9272 | PROMETON | . | 0.16 | 0.885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95449 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-12-08 | ug/L | 0.65574 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2318 | PROMETON | . | 0.16 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65574 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2012-03-07 | ug/L | 1.189 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.5795 | PROMETON | . | 0.16 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.189 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2012-04-10 | ug/L | 1.1475 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2318 | PROMETON | . | 0.16 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1475 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2012-05-04 | ug/L | 0.91803 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.5795 | PROMETON | . | 0.16 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91803 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2013-08-06 | ug/L | 0.70197 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.6525 | PROMETON | . | 0.16 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70197 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70197 |  | 0.70197 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-10-22 | ug/L | 0.78788 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.33 | PROMETON | . | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78788 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77121 | 0.02357 | 0.77121 | 0.033333 | 0.02471
PROMETON | 4433 | 39056GCM99 | 2014-04-23 | ug/L | 0.75455 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.33 | PROMETON | . | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75455 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77121 | 0.02357 | 0.77121 | 0.033333 | 0.02471
PROMETON | 4433 | 39056GCM99 | 2014-06-05 | ug/L | 0.78816 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.321 | PROMETON | . | 0.16 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78816 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95639 | 0.17653 | 0.94081 | 0.35202 | 0.26095
PROMETON | 4433 | 39056GCM99 | 2014-09-23 | ug/L | 0.94081 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.642 | PROMETON | . | 0.16 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94081 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95639 | 0.17653 | 0.94081 | 0.35202 | 0.26095
PROMETON | 4433 | 39056GCM99 | 2015-05-07 | ug/L | 1.1402 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.321 | PROMETON | . | 0.16 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1402 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95639 | 0.17653 | 0.94081 | 0.35202 | 0.26095
PROMETON | 4433 | 39056GCM99 | 2014-08-20 | ug/L | 1.0202 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.642 | PROMETON | . | 0.16 | 0.655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0202 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92913 | 0.12887 | 0.92913 | 0.18224 | 0.13509
PROMETON | 4433 | 39056GCM99 | 2015-04-20 | ug/L | 0.83801 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.321 | PROMETON | . | 0.16 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83801 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92913 | 0.12887 | 0.92913 | 0.18224 | 0.13509
PROMETON | 4433 | 39056GCM99 | 2013-02-06 | ug/L | 0.78125 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.048 | PROMETON | . | 0.16 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78125 |  | 0.78125 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-05-30 | ug/L | 0.81641 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.024 | PROMETON | . | 0.16 | 0.836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81641 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81641 |  | 0.81641 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2010-12-15 | ug/L | 0.9123 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2269 | PROMETON | . | 0.16 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9123 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-02-18 | ug/L | 1.0176 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.22503 | PROMETON | . | 0.16 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0176 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-06-28 | ug/L | 0.88945 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.91292 | PROMETON | . | 0.16 | 0.812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88945 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-08-06 | ug/L | 0.79268 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.574 | PROMETON | . | 0.16 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79268 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-08-17 | ug/L | 0.98868 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2296 | PROMETON | . | 0.16 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98868 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-02-01 | ug/L | 0.49477 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.574 | PROMETON | E | 0.16 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49477 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-03-06 | ug/L | 0.93097 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9184 | PROMETON | . | 0.16 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93097 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-03-07 | ug/L | 1.0105 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2296 | PROMETON | . | 0.16 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0105 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-05-04 | ug/L | 0.95122 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.574 | PROMETON | . | 0.16 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95122 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-05-22 | ug/L | 0.83188 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9184 | PROMETON | . | 0.16 | 0.764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83188 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2010-05-19 | ug/L | 1.0604 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.10939 | PROMETON | E | 0.2 | 0.116 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0604 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 1.0604 |  | 1.0604 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-12-04 | ug/L | 0.91843 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.331 | PROMETON | . | 0.16 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91843 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82326 | 0.13459 | 0.82326 | 0.19033 | 0.14109
PROMETON | 4433 | 39056GCM99 | 2014-04-23 | ug/L | 0.7281 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.331 | PROMETON | . | 0.16 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7281 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82326 | 0.13459 | 0.82326 | 0.19033 | 0.14109
PROMETON | 4433 | 39056GCM99 | 2015-10-16 | ug/L | 1.0833 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.96 | PROMETON | . | 0.16 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0833 |  | 1.0833 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2016-01-13 | ug/L | 1.0417 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.48 | PROMETON | . | 0.16 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0417 |  | 1.0417 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2012-08-24 | ug/L | 0.818 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | PROMETON | . | 0.16 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.818 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.811 | 0.0098995 | 0.811 | 0.014 | 0.010378
PROMETON | 4433 | 39056GCM99 | 2012-12-18 | ug/L | 0.804 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | PROMETON | . | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.804 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.811 | 0.0098995 | 0.811 | 0.014 | 0.010378
PROMETON | 4433 | 39056GCM99 | 2014-07-17 | ug/L | 0.69159 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.321 | PROMETON | . | 0.16 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69159 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85514 | 0.2313 | 0.85514 | 0.3271 | 0.24248
PROMETON | 4433 | 39056GCM99 | 2014-12-04 | ug/L | 1.0187 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.642 | PROMETON | . | 0.16 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0187 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85514 | 0.2313 | 0.85514 | 0.3271 | 0.24248
PROMETON | 4433 | 39056GCM99 | 2014-08-21 | ug/L | 0.8697 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.33 | PROMETON | . | 0.16 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8697 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94444 | 0.067238 | 0.96364 | 0.1303 | 0.096592
PROMETON | 4433 | 39056GCM99 | 2014-09-23 | ug/L | 0.96364 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | PROMETON | . | 0.16 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96364 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94444 | 0.067238 | 0.96364 | 0.1303 | 0.096592
PROMETON | 4433 | 39056GCM99 | 2015-04-22 | ug/L | 1 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.33 | PROMETON | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94444 | 0.067238 | 0.96364 | 0.1303 | 0.096592
PROMETON | 4433 | 39056GCM99 | 2015-09-30 | ug/L | 1.1042 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.48 | PROMETON | . | 0.16 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1042 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0344 | 0.0987 | 1.0344 | 0.13958 | 0.10347
PROMETON | 4433 | 39056GCM99 | 2016-01-12 | ug/L | 0.96458 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.96 | PROMETON | . | 0.16 | 0.926 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96458 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0344 | 0.0987 | 1.0344 | 0.13958 | 0.10347
PROMETON | 4433 | 39056GCM99 | 2015-10-15 | ug/L | 0.99167 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | PROMETON | . | 0.16 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99167 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99167 |  | 0.99167 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-09-26 | ug/L | 0.8852 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.331 | PROMETON | . | 0.16 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8852 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8852 |  | 0.8852 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-06-12 | ug/L | 0.79394 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.825 | PROMETON | . | 0.16 | 0.655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79394 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72576 | 0.096424 | 0.72576 | 0.13636 | 0.10108
PROMETON | 4433 | 39056GCM99 | 2014-02-05 | ug/L | 0.65758 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.33 | PROMETON | . | 0.16 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65758 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72576 | 0.096424 | 0.72576 | 0.13636 | 0.10108
PROMETON | 4433 | 39056GCM99 | 2012-12-12 | ug/L | 0.76367 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.024 | PROMETON | . | 0.16 | 0.782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76367 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76367 |  | 0.76367 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2012-12-20 | ug/L | 0.708 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | PROMETON | . | 0.16 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.708 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.708 |  | 0.708 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2010-03-11 | ug/L | 0.49265 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.43439 | PROMETON | . | 0.2 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49265 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69906 | 0.29192 | 0.69906 | 0.41284 | 0.30603
PROMETON | 4433 | 39056GCM99 | 2010-07-23 | ug/L | 0.90548 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.21867 | PROMETON | E | 0.2 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90548 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69906 | 0.29192 | 0.69906 | 0.41284 | 0.30603
PROMETON | 4433 | 39056GCM99 | 2010-07-15 | ug/L | 0.70755 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | PROMETON | . | 0.2 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70755 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8469 | 0.19707 | 0.8469 | 0.2787 | 0.2066
PROMETON | 4433 | 39056GCM99 | 2010-08-20 | ug/L | 0.98625 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | PROMETON | E | 0.2 | 0.962 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98625 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8469 | 0.19707 | 0.8469 | 0.2787 | 0.2066
PROMETON | 4433 | 39056GCM99 | 2011-05-19 | ug/L | 0.97667 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | PROMETON | . | 0.16 | 0.787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97667 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92583 | 0.071889 | 0.92583 | 0.10167 | 0.075365
PROMETON | 4433 | 39056GCM99 | 2011-10-18 | ug/L | 0.875 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | PROMETON | . | 0.16 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92583 | 0.071889 | 0.92583 | 0.10167 | 0.075365
PROMETON | 4433 | 39056GCM99 | 2014-07-08 | ug/L | 0.68939 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.66 | PROMETON | . | 0.16 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68939 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83864 | 0.21106 | 0.83864 | 0.29848 | 0.22126
PROMETON | 4433 | 39056GCM99 | 2014-09-11 | ug/L | 0.98788 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.33 | PROMETON | . | 0.16 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98788 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83864 | 0.21106 | 0.83864 | 0.29848 | 0.22126
PROMETON | 4433 | 39056GCM99 | 2014-11-05 | ug/L | 1.0848 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.66 | PROMETON | . | 0.16 | 0.716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0848 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1045 | 0.027856 | 1.1045 | 0.039394 | 0.029202
PROMETON | 4433 | 39056GCM99 | 2015-01-27 | ug/L | 1.1242 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.33 | PROMETON | . | 0.16 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1242 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1045 | 0.027856 | 1.1045 | 0.039394 | 0.029202
PROMETON | 4433 | 39056GCM99 | 2012-07-31 | ug/L | 1.0156 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.512 | PROMETON | . | 0.16 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82227 | 0.27345 | 0.82227 | 0.38672 | 0.28667
PROMETON | 4433 | 39056GCM99 | 2013-03-27 | ug/L | 0.62891 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.512 | PROMETON | . | 0.16 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62891 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82227 | 0.27345 | 0.82227 | 0.38672 | 0.28667
PROMETON | 4433 | 39056GCM99 | 2013-08-01 | ug/L | 0.57885 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.655 | PROMETON | . | 0.16 | 0.958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57885 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62175 | 0.06067 | 0.62175 | 0.085801 | 0.063603
PROMETON | 4433 | 39056GCM99 | 2014-04-22 | ug/L | 0.66465 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.331 | PROMETON | . | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66465 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62175 | 0.06067 | 0.62175 | 0.085801 | 0.063603
PROMETON | 4433 | 39056GCM99 | 2013-11-14 | ug/L | 0.84545 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.33 | PROMETON | . | 0.16 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84545 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84545 |  | 0.84545 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-03-28 | ug/L | 0.69 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | PROMETON | . | 0.16 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69 |  | 0.69 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2014-07-09 | ug/L | 0.6729 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.321 | PROMETON | . | 0.16 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6729 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81931 | 0.20707 | 0.81931 | 0.29283 | 0.21708
PROMETON | 4433 | 39056GCM99 | 2015-04-21 | ug/L | 0.96573 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.321 | PROMETON | . | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96573 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81931 | 0.20707 | 0.81931 | 0.29283 | 0.21708
PROMETON | 4433 | 39056GCM99 | 2014-06-04 | ug/L | 0.53485 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | PROMETON | E | 0.16 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53485 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69848 | 0.23142 | 0.69848 | 0.32727 | 0.2426
PROMETON | 4433 | 39056GCM99 | 2014-10-21 | ug/L | 0.86212 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.66 | PROMETON | . | 0.16 | 0.569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86212 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69848 | 0.23142 | 0.69848 | 0.32727 | 0.2426
PROMETON | 4433 | 39056GCM99 | 2015-11-05 | ug/L | 1.0938 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.96 | PROMETON | . | 0.16 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0938 |  | 1.0938 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2015-07-09 | ug/L | 0.96667 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.24 | PROMETON | . | 0.16 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96667 |  | 0.96667 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2015-09-29 | ug/L | 1.1167 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | PROMETON | . | 0.16 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1167 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9875 | 0.18267 | 0.9875 | 0.25833 | 0.1915
PROMETON | 4433 | 39056GCM99 | 2016-01-14 | ug/L | 0.85833 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.48 | PROMETON | . | 0.16 | 0.412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9875 | 0.18267 | 0.9875 | 0.25833 | 0.1915