## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-08-20 | ug/L | 0.78047 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3216 | TETRACHLOROETHYLENE | E | 0.16 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78047 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76337 | 0.024186 | 0.76337 | 0.034204 | 0.025355
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-10-20 | ug/L | 0.74627 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3216 | TETRACHLOROETHYLENE | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74627 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76337 | 0.024186 | 0.76337 | 0.034204 | 0.025355
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-12-03 | ug/L | 0.57058 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.6432 | TETRACHLOROETHYLENE | E | 0.16 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57058 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57058 |  | 0.57058 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-10-01 | ug/L | 0.80625 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.48 | TETRACHLOROETHYLENE | E | 0.16 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80625 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70104 | 0.14879 | 0.70104 | 0.21042 | 0.15598
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-11-17 | ug/L | 0.59583 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.24 | TETRACHLOROETHYLENE | E | 0.16 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59583 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70104 | 0.14879 | 0.70104 | 0.21042 | 0.15598
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-05-08 | ug/L | 0.65 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.24 | TETRACHLOROETHYLENE | E | 0.16 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.65 |  | 0.65 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-05-12 | ug/L | 0.50718 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 0.836 | TETRACHLOROETHYLENE | E | 0.4 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50718 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50821 | 0.0014631 | 0.50821 | 0.0020692 | 0.0015339
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-08-21 | ug/L | 0.50925 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 1.5552 | TETRACHLOROETHYLENE | E | 0.4 | 0.792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50925 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50821 | 0.0014631 | 0.50821 | 0.0020692 | 0.0015339
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-08-06 | ug/L | 0.60622 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.9135 | TETRACHLOROETHYLENE | E | 0.16 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60622 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60622 |  | 0.60622 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-10-22 | ug/L | 0.54688 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.384 | TETRACHLOROETHYLENE | E | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54688 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54167 | 0.0073657 | 0.54167 | 0.010417 | 0.0077218
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-04-23 | ug/L | 0.53646 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.384 | TETRACHLOROETHYLENE | E | 0.16 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53646 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54167 | 0.0073657 | 0.54167 | 0.010417 | 0.0077218
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-06-05 | ug/L | 0.60945 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3216 | TETRACHLOROETHYLENE | E | 0.16 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60945 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72917 | 0.15429 | 0.67475 | 0.29384 | 0.21782
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-09-23 | ug/L | 0.9033 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.6432 | TETRACHLOROETHYLENE | E | 0.16 | 0.581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9033 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72917 | 0.15429 | 0.67475 | 0.29384 | 0.21782
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-05-07 | ug/L | 0.67475 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3216 | TETRACHLOROETHYLENE | E | 0.16 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67475 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72917 | 0.15429 | 0.67475 | 0.29384 | 0.21782
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-08-20 | ug/L | 0.64884 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.6396 | TETRACHLOROETHYLENE | E | 0.16 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64884 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.58552 | 0.089549 | 0.58552 | 0.12664 | 0.093878
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-04-20 | ug/L | 0.5222 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.3198 | TETRACHLOROETHYLENE | E | 0.16 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5222 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.58552 | 0.089549 | 0.58552 | 0.12664 | 0.093878
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-09-29 | ug/L | 0.60417 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.24 | TETRACHLOROETHYLENE | E | 0.16 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60417 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61667 | 0.017678 | 0.61667 | 0.025 | 0.018532
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2016-01-26 | ug/L | 0.62917 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.48 | TETRACHLOROETHYLENE | E | 0.16 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62917 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61667 | 0.017678 | 0.61667 | 0.025 | 0.018532
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-10-02 | ug/L | 1.0708 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.24 | TETRACHLOROETHYLENE | E | 0.16 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0708 |  | 1.0708 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-02-06 | ug/L | 0.575 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2 | TETRACHLOROETHYLENE | E | 0.16 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.575 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.575 |  | 0.575 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-05-30 | ug/L | 0.488 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | TETRACHLOROETHYLENE | E | 0.16 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.488 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.488 |  | 0.488 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-09-17 | ug/L | 0.67542 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3198 | TETRACHLOROETHYLENE | E | 0.16 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67542 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62774 | 0.067438 | 0.62774 | 0.095372 | 0.070698
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-02-26 | ug/L | 0.58005 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.6396 | TETRACHLOROETHYLENE | E | 0.16 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58005 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62774 | 0.067438 | 0.62774 | 0.095372 | 0.070698
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-07-16 | ug/L | 0.59881 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.6396 | TETRACHLOROETHYLENE | E | 0.16 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59881 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59881 |  | 0.59881 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-12-04 | ug/L | 0.66597 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.3814 | TETRACHLOROETHYLENE | E | 0.16 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66597 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57682 | 0.12607 | 0.57682 | 0.17829 | 0.13216
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-04-23 | ug/L | 0.48768 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.3814 | TETRACHLOROETHYLENE | E | 0.16 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48768 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57682 | 0.12607 | 0.57682 | 0.17829 | 0.13216
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-10-16 | ug/L | 0.73542 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.96 | TETRACHLOROETHYLENE | E | 0.16 | 0.706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73542 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73542 |  | 0.73542 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2016-01-13 | ug/L | 0.6625 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.48 | TETRACHLOROETHYLENE | E | 0.16 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6625 |  | 0.6625 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-08-24 | ug/L | 0.498 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TETRACHLOROETHYLENE | E | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.498 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.549 | 0.072125 | 0.549 | 0.102 | 0.075612
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-12-18 | ug/L | 0.6 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TETRACHLOROETHYLENE | E | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.549 | 0.072125 | 0.549 | 0.102 | 0.075612
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-12-15 | ug/L | 0.51496 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.6331 | TETRACHLOROETHYLENE | E | 0.16 | 0.841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51496 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-04-14 | ug/L | 0.54882 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.65778 | TETRACHLOROETHYLENE | E | 0.16 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54882 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-07-07 | ug/L | 0.48171 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.656 | TETRACHLOROETHYLENE | E | 0.16 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48171 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-08-17 | ug/L | 0.59832 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.624 | TETRACHLOROETHYLENE | E | 0.16 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59832 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-11-22 | ug/L | 0.60518 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.656 | TETRACHLOROETHYLENE | E | 0.16 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60518 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-01-16 | ug/L | 0.53354 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.624 | TETRACHLOROETHYLENE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53354 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-03-06 | ug/L | 0.62805 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.64 | TETRACHLOROETHYLENE | E | 0.16 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62805 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-03-07 | ug/L | 0.54116 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.656 | TETRACHLOROETHYLENE | E | 0.16 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54116 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-04-10 | ug/L | 0.58232 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.64 | TETRACHLOROETHYLENE | E | 0.16 | 0.955 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58232 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-07-27 | ug/L | 0.81174 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.624 | TETRACHLOROETHYLENE | E | 0.16 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81174 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-08-18 | ug/L | 0.6413 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.76252 | TETRACHLOROETHYLENE | E | 0.4 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6413 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56539 | 0.10735 | 0.56539 | 0.15181 | 0.11254
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-09-29 | ug/L | 0.48948 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.77837 | TETRACHLOROETHYLENE | E | 0.4 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48948 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56539 | 0.10735 | 0.56539 | 0.15181 | 0.11254
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-09-26 | ug/L | 0.57682 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.3814 | TETRACHLOROETHYLENE | E | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57682 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57682 |  | 0.57682 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-06-12 | ug/L | 0.59167 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.96 | TETRACHLOROETHYLENE | E | 0.16 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59167 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54453 | 0.06666 | 0.54453 | 0.094271 | 0.069882
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-02-05 | ug/L | 0.4974 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.384 | TETRACHLOROETHYLENE | E | 0.16 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4974 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54453 | 0.06666 | 0.54453 | 0.094271 | 0.069882
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-12-12 | ug/L | 0.556 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | TETRACHLOROETHYLENE | E | 0.16 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.556 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.556 |  | 0.556 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-12-20 | ug/L | 0.636 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | TETRACHLOROETHYLENE | E | 0.16 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.636 |  | 0.636 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-07-15 | ug/L | 0.49717 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | TETRACHLOROETHYLENE | E | 0.4 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49717 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51309 | 0.022515 | 0.51309 | 0.031841 | 0.023603
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2010-08-20 | ug/L | 0.52901 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | TETRACHLOROETHYLENE | E | 0.4 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52901 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51309 | 0.022515 | 0.51309 | 0.031841 | 0.023603
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-05-19 | ug/L | 0.72723 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | TETRACHLOROETHYLENE | E | 0.16 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72723 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73705 | 0.013894 | 0.73705 | 0.019649 | 0.014566
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-10-18 | ug/L | 0.74687 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | TETRACHLOROETHYLENE | E | 0.16 | 0.956 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74687 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73705 | 0.013894 | 0.73705 | 0.019649 | 0.014566
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-07-08 | ug/L | 0.4944 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.6432 | TETRACHLOROETHYLENE | E | 0.16 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4944 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56592 | 0.10114 | 0.56592 | 0.14303 | 0.10603
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-09-11 | ug/L | 0.63744 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.3216 | TETRACHLOROETHYLENE | E | 0.16 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63744 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56592 | 0.10114 | 0.56592 | 0.14303 | 0.10603
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-11-05 | ug/L | 0.76141 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.6396 | TETRACHLOROETHYLENE | E | 0.16 | 0.487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76141 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.6762 | 0.1205 | 0.6762 | 0.17042 | 0.12633
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-01-27 | ug/L | 0.59099 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.3198 | TETRACHLOROETHYLENE | E | 0.16 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59099 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.6762 | 0.1205 | 0.6762 | 0.17042 | 0.12633
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-07-22 | ug/L | 0.72708 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | TETRACHLOROETHYLENE | E | 0.16 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72708 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72708 |  | 0.72708 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-11-17 | ug/L | 0.66667 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | TETRACHLOROETHYLENE | E | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66667 |  | 0.66667 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-07-31 | ug/L | 0.692 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | TETRACHLOROETHYLENE | E | 0.16 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.609 | 0.11738 | 0.609 | 0.166 | 0.12305
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-03-27 | ug/L | 0.526 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | TETRACHLOROETHYLENE | E | 0.16 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.526 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.609 | 0.11738 | 0.609 | 0.166 | 0.12305
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-08-01 | ug/L | 0.74463 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.907 | TETRACHLOROETHYLENE | E | 0.16 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74463 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59649 | 0.2095 | 0.59649 | 0.29628 | 0.21963
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-04-22 | ug/L | 0.44835 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.3814 | TETRACHLOROETHYLENE | E | 0.16 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44835 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59649 | 0.2095 | 0.59649 | 0.29628 | 0.21963
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-11-14 | ug/L | 0.63802 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.384 | TETRACHLOROETHYLENE | E | 0.16 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63802 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63802 |  | 0.63802 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2013-03-28 | ug/L | 0.484 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | TETRACHLOROETHYLENE | E | 0.16 | 0.968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.484 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.484 |  | 0.484 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-05-22 | ug/L | 0.53172 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.3216 | TETRACHLOROETHYLENE | E | 0.16 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53172 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.53172 |  | 0.53172 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2014-04-24 | ug/L | 0.58474 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.3198 | TETRACHLOROETHYLENE | E | 0.16 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58474 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58474 |  | 0.58474 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2015-07-09 | ug/L | 0.6875 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.24 | TETRACHLOROETHYLENE | E | 0.16 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6875 |  | 0.6875 | 0 | 0
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-02-03 | ug/L | 0.41766 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64167 | TETRACHLOROETHYLENE | E | 0.16 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41766 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-04-26 | ug/L | 0.70584 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64321 | TETRACHLOROETHYLENE | E | 0.16 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70584 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-06-29 | ug/L | 0.611 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5532 | TETRACHLOROETHYLENE | E | 0.16 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.611 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-08-07 | ug/L | 0.48959 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5736 | TETRACHLOROETHYLENE | E | 0.16 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48959 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-10-04 | ug/L | 0.54088 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6434 | TETRACHLOROETHYLENE | E | 0.16 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54088 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2011-11-22 | ug/L | 0.56077 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.6085 | TETRACHLOROETHYLENE | E | 0.16 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56077 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-03-01 | ug/L | 0.54865 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6434 | TETRACHLOROETHYLENE | E | 0.16 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54865 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLOROETHYLENE | 4433 | 34475GCM99 | 2012-07-26 | ug/L | 0.62481 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6434 | TETRACHLOROETHYLENE | E | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111