## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-08-20 | ug/L | 0.83333 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1284 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87227 | 0.055071 | 0.87227 | 0.077882 | 0.057733
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-10-20 | ug/L | 0.91121 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1284 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91121 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87227 | 0.055071 | 0.87227 | 0.077882 | 0.057733
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-12-03 | ug/L | 1.0709 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.2568 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0709 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0709 |  | 1.0709 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-10-01 | ug/L | 0.68229 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.192 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68229 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76302 | 0.11417 | 0.76302 | 0.16146 | 0.11969
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-11-17 | ug/L | 0.84375 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.096 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84375 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76302 | 0.11417 | 0.76302 | 0.16146 | 0.11969
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-05-08 | ug/L | 1.3021 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.096 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3021 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3021 |  | 1.3021 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-08-06 | ug/L | 0.65269 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.501 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65269 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65269 |  | 0.65269 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-10-22 | ug/L | 0.85 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.1 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.885 | 0.049497 | 0.885 | 0.07 | 0.05189
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-04-23 | ug/L | 0.92 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.1 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.885 | 0.049497 | 0.885 | 0.07 | 0.05189
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-06-05 | ug/L | 0.88006 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1284 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88006 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.90343 | 0.15321 | 0.88006 | 0.30374 | 0.22516
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-09-23 | ug/L | 0.76324 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.2568 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76324 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90343 | 0.15321 | 0.88006 | 0.30374 | 0.22516
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-05-07 | ug/L | 1.067 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1284 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.067 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90343 | 0.15321 | 0.88006 | 0.30374 | 0.22516
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-08-20 | ug/L | 0.99608 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.255 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99608 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86275 | 0.18856 | 0.86275 | 0.26667 | 0.19768
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-04-20 | ug/L | 0.72941 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.1275 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72941 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86275 | 0.18856 | 0.86275 | 0.26667 | 0.19768
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-09-29 | ug/L | 1.0312 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.096 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1 | 0.044194 | 1 | 0.0625 | 0.046331
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2016-01-26 | ug/L | 0.96875 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.192 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1 | 0.044194 | 1 | 0.0625 | 0.046331
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-10-02 | ug/L | 0.625 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.096 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.625 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.625 |  | 0.625 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-02-06 | ug/L | 0.84003 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.9952 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84003 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84003 |  | 0.84003 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-05-30 | ug/L | 0.94252 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.4976 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94252 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94252 |  | 0.94252 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-09-17 | ug/L | 0.99608 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1275 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99608 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92549 | 0.099827 | 0.92549 | 0.14118 | 0.10465
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-02-26 | ug/L | 0.8549 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.255 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8549 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92549 | 0.099827 | 0.92549 | 0.14118 | 0.10465
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-07-16 | ug/L | 0.88235 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.255 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88235 |  | 0.88235 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-12-04 | ug/L | 0.98606 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1004 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98606 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99104 | 0.0070429 | 0.99104 | 0.0099602 | 0.0073834
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-04-23 | ug/L | 0.99602 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1004 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99602 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99104 | 0.0070429 | 0.99104 | 0.0099602 | 0.0073834
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-10-16 | ug/L | 0.84635 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.384 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84635 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84635 |  | 0.84635 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2016-01-13 | ug/L | 0.91146 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.192 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91146 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.91146 |  | 0.91146 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-08-24 | ug/L | 0.704 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.704 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.822 | 0.16688 | 0.822 | 0.236 | 0.17494
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-12-18 | ug/L | 0.94 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.822 | 0.16688 | 0.822 | 0.236 | 0.17494
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-12-15 | ug/L | 0.81996 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.60247 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81996 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-04-14 | ug/L | 1.0509 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.24266 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0509 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-07-07 | ug/L | 0.83058 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.242 | TRIBUTYL_PHOSPHATE | E | 0.04 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83058 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-08-17 | ug/L | 1.0083 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.968 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-11-22 | ug/L | 0.80165 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.242 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80165 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-01-16 | ug/L | 0.91426 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.968 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91426 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-03-06 | ug/L | 0.94215 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.605 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94215 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-03-07 | ug/L | 1.1818 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.242 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1818 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-04-10 | ug/L | 1.0331 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.605 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0331 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-07-27 | ug/L | 0.89876 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.968 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89876 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94814 | 0.12079 | 0.9282 | 0.20248 | 0.1501
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-09-26 | ug/L | 1.1554 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1004 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1554 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1554 |  | 1.1554 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-06-12 | ug/L | 0.936 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.25 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.888 | 0.067882 | 0.888 | 0.096 | 0.071164
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-02-05 | ug/L | 0.84 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.1 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.888 | 0.067882 | 0.888 | 0.096 | 0.071164
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-12-12 | ug/L | 0.92042 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.4976 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92042 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.92042 |  | 0.92042 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-12-20 | ug/L | 0.828 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.828 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.828 |  | 0.828 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-07-15 | ug/L | 0.80803 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80803 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87561 | 0.095576 | 0.87561 | 0.13516 | 0.1002
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-08-20 | ug/L | 0.94319 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94319 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87561 | 0.095576 | 0.87561 | 0.13516 | 0.1002
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-05-19 | ug/L | 1.3006 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3006 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.18 | 0.17055 | 1.18 | 0.24119 | 0.17879
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-10-18 | ug/L | 1.0594 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0594 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.18 | 0.17055 | 1.18 | 0.24119 | 0.17879
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-07-20 | ug/L | 0.35601 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 1.0646 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35601 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57919 | 0.19331 | 0.68719 | 0.33835 | 0.25081
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-08-20 | ug/L | 0.68719 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.27212 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68719 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57919 | 0.19331 | 0.68719 | 0.33835 | 0.25081
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-08-20 | ug/L | 0.69436 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.52998 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69436 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57919 | 0.19331 | 0.68719 | 0.33835 | 0.25081
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-07-08 | ug/L | 0.7243 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.2568 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7243 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87227 | 0.20927 | 0.87227 | 0.29595 | 0.21938
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-09-11 | ug/L | 1.0202 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.1284 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0202 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.87227 | 0.20927 | 0.87227 | 0.29595 | 0.21938
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-11-05 | ug/L | 0.9451 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.255 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9451 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88431 | 0.085962 | 0.88431 | 0.12157 | 0.090118
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-01-27 | ug/L | 0.82353 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.1275 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82353 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88431 | 0.085962 | 0.88431 | 0.12157 | 0.090118
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-07-22 | ug/L | 0.90625 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.192 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.90625 |  | 0.90625 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-11-17 | ug/L | 0.72917 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.096 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72917 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72917 |  | 0.72917 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-07-31 | ug/L | 0.92846 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2488 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92846 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85209 | 0.108 | 0.85209 | 0.15273 | 0.11322
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-03-27 | ug/L | 0.77572 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2488 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77572 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85209 | 0.108 | 0.85209 | 0.15273 | 0.11322
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-08-01 | ug/L | 0.49801 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.502 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49801 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71215 | 0.30284 | 0.71215 | 0.42829 | 0.31748
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-04-22 | ug/L | 0.92629 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.1004 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92629 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71215 | 0.30284 | 0.71215 | 0.42829 | 0.31748
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-11-14 | ug/L | 0.98 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.1 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98 |  | 0.98 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2013-03-28 | ug/L | 0.811 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.811 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.811 |  | 0.811 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-05-22 | ug/L | 0.82555 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.1284 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82555 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82555 |  | 0.82555 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2014-04-24 | ug/L | 0.52549 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.1275 | TRIBUTYL_PHOSPHATE | E | 0.064 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52549 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52549 |  | 0.52549 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2015-07-09 | ug/L | 0.79167 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.096 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79167 |  | 0.79167 | 0 | 0
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-02-03 | ug/L | 0.75326 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.24294 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75326 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-04-26 | ug/L | 0.68576 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.24353 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68576 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-06-29 | ug/L | 0.73448 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 0.96667 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73448 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-08-07 | ug/L | 0.84462 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 0.9744 | TRIBUTYL_PHOSPHATE | . | 0.04 | 0.823 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84462 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-10-04 | ug/L | 0.94007 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2436 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94007 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2011-11-22 | ug/L | 0.66667 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.609 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-03-01 | ug/L | 0.76765 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2436 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76765 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2012-07-26 | ug/L | 0.65681 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2436 | TRIBUTYL_PHOSPHATE | . | 0.064 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65681 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.75616 | 0.096431 | 0.74387 | 0.12993 | 0.096313
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-05-13 | ug/L | 0.16029 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.549 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16029 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.21299 | 0.074528 | 0.21299 | 0.1054 | 0.07813
TRIBUTYL PHOSPHATE | 4433 | 62832GCM99 | 2010-08-18 | ug/L | 0.26569 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.1329 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26569 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.21299 | 0.074528 | 0.21299 | 0.1054 | 0.07813