## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRICLOSAN | 4433 | 61708GCM99 | 2014-08-20 | ug/L | 0.89515 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.639 | TRICLOSAN | . | 0.32 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89515 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0039 | 0.15382 | 1.0039 | 0.21753 | 0.16125
TRICLOSAN | 4433 | 61708GCM99 | 2014-10-20 | ug/L | 1.1127 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.639 | TRICLOSAN | . | 0.32 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1127 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0039 | 0.15382 | 1.0039 | 0.21753 | 0.16125
TRICLOSAN | 4433 | 61708GCM99 | 2014-12-03 | ug/L | 1.1564 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 1.2798 | TRICLOSAN | . | 0.32 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1564 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1564 |  | 1.1564 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2015-10-01 | ug/L | 0.73529 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.952 | TRICLOSAN | . | 0.32 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73529 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96218 | 0.32087 | 0.96218 | 0.45378 | 0.33638
TRICLOSAN | 4433 | 61708GCM99 | 2015-11-17 | ug/L | 1.1891 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.476 | TRICLOSAN | E | 0.32 | 0.566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1891 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.96218 | 0.32087 | 0.96218 | 0.45378 | 0.33638
TRICLOSAN | 4433 | 61708GCM99 | 2015-05-08 | ug/L | 1.275 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.48 | TRICLOSAN | E | 0.32 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.275 |  | 1.275 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2011-02-17 | ug/L | 1.0425 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.56401 | TRICLOSAN | . | 0.32 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0425 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-04-15 | ug/L | 1.2203 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3849 | TRICLOSAN | . | 0.32 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2203 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-05-03 | ug/L | 1.3337 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.54435 | TRICLOSAN | E | 0.32 | 0.726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3337 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-07-07 | ug/L | 0.82679 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3909 | TRICLOSAN | . | 0.32 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82679 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-08-16 | ug/L | 1.1674 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5542 | TRICLOSAN | . | 0.32 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1674 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-11-22 | ug/L | 0.92476 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.2168 | TRICLOSAN | . | 0.32 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92476 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-12-08 | ug/L | 0.97618 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5542 | TRICLOSAN | . | 0.32 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97618 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2012-03-07 | ug/L | 1.1765 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3855 | TRICLOSAN | . | 0.32 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2012-04-10 | ug/L | 1.2017 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5542 | TRICLOSAN | . | 0.32 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2017 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2012-05-04 | ug/L | 1.0177 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3855 | TRICLOSAN | . | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0177 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2013-10-22 | ug/L | 0.73749 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.6712 | TRICLOSAN | . | 0.32 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73749 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78293 | 0.064263 | 0.78293 | 0.090882 | 0.06737
TRICLOSAN | 4433 | 61708GCM99 | 2014-04-23 | ug/L | 0.82837 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.6712 | TRICLOSAN | . | 0.32 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82837 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78293 | 0.064263 | 0.78293 | 0.090882 | 0.06737
TRICLOSAN | 4433 | 61708GCM99 | 2013-02-06 | ug/L | 0.8852 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 7.84 | TRICLOSAN | . | 0.32 | 6.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8852 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8852 |  | 0.8852 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2010-12-15 | ug/L | 0.90065 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.54294 | TRICLOSAN | . | 0.32 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90065 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-02-18 | ug/L | 1.1737 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.53847 | TRICLOSAN | . | 0.32 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-06-28 | ug/L | 0.97505 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.1845 | TRICLOSAN | . | 0.32 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97505 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-08-06 | ug/L | 0.77175 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.3735 | TRICLOSAN | . | 0.32 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77175 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-08-17 | ug/L | 1.2013 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5494 | TRICLOSAN | . | 0.32 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2013 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-02-01 | ug/L | 0.53149 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.3735 | TRICLOSAN | E | 0.32 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53149 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-03-06 | ug/L | 0.95104 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.1976 | TRICLOSAN | . | 0.32 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95104 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-03-07 | ug/L | 1.103 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5494 | TRICLOSAN | . | 0.32 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.103 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-05-04 | ug/L | 1.0411 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.3735 | TRICLOSAN | . | 0.32 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0411 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-05-22 | ug/L | 0.80997 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.1976 | TRICLOSAN | . | 0.32 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80997 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2010-05-19 | ug/L | 0.97256 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.36913 | TRICLOSAN | . | 0.2 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97256 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97256 |  | 0.97256 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2014-09-17 | ug/L | 1.0532 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.639 | TRICLOSAN | . | 0.32 | 0.673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0532 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1213 | 0.096273 | 1.1213 | 0.13615 | 0.10093
TRICLOSAN | 4433 | 61708GCM99 | 2015-02-26 | ug/L | 1.1894 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 1.278 | TRICLOSAN | E | 0.32 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1894 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1213 | 0.096273 | 1.1213 | 0.13615 | 0.10093
TRICLOSAN | 4433 | 61708GCM99 | 2014-07-16 | ug/L | 0.83607 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 1.2798 | TRICLOSAN | . | 0.32 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83607 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83607 |  | 0.83607 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-12-04 | ug/L | 0.97401 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.654 | TRICLOSAN | . | 0.32 | 0.637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97401 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.08109 | 0.91667 | 0.11468 | 0.08501
TRICLOSAN | 4433 | 61708GCM99 | 2014-04-23 | ug/L | 0.85933 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.654 | TRICLOSAN | . | 0.32 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85933 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.08109 | 0.91667 | 0.11468 | 0.08501
TRICLOSAN | 4433 | 61708GCM99 | 2013-08-15 | ug/L | 0.63688 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 6.626 | TRICLOSAN | E | 0.32 | 4.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63688 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63688 |  | 0.63688 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2015-10-16 | ug/L | 1.0662 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 1.904 | TRICLOSAN | . | 0.32 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0662 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0662 |  | 1.0662 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2016-01-13 | ug/L | 1.0833 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.96 | TRICLOSAN | E | 0.32 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0833 |  | 1.0833 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2012-08-24 | ug/L | 0.85204 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.96 | TRICLOSAN | . | 0.32 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85204 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90816 | 0.079369 | 0.90816 | 0.11224 | 0.083206
TRICLOSAN | 4433 | 61708GCM99 | 2012-12-18 | ug/L | 0.96429 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.96 | TRICLOSAN | . | 0.32 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96429 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90816 | 0.079369 | 0.90816 | 0.11224 | 0.083206
TRICLOSAN | 4433 | 61708GCM99 | 2012-07-29 | ug/L | 1.0791 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 3.92 | TRICLOSAN | . | 0.32 | 4.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0791 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0791 |  | 1.0791 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2014-07-17 | ug/L | 0.79343 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.639 | TRICLOSAN | . | 0.32 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79343 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8662 | 0.10291 | 0.8662 | 0.14554 | 0.10789
TRICLOSAN | 4433 | 61708GCM99 | 2014-12-04 | ug/L | 0.93897 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 1.278 | TRICLOSAN | . | 0.32 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93897 | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8662 | 0.10291 | 0.8662 | 0.14554 | 0.10789
TRICLOSAN | 4433 | 61708GCM99 | 2014-08-21 | ug/L | 0.90454 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.639 | TRICLOSAN | . | 0.32 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90454 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9927 | 0.10125 | 0.97027 | 0.19875 | 0.14733
TRICLOSAN | 4433 | 61708GCM99 | 2014-09-23 | ug/L | 0.97027 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 1.278 | TRICLOSAN | . | 0.32 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97027 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9927 | 0.10125 | 0.97027 | 0.19875 | 0.14733
TRICLOSAN | 4433 | 61708GCM99 | 2015-04-22 | ug/L | 1.1033 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.639 | TRICLOSAN | E | 0.32 | 0.705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1033 | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9927 | 0.10125 | 0.97027 | 0.19875 | 0.14733
TRICLOSAN | 4433 | 61708GCM99 | 2015-09-30 | ug/L | 1.271 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.952 | TRICLOSAN | . | 0.32 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.271 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0951 | 0.24882 | 1.0951 | 0.35189 | 0.26085
TRICLOSAN | 4433 | 61708GCM99 | 2016-01-12 | ug/L | 0.91912 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 1.904 | TRICLOSAN | E | 0.32 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91912 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0951 | 0.24882 | 1.0951 | 0.35189 | 0.26085
TRICLOSAN | 4433 | 61708GCM99 | 2015-10-15 | ug/L | 0.96849 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.476 | TRICLOSAN | . | 0.32 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96849 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96849 |  | 0.96849 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-11-14 | ug/L | 0.74006 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.654 | TRICLOSAN | . | 0.32 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74006 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75153 | 0.016218 | 0.75153 | 0.022936 | 0.017002
TRICLOSAN | 4433 | 61708GCM99 | 2014-04-23 | ug/L | 0.763 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.654 | TRICLOSAN | . | 0.32 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.763 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75153 | 0.016218 | 0.75153 | 0.022936 | 0.017002
TRICLOSAN | 4433 | 61708GCM99 | 2013-06-14 | ug/L | 1.0012 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.678 | TRICLOSAN | . | 0.32 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0012 |  | 1.0012 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-05-29 | ug/L | 1.0663 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1.96 | TRICLOSAN | . | 0.32 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0663 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0663 |  | 1.0663 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2012-09-18 | ug/L | 1.1 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2 | TRICLOSAN | . | 0.32 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1 |  | 1.1 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2010-03-11 | ug/L | 0.46752 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.4801 | TRICLOSAN | . | 0.2 | 0.692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46752 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68606 | 0.30905 | 0.68606 | 0.43707 | 0.32399
TRICLOSAN | 4433 | 61708GCM99 | 2010-07-23 | ug/L | 0.90459 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.74509 | TRICLOSAN | . | 0.2 | 0.674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90459 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68606 | 0.30905 | 0.68606 | 0.43707 | 0.32399
TRICLOSAN | 4433 | 61708GCM99 | 2010-07-15 | ug/L | 0.68033 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | TRICLOSAN | . | 0.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68033 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80407 | 0.17499 | 0.80407 | 0.24748 | 0.18345
TRICLOSAN | 4433 | 61708GCM99 | 2010-08-20 | ug/L | 0.92781 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | TRICLOSAN | . | 0.2 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92781 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80407 | 0.17499 | 0.80407 | 0.24748 | 0.18345
TRICLOSAN | 4433 | 61708GCM99 | 2011-05-19 | ug/L | 1.03 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | TRICLOSAN | . | 0.32 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96033 | 0.098574 | 0.96033 | 0.1394 | 0.10334
TRICLOSAN | 4433 | 61708GCM99 | 2011-10-18 | ug/L | 0.89062 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | TRICLOSAN | . | 0.32 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89062 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96033 | 0.098574 | 0.96033 | 0.1394 | 0.10334
TRICLOSAN | 4433 | 61708GCM99 | 2012-12-19 | ug/L | 0.8175 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 8 | TRICLOSAN | . | 0.32 | 6.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77875 | 0.054801 | 0.77875 | 0.0775 | 0.05745
TRICLOSAN | 4433 | 61708GCM99 | 2013-02-07 | ug/L | 0.74 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 4 | TRICLOSAN | . | 0.32 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77875 | 0.054801 | 0.77875 | 0.0775 | 0.05745
TRICLOSAN | 4433 | 61708GCM99 | 2014-02-05 | ug/L | 0.92966 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1.635 | TRICLOSAN | . | 0.32 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92966 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92966 |  | 0.92966 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2014-04-24 | ug/L | 0.72706 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.6712 | TRICLOSAN | . | 0.32 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72706 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72706 |  | 0.72706 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-03-28 | ug/L | 0.7575 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 8 | TRICLOSAN | . | 0.32 | 6.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7575 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7575 |  | 0.7575 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2014-05-22 | ug/L | 0.68448 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.6399 | TRICLOSAN | . | 0.32 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68448 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68448 |  | 0.68448 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2014-07-09 | ug/L | 0.86576 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.6399 | TRICLOSAN | . | 0.32 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86576 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97281 | 0.15139 | 0.97281 | 0.2141 | 0.15871
TRICLOSAN | 4433 | 61708GCM99 | 2015-04-21 | ug/L | 1.0799 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.6399 | TRICLOSAN | E | 0.32 | 0.691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0799 | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.97281 | 0.15139 | 0.97281 | 0.2141 | 0.15871
TRICLOSAN | 4433 | 61708GCM99 | 2014-04-24 | ug/L | 0.62197 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.6399 | TRICLOSAN | E | 0.32 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62197 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.62197 |  | 0.62197 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2014-06-04 | ug/L | 0.29458 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.2798 | TRICLOSAN | E | 0.32 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29458 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59267 | 0.42157 | 0.59267 | 0.59619 | 0.44195
TRICLOSAN | 4433 | 61708GCM99 | 2014-10-21 | ug/L | 0.89076 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.2798 | TRICLOSAN | . | 0.32 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89076 | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.59267 | 0.42157 | 0.59267 | 0.59619 | 0.44195
TRICLOSAN | 4433 | 61708GCM99 | 2015-11-05 | ug/L | 1.1406 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 1.92 | TRICLOSAN | E | 0.32 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1406 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1406 |  | 1.1406 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2015-07-09 | ug/L | 1.1333 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.48 | TRICLOSAN | E | 0.32 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1333 |  | 1.1333 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2015-09-29 | ug/L | 1.3562 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.48 | TRICLOSAN | . | 0.32 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3563 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1302 | 0.31967 | 1.1302 | 0.45208 | 0.33512
TRICLOSAN | 4433 | 61708GCM99 | 2016-01-14 | ug/L | 0.90417 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.96 | TRICLOSAN | E | 0.32 | 0.868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90417 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1302 | 0.31967 | 1.1302 | 0.45208 | 0.33512
TRICLOSAN | 4433 | 61708GCM99 | 2012-07-28 | ug/L | 1.065 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2 | TRICLOSAN | . | 0.32 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.065 |  | 1.065 | 0 | 0