## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-08-20 | ug/L | 0.79569 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 1.2819 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79569 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.97121 | 0.24822 | 0.97121 | 0.35104 | 0.26022
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-10-20 | ug/L | 1.1467 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 1.2819 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1467 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.97121 | 0.24822 | 0.97121 | 0.35104 | 0.26022
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-12-03 | ug/L | 1.1038 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 2.5638 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1038 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1038 |  | 1.1038 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-10-01 | ug/L | 0.93291 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 1.908 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93291 | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.93291 |  | 0.93291 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-05-08 | ug/L | 1.3643 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.9602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3643 | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3643 |  | 1.3643 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-10-22 | ug/L | 0.69277 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 1.328 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69277 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71988 | 0.038337 | 0.71988 | 0.054217 | 0.04019
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-04-23 | ug/L | 0.74699 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 1.328 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.992 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74699 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71988 | 0.038337 | 0.71988 | 0.054217 | 0.04019
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-06-05 | ug/L | 0.79569 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 1.2819 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79569 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.94131 | 0.19461 | 0.8659 | 0.36664 | 0.27179
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-09-23 | ug/L | 0.8659 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 2.5638 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8659 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.94131 | 0.19461 | 0.8659 | 0.36664 | 0.27179
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-05-07 | ug/L | 1.1623 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 1.2819 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1623 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.94131 | 0.19461 | 0.8659 | 0.36664 | 0.27179
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-08-20 | ug/L | 0.97258 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 2.5602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97258 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.97258 |  | 0.97258 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-02-06 | ug/L | 0.9 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 12 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 10.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9 |  | 0.9 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-09-17 | ug/L | 1.328 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 1.2801 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.328 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1991 | 0.18229 | 1.1991 | 0.25779 | 0.1911
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-02-26 | ug/L | 1.0702 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 2.5602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0702 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1991 | 0.18229 | 1.1991 | 0.25779 | 0.1911
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-07-16 | ug/L | 0.78119 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 2.5602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78119 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78119 |  | 0.78119 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-12-04 | ug/L | 0.91406 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 1.28 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91406 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.91016 | 0.0055243 | 0.91016 | 0.0078125 | 0.0057913
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-04-23 | ug/L | 0.90625 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 1.28 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.91016 | 0.0055243 | 0.91016 | 0.0078125 | 0.0057913
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-08-15 | ug/L | 0.57055 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 13.04 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 7.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57055 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57055 |  | 0.57055 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-10-16 | ug/L | 1.1373 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 3.816 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 4.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1373 | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1373 |  | 1.1373 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2016-01-13 | ug/L | 1.1039 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 1.9204 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1039 | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1039 |  | 1.1039 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-08-24 | ug/L | 0.93667 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93667 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.99833 | 0.08721 | 0.99833 | 0.12333 | 0.091426
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-12-18 | ug/L | 1.06 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.99833 | 0.08721 | 0.99833 | 0.12333 | 0.091426
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-07-29 | ug/L | 1.1233 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 6 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 6.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1233 |  | 1.1233 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-12-15 | ug/L | 0.95085 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.95598 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.909 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95085 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-04-14 | ug/L | 2.0154 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.38504 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.776 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601 | 2
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-07-07 | ug/L | 0.96875 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.384 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.372 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96875 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-08-17 | ug/L | 1.3932 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.536 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3932 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-11-22 | ug/L | 1.1823 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.384 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.454 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1823 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-01-16 | ug/L | 1.0807 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.536 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0807 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-03-06 | ug/L | 1.0344 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.96 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-03-07 | ug/L | 1.3464 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.384 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.517 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3464 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-04-10 | ug/L | 1.4375 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.96 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4375 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-07-27 | ug/L | 1.3281 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.536 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3281 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-09-30 | ug/L | 1.2212 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 1.908 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2212 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0259 | 0.2761 | 1.0259 | 0.39046 | 0.28944
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2016-01-12 | ug/L | 0.83071 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 3.816 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83071 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0259 | 0.2761 | 1.0259 | 0.39046 | 0.28944
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-10-15 | ug/L | 1.0692 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.954 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0692 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0692 |  | 1.0692 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-11-14 | ug/L | 0.74141 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 1.28 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74141 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68789 | 0.075683 | 0.68789 | 0.10703 | 0.079341
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-04-23 | ug/L | 0.63438 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 1.28 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63438 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68789 | 0.075683 | 0.68789 | 0.10703 | 0.079341
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-06-14 | ug/L | 0.97289 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 3.32 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97289 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.97289 |  | 0.97289 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-05-29 | ug/L | 0.82667 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 3 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82667 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82667 |  | 0.82667 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-09-18 | ug/L | 0.87708 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 3.01 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87708 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87708 |  | 0.87708 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-07-15 | ug/L | 0.7222 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8217 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7222 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84807 | 0.17801 | 0.84807 | 0.25175 | 0.18662
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-20 | ug/L | 0.97395 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.9016 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97395 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84807 | 0.17801 | 0.84807 | 0.25175 | 0.18662
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-05-19 | ug/L | 1.1169 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2232 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1169 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0506 | 0.093709 | 1.0506 | 0.13253 | 0.098239
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-10-18 | ug/L | 0.98438 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 5.12 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 5.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98438 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0506 | 0.093709 | 1.0506 | 0.13253 | 0.098239
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-07-20 | ug/L | 0.51281 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.89897 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51281 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.90391 | 0.33993 | 1.0705 | 0.61558 | 0.45632
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-20 | ug/L | 1.0705 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.22979 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0705 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.90391 | 0.33993 | 1.0705 | 0.61558 | 0.45632
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-20 | ug/L | 1.1284 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.44754 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1284 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.90391 | 0.33993 | 1.0705 | 0.61558 | 0.45632
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-07-08 | ug/L | 0.8425 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 2.5638 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8425 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8503 | 0.011032 | 0.8503 | 0.015602 | 0.011565
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-09-11 | ug/L | 0.8581 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 1.2819 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8581 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8503 | 0.011032 | 0.8503 | 0.015602 | 0.011565
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-11-05 | ug/L | 1.3671 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 2.5602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3671 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1601 | 0.29276 | 1.1601 | 0.41403 | 0.30692
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-01-27 | ug/L | 0.95305 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 1.2801 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95305 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1601 | 0.29276 | 1.1601 | 0.41403 | 0.30692
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-12-19 | ug/L | 0.77824 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 12.04 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 9.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77824 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72384 | 0.076936 | 0.72384 | 0.1088 | 0.080655
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-02-07 | ug/L | 0.66944 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 6.02 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 4.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66944 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72384 | 0.076936 | 0.72384 | 0.1088 | 0.080655
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-02-05 | ug/L | 0.925 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 3.2 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.925 |  | 0.925 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-04-24 | ug/L | 0.74247 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 1.328 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.986 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74247 | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.74247 |  | 0.74247 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-03-28 | ug/L | 0.70266 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 12.04 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 8.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70266 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70266 |  | 0.70266 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-05-22 | ug/L | 0.72159 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 1.2819 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.925 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72159 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72159 |  | 0.72159 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2014-04-24 | ug/L | 0.48746 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 1.2801 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48746 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.48746 |  | 0.48746 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-11-05 | ug/L | 1.1039 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 3.8408 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 4.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1039 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1039 |  | 1.1039 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-07-09 | ug/L | 0.89669 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.9602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89669 | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89669 |  | 0.89669 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2015-09-29 | ug/L | 1.3435 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.9602 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3435 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1977 | 0.2062 | 1.1977 | 0.29161 | 0.21616
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2016-01-14 | ug/L | 1.0519 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 1.9204 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0519 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1977 | 0.2062 | 1.1977 | 0.29161 | 0.21616
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-02-03 | ug/L | 0.75249 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.43323 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.326 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75249 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-04-26 | ug/L | 0.83589 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.43427 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.363 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83589 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-06-29 | ug/L | 1.0848 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.7238 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0848 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-08-07 | ug/L | 0.99563 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.7376 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99563 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-10-04 | ug/L | 1.3076 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4344 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.568 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3076 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-11-22 | ug/L | 0.88398 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.086 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88398 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-03-01 | ug/L | 0.96455 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4344 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.419 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96455 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-07-28 | ug/L | 1.1229 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 3.01 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1229 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1229 |  | 1.1229 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-05-13 | ug/L | 0.16609 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.4636 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16609 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.27538 | 0.15456 | 0.27538 | 0.21857 | 0.16203
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-18 | ug/L | 0.38466 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.95668 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38466 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.27538 | 0.15456 | 0.27538 | 0.21857 | 0.16203