## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-08-20 | ug/L | 0.9311 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3222 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9311 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.032 | 0.14265 | 1.032 | 0.20174 | 0.14955
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-10-20 | ug/L | 1.1328 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3222 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1328 | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.032 | 0.14265 | 1.032 | 0.20174 | 0.14955
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-12-03 | ug/L | 1.1266 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.6444 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1266 | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1266 |  | 1.1266 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-08-06 | ug/L | 0.72546 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.406 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72546 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72546 |  | 0.72546 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-10-22 | ug/L | 0.72695 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.282 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72695 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75709 | 0.042627 | 0.75709 | 0.060284 | 0.044688
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-04-23 | ug/L | 0.78723 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.282 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78723 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75709 | 0.042627 | 0.75709 | 0.060284 | 0.044688
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-06-05 | ug/L | 0.68901 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3222 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68901 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93472 | 0.21942 | 1.004 | 0.4221 | 0.3129
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-09-23 | ug/L | 1.004 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.6444 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93472 | 0.21942 | 1.004 | 0.4221 | 0.3129
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-05-07 | ug/L | 1.1111 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.3222 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93472 | 0.21942 | 1.004 | 0.4221 | 0.3129
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-08-20 | ug/L | 0.98623 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.6246 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98623 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90938 | 0.10868 | 0.90938 | 0.1537 | 0.11394
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-04-20 | ug/L | 0.83253 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.3123 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83253 | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90938 | 0.10868 | 0.90938 | 0.1537 | 0.11394
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-09-29 | ug/L | 1.1535 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.241 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1535 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0093 | 0.20392 | 1.0093 | 0.28838 | 0.21377
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2016-01-26 | ug/L | 0.86515 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.482 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86515 | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0093 | 0.20392 | 1.0093 | 0.28838 | 0.21377
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-10-02 | ug/L | 0.90041 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.241 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90041 | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90041 |  | 0.90041 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-02-06 | ug/L | 0.77061 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.1152 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77061 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77061 |  | 0.77061 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-05-30 | ug/L | 0.7952 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0576 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7952 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7952 |  | 0.7952 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-09-17 | ug/L | 0.96702 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.3123 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96702 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.943 | 0.033963 | 0.943 | 0.048031 | 0.035605
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-02-26 | ug/L | 0.91899 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.6246 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91899 | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.943 | 0.033963 | 0.943 | 0.048031 | 0.035605
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-07-16 | ug/L | 0.72046 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.6246 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72046 | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72046 |  | 0.72046 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-12-04 | ug/L | 0.87019 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2804 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87019 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83096 | 0.055479 | 0.83096 | 0.078459 | 0.058161
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-04-23 | ug/L | 0.79173 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2804 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79173 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83096 | 0.055479 | 0.83096 | 0.078459 | 0.058161
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-08-24 | ug/L | 0.902 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.902 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97 | 0.096167 | 0.97 | 0.136 | 0.10082
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-12-18 | ug/L | 1.038 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.038 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97 | 0.096167 | 0.97 | 0.136 | 0.10082
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-12-15 | ug/L | 0.84023 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.0307 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84023 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-04-14 | ug/L | 1.0937 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.41512 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0937 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-07-07 | ug/L | 0.78986 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.414 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78986 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-08-17 | ug/L | 1.0205 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.656 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-11-22 | ug/L | 0.88889 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.414 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-01-16 | ug/L | 0.86353 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.656 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86353 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-03-06 | ug/L | 0.95556 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.035 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.989 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-03-07 | ug/L | 1.0773 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.414 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-04-10 | ug/L | 0.96618 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.035 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96618 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-07-27 | ug/L | 0.99638 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.656 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99638 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-09-30 | ug/L | 1.1079 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.482 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1079 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0244 | 0.1181 | 1.0244 | 0.16701 | 0.1238
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2016-01-12 | ug/L | 0.94087 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.964 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94087 | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0244 | 0.1181 | 1.0244 | 0.16701 | 0.1238
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-10-15 | ug/L | 0.97083 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97083 | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97083 |  | 0.97083 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-09-26 | ug/L | 0.93438 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2804 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93438 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93438 |  | 0.93438 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-06-12 | ug/L | 0.81844 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.705 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81844 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78333 | 0.049648 | 0.78333 | 0.070213 | 0.052048
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-02-05 | ug/L | 0.74823 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.282 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74823 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78333 | 0.049648 | 0.78333 | 0.070213 | 0.052048
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-12-12 | ug/L | 0.8056 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0576 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8056 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8056 |  | 0.8056 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-12-20 | ug/L | 0.762 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.762 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.762 |  | 0.762 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-07-15 | ug/L | 0.70964 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70964 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83154 | 0.1724 | 0.83154 | 0.2438 | 0.18073
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-20 | ug/L | 0.95344 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95344 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83154 | 0.1724 | 0.83154 | 0.2438 | 0.18073
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-05-19 | ug/L | 1.0474 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.844 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0237 | 0.03352 | 1.0237 | 0.047404 | 0.03514
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-10-18 | ug/L | 1 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0237 | 0.03352 | 1.0237 | 0.047404 | 0.03514
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-07-20 | ug/L | 0.35541 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.59931 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35541 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.75438 | 0.37386 | 0.8111 | 0.74123 | 0.54947
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-20 | ug/L | 1.0966 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.15319 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.168 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0966 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 3 | 0.75438 | 0.37386 | 0.8111 | 0.74123 | 0.54947
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-20 | ug/L | 0.8111 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.29836 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8111 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75438 | 0.37386 | 0.8111 | 0.74123 | 0.54947
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-07-08 | ug/L | 0.72936 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.6444 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72936 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86903 | 0.19752 | 0.86903 | 0.27933 | 0.20706
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-09-11 | ug/L | 1.0087 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.3222 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86903 | 0.19752 | 0.86903 | 0.27933 | 0.20706
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-11-05 | ug/L | 1.0999 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.6246 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0999 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0879 | 0.016981 | 1.0879 | 0.024015 | 0.017802
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-01-27 | ug/L | 1.0759 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.3123 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0759 | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0879 | 0.016981 | 1.0879 | 0.024015 | 0.017802
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-07-22 | ug/L | 1.0063 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0063 |  | 1.0063 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-11-17 | ug/L | 1.0167 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0167 |  | 1.0167 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-07-31 | ug/L | 0.90772 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5288 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90772 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83113 | 0.10831 | 0.83113 | 0.15318 | 0.11355
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-03-27 | ug/L | 0.75454 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5288 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75454 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83113 | 0.10831 | 0.83113 | 0.15318 | 0.11355
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-08-01 | ug/L | 0.61484 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.402 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.862 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61484 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66405 | 0.069601 | 0.66405 | 0.098431 | 0.072966
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-04-22 | ug/L | 0.71327 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2804 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71327 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66405 | 0.069601 | 0.66405 | 0.098431 | 0.072966
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-11-14 | ug/L | 0.88298 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.282 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88298 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88298 |  | 0.88298 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-03-28 | ug/L | 0.68 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68 |  | 0.68 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-05-22 | ug/L | 0.65487 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.3222 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65487 | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65487 |  | 0.65487 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2014-04-24 | ug/L | 0.52193 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.3123 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.16 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52193 | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52193 |  | 0.52193 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-11-05 | ug/L | 1.0996 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.964 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0996 | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0996 |  | 1.0996 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2015-09-29 | ug/L | 1.225 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.225 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1479 | 0.10901 | 1.1479 | 0.15417 | 0.11428
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2016-01-14 | ug/L | 1.0708 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.48 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1479 | 0.10901 | 1.1479 | 0.15417 | 0.11428
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-02-03 | ug/L | 0.81511 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.42326 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81511 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-04-26 | ug/L | 0.80609 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.42427 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80609 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-06-29 | ug/L | 0.86098 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.6841 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86098 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-08-07 | ug/L | 0.84237 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.6976 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84237 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-10-04 | ug/L | 1.0203 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4244 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0203 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-11-22 | ug/L | 0.75495 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.061 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75495 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-03-01 | ug/L | 0.83883 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4244 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83883 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-07-26 | ug/L | 0.83648 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4244 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83648 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-05-13 | ug/L | 0.2006 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.30907 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2006 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.25866 | 0.082108 | 0.25866 | 0.11612 | 0.086078
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-18 | ug/L | 0.31672 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.63778 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31672 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.25866 | 0.082108 | 0.25866 | 0.11612 | 0.086078