## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-12-09 | ng/L | 0.88089 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 7.9579 | 11-KETOTESTOSTERONE | . | 2 | 7.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88089 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78978 | 0.12884 | 0.78978 | 0.18221 | 0.13507
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2015-01-29 | ng/L | 0.69868 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 3.9789 | 11-KETOTESTOSTERONE | . | 2 | 2.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69868 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78978 | 0.12884 | 0.78978 | 0.18221 | 0.13507
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-03-03 | ng/L | 0.85667 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 3.2101 | 11-KETOTESTOSTERONE | . | 2 | 2.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85667 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85667 |  | 0.85667 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2012-08-24 | ng/L | 1.0782 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 8.4211 | 11-KETOTESTOSTERONE | . | 2 | 9.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0783 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0783 |  | 1.0783 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2016-01-07 | ng/L | 0.96179 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 5.9368 | 11-KETOTESTOSTERONE | . | 2 | 5.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96179 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96179 |  | 0.96179 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2016-01-08 | ng/L | 0.90755 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 4.9474 | 11-KETOTESTOSTERONE | . | 2 | 4.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90755 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90755 |  | 0.90755 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-02-25 | ng/L | 0.83985 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 8.0253 | 11-KETOTESTOSTERONE | . | 2 | 6.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83985 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83985 |  | 0.83985 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-03-05 | ng/L | 0.9333 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 8.0253 | 11-KETOTESTOSTERONE | . | 2 | 7.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9333 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9333 |  | 0.9333 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2013-09-16 | ng/L | 1.2336 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.2101 | 11-KETOTESTOSTERONE | . | 2 | 3.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2336 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2336 |  | 1.2336 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2013-11-18 | ng/L | 1.0592 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 3.2101 | 11-KETOTESTOSTERONE | . | 2 | 3.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0592 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0592 |  | 1.0592 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2012-11-01 | ng/L | 0.77425 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 8.4211 | 11-KETOTESTOSTERONE | . | 2 | 6.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77425 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77425 |  | 0.77425 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2012-11-07 | ng/L | 0.97969 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 16.8421 | 11-KETOTESTOSTERONE | . | 2 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97969 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97969 |  | 0.97969 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2012-08-31 | ng/L | 0.95 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 16.8421 | 11-KETOTESTOSTERONE | . | 2 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96039 | 0.014694 | 0.96039 | 0.020781 | 0.015405
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2012-12-03 | ng/L | 0.97078 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 33.6842 | 11-KETOTESTOSTERONE | . | 2 | 32.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97078 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96039 | 0.014694 | 0.96039 | 0.020781 | 0.015405
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2013-04-10 | ng/L | 1.0236 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 8.4211 | 11-KETOTESTOSTERONE | . | 2 | 8.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0236 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0236 |  | 1.0236 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2015-08-10 | ng/L | 1.0207 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 4.9474 | 11-KETOTESTOSTERONE | . | 2 | 5.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0207 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1521 | 0.1858 | 1.1521 | 0.26277 | 0.19479
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2016-01-08 | ng/L | 1.2835 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 2.9684 | 11-KETOTESTOSTERONE | . | 2 | 3.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2835 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1521 | 0.1858 | 1.1521 | 0.26277 | 0.19479
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2010-06-30 | ng/L | 0.65002 | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl | 6.7383 | 11-KETOTESTOSTERONE | . | 2 | 4.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65002 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62941 | 0.05229 | 0.65002 | 0.098298 | 0.072867
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2010-08-19 | ng/L | 0.66825 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 3.367 | 11-KETOTESTOSTERONE | . | 2 | 2.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66825 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62941 | 0.05229 | 0.65002 | 0.098298 | 0.072867
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2010-11-15 | ng/L | 0.56995 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 6.6848 | 11-KETOTESTOSTERONE | . | 2 | 3.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56995 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62941 | 0.05229 | 0.65002 | 0.098298 | 0.072867
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-12-23 | ng/L | 0.69365 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 3.9789 | 11-KETOTESTOSTERONE | . | 2 | 2.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69365 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85638 | 0.23014 | 0.85638 | 0.32546 | 0.24126
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2015-04-01 | ng/L | 1.0191 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 7.9579 | 11-KETOTESTOSTERONE | . | 2 | 8.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0191 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85638 | 0.23014 | 0.85638 | 0.32546 | 0.24126
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2013-04-03 | ng/L | 0.74219 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 8.4211 | 11-KETOTESTOSTERONE | . | 2 | 6.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74219 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74219 |  | 0.74219 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2013-02-22 | ng/L | 1.0842 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 8.4211 | 11-KETOTESTOSTERONE | . | 2 | 9.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0842 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0842 |  | 1.0842 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-03-14 | ng/L | 1.1115 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 8.0253 | 11-KETOTESTOSTERONE | . | 2 | 8.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1115 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1115 |  | 1.1115 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-03-14 | ng/L | 0.88471 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 8.0253 | 11-KETOTESTOSTERONE | . | 2 | 7.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88471 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88471 |  | 0.88471 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-01-23 | ng/L | 0.95012 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.2101 | 11-KETOTESTOSTERONE | . | 2 | 3.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95012 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95012 |  | 0.95012 | 0 | 0
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-12-16 | ng/L | 0.77659 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 3.9789 | 11-KETOTESTOSTERONE | . | 2 | 3.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77659 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77784 | 0.0017771 | 0.77784 | 0.0025131 | 0.001863
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2015-02-12 | ng/L | 0.7791 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 7.9579 | 11-KETOTESTOSTERONE | . | 2 | 6.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7791 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77784 | 0.0017771 | 0.77784 | 0.0025131 | 0.001863
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2014-09-23 | ng/L | 0.88214 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 7.9579 | 11-KETOTESTOSTERONE | . | 2 | 7.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88214 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85324 | 0.040874 | 0.85324 | 0.057804 | 0.04285
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2015-01-21 | ng/L | 0.82434 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 3.9789 | 11-KETOTESTOSTERONE | . | 2 | 3.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82434 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85324 | 0.040874 | 0.85324 | 0.057804 | 0.04285
11-KETOTESTOSTERONE | 4434 | 64527GM005 | 2015-11-02 | ng/L | 0.87589 | 2015-08-20 07:30 | 20152330045 | Supelco, Crescent | LC13547, 04EE007 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl | 2.9684 | 11-KETOTESTOSTERONE | . | 2 | 2.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87589 | SuLC13547, Cr04EE007 | Su | Cr | Cr | LC13547 | 04EE007 | 04EE007 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87589 |  | 0.87589 | 0 | 0