## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-12-09 | ng/L | 0.67133 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 3.1579 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67133 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6935 | 0.031349 | 0.6935 | 0.044334 | 0.032864
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-01-29 | ng/L | 0.71567 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71567 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6935 | 0.031349 | 0.6935 | 0.044334 | 0.032864
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-12-10 | ng/L | 0.8171 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 2.0316 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8171 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8171 |  | 0.8171 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-06-30 | ng/L | 0.78197 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 2.0717 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78197 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.82908 | 0.095434 | 0.80964 | 0.13804 | 0.10232
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-07-01 | ng/L | 0.70448 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 4.2017 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70448 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.82908 | 0.095434 | 0.80964 | 0.13804 | 0.10232
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-07-12 | ng/L | 0.92928 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 2.0661 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92928 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.82908 | 0.095434 | 0.80964 | 0.13804 | 0.10232
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-10-25 | ng/L | 0.92001 | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl | 4.2391 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 3.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92001 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.82908 | 0.095434 | 0.80964 | 0.13804 | 0.10232
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-11-01 | ng/L | 0.80964 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 2.1368 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80964 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.82908 | 0.095434 | 0.80964 | 0.13804 | 0.10232
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-02-07 | ng/L | 0.90011 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5554 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90011 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-03-10 | ng/L | 0.75415 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 6.2189 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 4.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75415 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-05-09 | ng/L | 0.7345 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5385 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7345 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-06-23 | ng/L | 0.82237 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 6.1894 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 5.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82237 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-07-25 | ng/L | 0.589 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 0.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.589 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-10-12 | ng/L | 0.69033 | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69033 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-11-17 | ng/L | 0.80433 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80433 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-03-27 | ng/L | 0.9595 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 6.3158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 6.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9595 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-04-06 | ng/L | 1.0323 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0323 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.80963 | 0.13787 | 0.80433 | 0.16561 | 0.12276
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-07-14 | ng/L | 1.002 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 1.6168 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.002 |  | 1.002 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-11-05 | ng/L | 0.86589 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 1.6168 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86589 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86589 |  | 0.86589 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-07-28 | ng/L | 1.0947 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 1.6168 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0947 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96175 | 0.18806 | 0.96175 | 0.26595 | 0.19715
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-04-01 | ng/L | 0.82878 | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl | 3.2337 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82878 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96175 | 0.18806 | 0.96175 | 0.26595 | 0.19715
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-09-04 | ng/L | 0.84733 | 2014-06-26 07:00 | 20141770146 | ERA, Spex Organics | 0227-14-07.2, E1140505004 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl | 1.6168 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84733 | ER02207.2, SpE115004 | ER | Sp | Sp | 02207.2 | E115004 | E115004 | 02207.2 | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84733 |  | 0.84733 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-02-25 | ng/L | 0.61204 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 7.5158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 4.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61204 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61204 |  | 0.61204 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-03-05 | ng/L | 0.70518 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 7.5158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 5.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70518 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70518 |  | 0.70518 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-04-14 | ng/L | 0.87416 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 7.5158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 6.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87416 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87416 |  | 0.87416 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-09-16 | ng/L | 0.7451 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.0063 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7451 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75508 | 0.014112 | 0.75508 | 0.019958 | 0.014795
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-04-14 | ng/L | 0.76506 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.0063 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76506 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75508 | 0.014112 | 0.75508 | 0.019958 | 0.014795
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-06-27 | ng/L | 0.65196 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 3.0063 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65196 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65196 |  | 0.65196 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-11-01 | ng/L | 0.83184 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 1.0579 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83184 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83184 |  | 0.83184 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-11-07 | ng/L | 0.67114 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 2.1158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67114 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67114 |  | 0.67114 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-12-18 | ng/L | 0.79876 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 2.1158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79876 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82003 | 0.030078 | 0.82003 | 0.042537 | 0.031532
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-04-22 | ng/L | 0.84129 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 2.1158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84129 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82003 | 0.030078 | 0.82003 | 0.042537 | 0.031532
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-09-14 | ng/L | 0.98446 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 2.0316 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98446 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98446 |  | 0.98446 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-08-10 | ng/L | 0.8614 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 2.0316 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8614 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91883 | 0.081214 | 0.91883 | 0.11485 | 0.08514
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2016-01-08 | ng/L | 0.97625 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 1.2189 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97625 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91883 | 0.081214 | 0.91883 | 0.11485 | 0.08514
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-12-23 | ng/L | 0.71567 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71567 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67925 | 0.051501 | 0.67925 | 0.072834 | 0.053991
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-04-01 | ng/L | 0.64283 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 3.1579 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64283 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67925 | 0.051501 | 0.67925 | 0.072834 | 0.053991
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2016-01-08 | ng/L | 0.79577 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 2.4379 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79577 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79577 |  | 0.79577 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-04-03 | ng/L | 0.66212 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 1.0421 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 0.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66212 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66212 |  | 0.66212 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-02-22 | ng/L | 1.353 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 1.0421 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.353 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.353 |  | 1.353 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-04-03 | ng/L | 0.78207 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 2.0842 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78207 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78207 |  | 0.78207 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-12-18 | ng/L | 0.7197 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 2.0842 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7197 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7197 |  | 0.7197 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-05-25 | ng/L | 0.89975 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 4.2123 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 3.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89975 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81282 | 0.1017 | 0.80817 | 0.16805 | 0.12457
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-06-30 | ng/L | 0.68165 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.1272 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68164 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81282 | 0.1017 | 0.80817 | 0.16805 | 0.12457
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-07-01 | ng/L | 0.9475 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.0238 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 0.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9475 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81282 | 0.1017 | 0.80817 | 0.16805 | 0.12457
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-08-19 | ng/L | 0.84128 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.1039 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84128 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81282 | 0.1017 | 0.80817 | 0.16805 | 0.12457
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-10-19 | ng/L | 0.77505 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 4.1416 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 3.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77505 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81282 | 0.1017 | 0.80817 | 0.16805 | 0.12457
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2010-11-15 | ng/L | 0.7317 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.1594 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7317 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81282 | 0.1017 | 0.80817 | 0.16805 | 0.12457
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-08-29 | ng/L | 0.92121 | 2012-07-03 07:00 | 20121870005 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 1.0421 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 0.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92121 | Spex Organics T1120525010 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92121 |  | 0.92121 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-03-14 | ng/L | 0.66768 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 7.4737 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 4.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66768 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66768 |  | 0.66768 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-03-14 | ng/L | 0.57669 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 7.4737 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 4.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57669 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57669 |  | 0.57669 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-07-19 | ng/L | 0.70581 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 2.9895 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70581 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70581 |  | 0.70581 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-01-23 | ng/L | 0.65563 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.9895 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65563 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65563 |  | 0.65563 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-06-04 | ng/L | 0.62553 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.9895 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62553 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64225 | 0.023653 | 0.64225 | 0.033451 | 0.024797
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2013-12-09 | ng/L | 0.65898 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.9895 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65898 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64225 | 0.023653 | 0.64225 | 0.033451 | 0.024797
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-12-16 | ng/L | 0.665 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.665 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64758 | 0.024631 | 0.64758 | 0.034834 | 0.025822
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2015-02-12 | ng/L | 0.63017 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 3.1579 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63017 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64758 | 0.024631 | 0.64758 | 0.034834 | 0.025822
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2014-09-23 | ng/L | 0.7505 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 3.1579 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 2.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7505 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7505 |  | 0.7505 | 0 | 0
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-03-04 | ng/L | 0.83712 | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.541 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83712 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-03-31 | ng/L | 0.93005 | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5483 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93005 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-05-19 | ng/L | 0.85974 | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5586 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85974 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-06-07 | ng/L | 0.84887 | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.2318 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 5.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84887 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-09-29 | ng/L | 0.75367 | 2011-07-28 09:00 | 20112100009 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75367 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2011-10-13 | ng/L | 0.73942 | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 4.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73942 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-01-27 | ng/L | 0.82017 | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 5.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82017 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-04-04 | ng/L | 0.931 | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.931 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-04-17 | ng/L | 0.90567 | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90567 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268
17-ALPHA-ETHYNYLESTRADIOL | 4434 | 64529GM005 | 2012-07-27 | ng/L | 0.67767 | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | 17-ALPHA-ETHYNYLESTRADIOL | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67767 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.83034 | 0.084696 | 0.843 | 0.152 | 0.11268