## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-08-26 | ng/L | 0.88983 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 2.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88983 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88983 |  | 0.88983 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-05-06 | ng/L | 1.5971 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 3.1996 | 17-BETA-ESTRADIOL | . | 0.8 | 5.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5971 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.383 | 0.30277 | 1.383 | 0.42818 | 0.31741
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-05-14 | ng/L | 1.1689 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 1.5998 | 17-BETA-ESTRADIOL | . | 0.8 | 1.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1689 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.383 | 0.30277 | 1.383 | 0.42818 | 0.31741
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-12-10 | ng/L | 0.82826 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 2.0042 | 17-BETA-ESTRADIOL | . | 0.8 | 1.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82826 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82826 |  | 0.82826 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-12-22 | ng/L | 0.741 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 1.5789 | 17-BETA-ESTRADIOL | . | 0.8 | 1.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.741 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.741 |  | 0.741 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-04-13 | ng/L | 0.90567 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 2.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90567 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90567 |  | 0.90567 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-06-30 | ng/L | 0.85507 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 2.9004 | 17-BETA-ESTRADIOL | . | 0.8 | 2.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85507 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97805 | 0.17739 | 0.97837 | 0.20817 | 0.15431
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-07-01 | ng/L | 0.7701 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 5.8824 | 17-BETA-ESTRADIOL | . | 0.8 | 4.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7701 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97805 | 0.17739 | 0.97837 | 0.20817 | 0.15431
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-07-12 | ng/L | 0.97837 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 2.8926 | 17-BETA-ESTRADIOL | . | 0.8 | 2.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97837 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97805 | 0.17739 | 0.97837 | 0.20817 | 0.15431
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-10-25 | ng/L | 1.0632 | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl | 5.9347 | 17-BETA-ESTRADIOL | . | 0.8 | 6.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0632 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97805 | 0.17739 | 0.97837 | 0.20817 | 0.15431
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-11-01 | ng/L | 1.2235 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 2.9915 | 17-BETA-ESTRADIOL | . | 0.8 | 3.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2235 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97805 | 0.17739 | 0.97837 | 0.20817 | 0.15431
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-01-21 | ng/L | 1.0408 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 3.1996 | 17-BETA-ESTRADIOL | . | 0.8 | 3.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0408 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.058 | 0.02431 | 1.058 | 0.034379 | 0.025485
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-04-01 | ng/L | 1.0751 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 1.5998 | 17-BETA-ESTRADIOL | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0751 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.058 | 0.02431 | 1.058 | 0.034379 | 0.025485
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-08-17 | ng/L | 0.96297 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 2.0042 | 17-BETA-ESTRADIOL | . | 0.8 | 1.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96297 | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96297 |  | 0.96297 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-09-23 | ng/L | 0.43333 | 2015-08-06 08:30 | 20152190002 | ChemService, Spex Organics | 4073900, EN150501025 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl | 1.2 | 17-BETA-ESTRADIOL | . | 0.8 | 0.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43333 | Ch4073900, SpEN11025 | Ch | Sp | Sp | 4073900 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.43333 |  | 0.43333 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2016-01-07 | ng/L | 0.81079 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 2.4051 | 17-BETA-ESTRADIOL | . | 0.8 | 1.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81079 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81079 |  | 0.81079 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2016-01-08 | ng/L | 0.89 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 2 | 17-BETA-ESTRADIOL | . | 0.8 | 1.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89 |  | 0.89 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-02-07 | ng/L | 0.83538 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1004 | 17-BETA-ESTRADIOL | . | 0.8 | 2.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83538 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-03-10 | ng/L | 0.82282 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 12.3963 | 17-BETA-ESTRADIOL | . | 0.8 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82282 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-05-09 | ng/L | 0.89022 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 3.0667 | 17-BETA-ESTRADIOL | . | 0.8 | 2.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89022 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-06-23 | ng/L | 0.89159 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 12.3375 | 17-BETA-ESTRADIOL | . | 0.8 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89159 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-07-25 | ng/L | 0.6005 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1474 | 17-BETA-ESTRADIOL | . | 0.8 | 1.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6005 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-10-12 | ng/L | 0.89916 | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1474 | 17-BETA-ESTRADIOL | . | 0.8 | 2.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89916 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-11-17 | ng/L | 0.83562 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1474 | 17-BETA-ESTRADIOL | . | 0.8 | 2.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83562 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-03-27 | ng/L | 1.0167 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 12.5895 | 17-BETA-ESTRADIOL | . | 0.8 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-04-06 | ng/L | 1.0008 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1474 | 17-BETA-ESTRADIOL | . | 0.8 | 3.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0008 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.86587 | 0.12117 | 0.89022 | 0.063781 | 0.04728
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-11-05 | ng/L | 0.779 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 1.5789 | 17-BETA-ESTRADIOL | . | 0.8 | 1.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.779 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.779 |  | 0.779 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-07-28 | ng/L | 1.2502 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 1.5998 | 17-BETA-ESTRADIOL | . | 0.8 | 2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2502 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2502 |  | 1.2502 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-02-25 | ng/L | 0.71728 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 6.2737 | 17-BETA-ESTRADIOL | . | 0.8 | 4.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71728 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71728 |  | 0.71728 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-03-05 | ng/L | 0.8193 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 6.2737 | 17-BETA-ESTRADIOL | . | 0.8 | 5.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8193 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8193 |  | 0.8193 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-04-14 | ng/L | 0.86711 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 6.2737 | 17-BETA-ESTRADIOL | . | 0.8 | 5.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86711 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86711 |  | 0.86711 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-09-16 | ng/L | 0.75315 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.5095 | 17-BETA-ESTRADIOL | . | 0.8 | 1.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75315 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75912 | 0.0084532 | 0.75912 | 0.011955 | 0.0088619
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-04-14 | ng/L | 0.7651 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.5095 | 17-BETA-ESTRADIOL | . | 0.8 | 1.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7651 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75912 | 0.0084532 | 0.75912 | 0.011955 | 0.0088619
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-06-27 | ng/L | 0.48616 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 2.5095 | 17-BETA-ESTRADIOL | . | 0.8 | 1.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48616 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.48616 |  | 0.48616 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-11-01 | ng/L | 0.77217 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 4.2737 | 17-BETA-ESTRADIOL | . | 0.8 | 3.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77217 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77217 |  | 0.77217 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-11-07 | ng/L | 0.8681 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 8.5474 | 17-BETA-ESTRADIOL | . | 0.8 | 7.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8681 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8681 |  | 0.8681 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-12-18 | ng/L | 0.8061 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 8.5474 | 17-BETA-ESTRADIOL | . | 0.8 | 6.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8061 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8061 | 0 | 0.8061 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-04-22 | ng/L | 0.8061 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 8.5474 | 17-BETA-ESTRADIOL | . | 0.8 | 6.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8061 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8061 | 0 | 0.8061 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-02-08 | ng/L | 0.81195 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 4.2737 | 17-BETA-ESTRADIOL | . | 0.8 | 3.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81195 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81195 |  | 0.81195 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2016-01-08 | ng/L | 1.025 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 2.4 | 17-BETA-ESTRADIOL | . | 0.8 | 2.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.025 |  | 1.025 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-04-03 | ng/L | 0.67756 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 4.2211 | 17-BETA-ESTRADIOL | . | 0.8 | 2.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67756 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67756 |  | 0.67756 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-02-22 | ng/L | 0.91209 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 4.2211 | 17-BETA-ESTRADIOL | . | 0.8 | 3.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91209 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91209 |  | 0.91209 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-04-03 | ng/L | 0.82444 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 8.4421 | 17-BETA-ESTRADIOL | . | 0.8 | 6.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82444 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82444 |  | 0.82444 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-12-18 | ng/L | 0.84576 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 8.4421 | 17-BETA-ESTRADIOL | . | 0.8 | 7.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84576 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84576 |  | 0.84576 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-05-25 | ng/L | 1.1497 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 5.8972 | 17-BETA-ESTRADIOL | . | 0.8 | 6.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1497 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0636 | 0.10106 | 1.0973 | 0.19271 | 0.14285
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-06-30 | ng/L | 0.95699 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.9781 | 17-BETA-ESTRADIOL | . | 0.8 | 2.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95699 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0636 | 0.10106 | 1.0973 | 0.19271 | 0.14285
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-07-01 | ng/L | 1.1443 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.4333 | 17-BETA-ESTRADIOL | . | 0.8 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1443 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0636 | 0.10106 | 1.0973 | 0.19271 | 0.14285
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-08-19 | ng/L | 1.1509 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.9455 | 17-BETA-ESTRADIOL | . | 0.8 | 3.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1509 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0636 | 0.10106 | 1.0973 | 0.19271 | 0.14285
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-10-19 | ng/L | 1.0503 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 5.7983 | 17-BETA-ESTRADIOL | . | 0.8 | 6.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0503 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0636 | 0.10106 | 1.0973 | 0.19271 | 0.14285
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2010-11-15 | ng/L | 0.92951 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 3.0231 | 17-BETA-ESTRADIOL | . | 0.8 | 2.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92951 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0636 | 0.10106 | 1.0973 | 0.19271 | 0.14285
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-08-29 | ng/L | 0.92868 | 2012-07-03 07:00 | 20121870005 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 4.2211 | 17-BETA-ESTRADIOL | . | 0.8 | 3.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92868 | Spex Organics T1120525010 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92868 |  | 0.92868 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-03-14 | ng/L | 0.7761 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 6.2105 | 17-BETA-ESTRADIOL | . | 0.8 | 4.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7761 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7761 |  | 0.7761 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-03-14 | ng/L | 0.59898 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 6.2105 | 17-BETA-ESTRADIOL | . | 0.8 | 3.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59898 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59898 |  | 0.59898 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-07-19 | ng/L | 0.76081 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 2.4842 | 17-BETA-ESTRADIOL | . | 0.8 | 1.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76081 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76081 |  | 0.76081 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-01-23 | ng/L | 0.70445 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.4842 | 17-BETA-ESTRADIOL | . | 0.8 | 1.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70445 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70445 |  | 0.70445 | 0 | 0
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-06-04 | ng/L | 0.7286 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.4842 | 17-BETA-ESTRADIOL | . | 0.8 | 1.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7286 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69237 | 0.051235 | 0.69237 | 0.072458 | 0.053712
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2013-12-09 | ng/L | 0.65614 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.4842 | 17-BETA-ESTRADIOL | . | 0.8 | 1.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65614 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69237 | 0.051235 | 0.69237 | 0.072458 | 0.053712
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-12-16 | ng/L | 0.84867 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 1.5789 | 17-BETA-ESTRADIOL | . | 0.8 | 1.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84867 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82175 | 0.038066 | 0.82175 | 0.053834 | 0.039906
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-02-12 | ng/L | 0.79483 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 2.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79483 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82175 | 0.038066 | 0.82175 | 0.053834 | 0.039906
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2014-09-23 | ng/L | 1.1377 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 3.1996 | 17-BETA-ESTRADIOL | . | 0.8 | 3.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1376 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1095 | 0.03978 | 1.1095 | 0.056258 | 0.041703
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2015-01-21 | ng/L | 1.0814 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 1.5998 | 17-BETA-ESTRADIOL | . | 0.8 | 1.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0814 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1095 | 0.03978 | 1.1095 | 0.056258 | 0.041703
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-03-04 | ng/L | 0.77548 | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.082 | 17-BETA-ESTRADIOL | . | 0.8 | 2.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77548 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-03-31 | ng/L | 0.72983 | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.0966 | 17-BETA-ESTRADIOL | . | 0.8 | 2.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72983 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-05-19 | ng/L | 0.80521 | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1172 | 17-BETA-ESTRADIOL | . | 0.8 | 2.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80521 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-06-07 | ng/L | 0.94675 | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl | 12.4636 | 17-BETA-ESTRADIOL | . | 0.8 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94675 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-09-29 | ng/L | 0.69667 | 2011-07-28 09:00 | 20112100009 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 2.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69667 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2011-10-13 | ng/L | 0.87875 | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl | 12.6316 | 17-BETA-ESTRADIOL | . | 0.8 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87875 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-01-27 | ng/L | 0.75921 | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl | 12.6316 | 17-BETA-ESTRADIOL | . | 0.8 | 9.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75921 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-04-04 | ng/L | 0.92783 | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 2.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92783 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-04-17 | ng/L | 0.98167 | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 3.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98167 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125
17-BETA-ESTRADIOL | 4434 | 64530GM005 | 2012-07-27 | ng/L | 0.79167 | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | 17-BETA-ESTRADIOL | . | 0.8 | 2.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.82931 | 0.098012 | 0.79844 | 0.16862 | 0.125