## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-08-26 | ng/L | 0.60077 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 797.3052 | 3-BETA-COPROSTANOL | . | 200 | 479 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60077 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60077 |  | 0.60077 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-05-06 | ng/L | 0.89175 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 797.3052 | 3-BETA-COPROSTANOL | . | 200 | 711 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89175 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78075 | 0.15698 | 0.78075 | 0.222 | 0.16456
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-05-14 | ng/L | 0.66976 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 398.6526 | 3-BETA-COPROSTANOL | . | 200 | 267 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66976 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78075 | 0.15698 | 0.78075 | 0.222 | 0.16456
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-08-11 | ng/L | 0.59827 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 797.3052 | 3-BETA-COPROSTANOL | . | 200 | 477 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59827 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62899 | 0.043457 | 0.62899 | 0.061457 | 0.045557
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2015-06-03 | ng/L | 0.65972 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 398.6526 | 3-BETA-COPROSTANOL | . | 200 | 263 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65972 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62899 | 0.043457 | 0.62899 | 0.061457 | 0.045557
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-12-09 | ng/L | 0.61833 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 797.3052 | 3-BETA-COPROSTANOL | . | 200 | 493 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61833 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61833 |  | 0.61833 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2015-12-10 | ng/L | 0.51269 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 495.4274 | 3-BETA-COPROSTANOL | E | 200 | 254 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51269 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.51269 |  | 0.51269 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-12-22 | ng/L | 0.96074 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 398.6526 | 3-BETA-COPROSTANOL | . | 200 | 383 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96074 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96074 |  | 0.96074 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2015-04-13 | ng/L | 0.60192 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 795.7895 | 3-BETA-COPROSTANOL | . | 200 | 479 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60192 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60192 |  | 0.60192 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-02-19 | ng/L | 0.78683 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 350.7731 | 3-BETA-COPROSTANOL | . | 200 | 276 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78683 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78683 |  | 0.78683 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-08-24 | ng/L | 1.3947 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 5384.736 | 3-BETA-COPROSTANOL | . | 200 | 7510 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3947 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3947 |  | 1.3947 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-02-23 | ng/L | 0.90642 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 4104.061 | 3-BETA-COPROSTANOL | . | 200 | 3720 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90642 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-03-30 | ng/L | 0.75273 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 4038.621 | 3-BETA-COPROSTANOL | . | 200 | 3040 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75273 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-05-09 | ng/L | 0.77496 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 16517.05 | 3-BETA-COPROSTANOL | . | 200 | 12800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77496 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-06-13 | ng/L | 0.97417 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 4044.484 | 3-BETA-COPROSTANOL | . | 200 | 3940 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97417 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-10-03 | ng/L | 0.81592 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 16423.16 | 3-BETA-COPROSTANOL | . | 200 | 13400 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81592 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-10-12 | ng/L | 0.92065 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 4105.79 | 3-BETA-COPROSTANOL | . | 200 | 3780 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92065 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-01-27 | ng/L | 1.3615 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 4105.79 | 3-BETA-COPROSTANOL | . | 200 | 5590 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3615 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-03-27 | ng/L | 1.1886 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 4105.79 | 3-BETA-COPROSTANOL | . | 200 | 4880 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1886 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-04-17 | ng/L | 1.2787 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 16423.16 | 3-BETA-COPROSTANOL | . | 200 | 21000 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2787 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-07-02 | ng/L | 1.2056 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 16423.16 | 3-BETA-COPROSTANOL | . | 200 | 19800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2056 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.0179 | 0.2222 | 0.94741 | 0.38969 | 0.28888
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2015-01-21 | ng/L | 0.52526 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 795.7895 | 3-BETA-COPROSTANOL | . | 200 | 418 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52526 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57427 | 0.069308 | 0.57427 | 0.098016 | 0.072658
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2015-04-01 | ng/L | 0.62328 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 397.8947 | 3-BETA-COPROSTANOL | . | 200 | 248 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62328 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57427 | 0.069308 | 0.57427 | 0.098016 | 0.072658
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2016-01-07 | ng/L | 0.72665 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 594.5128 | 3-BETA-COPROSTANOL | . | 200 | 432 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72665 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72665 |  | 0.72665 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2016-01-08 | ng/L | 0.564 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 500 | 3-BETA-COPROSTANOL | . | 200 | 282 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.564 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.564 |  | 0.564 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-07-14 | ng/L | 0.55938 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 398.6526 | 3-BETA-COPROSTANOL | . | 200 | 223 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55938 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55938 |  | 0.55938 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-02-25 | ng/L | 0.84613 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 876.9327 | 3-BETA-COPROSTANOL | E | 200 | 742 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84613 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84613 |  | 0.84613 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-11-18 | ng/L | 0.66995 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 350.7731 | 3-BETA-COPROSTANOL | . | 200 | 235 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66995 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66995 |  | 0.66995 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-08-09 | ng/L | 0.58532 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 874.7369 | 3-BETA-COPROSTANOL | . | 200 | 512 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58532 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.58532 |  | 0.58532 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-11-01 | ng/L | 1.2108 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 5384.736 | 3-BETA-COPROSTANOL | . | 200 | 6520 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2108 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2108 |  | 1.2108 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-02-08 | ng/L | 1.2909 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 5368.421 | 3-BETA-COPROSTANOL | . | 200 | 6930 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2909 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2909 |  | 1.2909 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-08-31 | ng/L | 1.2387 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 5384.736 | 3-BETA-COPROSTANOL | . | 200 | 6670 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2387 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2136 | 0.035455 | 1.2136 | 0.050142 | 0.037169
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-12-03 | ng/L | 1.1885 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 10769.47 | 3-BETA-COPROSTANOL | . | 200 | 12800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1885 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2136 | 0.035455 | 1.2136 | 0.050142 | 0.037169
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-04-10 | ng/L | 0.88667 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 5368.421 | 3-BETA-COPROSTANOL | . | 200 | 4760 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88667 |  | 0.88667 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-12-18 | ng/L | 0.9649 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 5368.421 | 3-BETA-COPROSTANOL | . | 200 | 5180 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9649 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94721 | 0.025026 | 0.94721 | 0.035392 | 0.026236
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-02-22 | ng/L | 0.92951 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 10736.84 | 3-BETA-COPROSTANOL | . | 200 | 9980 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92951 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94721 | 0.025026 | 0.94721 | 0.035392 | 0.026236
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2010-08-19 | ng/L | 1.0441 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 3265.993 | 3-BETA-COPROSTANOL | . | 200 | 3410 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0441 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0251 | 0.029091 | 1.0397 | 0.052456 | 0.038885
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2010-10-25 | ng/L | 1.0397 | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl | 3241.437 | 3-BETA-COPROSTANOL | . | 200 | 3370 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0397 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0251 | 0.029091 | 1.0397 | 0.052456 | 0.038885
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2010-11-15 | ng/L | 0.99164 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 6484.228 | 3-BETA-COPROSTANOL | . | 200 | 6430 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99164 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0251 | 0.029091 | 1.0397 | 0.052456 | 0.038885
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-12-23 | ng/L | 0.5127 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 397.8947 | 3-BETA-COPROSTANOL | . | 200 | 204 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5127 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.49196 | 0.029323 | 0.49196 | 0.041468 | 0.03074
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2015-04-01 | ng/L | 0.47123 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 795.7895 | 3-BETA-COPROSTANOL | . | 200 | 375 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47123 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.49196 | 0.029323 | 0.49196 | 0.041468 | 0.03074
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2016-01-08 | ng/L | 0.505 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 600 | 3-BETA-COPROSTANOL | . | 200 | 303 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.505 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.505 |  | 0.505 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-03-05 | ng/L | 0.60247 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 874.7369 | 3-BETA-COPROSTANOL | . | 200 | 527 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60247 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60247 |  | 0.60247 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-04-03 | ng/L | 0.93598 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 5384.736 | 3-BETA-COPROSTANOL | . | 200 | 5040 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93598 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93598 |  | 0.93598 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-12-18 | ng/L | 0.97794 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 10736.84 | 3-BETA-COPROSTANOL | . | 200 | 10500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97794 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97794 |  | 0.97794 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-03-10 | ng/L | 0.87252 | 2011-01-06 07:30 | 20110070106 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 4045.73 | 3-BETA-COPROSTANOL | . | 200 | 3530 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87252 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-03-31 | ng/L | 0.80324 | 2011-03-03 08:00 | 20110620086 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 16308.92 | 3-BETA-COPROSTANOL | . | 200 | 13100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80324 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-05-26 | ng/L | 0.97301 | 2011-04-28 08:00 | 20111190186 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 4110.97 | 3-BETA-COPROSTANOL | . | 200 | 4000 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97301 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-07-11 | ng/L | 0.86307 | 2011-06-16 10:00 | 20111680031 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 4020.543 | 3-BETA-COPROSTANOL | . | 200 | 3470 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86307 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-09-29 | ng/L | 0.77839 | 2011-07-14 10:00 | 20111950200 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 16315.79 | 3-BETA-COPROSTANOL | . | 200 | 12700 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77839 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-10-13 | ng/L | 1.0468 | 2011-09-15 09:00 | 20112590006 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 4078.948 | 3-BETA-COPROSTANOL | . | 200 | 4270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0468 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2011-11-28 | ng/L | 0.9071 | 2011-11-03 08:00 | 20113080005 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 4078.948 | 3-BETA-COPROSTANOL | . | 200 | 3700 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9071 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-02-01 | ng/L | 0.92548 | 2011-12-13 08:30 | 20113490064 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 16315.79 | 3-BETA-COPROSTANOL | . | 200 | 15100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92548 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2012-08-16 | ng/L | 1.3754 | 2012-05-31 07:30 | 20121520253 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 4078.948 | 3-BETA-COPROSTANOL | . | 200 | 5610 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3754 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94944 | 0.17952 | 0.9071 | 0.10994 | 0.081497
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2014-03-14 | ng/L | 0.68306 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 876.9327 | 3-BETA-COPROSTANOL | . | 200 | 599 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68306 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68306 |  | 0.68306 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2013-12-09 | ng/L | 1.1289 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 349.8947 | 3-BETA-COPROSTANOL | . | 200 | 395 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1289 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1289 |  | 1.1289 | 0 | 0
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2010-10-19 | ng/L | 1.0065 | 2010-08-05 09:00 | 20102180082 | Supelco | LB69645 | Supelco LB69645: 20 µl | 3209.283 | 3-BETA-COPROSTANOL | . | 200 | 3230 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0065 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91288 | 0.096404 | 0.91831 | 0.19258 | 0.14276
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2010-10-25 | ng/L | 0.91831 | 2010-07-01 08:30 | 20101830112 | Supelco | LB69645 | Supelco LB69645: 20 µl | 3223.309 | 3-BETA-COPROSTANOL | . | 200 | 2960 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91831 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91288 | 0.096404 | 0.91831 | 0.19258 | 0.14276
3-BETA-COPROSTANOL | 4434 | 64532GM005 | 2010-11-17 | ng/L | 0.81388 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 6610.329 | 3-BETA-COPROSTANOL | . | 200 | 5380 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81388 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91288 | 0.096404 | 0.91831 | 0.19258 | 0.14276