## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BISPHENOL A | 4434 | 67305GM005 | 2014-08-26 | ng/L | 0.58523 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 404.9684 | BISPHENOL_A | E | 100 | 237 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58523 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58523 |  | 0.58523 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2014-05-06 | ng/L | 0.57154 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 400.6737 | BISPHENOL_A | E | 100 | 229 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57154 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57154 |  | 0.57154 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2015-12-10 | ng/L | 1.1224 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 249.4737 | BISPHENOL_A | E | 100 | 280 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1224 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1224 |  | 1.1224 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2014-12-22 | ng/L | 1.1952 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 202.4842 | BISPHENOL_A | E | 100 | 242 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1952 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1952 |  | 1.1952 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2015-04-13 | ng/L | 0.93834 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 404.9684 | BISPHENOL_A | E | 100 | 380 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93834 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.93834 |  | 0.93834 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2014-02-19 | ng/L | 0.72659 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 200.9385 | BISPHENOL_A | E | 100 | 146 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72659 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80124 | 0.10557 | 0.80124 | 0.1493 | 0.11067
BISPHENOL A | 4434 | 67305GM005 | 2014-03-03 | ng/L | 0.87589 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 200.9385 | BISPHENOL_A | E | 100 | 176 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87589 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80124 | 0.10557 | 0.80124 | 0.1493 | 0.11067
BISPHENOL A | 4434 | 67305GM005 | 2012-08-24 | ng/L | 0.88729 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 215.2632 | BISPHENOL_A | . | 100 | 191 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88729 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88729 |  | 0.88729 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2011-02-23 | ng/L | 0.85836 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 483.4806 | BISPHENOL_A | . | 200 | 415 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85836 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2011-03-30 | ng/L | 0.73355 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 475.7714 | BISPHENOL_A | . | 200 | 349 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73355 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2011-05-09 | ng/L | 0.73081 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 1945.797 | BISPHENOL_A | . | 200 | 1422 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73081 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2011-06-13 | ng/L | 0.46803 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 476.462 | BISPHENOL_A | . | 200 | 223 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46803 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2011-10-03 | ng/L | 0.79959 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 1934.737 | BISPHENOL_A | . | 100 | 1547 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79959 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2011-10-12 | ng/L | 0.74222 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 483.6842 | BISPHENOL_A | . | 100 | 359 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74222 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2012-01-27 | ng/L | 0.64505 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 483.6842 | BISPHENOL_A | . | 100 | 312 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64505 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2012-03-27 | ng/L | 0.91382 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 483.6842 | BISPHENOL_A | . | 100 | 442 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91382 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2012-04-17 | ng/L | 1.0317 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 1934.737 | BISPHENOL_A | . | 100 | 1996 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0317 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2012-07-02 | ng/L | 0.86834 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 1934.737 | BISPHENOL_A | . | 100 | 1680 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86834 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77914 | 0.15531 | 0.77091 | 0.13753 | 0.10195
BISPHENOL A | 4434 | 67305GM005 | 2015-01-21 | ng/L | 0.94341 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 400.6737 | BISPHENOL_A | . | 100 | 378 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94341 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72129 | 0.31413 | 0.72129 | 0.44425 | 0.32932
BISPHENOL A | 4434 | 67305GM005 | 2015-04-01 | ng/L | 0.49916 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 200.3368 | BISPHENOL_A | E | 100 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49916 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72129 | 0.31413 | 0.72129 | 0.44425 | 0.32932
BISPHENOL A | 4434 | 67305GM005 | 2014-08-22 | ng/L | 0.57288 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 404.9684 | BISPHENOL_A | . | 100 | 232 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57288 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66425 | 0.12921 | 0.66425 | 0.18273 | 0.13546
BISPHENOL A | 4434 | 67305GM005 | 2014-11-05 | ng/L | 0.75561 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 202.4842 | BISPHENOL_A | . | 100 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75561 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66425 | 0.12921 | 0.66425 | 0.18273 | 0.13546
BISPHENOL A | 4434 | 67305GM005 | 2014-07-28 | ng/L | 0.58901 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 200.3368 | BISPHENOL_A | . | 100 | 118 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58901 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.594 | 0.0070591 | 0.594 | 0.009983 | 0.0074003
BISPHENOL A | 4434 | 67305GM005 | 2015-04-01 | ng/L | 0.59899 | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl | 400.6737 | BISPHENOL_A | E | 100 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59899 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.594 | 0.0070591 | 0.594 | 0.009983 | 0.0074003
BISPHENOL A | 4434 | 67305GM005 | 2014-02-25 | ng/L | 0.80821 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 502.3463 | BISPHENOL_A | E | 100 | 406 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80821 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80821 |  | 0.80821 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2013-06-27 | ng/L | 0.585 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 200 | BISPHENOL_A | . | 100 | 117 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.585 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.585 |  | 0.585 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2013-11-18 | ng/L | 0.83608 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 200.9385 | BISPHENOL_A | . | 100 | 168 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83608 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83608 |  | 0.83608 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2013-08-09 | ng/L | 1.522 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 500 | BISPHENOL_A | E | 100 | 761 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.522 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.078 | 0.62791 | 1.078 | 0.888 | 0.65827
BISPHENOL A | 4434 | 67305GM005 | 2014-03-14 | ng/L | 0.634 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 500 | BISPHENOL_A | . | 100 | 317 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.634 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.078 | 0.62791 | 1.078 | 0.888 | 0.65827
BISPHENOL A | 4434 | 67305GM005 | 2012-11-01 | ng/L | 0.58533 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 215.2632 | BISPHENOL_A | . | 100 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58533 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.58533 |  | 0.58533 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2012-08-31 | ng/L | 0.67359 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 215.2632 | BISPHENOL_A | . | 100 | 145 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67359 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.60391 | 0.098545 | 0.60391 | 0.13936 | 0.10331
BISPHENOL A | 4434 | 67305GM005 | 2012-12-03 | ng/L | 0.53423 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 430.5263 | BISPHENOL_A | . | 100 | 230 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53423 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.60391 | 0.098545 | 0.60391 | 0.13936 | 0.10331
BISPHENOL A | 4434 | 67305GM005 | 2015-09-14 | ng/L | 0.80169 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 249.4737 | BISPHENOL_A | E | 100 | 200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80169 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83509 | 0.04724 | 0.83509 | 0.066807 | 0.049524
BISPHENOL A | 4434 | 67305GM005 | 2016-01-08 | ng/L | 0.8685 | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl | 149.6842 | BISPHENOL_A | E | 100 | 130 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8685 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.83509 | 0.04724 | 0.83509 | 0.066807 | 0.049524
BISPHENOL A | 4434 | 67305GM005 | 2015-08-10 | ng/L | 0.60127 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 249.4737 | BISPHENOL_A | E | 100 | 150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60127 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60127 |  | 0.60127 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2010-06-30 | ng/L | 1.0471 | 2010-04-22 08:00 | 20101130056 | Restek | A070624 | Restek A070624: 20 µl | 191.9569 | BISPHENOL_A | . | 200 | 201 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.0471 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 1.0136 | 0.15686 | 0.99528 | 0.235 | 0.1742
BISPHENOL A | 4434 | 67305GM005 | 2010-06-30 | ng/L | 0.84877 | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl | 389.9769 | BISPHENOL_A | . | 200 | 331 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84877 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0136 | 0.15686 | 0.99528 | 0.235 | 0.1742
BISPHENOL A | 4434 | 67305GM005 | 2010-10-25 | ng/L | 1.2151 | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl | 193.4002 | BISPHENOL_A | . | 200 | 235 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.2151 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 1.0136 | 0.15686 | 0.99528 | 0.235 | 0.1742
BISPHENOL A | 4434 | 67305GM005 | 2010-11-15 | ng/L | 0.94344 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 386.8811 | BISPHENOL_A | . | 200 | 365 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94344 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0136 | 0.15686 | 0.99528 | 0.235 | 0.1742
BISPHENOL A | 4434 | 67305GM005 | 2016-01-08 | ng/L | 0.43425 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 299.3684 | BISPHENOL_A | E | 100 | 130 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43425 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.43425 |  | 0.43425 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2014-03-05 | ng/L | 0.664 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 500 | BISPHENOL_A | E | 100 | 332 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.664 |  | 0.664 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2013-04-03 | ng/L | 0.63178 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 215.2632 | BISPHENOL_A | . | 100 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63178 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63178 |  | 0.63178 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2011-03-10 | ng/L | 0.59134 | 2011-01-06 07:30 | 20110070106 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 480.2673 | BISPHENOL_A | . | 200 | 284 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59134 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2011-03-31 | ng/L | 0.72933 | 2011-03-03 08:00 | 20110620086 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 1936.027 | BISPHENOL_A | . | 200 | 1412 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72933 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2011-05-26 | ng/L | 0.66597 | 2011-04-28 08:00 | 20111190186 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 488.0119 | BISPHENOL_A | . | 200 | 325 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66597 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2011-07-11 | ng/L | 0.43581 | 2011-06-16 10:00 | 20111680031 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 477.2774 | BISPHENOL_A | . | 200 | 208 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43581 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2011-09-29 | ng/L | 0.92728 | 2011-07-14 10:00 | 20111950200 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 1936.842 | BISPHENOL_A | . | 200 | 1796 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92728 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2011-10-13 | ng/L | 0.6175 | 2011-09-15 09:00 | 20112590006 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 484.2105 | BISPHENOL_A | . | 100 | 299 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6175 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2011-11-28 | ng/L | 0.79098 | 2011-11-03 08:00 | 20113080005 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 484.2105 | BISPHENOL_A | . | 100 | 383 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79098 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2012-02-01 | ng/L | 0.84158 | 2011-12-13 08:30 | 20113490064 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 1936.842 | BISPHENOL_A | . | 100 | 1630 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84158 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2012-08-16 | ng/L | 0.68565 | 2012-05-31 07:30 | 20121520253 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 484.2105 | BISPHENOL_A | . | 100 | 332 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68565 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.69838 | 0.14603 | 0.68565 | 0.17348 | 0.1286
BISPHENOL A | 4434 | 67305GM005 | 2014-03-14 | ng/L | 1.0113 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 502.3463 | BISPHENOL_A | . | 100 | 508 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0113 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0113 |  | 1.0113 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2013-06-04 | ng/L | 1.1 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 200 | BISPHENOL_A | . | 100 | 220 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.815 | 0.40305 | 0.815 | 0.57 | 0.42254
BISPHENOL A | 4434 | 67305GM005 | 2013-12-09 | ng/L | 0.53 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 200 | BISPHENOL_A | . | 100 | 106 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.815 | 0.40305 | 0.815 | 0.57 | 0.42254
BISPHENOL A | 4434 | 67305GM005 | 2014-12-16 | ng/L | 0.67166 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 202.4842 | BISPHENOL_A | . | 100 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67166 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81735 | 0.20604 | 0.81735 | 0.29138 | 0.216
BISPHENOL A | 4434 | 67305GM005 | 2015-02-12 | ng/L | 0.96304 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 404.9684 | BISPHENOL_A | E | 100 | 390 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96304 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.81735 | 0.20604 | 0.81735 | 0.29138 | 0.216
BISPHENOL A | 4434 | 67305GM005 | 2014-09-23 | ng/L | 0.90098 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 400.6737 | BISPHENOL_A | E | 100 | 361 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90098 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.70007 | 0.28413 | 0.70007 | 0.40182 | 0.29787
BISPHENOL A | 4434 | 67305GM005 | 2015-01-21 | ng/L | 0.49916 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 200.3368 | BISPHENOL_A | . | 100 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49916 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70007 | 0.28413 | 0.70007 | 0.40182 | 0.29787
BISPHENOL A | 4434 | 67305GM005 | 2015-06-29 | ng/L | 0.73302 | 2015-05-14 06:00 | 20151380010 | Supelco, Abs | LC13547, 041515 | Supelco LC13547: 30 µl & Abs 041515: 30 µl | 150.0632 | BISPHENOL_A | E | 100 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73302 | SuLC13547, Ab041515 | Su | Ab | Ab | LC13547 | 041515 | 041515 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89962 | 0.2356 | 0.89962 | 0.33319 | 0.24699
BISPHENOL A | 4434 | 67305GM005 | 2015-09-17 | ng/L | 1.0662 | 2015-05-28 06:30 | 20151480171 | Supelco, Abs | LC13547, 041515 | Supelco LC13547: 30 µl & Abs 041515: 30 µl | 150.0632 | BISPHENOL_A | E | 100 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0662 | SuLC13547, Ab041515 | Su | Ab | Ab | LC13547 | 041515 | 041515 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.89962 | 0.2356 | 0.89962 | 0.33319 | 0.24699
BISPHENOL A | 4434 | 67305GM005 | 2016-01-05 | ng/L | 0.93294 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 300.1263 | BISPHENOL_A | E | 100 | 280 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93294 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.93294 |  | 0.93294 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2015-11-02 | ng/L | 0.8663 | 2015-08-20 07:30 | 20152330045 | Supelco, Crescent | LC13547, 04EE007 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl | 150.0632 | BISPHENOL_A | E | 100 | 130 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8663 | SuLC13547, Cr04EE007 | Su | Cr | Cr | LC13547 | 04EE007 | 04EE007 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.8663 |  | 0.8663 | 0 | 0
BISPHENOL A | 4434 | 67305GM005 | 2015-07-21 | ng/L | 1.0396 | 2015-06-11 06:30 | 20151620181 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl | 250.1053 | BISPHENOL_A | E | 100 | 260 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0396 | SuLC13547, SpEN11025 | Su | Sp | Sp | LC13547 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0196 | 0.028272 | 1.0196 | 0.039983 | 0.029639
BISPHENOL A | 4434 | 67305GM005 | 2015-09-17 | ng/L | 0.99958 | 2015-05-21 07:00 | 20151410211 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl | 150.0632 | BISPHENOL_A | E | 100 | 150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99958 | SuLC13547, SpEN11025 | Su | Sp | Sp | LC13547 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0196 | 0.028272 | 1.0196 | 0.039983 | 0.029639
BISPHENOL A | 4434 | 67305GM005 | 2010-07-01 | ng/L | 1.0595 | 2010-04-01 08:30 | 20100920052 | Supelco | LB69645 | Supelco LB69645: 20 µl | 191.6029 | BISPHENOL_A | . | 200 | 203 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.0595 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 1.0204 | 0.075938 | 1.028 | 0.11834 | 0.087726
BISPHENOL A | 4434 | 67305GM005 | 2010-07-07 | ng/L | 0.92591 | 2010-05-13 08:30 | 20101340149 | Supelco | LB69645 | Supelco LB69645: 40 µl | 390.9686 | BISPHENOL_A | . | 200 | 362 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92591 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0204 | 0.075938 | 1.028 | 0.11834 | 0.087726
BISPHENOL A | 4434 | 67305GM005 | 2010-10-25 | ng/L | 1.0996 | 2010-07-01 08:30 | 20101830112 | Supelco | LB69645 | Supelco LB69645: 20 µl | 192.7992 | BISPHENOL_A | . | 200 | 212 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.0996 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 1.0204 | 0.075938 | 1.028 | 0.11834 | 0.087726
BISPHENOL A | 4434 | 67305GM005 | 2010-11-17 | ng/L | 0.99648 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 395.3905 | BISPHENOL_A | . | 200 | 394 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99648 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0204 | 0.075938 | 1.028 | 0.11834 | 0.087726