## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHOLESTEROL | 4434 | 64534GM005 | 2014-08-11 | ng/L | 0.7155 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 800.8421 | CHOLESTEROL | . | 200 | 573 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7155 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74859 | 0.046796 | 0.74859 | 0.06618 | 0.049059
CHOLESTEROL | 4434 | 64534GM005 | 2015-06-03 | ng/L | 0.78168 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 400.4211 | CHOLESTEROL | . | 200 | 313 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78168 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74859 | 0.046796 | 0.74859 | 0.06618 | 0.049059
CHOLESTEROL | 4434 | 64534GM005 | 2014-12-09 | ng/L | 0.7369 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 803.3684 | CHOLESTEROL | . | 200 | 592 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7369 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65848 | 0.1109 | 0.65848 | 0.15684 | 0.11626
CHOLESTEROL | 4434 | 64534GM005 | 2015-01-29 | ng/L | 0.58006 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 401.6842 | CHOLESTEROL | . | 200 | 233 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58006 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65848 | 0.1109 | 0.65848 | 0.15684 | 0.11626
CHOLESTEROL | 4434 | 64534GM005 | 2014-02-19 | ng/L | 0.93604 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 451.9032 | CHOLESTEROL | . | 200 | 423 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93604 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80991 | 0.17838 | 0.80991 | 0.25227 | 0.187
CHOLESTEROL | 4434 | 64534GM005 | 2014-03-03 | ng/L | 0.68377 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 451.9032 | CHOLESTEROL | . | 200 | 309 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68377 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80991 | 0.17838 | 0.80991 | 0.25227 | 0.187
CHOLESTEROL | 4434 | 64534GM005 | 2012-08-24 | ng/L | 1.2285 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 10600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2285 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2285 |  | 1.2285 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2011-02-23 | ng/L | 0.92519 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 3728.956 | CHOLESTEROL | . | 200 | 3450 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92519 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-03-30 | ng/L | 0.83663 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 3669.497 | CHOLESTEROL | . | 200 | 3070 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83663 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-05-09 | ng/L | 0.8196 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 15007.41 | CHOLESTEROL | . | 200 | 12300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8196 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-06-13 | ng/L | 1.0722 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 3674.823 | CHOLESTEROL | . | 200 | 3940 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-10-03 | ng/L | 0.82428 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 14922.1 | CHOLESTEROL | . | 200 | 12300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82428 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-10-12 | ng/L | 1.0481 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 3730.526 | CHOLESTEROL | . | 200 | 3910 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0481 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-01-27 | ng/L | 1.469 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 3730.526 | CHOLESTEROL | . | 200 | 5480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.469 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-03-27 | ng/L | 0.96501 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 3730.526 | CHOLESTEROL | . | 200 | 3600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96501 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-04-17 | ng/L | 0.98512 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 14922.1 | CHOLESTEROL | . | 200 | 14700 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98512 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-07-02 | ng/L | 0.99182 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 14922.1 | CHOLESTEROL | . | 200 | 14800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99182 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2015-08-17 | ng/L | 0.61012 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 499.9053 | CHOLESTEROL | . | 200 | 305 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61012 | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61012 |  | 0.61012 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2015-09-23 | ng/L | 0.8835 | 2015-08-06 08:30 | 20152190002 | ChemService, Spex Organics | 4073900, EN150501025 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl | 299.9431 | CHOLESTEROL | . | 200 | 265 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8835 | Ch4073900, SpEN11025 | Ch | Sp | Sp | 4073900 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8835 |  | 0.8835 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2016-01-07 | ng/L | 0.84929 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 596.9684 | CHOLESTEROL | . | 200 | 507 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84929 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84929 |  | 0.84929 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2015-12-11 | ng/L | 0.67675 | 2015-09-03 08:30 | 20152460213 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl | 298.4842 | CHOLESTEROL | . | 200 | 202 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67675 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7002 | 0.033166 | 0.7002 | 0.046904 | 0.034769
CHOLESTEROL | 4434 | 64534GM005 | 2016-01-08 | ng/L | 0.72366 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 497.4737 | CHOLESTEROL | . | 200 | 360 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72366 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7002 | 0.033166 | 0.7002 | 0.046904 | 0.034769
CHOLESTEROL | 4434 | 64534GM005 | 2014-07-14 | ng/L | 0.6618 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 400.4211 | CHOLESTEROL | . | 200 | 265 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6618 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6618 |  | 0.6618 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2014-08-22 | ng/L | 0.53069 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 800.8421 | CHOLESTEROL | . | 200 | 425 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53069 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53631 | 0.0079465 | 0.53631 | 0.011238 | 0.0083307
CHOLESTEROL | 4434 | 64534GM005 | 2014-11-05 | ng/L | 0.54193 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 400.4211 | CHOLESTEROL | . | 200 | 217 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54193 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53631 | 0.0079465 | 0.53631 | 0.011238 | 0.0083307
CHOLESTEROL | 4434 | 64534GM005 | 2014-07-28 | ng/L | 0.78417 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 400.4211 | CHOLESTEROL | . | 200 | 314 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78417 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63059 | 0.21721 | 0.63059 | 0.30718 | 0.22771
CHOLESTEROL | 4434 | 64534GM005 | 2015-04-01 | ng/L | 0.477 | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl | 800.8421 | CHOLESTEROL | . | 200 | 382 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.477 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63059 | 0.21721 | 0.63059 | 0.30718 | 0.22771
CHOLESTEROL | 4434 | 64534GM005 | 2014-09-04 | ng/L | 0.77169 | 2014-06-26 07:00 | 20141770146 | ERA, Spex Organics | 0227-14-07.2, E1140505004 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl | 400.4211 | CHOLESTEROL | . | 200 | 309 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77169 | ER02207.2, SpE115004 | ER | Sp | Sp | 02207.2 | E115004 | E115004 | 02207.2 | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77169 |  | 0.77169 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2014-02-25 | ng/L | 0.894 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 1129.758 | CHOLESTEROL | . | 200 | 1010 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.894 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.894 |  | 0.894 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-06-27 | ng/L | 0.71472 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 450.5263 | CHOLESTEROL | . | 200 | 322 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71472 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71472 |  | 0.71472 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-11-18 | ng/L | 0.74352 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 451.9032 | CHOLESTEROL | . | 200 | 336 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74352 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74352 |  | 0.74352 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-08-09 | ng/L | 0.76533 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 1126.316 | CHOLESTEROL | . | 200 | 862 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76533 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76533 |  | 0.76533 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2012-11-01 | ng/L | 1.1335 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 9780 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1335 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1335 |  | 1.1335 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-02-08 | ng/L | 1.3156 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 8589.474 | CHOLESTEROL | . | 200 | 11300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3156 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3156 |  | 1.3156 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2012-08-31 | ng/L | 1.1404 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 9840 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1404 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1236 | 0.023766 | 1.1236 | 0.03361 | 0.024915
CHOLESTEROL | 4434 | 64534GM005 | 2012-12-03 | ng/L | 1.1068 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 17256.84 | CHOLESTEROL | . | 200 | 19100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1068 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1236 | 0.023766 | 1.1236 | 0.03361 | 0.024915
CHOLESTEROL | 4434 | 64534GM005 | 2013-04-10 | ng/L | 1.1537 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 8589.474 | CHOLESTEROL | . | 200 | 9910 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1537 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1537 |  | 1.1537 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2015-09-14 | ng/L | 0.92618 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 499.9053 | CHOLESTEROL | . | 200 | 463 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92618 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81315 | 0.15984 | 0.81315 | 0.22604 | 0.16756
CHOLESTEROL | 4434 | 64534GM005 | 2016-01-08 | ng/L | 0.70013 | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl | 299.9431 | CHOLESTEROL | . | 200 | 210 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70013 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81315 | 0.15984 | 0.81315 | 0.22604 | 0.16756
CHOLESTEROL | 4434 | 64534GM005 | 2015-08-10 | ng/L | 0.82014 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 497.4737 | CHOLESTEROL | . | 200 | 408 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82014 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87576 | 0.078651 | 0.87576 | 0.11123 | 0.082453
CHOLESTEROL | 4434 | 64534GM005 | 2016-01-08 | ng/L | 0.93137 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 298.4842 | CHOLESTEROL | . | 200 | 278 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93137 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87576 | 0.078651 | 0.87576 | 0.11123 | 0.082453
CHOLESTEROL | 4434 | 64534GM005 | 2012-12-18 | ng/L | 0.96164 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 8589.474 | CHOLESTEROL | . | 200 | 8260 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96164 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0455 | 0.11854 | 1.0455 | 0.16765 | 0.12427
CHOLESTEROL | 4434 | 64534GM005 | 2013-02-22 | ng/L | 1.1293 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 17178.95 | CHOLESTEROL | . | 200 | 19400 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1293 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0455 | 0.11854 | 1.0455 | 0.16765 | 0.12427
CHOLESTEROL | 4434 | 64534GM005 | 2010-08-19 | ng/L | 0.99875 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 2743.434 | CHOLESTEROL | . | 200 | 2740 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99875 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99638 | 0.004298 | 0.99875 | 0.0075524 | 0.0055985
CHOLESTEROL | 4434 | 64534GM005 | 2010-10-25 | ng/L | 0.99897 | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl | 2722.807 | CHOLESTEROL | . | 200 | 2720 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99897 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99638 | 0.004298 | 0.99875 | 0.0075524 | 0.0055985
CHOLESTEROL | 4434 | 64534GM005 | 2010-11-15 | ng/L | 0.99142 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 5446.751 | CHOLESTEROL | . | 200 | 5400 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99142 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99638 | 0.004298 | 0.99875 | 0.0075524 | 0.0055985
CHOLESTEROL | 4434 | 64534GM005 | 2014-12-23 | ng/L | 0.83399 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 401.6842 | CHOLESTEROL | . | 200 | 335 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83399 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72134 | 0.15931 | 0.72134 | 0.2253 | 0.16701
CHOLESTEROL | 4434 | 64534GM005 | 2015-04-01 | ng/L | 0.60869 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 803.3684 | CHOLESTEROL | . | 200 | 489 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60869 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72134 | 0.15931 | 0.72134 | 0.2253 | 0.16701
CHOLESTEROL | 4434 | 64534GM005 | 2014-03-05 | ng/L | 0.72804 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 1126.316 | CHOLESTEROL | . | 200 | 820 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72804 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72804 |  | 0.72804 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-04-03 | ng/L | 1.1393 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 9830 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1393 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1393 |  | 1.1393 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2012-12-18 | ng/L | 0.96048 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 17178.95 | CHOLESTEROL | . | 200 | 16500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96048 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96048 |  | 0.96048 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2011-03-10 | ng/L | 0.87867 | 2011-01-06 07:30 | 20110070106 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3664.648 | CHOLESTEROL | . | 200 | 3220 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87867 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-03-31 | ng/L | 0.77846 | 2011-03-03 08:00 | 20110620086 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 14772.73 | CHOLESTEROL | . | 200 | 11500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77846 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-05-26 | ng/L | 0.95871 | 2011-04-28 08:00 | 20111190186 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3723.743 | CHOLESTEROL | . | 200 | 3570 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95871 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-07-11 | ng/L | 0.86495 | 2011-06-16 10:00 | 20111680031 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3641.834 | CHOLESTEROL | . | 200 | 3150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86495 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-09-29 | ng/L | 0.8255 | 2011-07-14 10:00 | 20111950200 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 14778.95 | CHOLESTEROL | . | 200 | 12200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8255 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-10-13 | ng/L | 0.9933 | 2011-09-15 09:00 | 20112590006 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3694.737 | CHOLESTEROL | . | 200 | 3670 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9933 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-11-28 | ng/L | 0.89316 | 2011-11-03 08:00 | 20113080005 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3694.737 | CHOLESTEROL | . | 200 | 3300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89316 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2012-02-01 | ng/L | 0.98113 | 2011-12-13 08:30 | 20113490064 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 14778.95 | CHOLESTEROL | . | 200 | 14500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98113 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2012-08-16 | ng/L | 1.2883 | 2012-05-31 07:30 | 20121520253 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3694.737 | CHOLESTEROL | . | 200 | 4760 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2883 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2014-03-14 | ng/L | 0.81433 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 1129.758 | CHOLESTEROL | . | 200 | 920 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81433 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81433 |  | 0.81433 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-06-04 | ng/L | 0.72804 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 450.5263 | CHOLESTEROL | . | 200 | 328 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72804 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1054 | 0.53363 | 1.1054 | 0.75467 | 0.55943
CHOLESTEROL | 4434 | 64534GM005 | 2013-12-09 | ng/L | 1.4827 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 450.5263 | CHOLESTEROL | . | 200 | 668 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4827 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1054 | 0.53363 | 1.1054 | 0.75467 | 0.55943
CHOLESTEROL | 4434 | 64534GM005 | 2014-12-16 | ng/L | 0.93606 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 401.6842 | CHOLESTEROL | . | 200 | 376 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93606 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82776 | 0.15315 | 0.82776 | 0.21659 | 0.16055
CHOLESTEROL | 4434 | 64534GM005 | 2015-02-12 | ng/L | 0.71947 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 803.3684 | CHOLESTEROL | . | 200 | 578 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71947 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82776 | 0.15315 | 0.82776 | 0.21659 | 0.16055
CHOLESTEROL | 4434 | 64534GM005 | 2014-09-23 | ng/L | 0.72072 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 803.3684 | CHOLESTEROL | . | 200 | 579 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72072 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68897 | 0.044889 | 0.68897 | 0.063483 | 0.047059
CHOLESTEROL | 4434 | 64534GM005 | 2015-01-21 | ng/L | 0.65723 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 401.6842 | CHOLESTEROL | . | 200 | 264 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65723 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68897 | 0.044889 | 0.68897 | 0.063483 | 0.047059
CHOLESTEROL | 4434 | 64534GM005 | 2016-01-05 | ng/L | 0.96185 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 599.8863 | CHOLESTEROL | . | 200 | 577 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96185 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96185 |  | 0.96185 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2010-10-19 | ng/L | 0.89905 | 2010-08-05 09:00 | 20102180082 | Supelco | LB69645 | Supelco LB69645: 20 µl | 2702.86 | CHOLESTEROL | . | 200 | 2430 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89905 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88142 | 0.043704 | 0.89905 | 0.081901 | 0.060712
CHOLESTEROL | 4434 | 64534GM005 | 2010-10-25 | ng/L | 0.91355 | 2010-07-01 08:30 | 20101830112 | Supelco | LB69645 | Supelco LB69645: 20 µl | 2714.672 | CHOLESTEROL | . | 200 | 2480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91355 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88142 | 0.043704 | 0.89905 | 0.081901 | 0.060712
CHOLESTEROL | 4434 | 64534GM005 | 2010-11-17 | ng/L | 0.83165 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 5567.222 | CHOLESTEROL | . | 200 | 4630 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83165 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88142 | 0.043704 | 0.89905 | 0.081901 | 0.060712