## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-08-26 | ng/L | 0.90567 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 3.1579 | CIS-ANDROSTERONE | . | 0.8 | 2.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90567 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90567 |  | 0.90567 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-05-06 | ng/L | 1.1136 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 3.2147 | CIS-ANDROSTERONE | . | 0.8 | 3.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1136 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0327 | 0.11438 | 1.0327 | 0.16175 | 0.11991
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-05-14 | ng/L | 0.95187 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 1.6074 | CIS-ANDROSTERONE | . | 0.8 | 1.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95187 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0327 | 0.11438 | 1.0327 | 0.16175 | 0.11991
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-12-10 | ng/L | 0.85104 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85104 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85104 |  | 0.85104 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-12-22 | ng/L | 0.67767 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 1.5789 | CIS-ANDROSTERONE | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67767 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67767 |  | 0.67767 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-04-13 | ng/L | 0.836 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 3.1579 | CIS-ANDROSTERONE | . | 0.8 | 2.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.836 |  | 0.836 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-06-30 | ng/L | 0.92316 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 1.6573 | CIS-ANDROSTERONE | . | 0.8 | 1.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92316 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1206 | 0.49988 | 0.96525 | 0.044837 | 0.033237
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-07-01 | ng/L | 0.74672 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 3.3613 | CIS-ANDROSTERONE | . | 0.8 | 2.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74672 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1206 | 0.49988 | 0.96525 | 0.044837 | 0.033237
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-07-12 | ng/L | 0.968 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 1.6529 | CIS-ANDROSTERONE | . | 0.8 | 1.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1206 | 0.49988 | 0.96525 | 0.044837 | 0.033237
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-10-25 | ng/L | 2.1791 | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl | 3.3913 | CIS-ANDROSTERONE | E | 0.8 | 7.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Abs 083109H | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 1.1206 | 0.49988 | 0.96525 | 0.044837 | 0.033237 | 2
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-11-01 | ng/L | 0.96525 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 1.7094 | CIS-ANDROSTERONE | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96525 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1206 | 0.49988 | 0.96525 | 0.044837 | 0.033237
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-01-21 | ng/L | 0.54126 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 3.2147 | CIS-ANDROSTERONE | . | 0.8 | 1.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54126 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71234 | 0.24195 | 0.71234 | 0.34217 | 0.25365
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-04-01 | ng/L | 0.88343 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 1.6074 | CIS-ANDROSTERONE | . | 0.8 | 1.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88343 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71234 | 0.24195 | 0.71234 | 0.34217 | 0.25365
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-02-07 | ng/L | 0.80527 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 2.0738 | CIS-ANDROSTERONE | . | 0.8 | 1.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80527 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-03-10 | ng/L | 0.71757 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 8.2919 | CIS-ANDROSTERONE | . | 0.8 | 5.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71757 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-05-09 | ng/L | 0.79463 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 2.0513 | CIS-ANDROSTERONE | . | 0.8 | 1.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79463 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-06-23 | ng/L | 0.78643 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 8.2525 | CIS-ANDROSTERONE | . | 0.8 | 6.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78643 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-07-25 | ng/L | 0.7125 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 1.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7125 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-10-12 | ng/L | 0.95475 | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 2.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95475 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-11-17 | ng/L | 0.80275 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 1.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80275 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-03-27 | ng/L | 1.0153 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 8.4211 | CIS-ANDROSTERONE | . | 0.8 | 8.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0153 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-04-06 | ng/L | 1.14 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 2.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.14 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-08-22 | ng/L | 0.646 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 3.1579 | CIS-ANDROSTERONE | . | 0.8 | 2.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.646 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.722 | 0.10748 | 0.722 | 0.152 | 0.11268
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-11-05 | ng/L | 0.798 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 1.5789 | CIS-ANDROSTERONE | . | 0.8 | 1.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.798 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.722 | 0.10748 | 0.722 | 0.152 | 0.11268
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-07-28 | ng/L | 0.86477 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 1.6074 | CIS-ANDROSTERONE | . | 0.8 | 1.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86477 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67813 | 0.26395 | 0.67813 | 0.37328 | 0.27671
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-04-01 | ng/L | 0.49149 | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl | 3.2147 | CIS-ANDROSTERONE | . | 0.8 | 1.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49149 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67813 | 0.26395 | 0.67813 | 0.37328 | 0.27671
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-02-25 | ng/L | 0.51492 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 5.0105 | CIS-ANDROSTERONE | . | 0.8 | 2.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51492 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.51492 |  | 0.51492 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-03-05 | ng/L | 0.66859 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 5.0105 | CIS-ANDROSTERONE | . | 0.8 | 3.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66859 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66859 |  | 0.66859 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-04-14 | ng/L | 0.67258 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 5.0105 | CIS-ANDROSTERONE | . | 0.8 | 3.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67258 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67258 |  | 0.67258 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-09-16 | ng/L | 0.58876 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.0042 | CIS-ANDROSTERONE | . | 0.8 | 1.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58876 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.54884 | 0.05645 | 0.54884 | 0.079832 | 0.059179
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-04-14 | ng/L | 0.50893 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.0042 | CIS-ANDROSTERONE | . | 0.8 | 1.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50893 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.54884 | 0.05645 | 0.54884 | 0.079832 | 0.059179
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-06-27 | ng/L | 0.60373 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 2.0042 | CIS-ANDROSTERONE | . | 0.8 | 1.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60373 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60373 |  | 0.60373 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-11-01 | ng/L | 0.85158 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 7.3158 | CIS-ANDROSTERONE | . | 0.8 | 6.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85158 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85158 |  | 0.85158 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-11-07 | ng/L | 0.7518 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 14.6316 | CIS-ANDROSTERONE | . | 0.8 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7518 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7518 |  | 0.7518 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-12-18 | ng/L | 0.82014 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.6316 | CIS-ANDROSTERONE | . | 0.8 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82014 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78939 | 0.043495 | 0.78939 | 0.061511 | 0.045597
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-04-22 | ng/L | 0.75863 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.6316 | CIS-ANDROSTERONE | . | 0.8 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75863 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78939 | 0.043495 | 0.78939 | 0.061511 | 0.045597
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-02-08 | ng/L | 0.80237 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 7.3158 | CIS-ANDROSTERONE | . | 0.8 | 5.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80237 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80237 |  | 0.80237 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-09-14 | ng/L | 0.74714 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74714 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63746 | 0.15511 | 0.63746 | 0.21936 | 0.16261
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2016-01-08 | ng/L | 0.52778 | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl | 1.2126 | CIS-ANDROSTERONE | . | 0.8 | 0.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52778 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63746 | 0.15511 | 0.63746 | 0.21936 | 0.16261
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-08-10 | ng/L | 0.80156 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80156 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80156 |  | 0.80156 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-05-25 | ng/L | 0.93773 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 3.3698 | CIS-ANDROSTERONE | . | 0.8 | 3.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93773 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-06-30 | ng/L | 0.82855 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.7018 | CIS-ANDROSTERONE | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82855 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-07-01 | ng/L | 0.8547 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.819 | CIS-ANDROSTERONE | E | 0.8 | 0.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8547 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-08-19 | ng/L | 1.3843 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.6831 | CIS-ANDROSTERONE | . | 0.8 | 2.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3843 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-10-19 | ng/L | 1.0081 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 3.3133 | CIS-ANDROSTERONE | . | 0.8 | 3.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0081 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-11-15 | ng/L | 0.9262 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.7275 | CIS-ANDROSTERONE | . | 0.8 | 1.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9262 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-03-14 | ng/L | 0.75604 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 5.0526 | CIS-ANDROSTERONE | . | 0.8 | 3.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75604 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75604 |  | 0.75604 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-03-14 | ng/L | 0.46708 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 5.0526 | CIS-ANDROSTERONE | . | 0.8 | 2.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46708 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.46708 |  | 0.46708 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-07-19 | ng/L | 0.43047 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43047 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.43047 |  | 0.43047 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-01-23 | ng/L | 0.52943 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52943 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52943 |  | 0.52943 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-06-04 | ng/L | 0.67786 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67786 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6457 | 0.045483 | 0.6457 | 0.064323 | 0.047682
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-12-09 | ng/L | 0.61354 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61354 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6457 | 0.045483 | 0.6457 | 0.064323 | 0.047682
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-12-16 | ng/L | 0.70933 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 1.5789 | CIS-ANDROSTERONE | . | 0.8 | 1.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70933 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65075 | 0.082849 | 0.65075 | 0.11717 | 0.086855
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-02-12 | ng/L | 0.59217 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 3.1579 | CIS-ANDROSTERONE | . | 0.8 | 1.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59217 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65075 | 0.082849 | 0.65075 | 0.11717 | 0.086855
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-09-23 | ng/L | 0.815 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 3.2147 | CIS-ANDROSTERONE | . | 0.8 | 2.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69679 | 0.16717 | 0.69679 | 0.23641 | 0.17525
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2015-01-21 | ng/L | 0.57859 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 1.6074 | CIS-ANDROSTERONE | . | 0.8 | 0.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57859 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69679 | 0.16717 | 0.69679 | 0.23641 | 0.17525
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2016-01-05 | ng/L | 0.84583 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 2.4 | CIS-ANDROSTERONE | . | 0.8 | 2.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84583 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84583 |  | 0.84583 | 0 | 0