## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-08-26 | ng/L | 0.66279 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 16.2947 | DIHYDROTESTOSTERONE | . | 4 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66279 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66279 |  | 0.66279 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2015-12-10 | ng/L | 0.73291 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 10.0421 | DIHYDROTESTOSTERONE | . | 4 | 7.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73291 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73291 |  | 0.73291 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-12-22 | ng/L | 0.57074 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 8.1474 | DIHYDROTESTOSTERONE | . | 4 | 4.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57074 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57074 |  | 0.57074 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2015-04-13 | ng/L | 0.75484 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 16.2947 | DIHYDROTESTOSTERONE | . | 4 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75484 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75484 |  | 0.75484 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-02-19 | ng/L | 0.73509 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 5.7272 | DIHYDROTESTOSTERONE | . | 4 | 4.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73509 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.59803 | 0.19384 | 0.59803 | 0.27413 | 0.20321
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-03-03 | ng/L | 0.46096 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 5.7272 | DIHYDROTESTOSTERONE | . | 4 | 2.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46096 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.59803 | 0.19384 | 0.59803 | 0.27413 | 0.20321
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2015-08-17 | ng/L | 0.55466 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 10.0421 | DIHYDROTESTOSTERONE | . | 4 | 5.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55466 | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55466 |  | 0.55466 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2015-09-23 | ng/L | 1.0283 | 2015-08-06 08:30 | 20152190002 | ChemService, Spex Organics | 4073900, EN150501025 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl | 6 | DIHYDROTESTOSTERONE | . | 4 | 6.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0283 | Ch4073900, SpEN11025 | Ch | Sp | Sp | 4073900 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0283 |  | 1.0283 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2016-01-07 | ng/L | 0.84644 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 12.0505 | DIHYDROTESTOSTERONE | . | 4 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84644 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84644 |  | 0.84644 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2016-01-08 | ng/L | 0.611 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 10 | DIHYDROTESTOSTERONE | . | 4 | 6.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.611 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.611 |  | 0.611 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-08-22 | ng/L | 0.65665 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 16.2947 | DIHYDROTESTOSTERONE | . | 4 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65665 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63211 | 0.034716 | 0.63211 | 0.049095 | 0.036394
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-11-05 | ng/L | 0.60756 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 8.1474 | DIHYDROTESTOSTERONE | . | 4 | 4.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60756 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63211 | 0.034716 | 0.63211 | 0.049095 | 0.036394
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-02-25 | ng/L | 0.47214 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 14.3179 | DIHYDROTESTOSTERONE | . | 4 | 6.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47214 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.47214 |  | 0.47214 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-06-27 | ng/L | 0.54361 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 5.6842 | DIHYDROTESTOSTERONE | . | 4 | 3.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54361 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54361 |  | 0.54361 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-11-18 | ng/L | 0.74557 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 5.7272 | DIHYDROTESTOSTERONE | . | 4 | 4.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74557 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74557 |  | 0.74557 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-08-09 | ng/L | 0.68893 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 14.2105 | DIHYDROTESTOSTERONE | . | 4 | 9.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68893 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63685 | 0.073644 | 0.63685 | 0.10415 | 0.077204
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-03-14 | ng/L | 0.58478 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 14.2105 | DIHYDROTESTOSTERONE | . | 4 | 8.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58478 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63685 | 0.073644 | 0.63685 | 0.10415 | 0.077204
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-02-08 | ng/L | 0.7258 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 10.5263 | DIHYDROTESTOSTERONE | . | 4 | 7.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7258 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7258 |  | 0.7258 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-04-10 | ng/L | 0.78565 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 10.5263 | DIHYDROTESTOSTERONE | . | 4 | 8.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78565 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78565 |  | 0.78565 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2012-12-18 | ng/L | 0.66405 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 10.5263 | DIHYDROTESTOSTERONE | . | 4 | 6.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66405 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65027 | 0.019481 | 0.65027 | 0.02755 | 0.020422
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-02-22 | ng/L | 0.6365 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 21.0526 | DIHYDROTESTOSTERONE | . | 4 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6365 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65027 | 0.019481 | 0.65027 | 0.02755 | 0.020422
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-06-30 | ng/L | 0.69747 | 2010-04-22 08:00 | 20101130056 | Restek | A070624 | Restek A070624: 20 µl | 4.9751 | DIHYDROTESTOSTERONE | E | 4 | 3.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69747 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.89742 | 0.54609 | 0.68904 | 0.026674 | 0.019773
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-06-30 | ng/L | 0.6708 | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl | 10.1074 | DIHYDROTESTOSTERONE | . | 4 | 6.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6708 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.89742 | 0.54609 | 0.68904 | 0.026674 | 0.019773
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-08-19 | ng/L | 0.68904 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 5.0505 | DIHYDROTESTOSTERONE | . | 4 | 3.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68904 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.89742 | 0.54609 | 0.68904 | 0.026674 | 0.019773
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-10-25 | ng/L | 1.8693 | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl | 5.0125 | DIHYDROTESTOSTERONE | . | 4 | 9.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8693 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.89742 | 0.54609 | 0.68904 | 0.026674 | 0.019773
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-11-15 | ng/L | 0.56048 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 10.0272 | DIHYDROTESTOSTERONE | . | 4 | 5.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56048 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.89742 | 0.54609 | 0.68904 | 0.026674 | 0.019773
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2016-01-08 | ng/L | 0.88333 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 12 | DIHYDROTESTOSTERONE | . | 4 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88333 |  | 0.88333 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-03-05 | ng/L | 0.73185 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 14.2105 | DIHYDROTESTOSTERONE | . | 4 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73185 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73185 |  | 0.73185 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2012-12-18 | ng/L | 0.6935 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 21.0526 | DIHYDROTESTOSTERONE | . | 4 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6935 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6935 |  | 0.6935 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-03-14 | ng/L | 0.56922 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 14.3179 | DIHYDROTESTOSTERONE | . | 4 | 8.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56922 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56922 |  | 0.56922 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2013-12-09 | ng/L | 0.5137 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 5.6842 | DIHYDROTESTOSTERONE | . | 4 | 2.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5137 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5137 |  | 0.5137 | 0 | 0
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2014-12-16 | ng/L | 0.47868 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 8.1474 | DIHYDROTESTOSTERONE | . | 4 | 3.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47868 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53852 | 0.08462 | 0.53852 | 0.11967 | 0.08871
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2015-02-12 | ng/L | 0.59835 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 16.2947 | DIHYDROTESTOSTERONE | . | 4 | 9.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59835 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53852 | 0.08462 | 0.53852 | 0.11967 | 0.08871
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-05-25 | ng/L | 0.65065 | 2010-01-28 07:30 | 20100280079 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.0719 | DIHYDROTESTOSTERONE | E | 4 | 3.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65065 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.54638 | 0.16758 | 0.6122 | 0.147 | 0.10897
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-07-01 | ng/L | 0.50365 | 2010-04-01 08:30 | 20100920052 | Supelco | LB69645 | Supelco LB69645: 20 µl | 4.9638 | DIHYDROTESTOSTERONE | E | 4 | 2.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50365 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.54638 | 0.16758 | 0.6122 | 0.147 | 0.10897
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-07-07 | ng/L | 0.67136 | 2010-05-13 08:30 | 20101340149 | Supelco | LB69645 | Supelco LB69645: 40 µl | 10.1287 | DIHYDROTESTOSTERONE | . | 4 | 6.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67136 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.54638 | 0.16758 | 0.6122 | 0.147 | 0.10897
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-10-19 | ng/L | 0.64548 | 2010-08-05 09:00 | 20102180082 | Supelco | LB69645 | Supelco LB69645: 20 µl | 4.9731 | DIHYDROTESTOSTERONE | . | 4 | 3.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64548 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.54638 | 0.16758 | 0.6122 | 0.147 | 0.10897
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-10-25 | ng/L | 0.22824 | 2010-07-01 08:30 | 20101830112 | Supelco | LB69645 | Supelco LB69645: 20 µl | 4.9948 | DIHYDROTESTOSTERONE | E | 4 | 1.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22824 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.54638 | 0.16758 | 0.6122 | 0.147 | 0.10897
DIHYDROTESTOSTERONE | 4434 | 64544GM005 | 2010-11-17 | ng/L | 0.57892 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 10.2433 | DIHYDROTESTOSTERONE | . | 4 | 5.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57892 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.54638 | 0.16758 | 0.6122 | 0.147 | 0.10897