## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-08-26 | ng/L | 0.82811 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 7.9579 | EPITESTOSTERONE | . | 2 | 6.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82811 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82811 |  | 0.82811 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-12-10 | ng/L | 0.86709 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 5.0053 | EPITESTOSTERONE | . | 2 | 4.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86709 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86709 |  | 0.86709 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-12-22 | ng/L | 0.62328 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 3.9789 | EPITESTOSTERONE | . | 2 | 2.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62328 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62328 |  | 0.62328 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-04-13 | ng/L | 0.83313 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 7.9579 | EPITESTOSTERONE | . | 2 | 6.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83313 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83313 |  | 0.83313 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-02-19 | ng/L | 0.63018 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 4.0147 | EPITESTOSTERONE | . | 2 | 2.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63018 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64886 | 0.026419 | 0.64886 | 0.037362 | 0.027696
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-03 | ng/L | 0.66754 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 4.0147 | EPITESTOSTERONE | . | 2 | 2.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66754 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64886 | 0.026419 | 0.64886 | 0.037362 | 0.027696
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-08-24 | ng/L | 0.71725 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 7.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71725 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71725 |  | 0.71725 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-02-23 | ng/L | 0.93329 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 5.2609 | EPITESTOSTERONE | . | 4 | 4.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93329 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-03-30 | ng/L | 0.86729 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 5.1771 | EPITESTOSTERONE | . | 4 | 4.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86729 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-05-09 | ng/L | 0.98238 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 21.173 | EPITESTOSTERONE | . | 4 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98238 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-06-13 | ng/L | 0.84096 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 5.1846 | EPITESTOSTERONE | . | 4 | 4.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84096 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-10-03 | ng/L | 0.89775 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89775 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-10-12 | ng/L | 0.988 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 5.2632 | EPITESTOSTERONE | . | 2 | 5.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.988 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-01-27 | ng/L | 0.6441 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 5.2632 | EPITESTOSTERONE | . | 2 | 3.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6441 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-03-27 | ng/L | 0.9063 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 5.2632 | EPITESTOSTERONE | . | 2 | 4.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9063 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-04-17 | ng/L | 1.0308 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 21.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-07-02 | ng/L | 1.0308 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 21.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-08-17 | ng/L | 0.69127 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 5.0053 | EPITESTOSTERONE | . | 2 | 3.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69127 | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69127 |  | 0.69127 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-09-23 | ng/L | 0.8 | 2015-08-06 08:30 | 20152190002 | ChemService, Spex Organics | 4073900, EN150501025 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl | 3 | EPITESTOSTERONE | . | 2 | 2.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch4073900, SpEN11025 | Ch | Sp | Sp | 4073900 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2016-01-07 | ng/L | 0.62934 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 6.0063 | EPITESTOSTERONE | . | 2 | 3.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62934 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62934 |  | 0.62934 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-12-11 | ng/L | 0.60667 | 2015-09-03 08:30 | 20152460213 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl | 3 | EPITESTOSTERONE | . | 2 | 1.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60667 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68633 | 0.11267 | 0.68633 | 0.15933 | 0.11811
EPITESTOSTERONE | 4434 | 64537GM005 | 2016-01-08 | ng/L | 0.766 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 5 | EPITESTOSTERONE | . | 2 | 3.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.766 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68633 | 0.11267 | 0.68633 | 0.15933 | 0.11811
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-08-22 | ng/L | 0.62454 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 7.9579 | EPITESTOSTERONE | E | 2 | 4.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62454 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69302 | 0.096853 | 0.69302 | 0.13697 | 0.10154
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-11-05 | ng/L | 0.76151 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 3.9789 | EPITESTOSTERONE | . | 2 | 3.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76151 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69302 | 0.096853 | 0.69302 | 0.13697 | 0.10154
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-05 | ng/L | 0.72134 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 10.0368 | EPITESTOSTERONE | . | 2 | 7.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72134 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72134 |  | 0.72134 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-04-14 | ng/L | 0.72134 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 10.0368 | EPITESTOSTERONE | . | 2 | 7.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72134 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72134 |  | 0.72134 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-09-16 | ng/L | 0.865 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 3.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.775 | 0.12728 | 0.775 | 0.18 | 0.13343
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-04-14 | ng/L | 0.685 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.775 | 0.12728 | 0.775 | 0.18 | 0.13343
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-11-18 | ng/L | 0.68 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68 |  | 0.68 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-08-09 | ng/L | 0.505 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 10 | EPITESTOSTERONE | . | 2 | 5.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.505 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.503 | 0.0028284 | 0.503 | 0.004 | 0.0029652
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-14 | ng/L | 0.501 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 10 | EPITESTOSTERONE | . | 2 | 5.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.501 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.503 | 0.0028284 | 0.503 | 0.004 | 0.0029652
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-11-01 | ng/L | 0.75905 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 7.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75905 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75905 |  | 0.75905 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-11-07 | ng/L | 0.76281 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 21.3684 | EPITESTOSTERONE | . | 2 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76281 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76281 |  | 0.76281 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-12-18 | ng/L | 0.78375 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78375 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75525 | 0.040305 | 0.75525 | 0.057 | 0.042254
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-22 | ng/L | 0.72675 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72675 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75525 | 0.040305 | 0.75525 | 0.057 | 0.042254
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-08-31 | ng/L | 0.73077 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 21.2105 | EPITESTOSTERONE | . | 2 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73077 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7013 | 0.041672 | 0.7013 | 0.058933 | 0.043686
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-12-03 | ng/L | 0.67184 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 42.4211 | EPITESTOSTERONE | . | 2 | 28.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67184 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7013 | 0.041672 | 0.7013 | 0.058933 | 0.043686
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-10 | ng/L | 0.73379 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 10.6842 | EPITESTOSTERONE | . | 2 | 7.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73379 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73379 |  | 0.73379 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-12-18 | ng/L | 0.73435 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 7.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73435 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6783 | 0.079266 | 0.6783 | 0.1121 | 0.083098
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-02-22 | ng/L | 0.62225 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62225 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.6783 | 0.079266 | 0.6783 | 0.1121 | 0.083098
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-06-30 | ng/L | 0.73659 | 2010-04-22 08:00 | 20101130056 | Restek | A070624 | Restek A070624: 20 µl | 5.3897 | EPITESTOSTERONE | E | 4 | 3.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73659 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.97211 | 0.52917 | 0.73659 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-06-30 | ng/L | 0.81007 | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl | 10.9497 | EPITESTOSTERONE | . | 4 | 8.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81007 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97211 | 0.52917 | 0.73659 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-08-19 | ng/L | 0.70732 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 5.4714 | EPITESTOSTERONE | . | 4 | 3.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70732 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97211 | 0.52917 | 0.73659 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-10-25 | ng/L | 1.9152 | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl | 5.4302 | EPITESTOSTERONE | . | 4 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9152 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97211 | 0.52917 | 0.73659 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-11-15 | ng/L | 0.69135 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 10.8628 | EPITESTOSTERONE | . | 4 | 7.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69135 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.97211 | 0.52917 | 0.73659 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2016-01-08 | ng/L | 0.705 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 6 | EPITESTOSTERONE | . | 2 | 4.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.705 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.705 |  | 0.705 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-05 | ng/L | 0.64961 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 10.0368 | EPITESTOSTERONE | . | 2 | 6.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64961 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64961 |  | 0.64961 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-03 | ng/L | 0.6289 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 6.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6289 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6289 |  | 0.6289 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-02-22 | ng/L | 0.73379 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 10.6842 | EPITESTOSTERONE | . | 2 | 7.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73379 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73379 |  | 0.73379 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-03 | ng/L | 0.74575 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74575 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74575 |  | 0.74575 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-14 | ng/L | 0.49816 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 10.0368 | EPITESTOSTERONE | . | 2 | 5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49816 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.49816 |  | 0.49816 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-07-19 | ng/L | 0.5875 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5875 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5875 |  | 0.5875 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-01-23 | ng/L | 0.59 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59 |  | 0.59 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-12-16 | ng/L | 0.66098 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 3.9789 | EPITESTOSTERONE | . | 2 | 2.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66098 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66789 | 0.0097741 | 0.66789 | 0.013823 | 0.010247
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-02-12 | ng/L | 0.6748 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 7.9579 | EPITESTOSTERONE | . | 2 | 5.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6748 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66789 | 0.0097741 | 0.66789 | 0.013823 | 0.010247
EPITESTOSTERONE | 4434 | 64537GM005 | 2015-07-21 | ng/L | 0.352 | 2015-06-11 06:30 | 20151620181 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl | 5 | EPITESTOSTERONE | . | 2 | 1.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.352 | SuLC13547, SpEN11025 | Su | Sp | Sp | LC13547 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.352 |  | 0.352 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-05-25 | ng/L | 0.93737 | 2010-01-28 07:30 | 20100280079 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.5368 | EPITESTOSTERONE | . | 4 | 5.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93737 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-07-01 | ng/L | 0.63667 | 2010-04-01 08:30 | 20100920052 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.4188 | EPITESTOSTERONE | E | 4 | 3.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63667 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-07-07 | ng/L | 0.82299 | 2010-05-13 08:30 | 20101340149 | Supelco | LB69645 | Supelco LB69645: 40 µl | 11.0572 | EPITESTOSTERONE | . | 4 | 9.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82299 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-10-19 | ng/L | 0.73864 | 2010-08-05 09:00 | 20102180082 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.4289 | EPITESTOSTERONE | . | 4 | 4.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73864 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-11-17 | ng/L | 0.76013 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 11.1822 | EPITESTOSTERONE | . | 4 | 8.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76013 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534