## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EQUILENIN | 4434 | 64538GM005 | 2014-08-26 | ng/L | 1.2466 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 7.9579 | EQUILENIN | . | 2 | 9.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2466 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2466 |  | 1.2466 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2014-05-06 | ng/L | 1.5205 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 7.9579 | EQUILENIN | . | 2 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5205 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3358 | 0.26124 | 1.3358 | 0.36944 | 0.27387
EQUILENIN | 4434 | 64538GM005 | 2014-05-14 | ng/L | 1.1511 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1511 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3358 | 0.26124 | 1.3358 | 0.36944 | 0.27387
EQUILENIN | 4434 | 64538GM005 | 2014-08-11 | ng/L | 1.7467 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 7.9579 | EQUILENIN | . | 2 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7467 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2805 | 0.65931 | 1.2805 | 0.93241 | 0.69118
EQUILENIN | 4434 | 64538GM005 | 2015-06-03 | ng/L | 0.81429 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 3.9789 | EQUILENIN | . | 2 | 3.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81429 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2805 | 0.65931 | 1.2805 | 0.93241 | 0.69118
EQUILENIN | 4434 | 64538GM005 | 2014-12-09 | ng/L | 1.2327 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 7.9579 | EQUILENIN | . | 2 | 9.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2327 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2032 | 0.041762 | 1.2032 | 0.059061 | 0.043781
EQUILENIN | 4434 | 64538GM005 | 2015-01-29 | ng/L | 1.1737 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2032 | 0.041762 | 1.2032 | 0.059061 | 0.043781
EQUILENIN | 4434 | 64538GM005 | 2015-12-10 | ng/L | 0.394 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 5 | EQUILENIN | . | 2 | 1.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.394 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.394 |  | 0.394 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2014-12-22 | ng/L | 1.2516 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2516 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2516 |  | 1.2516 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2011-02-23 | ng/L | 0.92189 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 4.2088 | EQUILENIN | . | 2 | 3.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92189 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2011-03-30 | ng/L | 0.72918 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 4.1416 | EQUILENIN | . | 2 | 3.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72918 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2011-05-09 | ng/L | 0.90327 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 16.9384 | EQUILENIN | . | 2 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90327 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2011-06-13 | ng/L | 0.67508 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 4.1477 | EQUILENIN | . | 2 | 2.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67508 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2011-10-03 | ng/L | 0.79563 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 16.8421 | EQUILENIN | . | 2 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79563 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2011-10-12 | ng/L | 0.88587 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 4.2105 | EQUILENIN | . | 2 | 3.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88588 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2012-01-27 | ng/L | 0.98325 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 4.2105 | EQUILENIN | . | 2 | 4.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98325 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2012-03-27 | ng/L | 0.798 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 4.2105 | EQUILENIN | . | 2 | 3.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.798 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2012-04-17 | ng/L | 1.0212 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 16.8421 | EQUILENIN | . | 2 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0213 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2012-07-02 | ng/L | 1.0866 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 16.8421 | EQUILENIN | . | 2 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0866 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.88 | 0.13089 | 0.89457 | 0.18762 | 0.13908
EQUILENIN | 4434 | 64538GM005 | 2014-07-14 | ng/L | 1.1586 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1586 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1586 |  | 1.1586 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2014-03-05 | ng/L | 0.57032 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 9.5211 | EQUILENIN | . | 2 | 5.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57032 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57032 |  | 0.57032 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2014-04-14 | ng/L | 0.53145 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 9.5211 | EQUILENIN | . | 2 | 5.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53145 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.53145 |  | 0.53145 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2013-09-16 | ng/L | 0.60817 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.8147 | EQUILENIN | . | 2 | 2.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60817 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.44826 | 0.22614 | 0.44826 | 0.31981 | 0.23707
EQUILENIN | 4434 | 64538GM005 | 2014-04-14 | ng/L | 0.28836 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.8147 | EQUILENIN | . | 2 | 1.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28836 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.44826 | 0.22614 | 0.44826 | 0.31981 | 0.23707
EQUILENIN | 4434 | 64538GM005 | 2012-11-07 | ng/L | 0.55771 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 8.4632 | EQUILENIN | . | 2 | 4.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55771 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55771 |  | 0.55771 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2015-08-10 | ng/L | 1.582 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 5 | EQUILENIN | . | 2 | 7.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.582 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4427 | 0.19705 | 1.4427 | 0.27867 | 0.20657
EQUILENIN | 4434 | 64538GM005 | 2016-01-08 | ng/L | 1.3033 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 3 | EQUILENIN | E | 2 | 3.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3033 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.4427 | 0.19705 | 1.4427 | 0.27867 | 0.20657
EQUILENIN | 4434 | 64538GM005 | 2016-01-08 | ng/L | 0.585 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 6 | EQUILENIN | E | 2 | 3.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.585 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.585 |  | 0.585 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2013-02-22 | ng/L | 0.73022 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 4.2316 | EQUILENIN | . | 2 | 3.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73022 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73022 |  | 0.73022 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2014-03-14 | ng/L | 0.39912 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 9.5211 | EQUILENIN | . | 2 | 3.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39912 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.39912 |  | 0.39912 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2013-07-19 | ng/L | 0.41943 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 3.8147 | EQUILENIN | . | 2 | 1.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41943 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.41943 |  | 0.41943 | 0 | 0
EQUILENIN | 4434 | 64538GM005 | 2014-01-23 | ng/L | 0.5138 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.8147 | EQUILENIN | . | 2 | 1.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5138 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5138 |  | 0.5138 | 0 | 0