## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EQUILIN | 4434 | 64539GM005 | 2014-08-26 | ng/L | 0.86677 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 31.9579 | EQUILIN | E | 8 | 27.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86677 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.86677 |  | 0.86677 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2014-05-06 | ng/L | 0.44746 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 31.9579 | EQUILIN | E | 8 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44746 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57732 | 0.18365 | 0.57732 | 0.25972 | 0.19253
EQUILIN | 4434 | 64539GM005 | 2014-05-14 | ng/L | 0.70718 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 15.9789 | EQUILIN | E | 8 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70718 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57732 | 0.18365 | 0.57732 | 0.25972 | 0.19253
EQUILIN | 4434 | 64539GM005 | 2014-08-11 | ng/L | 0.88867 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 31.9579 | EQUILIN | E | 8 | 28.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88867 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75725 | 0.18586 | 0.75725 | 0.26285 | 0.19485
EQUILIN | 4434 | 64539GM005 | 2015-06-03 | ng/L | 0.62582 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 15.9789 | EQUILIN | E | 8 | 10 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62582 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75725 | 0.18586 | 0.75725 | 0.26285 | 0.19485
EQUILIN | 4434 | 64539GM005 | 2014-12-09 | ng/L | 0.55698 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 31.9579 | EQUILIN | E | 8 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55698 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54134 | 0.022126 | 0.54134 | 0.031291 | 0.023196
EQUILIN | 4434 | 64539GM005 | 2015-01-29 | ng/L | 0.52569 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 15.9789 | EQUILIN | E | 8 | 8.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52569 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54134 | 0.022126 | 0.54134 | 0.031291 | 0.023196
EQUILIN | 4434 | 64539GM005 | 2014-12-22 | ng/L | 0.75725 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 15.9789 | EQUILIN | E | 8 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75725 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75725 |  | 0.75725 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2015-04-13 | ng/L | 0.79167 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 31.5789 | EQUILIN | E | 8 | 25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79167 |  | 0.79167 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2014-02-19 | ng/L | 0.51323 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 10.0539 | EQUILIN | E | 8 | 5.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51323 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45555 | 0.081585 | 0.45555 | 0.11538 | 0.085529
EQUILIN | 4434 | 64539GM005 | 2014-03-03 | ng/L | 0.39786 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 10.0539 | EQUILIN | E | 8 | 4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39786 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45555 | 0.081585 | 0.45555 | 0.11538 | 0.085529
EQUILIN | 4434 | 64539GM005 | 2012-08-24 | ng/L | 0.59375 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 10.5263 | EQUILIN | E | 8 | 6.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59375 | Abs 051512 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59375 |  | 0.59375 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2011-02-23 | ng/L | 0.33922 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 6.8392 | EQUILIN | E | 4 | 2.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33922 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2011-05-09 | ng/L | 0.65032 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 27.5249 | EQUILIN | E | 4 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65032 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2011-06-13 | ng/L | 0.71959 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 6.7399 | EQUILIN | E | 4 | 4.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71959 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2011-10-03 | ng/L | 0.79288 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 27.3684 | EQUILIN | E | 8 | 21.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79288 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2011-10-12 | ng/L | 0.64162 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 6.8421 | EQUILIN | E | 8 | 4.39 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.64162 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2012-01-27 | ng/L | 0.58169 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 6.8421 | EQUILIN | E | 8 | 3.98 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.58169 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2012-03-27 | ng/L | 0.64162 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 6.8421 | EQUILIN | E | 8 | 4.39 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.64162 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2012-04-17 | ng/L | 0.83308 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 27.3684 | EQUILIN | E | 8 | 22.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83308 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2012-07-02 | ng/L | 0.84769 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 27.3684 | EQUILIN | E | 8 | 23.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84769 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.67197 | 0.15609 | 0.65032 | 0.15127 | 0.11213
EQUILIN | 4434 | 64539GM005 | 2015-01-21 | ng/L | 1.0292 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 31.5789 | EQUILIN | E | 8 | 32.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0292 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82428 | 0.28975 | 0.82428 | 0.40977 | 0.30376
EQUILIN | 4434 | 64539GM005 | 2015-04-01 | ng/L | 0.6194 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 15.7895 | EQUILIN | E | 8 | 9.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6194 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82428 | 0.28975 | 0.82428 | 0.40977 | 0.30376
EQUILIN | 4434 | 64539GM005 | 2015-08-17 | ng/L | 0.75326 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 20.179 | EQUILIN | E | 8 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75326 | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75326 |  | 0.75326 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2015-09-23 | ng/L | 1.0324 | 2015-08-06 08:30 | 20152190002 | ChemService, Spex Organics | 4073900, EN150501025 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl | 12.1074 | EQUILIN | E | 8 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0324 | Ch4073900, SpEN11025 | Ch | Sp | Sp | 4073900 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0324 |  | 1.0324 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2016-01-07 | ng/L | 0.7285 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 23.7474 | EQUILIN | E | 8 | 17.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7285 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7285 |  | 0.7285 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2015-12-11 | ng/L | 0.79672 | 2015-09-03 08:30 | 20152460213 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl | 11.8737 | EQUILIN | E | 8 | 9.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79672 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94158 | 0.20486 | 0.94158 | 0.28972 | 0.21476
EQUILIN | 4434 | 64539GM005 | 2016-01-08 | ng/L | 1.0864 | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 19.7895 | EQUILIN | E | 8 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0864 | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94158 | 0.20486 | 0.94158 | 0.28972 | 0.21476
EQUILIN | 4434 | 64539GM005 | 2014-07-14 | ng/L | 0.70718 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 15.9789 | EQUILIN | E | 8 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70718 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.70718 |  | 0.70718 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2014-02-25 | ng/L | 0.53313 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 25.1347 | EQUILIN | E | 8 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53313 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.53313 |  | 0.53313 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2013-06-27 | ng/L | 0.61271 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 10.0211 | EQUILIN | E | 8 | 6.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61271 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61271 |  | 0.61271 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2013-11-18 | ng/L | 0.42272 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 10.0539 | EQUILIN | E | 8 | 4.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42272 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42272 |  | 0.42272 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2013-08-09 | ng/L | 0.61471 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 25.0526 | EQUILIN | E | 8 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61471 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56282 | 0.073385 | 0.56282 | 0.10378 | 0.076932
EQUILIN | 4434 | 64539GM005 | 2014-03-14 | ng/L | 0.51092 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 25.0526 | EQUILIN | E | 8 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51092 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.56282 | 0.073385 | 0.56282 | 0.10378 | 0.076932
EQUILIN | 4434 | 64539GM005 | 2012-11-01 | ng/L | 0.63935 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 10.5263 | EQUILIN | E | 8 | 6.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63935 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63935 |  | 0.63935 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2013-02-08 | ng/L | 0.6479 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 10.5263 | EQUILIN | E | 8 | 6.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6479 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6479 |  | 0.6479 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2012-08-31 | ng/L | 0.51965 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 10.5263 | EQUILIN | E | 8 | 5.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51965 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50682 | 0.018137 | 0.50682 | 0.02565 | 0.019014
EQUILIN | 4434 | 64539GM005 | 2012-12-03 | ng/L | 0.494 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 21.0526 | EQUILIN | E | 8 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.494 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50682 | 0.018137 | 0.50682 | 0.02565 | 0.019014
EQUILIN | 4434 | 64539GM005 | 2013-04-10 | ng/L | 0.89395 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 10.5263 | EQUILIN | E | 8 | 9.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89395 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89395 |  | 0.89395 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2015-09-14 | ng/L | 0.8276 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 20.179 | EQUILIN | E | 8 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8276 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63515 | 0.27216 | 0.63515 | 0.38489 | 0.28531
EQUILIN | 4434 | 64539GM005 | 2016-01-08 | ng/L | 0.44271 | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl | 12.1074 | EQUILIN | E | 8 | 5.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44271 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63515 | 0.27216 | 0.63515 | 0.38489 | 0.28531
EQUILIN | 4434 | 64539GM005 | 2015-08-10 | ng/L | 0.60133 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 19.7895 | EQUILIN | E | 8 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60133 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65818 | 0.080396 | 0.65818 | 0.1137 | 0.084282
EQUILIN | 4434 | 64539GM005 | 2016-01-08 | ng/L | 0.71503 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 11.8737 | EQUILIN | E | 8 | 8.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71503 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65818 | 0.080396 | 0.65818 | 0.1137 | 0.084282
EQUILIN | 4434 | 64539GM005 | 2012-12-18 | ng/L | 0.73435 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 10.5263 | EQUILIN | E | 8 | 7.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73435 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59779 | 0.19313 | 0.59779 | 0.27312 | 0.20246
EQUILIN | 4434 | 64539GM005 | 2013-02-22 | ng/L | 0.46122 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 21.0526 | EQUILIN | E | 8 | 9.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46123 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59779 | 0.19313 | 0.59779 | 0.27312 | 0.20246
EQUILIN | 4434 | 64539GM005 | 2010-06-30 | ng/L | 0.93264 | 2010-04-22 08:00 | 20101130056 | Restek | A070624 | Restek A070624: 20 µl | 6.2189 | EQUILIN | E | 4 | 5.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93264 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.808 | 0.22217 | 0.84729 | 0.33768 | 0.25032
EQUILIN | 4434 | 64539GM005 | 2010-06-30 | ng/L | 1.021 | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl | 12.6342 | EQUILIN | E | 4 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.021 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.808 | 0.22217 | 0.84729 | 0.33768 | 0.25032
EQUILIN | 4434 | 64539GM005 | 2010-08-19 | ng/L | 0.51638 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 6.3131 | EQUILIN | E | 4 | 3.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51638 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.808 | 0.22217 | 0.84729 | 0.33768 | 0.25032
EQUILIN | 4434 | 64539GM005 | 2010-11-15 | ng/L | 0.76193 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 12.534 | EQUILIN | E | 4 | 9.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76193 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.808 | 0.22217 | 0.84729 | 0.33768 | 0.25032
EQUILIN | 4434 | 64539GM005 | 2014-12-23 | ng/L | 0.61053 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 15.7895 | EQUILIN | E | 8 | 9.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61053 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57285 | 0.053292 | 0.57285 | 0.075367 | 0.055869
EQUILIN | 4434 | 64539GM005 | 2015-04-01 | ng/L | 0.53517 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 31.5789 | EQUILIN | E | 8 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53517 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57285 | 0.053292 | 0.57285 | 0.075367 | 0.055869
EQUILIN | 4434 | 64539GM005 | 2014-03-05 | ng/L | 0.55084 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 25.0526 | EQUILIN | E | 8 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55084 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.55084 |  | 0.55084 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2013-04-03 | ng/L | 0.6384 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 10.5263 | EQUILIN | E | 8 | 6.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6384 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6384 |  | 0.6384 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2012-12-18 | ng/L | 0.66025 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 21.0526 | EQUILIN | E | 8 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66025 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66025 |  | 0.66025 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2011-03-31 | ng/L | 0.76032 | 2011-03-03 08:00 | 20110620086 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 21.0438 | EQUILIN | E | 4 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76032 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.73757 | 0.17844 | 0.72929 | 0.1174 | 0.087029
EQUILIN | 4434 | 64539GM005 | 2011-05-26 | ng/L | 0.7767 | 2011-04-28 08:00 | 20111190186 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 5.3045 | EQUILIN | E | 4 | 4.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7767 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.73757 | 0.17844 | 0.72929 | 0.1174 | 0.087029
EQUILIN | 4434 | 64539GM005 | 2011-07-11 | ng/L | 0.49347 | 2011-06-16 10:00 | 20111680031 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 5.1878 | EQUILIN | E | 4 | 2.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49347 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.73757 | 0.17844 | 0.72929 | 0.1174 | 0.087029
EQUILIN | 4434 | 64539GM005 | 2011-10-13 | ng/L | 1.0374 | 2011-09-15 09:00 | 20112590006 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 5.2632 | EQUILIN | E | 8 | 5.46 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.0374 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 6 | 0.73757 | 0.17844 | 0.72929 | 0.1174 | 0.087029
EQUILIN | 4434 | 64539GM005 | 2012-02-01 | ng/L | 0.69825 | 2011-12-13 08:30 | 20113490064 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 21.0526 | EQUILIN | E | 8 | 14.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69825 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.73757 | 0.17844 | 0.72929 | 0.1174 | 0.087029
EQUILIN | 4434 | 64539GM005 | 2012-08-16 | ng/L | 0.6593 | 2012-05-31 07:30 | 20121520253 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 5.2632 | EQUILIN | E | 8 | 3.47 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.6593 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 6 | 0.73757 | 0.17844 | 0.72929 | 0.1174 | 0.087029
EQUILIN | 4434 | 64539GM005 | 2014-03-14 | ng/L | 0.7241 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 25.1347 | EQUILIN | E | 8 | 18.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7241 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7241 |  | 0.7241 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2013-06-04 | ng/L | 0.62468 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 10.0211 | EQUILIN | E | 8 | 6.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62469 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50594 | 0.16794 | 0.50594 | 0.2375 | 0.17606
EQUILIN | 4434 | 64539GM005 | 2013-12-09 | ng/L | 0.38718 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 10.0211 | EQUILIN | E | 8 | 3.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38718 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50594 | 0.16794 | 0.50594 | 0.2375 | 0.17606
EQUILIN | 4434 | 64539GM005 | 2016-01-05 | ng/L | 0.76813 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 24.2147 | EQUILIN | E | 8 | 18.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76813 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.76813 |  | 0.76813 | 0 | 0
EQUILIN | 4434 | 64539GM005 | 2010-05-25 | ng/L | 0.70034 | 2010-01-28 07:30 | 20100280079 | Supelco | LB69645 | Supelco LB69645: 20 µl | 6.3398 | EQUILIN | E | 4 | 4.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70034 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71302 | 0.060422 | 0.70034 | 0.11883 | 0.088088
EQUILIN | 4434 | 64539GM005 | 2010-07-07 | ng/L | 0.77878 | 2010-05-13 08:30 | 20101340149 | Supelco | LB69645 | Supelco LB69645: 40 µl | 12.6609 | EQUILIN | E | 4 | 9.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77878 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71302 | 0.060422 | 0.70034 | 0.11883 | 0.088088
EQUILIN | 4434 | 64539GM005 | 2010-11-17 | ng/L | 0.65995 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 12.8041 | EQUILIN | E | 4 | 8.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65994 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71302 | 0.060422 | 0.70034 | 0.11883 | 0.088088