## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ESTRONE | 4434 | 64541GM005 | 2014-12-09 | ng/L | 0.79167 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 3.1579 | ESTRONE | . | 0.8 | 2.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79167 |  | 0.79167 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-02-19 | ng/L | 0.50877 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 2.7124 | ESTRONE | . | 0.8 | 1.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50877 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.54011 | 0.044318 | 0.54011 | 0.062675 | 0.04646
ESTRONE | 4434 | 64541GM005 | 2014-03-03 | ng/L | 0.57145 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 2.7124 | ESTRONE | . | 0.8 | 1.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57145 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.54011 | 0.044318 | 0.54011 | 0.062675 | 0.04646
ESTRONE | 4434 | 64541GM005 | 2010-06-30 | ng/L | 1.1068 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 2.9004 | ESTRONE | . | 0.8 | 3.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1068 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1294 | 0.12825 | 1.1068 | 0.091935 | 0.06815
ESTRONE | 4434 | 64541GM005 | 2010-07-01 | ng/L | 1.0387 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 5.8824 | ESTRONE | . | 0.8 | 6.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0387 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1294 | 0.12825 | 1.1068 | 0.091935 | 0.06815
ESTRONE | 4434 | 64541GM005 | 2010-07-12 | ng/L | 1.3448 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 2.8926 | ESTRONE | . | 0.8 | 3.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3448 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1294 | 0.12825 | 1.1068 | 0.091935 | 0.06815
ESTRONE | 4434 | 64541GM005 | 2010-10-25 | ng/L | 1.1306 | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl | 5.9347 | ESTRONE | . | 0.8 | 6.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1306 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1294 | 0.12825 | 1.1068 | 0.091935 | 0.06815
ESTRONE | 4434 | 64541GM005 | 2010-11-01 | ng/L | 1.0263 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 2.9915 | ESTRONE | . | 0.8 | 3.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0263 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1294 | 0.12825 | 1.1068 | 0.091935 | 0.06815
ESTRONE | 4434 | 64541GM005 | 2011-02-07 | ng/L | 0.90805 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1056 | ESTRONE | . | 0.8 | 2.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90805 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2011-03-10 | ng/L | 0.71031 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 12.4171 | ESTRONE | . | 0.8 | 8.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71031 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2011-05-09 | ng/L | 0.73898 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 3.0718 | ESTRONE | . | 0.8 | 2.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73898 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2011-06-23 | ng/L | 0.80595 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 12.3582 | ESTRONE | . | 0.8 | 9.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80595 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2011-07-25 | ng/L | 0.66611 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1526 | ESTRONE | . | 0.8 | 2.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66611 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2011-10-12 | ng/L | 0.83422 | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1526 | ESTRONE | . | 0.8 | 2.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83422 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2011-11-17 | ng/L | 0.78982 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1526 | ESTRONE | . | 0.8 | 2.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78982 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2012-03-27 | ng/L | 0.93573 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 12.6105 | ESTRONE | . | 0.8 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93573 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2012-04-06 | ng/L | 0.63756 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 3.1526 | ESTRONE | . | 0.8 | 2.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63756 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.78075 | 0.10256 | 0.78982 | 0.12391 | 0.091854
ESTRONE | 4434 | 64541GM005 | 2014-07-14 | ng/L | 0.7825 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 1.6358 | ESTRONE | . | 0.8 | 1.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7825 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7825 |  | 0.7825 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-08-22 | ng/L | 1.082 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 3.2716 | ESTRONE | . | 0.8 | 3.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.082 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92005 | 0.2291 | 0.92005 | 0.324 | 0.24018
ESTRONE | 4434 | 64541GM005 | 2014-11-05 | ng/L | 0.75804 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 1.6358 | ESTRONE | . | 0.8 | 1.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75804 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92005 | 0.2291 | 0.92005 | 0.324 | 0.24018
ESTRONE | 4434 | 64541GM005 | 2014-07-28 | ng/L | 0.94144 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 1.6358 | ESTRONE | . | 0.8 | 1.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94144 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87114 | 0.099423 | 0.87114 | 0.14061 | 0.10423
ESTRONE | 4434 | 64541GM005 | 2015-04-01 | ng/L | 0.80084 | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl | 3.2716 | ESTRONE | . | 0.8 | 2.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80084 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87114 | 0.099423 | 0.87114 | 0.14061 | 0.10423
ESTRONE | 4434 | 64541GM005 | 2014-09-04 | ng/L | 0.81306 | 2014-06-26 07:00 | 20141770146 | ERA, Spex Organics | 0227-14-07.2, E1140505004 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl | 1.6358 | ESTRONE | . | 0.8 | 1.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81306 | ER02207.2, SpE115004 | ER | Sp | Sp | 02207.2 | E115004 | E115004 | 02207.2 | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81306 |  | 0.81306 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-03-05 | ng/L | 0.62675 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 6.7811 | ESTRONE | . | 0.8 | 4.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62675 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62675 |  | 0.62675 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-04-14 | ng/L | 1.081 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 6.7811 | ESTRONE | . | 0.8 | 7.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.081 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.081 |  | 1.081 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2013-09-16 | ng/L | 0.68175 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.6989 | ESTRONE | . | 0.8 | 1.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68175 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7929 | 0.1572 | 0.7929 | 0.22231 | 0.1648
ESTRONE | 4434 | 64541GM005 | 2014-04-14 | ng/L | 0.90406 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.6989 | ESTRONE | . | 0.8 | 2.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90406 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7929 | 0.1572 | 0.7929 | 0.22231 | 0.1648
ESTRONE | 4434 | 64541GM005 | 2013-11-18 | ng/L | 0.62246 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 2.6989 | ESTRONE | . | 0.8 | 1.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62246 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62246 |  | 0.62246 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2013-08-09 | ng/L | 0.69064 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 6.7474 | ESTRONE | . | 0.8 | 4.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69064 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5906 | 0.14148 | 0.5906 | 0.20008 | 0.14832
ESTRONE | 4434 | 64541GM005 | 2014-03-14 | ng/L | 0.49056 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 6.7474 | ESTRONE | . | 0.8 | 3.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49056 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5906 | 0.14148 | 0.5906 | 0.20008 | 0.14832
ESTRONE | 4434 | 64541GM005 | 2012-11-07 | ng/L | 0.84793 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 12.7368 | ESTRONE | . | 0.8 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84793 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84793 |  | 0.84793 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2012-12-18 | ng/L | 0.75762 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 12.6316 | ESTRONE | . | 0.8 | 9.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75762 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.703 | 0.077251 | 0.703 | 0.10925 | 0.080986
ESTRONE | 4434 | 64541GM005 | 2013-04-22 | ng/L | 0.64838 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 12.6316 | ESTRONE | . | 0.8 | 8.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64837 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.703 | 0.077251 | 0.703 | 0.10925 | 0.080986
ESTRONE | 4434 | 64541GM005 | 2012-08-31 | ng/L | 0.95 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 6.3684 | ESTRONE | . | 0.8 | 6.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81064 | 0.19708 | 0.81064 | 0.27872 | 0.20661
ESTRONE | 4434 | 64541GM005 | 2012-12-03 | ng/L | 0.67128 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 12.7368 | ESTRONE | . | 0.8 | 8.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67128 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81064 | 0.19708 | 0.81064 | 0.27872 | 0.20661
ESTRONE | 4434 | 64541GM005 | 2013-04-10 | ng/L | 0.86364 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 6.3684 | ESTRONE | . | 0.8 | 5.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86364 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86364 |  | 0.86364 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2015-09-14 | ng/L | 1.1182 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 2.0211 | ESTRONE | . | 0.8 | 2.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1182 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1182 |  | 1.1182 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2015-08-10 | ng/L | 1.0044 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 2.0211 | ESTRONE | . | 0.8 | 2.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0044 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84857 | 0.22042 | 0.84857 | 0.31172 | 0.23107
ESTRONE | 4434 | 64541GM005 | 2016-01-08 | ng/L | 0.69271 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 1.2126 | ESTRONE | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69271 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84857 | 0.22042 | 0.84857 | 0.31172 | 0.23107
ESTRONE | 4434 | 64541GM005 | 2012-12-18 | ng/L | 0.75683 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 6.3158 | ESTRONE | . | 0.8 | 4.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75683 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71606 | 0.057659 | 0.71606 | 0.081542 | 0.060446
ESTRONE | 4434 | 64541GM005 | 2013-02-22 | ng/L | 0.67529 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 12.6316 | ESTRONE | . | 0.8 | 8.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67529 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71606 | 0.057659 | 0.71606 | 0.081542 | 0.060446
ESTRONE | 4434 | 64541GM005 | 2014-12-23 | ng/L | 0.855 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 1.5789 | ESTRONE | . | 0.8 | 1.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.855 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63967 | 0.30453 | 0.63967 | 0.43067 | 0.31925
ESTRONE | 4434 | 64541GM005 | 2015-04-01 | ng/L | 0.42433 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 3.1579 | ESTRONE | . | 0.8 | 1.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42433 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63967 | 0.30453 | 0.63967 | 0.43067 | 0.31925
ESTRONE | 4434 | 64541GM005 | 2014-03-05 | ng/L | 0.69901 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 6.7811 | ESTRONE | . | 0.8 | 4.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69901 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69901 |  | 0.69901 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2013-02-22 | ng/L | 0.64066 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 6.3684 | ESTRONE | . | 0.8 | 4.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64066 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64066 |  | 0.64066 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2013-04-03 | ng/L | 0.72913 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 12.6316 | ESTRONE | . | 0.8 | 9.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72912 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72912 |  | 0.72912 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2010-05-25 | ng/L | 1.1921 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 5.8972 | ESTRONE | . | 0.8 | 7.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1921 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1246 | 0.059031 | 1.1354 | 0.091355 | 0.067721
ESTRONE | 4434 | 64541GM005 | 2010-06-30 | ng/L | 1.0342 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.9781 | ESTRONE | . | 0.8 | 3.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0342 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1246 | 0.059031 | 1.1354 | 0.091355 | 0.067721
ESTRONE | 4434 | 64541GM005 | 2010-07-01 | ng/L | 1.1233 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.4333 | ESTRONE | . | 0.8 | 1.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1246 | 0.059031 | 1.1354 | 0.091355 | 0.067721
ESTRONE | 4434 | 64541GM005 | 2010-08-19 | ng/L | 1.1475 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 2.9455 | ESTRONE | . | 0.8 | 3.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1475 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1246 | 0.059031 | 1.1354 | 0.091355 | 0.067721
ESTRONE | 4434 | 64541GM005 | 2010-10-19 | ng/L | 1.0796 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 5.7983 | ESTRONE | . | 0.8 | 6.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0796 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1246 | 0.059031 | 1.1354 | 0.091355 | 0.067721
ESTRONE | 4434 | 64541GM005 | 2010-11-15 | ng/L | 1.171 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 3.0231 | ESTRONE | . | 0.8 | 3.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.171 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1246 | 0.059031 | 1.1354 | 0.091355 | 0.067721
ESTRONE | 4434 | 64541GM005 | 2014-03-14 | ng/L | 0.54711 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 6.7811 | ESTRONE | . | 0.8 | 3.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54711 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54711 |  | 0.54711 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2013-07-19 | ng/L | 0.63729 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 2.6989 | ESTRONE | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63729 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63729 |  | 0.63729 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-01-23 | ng/L | 0.51872 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.6989 | ESTRONE | E | 0.8 | 1.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51872 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.51872 |  | 0.51872 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-12-16 | ng/L | 0.74733 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 1.5789 | ESTRONE | . | 0.8 | 1.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74733 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74733 |  | 0.74733 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2014-09-23 | ng/L | 0.77267 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 3.1579 | ESTRONE | . | 0.8 | 2.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77267 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72833 | 0.062697 | 0.72833 | 0.088666 | 0.065728
ESTRONE | 4434 | 64541GM005 | 2015-01-21 | ng/L | 0.684 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 1.5789 | ESTRONE | E | 0.8 | 1.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.684 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72833 | 0.062697 | 0.72833 | 0.088666 | 0.065728
ESTRONE | 4434 | 64541GM005 | 2016-01-05 | ng/L | 0.75833 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 2.4 | ESTRONE | E | 0.8 | 1.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75833 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75833 |  | 0.75833 | 0 | 0
ESTRONE | 4434 | 64541GM005 | 2011-03-04 | ng/L | 0.78845 | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.082 | ESTRONE | . | 0.8 | 2.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78845 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2011-03-31 | ng/L | 0.82025 | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.0966 | ESTRONE | . | 0.8 | 2.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82025 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2011-05-19 | ng/L | 0.79879 | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1172 | ESTRONE | . | 0.8 | 2.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79879 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2011-06-07 | ng/L | 0.7558 | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl | 12.4636 | ESTRONE | . | 0.8 | 9.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7558 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2011-09-29 | ng/L | 0.73467 | 2011-07-28 09:00 | 20112100009 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | ESTRONE | . | 0.8 | 2.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73467 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2011-10-13 | ng/L | 0.74338 | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl | 12.6316 | ESTRONE | . | 0.8 | 9.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74337 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2012-01-27 | ng/L | 0.75287 | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl | 12.6316 | ESTRONE | . | 0.8 | 9.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75287 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2012-04-04 | ng/L | 0.97217 | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | ESTRONE | . | 0.8 | 3.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97217 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2012-04-17 | ng/L | 0.6745 | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | ESTRONE | . | 0.8 | 2.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6745 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536
ESTRONE | 4434 | 64541GM005 | 2012-07-27 | ng/L | 0.67133 | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl | 3.1579 | ESTRONE | . | 0.8 | 2.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67133 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.77122 | 0.085543 | 0.75434 | 0.064125 | 0.047536