## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MESTRANOL | 4434 | 64542GM005 | 2014-08-26 | ng/L | 0.63333 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 3.1579 | MESTRANOL | . | 0.8 | 2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63333 |  | 0.63333 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2014-05-06 | ng/L | 0.65376 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 3.2122 | MESTRANOL | E | 0.8 | 2.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65376 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59461 | 0.08365 | 0.59461 | 0.1183 | 0.087694
MESTRANOL | 4434 | 64542GM005 | 2014-05-14 | ng/L | 0.53546 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 1.6061 | MESTRANOL | . | 0.8 | 0.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53546 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.59461 | 0.08365 | 0.59461 | 0.1183 | 0.087694
MESTRANOL | 4434 | 64542GM005 | 2014-02-19 | ng/L | 0.4527 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 1.8114 | MESTRANOL | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4527 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.4527 |  | 0.4527 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2010-06-30 | ng/L | 0.53902 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 1.243 | MESTRANOL | E | 0.8 | 0.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53902 | Abs 083109H | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.67243 | 0.15706 | 0.6864 | 0.27091 | 0.20082
MESTRANOL | 4434 | 64542GM005 | 2010-07-01 | ng/L | 0.4879 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 2.521 | MESTRANOL | . | 0.8 | 1.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4879 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.67243 | 0.15706 | 0.6864 | 0.27091 | 0.20082
MESTRANOL | 4434 | 64542GM005 | 2010-07-12 | ng/L | 0.83893 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 1.2397 | MESTRANOL | . | 0.8 | 1.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83893 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.67243 | 0.15706 | 0.6864 | 0.27091 | 0.20082
MESTRANOL | 4434 | 64542GM005 | 2010-10-25 | ng/L | 0.80992 | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl | 2.5435 | MESTRANOL | . | 0.8 | 2.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80992 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.67243 | 0.15706 | 0.6864 | 0.27091 | 0.20082
MESTRANOL | 4434 | 64542GM005 | 2010-11-01 | ng/L | 0.6864 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 1.2821 | MESTRANOL | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6864 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.67243 | 0.15706 | 0.6864 | 0.27091 | 0.20082
MESTRANOL | 4434 | 64542GM005 | 2015-01-21 | ng/L | 0.29886 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 3.2122 | MESTRANOL | . | 0.8 | 0.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29886 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.29886 |  | 0.29886 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2011-02-07 | ng/L | 0.63007 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5554 | MESTRANOL | . | 0.8 | 0.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63007 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2011-03-10 | ng/L | 0.55637 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 6.2189 | MESTRANOL | . | 0.8 | 3.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55637 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2011-05-09 | ng/L | 0.5135 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5385 | MESTRANOL | . | 0.8 | 0.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5135 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2011-06-23 | ng/L | 0.50894 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 6.1894 | MESTRANOL | . | 0.8 | 3.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50894 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2011-07-25 | ng/L | 0.33567 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33567 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2011-10-12 | ng/L | 0.69667 | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 1.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69667 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2011-11-17 | ng/L | 0.36733 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36733 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2012-03-27 | ng/L | 0.7125 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 6.3158 | MESTRANOL | . | 0.8 | 4.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7125 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2012-04-06 | ng/L | 0.53833 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53833 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.53993 | 0.13034 | 0.53833 | 0.12114 | 0.0898
MESTRANOL | 4434 | 64542GM005 | 2014-11-05 | ng/L | 0.532 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.532 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.532 |  | 0.532 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2014-07-28 | ng/L | 0.87167 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 1.6061 | MESTRANOL | . | 0.8 | 1.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87167 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87167 |  | 0.87167 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2014-03-05 | ng/L | 0.32241 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 4.5284 | MESTRANOL | . | 0.8 | 1.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32241 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.32241 |  | 0.32241 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2014-04-14 | ng/L | 0.52336 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 4.5284 | MESTRANOL | . | 0.8 | 2.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52336 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52336 |  | 0.52336 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2013-08-09 | ng/L | 0.28633 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 4.5053 | MESTRANOL | . | 0.8 | 1.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28633 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.27856 | 0.010987 | 0.27856 | 0.015537 | 0.011518
MESTRANOL | 4434 | 64542GM005 | 2014-03-14 | ng/L | 0.27079 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 4.5053 | MESTRANOL | . | 0.8 | 1.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27079 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.27856 | 0.010987 | 0.27856 | 0.015537 | 0.011518
MESTRANOL | 4434 | 64542GM005 | 2012-11-07 | ng/L | 0.41762 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 10.6316 | MESTRANOL | . | 0.8 | 4.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41762 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.41762 |  | 0.41762 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2012-12-18 | ng/L | 0.55955 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 10.5263 | MESTRANOL | . | 0.8 | 5.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55955 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5073 | 0.073893 | 0.5073 | 0.1045 | 0.077465
MESTRANOL | 4434 | 64542GM005 | 2013-04-22 | ng/L | 0.45505 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 10.5263 | MESTRANOL | . | 0.8 | 4.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45505 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5073 | 0.073893 | 0.5073 | 0.1045 | 0.077465
MESTRANOL | 4434 | 64542GM005 | 2012-08-31 | ng/L | 0.44772 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 5.3158 | MESTRANOL | . | 0.8 | 2.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44772 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.38847 | 0.083803 | 0.38847 | 0.11851 | 0.087854
MESTRANOL | 4434 | 64542GM005 | 2012-12-03 | ng/L | 0.32921 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 10.6316 | MESTRANOL | . | 0.8 | 3.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32921 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.38847 | 0.083803 | 0.38847 | 0.11851 | 0.087854
MESTRANOL | 4434 | 64542GM005 | 2013-04-10 | ng/L | 0.56436 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 5.3158 | MESTRANOL | . | 0.8 | 3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56436 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56436 |  | 0.56436 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2015-09-14 | ng/L | 0.565 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 2 | MESTRANOL | . | 0.8 | 1.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.565 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.565 |  | 0.565 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2015-08-10 | ng/L | 0.39 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 2 | MESTRANOL | . | 0.8 | 0.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.39 |  | 0.39 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2012-12-18 | ng/L | 0.4769 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 5.2632 | MESTRANOL | . | 0.8 | 2.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4769 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.42655 | 0.071206 | 0.42655 | 0.1007 | 0.074648
MESTRANOL | 4434 | 64542GM005 | 2013-02-22 | ng/L | 0.3762 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 10.5263 | MESTRANOL | . | 0.8 | 3.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3762 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.42655 | 0.071206 | 0.42655 | 0.1007 | 0.074648
MESTRANOL | 4434 | 64542GM005 | 2014-03-05 | ng/L | 0.3467 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 4.5284 | MESTRANOL | . | 0.8 | 1.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3467 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.3467 |  | 0.3467 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2013-02-22 | ng/L | 0.52109 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 5.3158 | MESTRANOL | . | 0.8 | 2.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52109 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52109 |  | 0.52109 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2013-04-03 | ng/L | 0.48355 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 10.5263 | MESTRANOL | . | 0.8 | 5.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48355 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.48355 |  | 0.48355 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2010-05-25 | ng/L | 1.4402 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 2.5274 | MESTRANOL | . | 0.8 | 3.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4402 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.4242 | 0.10782 | 1.4065 | 0.0777 | 0.057599
MESTRANOL | 4434 | 64542GM005 | 2010-06-30 | ng/L | 1.3084 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.2763 | MESTRANOL | . | 0.8 | 1.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3084 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.4242 | 0.10782 | 1.4065 | 0.0777 | 0.057599
MESTRANOL | 4434 | 64542GM005 | 2010-07-01 | ng/L | 1.4326 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.61425 | MESTRANOL | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.4326 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 6 | 1.4242 | 0.10782 | 1.4065 | 0.0777 | 0.057599
MESTRANOL | 4434 | 64542GM005 | 2010-08-19 | ng/L | 1.3625 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.2624 | MESTRANOL | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3625 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.4242 | 0.10782 | 1.4065 | 0.0777 | 0.057599
MESTRANOL | 4434 | 64542GM005 | 2010-10-19 | ng/L | 1.3803 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 2.485 | MESTRANOL | . | 0.8 | 3.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3803 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.4242 | 0.10782 | 1.4065 | 0.0777 | 0.057599
MESTRANOL | 4434 | 64542GM005 | 2010-11-15 | ng/L | 1.6209 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.2956 | MESTRANOL | . | 0.8 | 2.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6208 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.4242 | 0.10782 | 1.4065 | 0.0777 | 0.057599
MESTRANOL | 4434 | 64542GM005 | 2014-03-14 | ng/L | 0.42178 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 4.5284 | MESTRANOL | . | 0.8 | 1.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42178 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.42178 |  | 0.42178 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2014-01-23 | ng/L | 0.26081 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.8021 | MESTRANOL | . | 0.8 | 0.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26081 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.26081 |  | 0.26081 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2015-02-12 | ng/L | 0.513 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 3.1579 | MESTRANOL | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.513 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.513 |  | 0.513 | 0 | 0
MESTRANOL | 4434 | 64542GM005 | 2014-09-23 | ng/L | 0.5697 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 3.2122 | MESTRANOL | . | 0.8 | 1.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5697 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.45919 | 0.15629 | 0.45919 | 0.22103 | 0.16385
MESTRANOL | 4434 | 64542GM005 | 2015-01-21 | ng/L | 0.34867 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 1.6061 | MESTRANOL | . | 0.8 | 0.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34867 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.45919 | 0.15629 | 0.45919 | 0.22103 | 0.16385
MESTRANOL | 4434 | 64542GM005 | 2011-03-04 | ng/L | 0.4867 | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.541 | MESTRANOL | . | 0.8 | 0.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4867 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2011-03-31 | ng/L | 0.66524 | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5483 | MESTRANOL | . | 0.8 | 1.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66524 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2011-05-19 | ng/L | 0.88541 | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5586 | MESTRANOL | . | 0.8 | 1.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88541 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2011-06-07 | ng/L | 0.44931 | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.2318 | MESTRANOL | . | 0.8 | 2.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44931 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2011-09-29 | ng/L | 0.53833 | 2011-07-28 09:00 | 20112100009 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53833 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2011-10-13 | ng/L | 0.45758 | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | MESTRANOL | . | 0.8 | 2.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45758 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2012-01-27 | ng/L | 0.38158 | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | MESTRANOL | . | 0.8 | 2.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38158 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2012-04-04 | ng/L | 0.46233 | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46233 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2012-04-17 | ng/L | 0.44333 | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44333 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995
MESTRANOL | 4434 | 64542GM005 | 2012-07-27 | ng/L | 0.532 | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | MESTRANOL | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.532 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 0.53018 | 0.14622 | 0.47452 | 0.089027 | 0.065995