## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NORETHINDRONE | 4434 | 64531GM005 | 2014-08-26 | ng/L | 0.88667 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 2.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88667 |  | 0.88667 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-05-06 | ng/L | 1.3617 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 4.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3617 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1938 | 0.23735 | 1.1938 | 0.33567 | 0.24883
NORETHINDRONE | 4434 | 64531GM005 | 2014-05-14 | ng/L | 1.026 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.026 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1938 | 0.23735 | 1.1938 | 0.33567 | 0.24883
NORETHINDRONE | 4434 | 64531GM005 | 2014-08-11 | ng/L | 1.102 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 3.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.102 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0007 | 0.14331 | 1.0007 | 0.20267 | 0.15023
NORETHINDRONE | 4434 | 64531GM005 | 2015-06-03 | ng/L | 0.89933 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89933 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0007 | 0.14331 | 1.0007 | 0.20267 | 0.15023
NORETHINDRONE | 4434 | 64531GM005 | 2014-12-09 | ng/L | 0.81067 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 2.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81067 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76 | 0.071653 | 0.76 | 0.10133 | 0.075117
NORETHINDRONE | 4434 | 64531GM005 | 2015-01-29 | ng/L | 0.70933 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70933 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76 | 0.071653 | 0.76 | 0.10133 | 0.075117
NORETHINDRONE | 4434 | 64531GM005 | 2015-12-10 | ng/L | 0.81699 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 2.0074 | NORETHINDRONE | . | 0.8 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81699 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81699 |  | 0.81699 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-13 | ng/L | 0.84233 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 2.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84233 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84233 |  | 0.84233 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | ng/L | 1.0257 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 0.82867 | NORETHINDRONE | . | 0.8 | 0.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0257 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.95755 | 0.14846 | 0.98672 | 0.21174 | 0.15696
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | ng/L | 0.75565 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 1.6807 | NORETHINDRONE | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75565 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.95755 | 0.14846 | 0.98672 | 0.21174 | 0.15696
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-12 | ng/L | 1.1011 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 0.82645 | NORETHINDRONE | . | 0.8 | 0.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1011 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.95755 | 0.14846 | 0.98672 | 0.21174 | 0.15696
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-01 | ng/L | 0.9477 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 0.8547 | NORETHINDRONE | . | 0.8 | 0.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9477 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.95755 | 0.14846 | 0.98672 | 0.21174 | 0.15696
NORETHINDRONE | 4434 | 64531GM005 | 2015-01-21 | ng/L | 0.75683 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 2.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75683 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90092 | 0.20376 | 0.90092 | 0.28817 | 0.21362
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-01 | ng/L | 1.045 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90092 | 0.20376 | 0.90092 | 0.28817 | 0.21362
NORETHINDRONE | 4434 | 64531GM005 | 2015-08-17 | ng/L | 0.83692 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 2.0074 | NORETHINDRONE | . | 0.8 | 1.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83692 | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83692 |  | 0.83692 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-07 | ng/L | 1.0005 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 2.4088 | NORETHINDRONE | . | 0.8 | 2.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0005 | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0005 |  | 1.0005 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2011-02-07 | ng/L | 0.82295 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5554 | NORETHINDRONE | . | 0.8 | 1.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82295 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-10 | ng/L | 0.64802 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 6.2189 | NORETHINDRONE | . | 0.8 | 4.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64802 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-09 | ng/L | 0.6435 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5385 | NORETHINDRONE | . | 0.8 | 0.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6435 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-23 | ng/L | 0.66727 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 6.1894 | NORETHINDRONE | . | 0.8 | 4.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66727 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-07-25 | ng/L | 0.55733 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55733 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-11-17 | ng/L | 0.74733 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74733 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2012-03-27 | ng/L | 0.8455 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 6.3158 | NORETHINDRONE | . | 0.8 | 5.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8455 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-06 | ng/L | 0.741 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.741 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2014-07-14 | ng/L | 0.61433 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 0.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61433 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61433 |  | 0.61433 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-02-25 | ng/L | 0.5825 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 2.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5825 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5825 |  | 0.5825 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-05 | ng/L | 0.685 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 2.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.685 |  | 0.685 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-04-14 | ng/L | 0.8975 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 3.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8975 | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8975 |  | 0.8975 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-09-16 | ng/L | 0.725 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.725 |  | 0.725 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-06-27 | ng/L | 0.79375 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79375 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79375 |  | 0.79375 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-11-01 | ng/L | 0.63379 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 7.3684 | NORETHINDRONE | . | 0.8 | 4.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63379 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63379 |  | 0.63379 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-11-07 | ng/L | 0.73286 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 14.7368 | NORETHINDRONE | . | 0.8 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73286 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73286 |  | 0.73286 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | ng/L | 0.66025 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.7368 | NORETHINDRONE | . | 0.8 | 9.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66025 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68977 | 0.041745 | 0.68977 | 0.059036 | 0.043763
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-22 | ng/L | 0.71929 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.7368 | NORETHINDRONE | . | 0.8 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71929 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68977 | 0.041745 | 0.68977 | 0.059036 | 0.043763
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-08 | ng/L | 0.69757 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 7.3684 | NORETHINDRONE | . | 0.8 | 5.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69757 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69757 |  | 0.69757 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-12-23 | ng/L | 0.94367 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94367 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.836 | 0.15226 | 0.836 | 0.21533 | 0.15962
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-01 | ng/L | 0.72833 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 3.1579 | NORETHINDRONE | . | 0.8 | 2.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72833 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.836 | 0.15226 | 0.836 | 0.21533 | 0.15962
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-03 | ng/L | 0.61957 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 7.2632 | NORETHINDRONE | . | 0.8 | 4.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61957 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61957 |  | 0.61957 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-22 | ng/L | 0.7779 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 7.2632 | NORETHINDRONE | . | 0.8 | 5.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7779 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7779 |  | 0.7779 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-03 | ng/L | 0.70217 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 14.5263 | NORETHINDRONE | . | 0.8 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70217 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70217 |  | 0.70217 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | ng/L | 0.69529 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 14.5263 | NORETHINDRONE | . | 0.8 | 10.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69529 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69529 |  | 0.69529 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2010-05-25 | ng/L | 1.0208 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 1.6849 | NORETHINDRONE | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | ng/L | 0.89319 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.85088 | NORETHINDRONE | E | 0.8 | 0.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89319 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | ng/L | 1.0501 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.4095 | NORETHINDRONE | E | 0.8 | 0.43 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.0501 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 1 | [5 empty] | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-08-19 | ng/L | 1.0338 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.84157 | NORETHINDRONE | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0338 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-19 | ng/L | 0.95373 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 1.6567 | NORETHINDRONE | . | 0.8 | 1.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95373 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-15 | ng/L | 0.84516 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.86374 | NORETHINDRONE | . | 0.8 | 0.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84516 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2012-08-29 | ng/L | 0.82609 | 2012-07-03 07:00 | 20121870005 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 7.2632 | NORETHINDRONE | . | 0.8 | 6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82609 | Spex Organics T1120525010 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82609 |  | 0.82609 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-14 | ng/L | 0.8175 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 3.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8175 |  | 0.8175 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-14 | ng/L | 0.67 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 2.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67 |  | 0.67 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-07-19 | ng/L | 0.66875 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66875 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66875 |  | 0.66875 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-01-23 | ng/L | 0.675 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.675 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.675 |  | 0.675 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-06-04 | ng/L | 0.5125 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5125 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.51875 | 0.0088388 | 0.51875 | 0.0125 | 0.0092661
NORETHINDRONE | 4434 | 64531GM005 | 2013-12-09 | ng/L | 0.525 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.525 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.51875 | 0.0088388 | 0.51875 | 0.0125 | 0.0092661
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-04 | ng/L | 0.98638 | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.541 | NORETHINDRONE | . | 0.8 | 1.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98638 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-31 | ng/L | 0.63295 | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5483 | NORETHINDRONE | . | 0.8 | 0.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63295 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-19 | ng/L | 0.94957 | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5586 | NORETHINDRONE | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94957 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-07 | ng/L | 0.76543 | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.2318 | NORETHINDRONE | . | 0.8 | 4.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76543 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-13 | ng/L | 0.76317 | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | NORETHINDRONE | . | 0.8 | 4.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76317 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-01-27 | ng/L | 0.67767 | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | NORETHINDRONE | . | 0.8 | 4.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67767 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-04 | ng/L | 0.93733 | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93733 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-17 | ng/L | 0.817 | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.817 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-07-27 | ng/L | 0.65867 | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65867 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249