## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROGESTERONE | 4434 | 64543GM005 | 2014-08-11 | ng/L | 0.33661 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 32.0842 | PROGESTERONE | E | 8 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33661 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.33661 |  | 0.33661 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2014-12-09 | ng/L | 0.23562 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 31.9579 | PROGESTERONE | E | 8 | 7.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23562 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.27802 | 0.059962 | 0.27802 | 0.084799 | 0.062861
PROGESTERONE | 4434 | 64543GM005 | 2015-01-29 | ng/L | 0.32042 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 15.9789 | PROGESTERONE | E | 8 | 5.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32042 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.27802 | 0.059962 | 0.27802 | 0.084799 | 0.062861
PROGESTERONE | 4434 | 64543GM005 | 2015-12-10 | ng/L | 0.64 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 20 | PROGESTERONE | E | 8 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.64 |  | 0.64 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2014-02-19 | ng/L | 0.26506 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 11.0539 | PROGESTERONE | E | 8 | 2.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26507 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.28949 | 0.034543 | 0.28949 | 0.048852 | 0.036213
PROGESTERONE | 4434 | 64543GM005 | 2014-03-03 | ng/L | 0.31392 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 11.0539 | PROGESTERONE | E | 8 | 3.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31392 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.28949 | 0.034543 | 0.28949 | 0.048852 | 0.036213
PROGESTERONE | 4434 | 64543GM005 | 2012-08-24 | ng/L | 0.48371 | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 6.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48371 | Abs 051512 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.48371 |  | 0.48371 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2011-02-23 | ng/L | 0.58186 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 9.4697 | PROGESTERONE | E | 8 | 5.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58186 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-03-30 | ng/L | 0.76513 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 9.3187 | PROGESTERONE | E | 8 | 7.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76513 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-05-09 | ng/L | 0.50116 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 38.1114 | PROGESTERONE | E | 8 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50116 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-06-13 | ng/L | 0.5765 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 9.3322 | PROGESTERONE | E | 8 | 5.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5765 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-10-03 | ng/L | 0.51194 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 37.8947 | PROGESTERONE | E | 8 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51194 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-10-12 | ng/L | 0.42433 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 9.4737 | PROGESTERONE | E | 8 | 4.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42433 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2012-03-27 | ng/L | 0.70511 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 9.4737 | PROGESTERONE | E | 8 | 6.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70511 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2012-04-17 | ng/L | 0.84972 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 37.8947 | PROGESTERONE | E | 8 | 32.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84972 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2012-07-02 | ng/L | 0.93417 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 37.8947 | PROGESTERONE | E | 8 | 35.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93417 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2014-07-14 | ng/L | 0.60715 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 16.0421 | PROGESTERONE | E | 8 | 9.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60715 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60715 |  | 0.60715 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2014-08-22 | ng/L | 0.27116 | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl | 32.0842 | PROGESTERONE | E | 8 | 8.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27116 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.379 | 0.15251 | 0.379 | 0.21568 | 0.15988
PROGESTERONE | 4434 | 64543GM005 | 2014-11-05 | ng/L | 0.48684 | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl | 16.0421 | PROGESTERONE | E | 8 | 7.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48684 | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.379 | 0.15251 | 0.379 | 0.21568 | 0.15988
PROGESTERONE | 4434 | 64543GM005 | 2014-07-28 | ng/L | 0.67323 | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl | 16.0421 | PROGESTERONE | E | 8 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67323 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48934 | 0.26006 | 0.48934 | 0.36778 | 0.27263
PROGESTERONE | 4434 | 64543GM005 | 2015-04-01 | ng/L | 0.30545 | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl | 32.0842 | PROGESTERONE | E | 8 | 9.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30545 | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48934 | 0.26006 | 0.48934 | 0.36778 | 0.27263
PROGESTERONE | 4434 | 64543GM005 | 2014-09-04 | ng/L | 0.50991 | 2014-06-26 07:00 | 20141770146 | ERA, Spex Organics | 0227-14-07.2, E1140505004 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl | 16.0421 | PROGESTERONE | E | 8 | 8.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50991 | ER02207.2, SpE115004 | ER | Sp | Sp | 02207.2 | E115004 | E115004 | 02207.2 | E115004 | E115004 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50991 |  | 0.50991 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2014-02-25 | ng/L | 0.28334 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 27.6347 | PROGESTERONE | E | 8 | 7.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28334 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.28334 |  | 0.28334 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-06-27 | ng/L | 0.22749 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 10.9895 | PROGESTERONE | E | 8 | 2.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22749 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.22749 |  | 0.22749 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-11-18 | ng/L | 0.38267 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 11.0539 | PROGESTERONE | E | 8 | 4.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38267 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.38267 |  | 0.38267 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-08-09 | ng/L | 0.37126 | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 27.4737 | PROGESTERONE | E | 8 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37126 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36708 | 0.0059196 | 0.36708 | 0.0083716 | 0.0062058
PROGESTERONE | 4434 | 64543GM005 | 2014-03-14 | ng/L | 0.36289 | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 27.4737 | PROGESTERONE | E | 8 | 9.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36289 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.36708 | 0.0059196 | 0.36708 | 0.0083716 | 0.0062058
PROGESTERONE | 4434 | 64543GM005 | 2012-11-01 | ng/L | 0.67133 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 8.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67133 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.67133 |  | 0.67133 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-02-08 | ng/L | 0.4788 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 5.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4788 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4788 |  | 0.4788 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2012-08-31 | ng/L | 0.50508 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 6.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50508 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45837 | 0.066056 | 0.45837 | 0.093417 | 0.069249
PROGESTERONE | 4434 | 64543GM005 | 2012-12-03 | ng/L | 0.41167 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 25.2632 | PROGESTERONE | E | 8 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41167 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45837 | 0.066056 | 0.45837 | 0.093417 | 0.069249
PROGESTERONE | 4434 | 64543GM005 | 2013-04-10 | ng/L | 0.73245 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73245 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73245 |  | 0.73245 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2015-09-14 | ng/L | 0.419 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 20 | PROGESTERONE | E | 8 | 8.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.419 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3895 | 0.041719 | 0.3895 | 0.059 | 0.043736
PROGESTERONE | 4434 | 64543GM005 | 2016-01-08 | ng/L | 0.36 | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl | 12 | PROGESTERONE | E | 8 | 4.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3895 | 0.041719 | 0.3895 | 0.059 | 0.043736
PROGESTERONE | 4434 | 64543GM005 | 2015-08-10 | ng/L | 0.324 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 20 | PROGESTERONE | E | 8 | 6.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.324 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.324 |  | 0.324 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2012-12-18 | ng/L | 0.38285 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 4.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38285 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43605 | 0.075236 | 0.43605 | 0.1064 | 0.078873
PROGESTERONE | 4434 | 64543GM005 | 2013-02-22 | ng/L | 0.48925 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 21.0526 | PROGESTERONE | E | 8 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48925 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43605 | 0.075236 | 0.43605 | 0.1064 | 0.078873
PROGESTERONE | 4434 | 64543GM005 | 2010-06-30 | ng/L | 0.46157 | 2010-04-22 08:00 | 20101130056 | Restek | A070624 | Restek A070624: 20 µl | 9.1211 | PROGESTERONE | E | 8 | 4.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46157 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.73173 | 0.60744 | 0.46157 | 0.043364 | 0.032145
PROGESTERONE | 4434 | 64543GM005 | 2010-06-30 | ng/L | 0.45655 | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl | 18.5302 | PROGESTERONE | E | 8 | 8.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45655 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.73173 | 0.60744 | 0.46157 | 0.043364 | 0.032145
PROGESTERONE | 4434 | 64543GM005 | 2010-08-19 | ng/L | 0.42336 | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl | 9.2593 | PROGESTERONE | E | 8 | 3.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42336 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.73173 | 0.60744 | 0.46157 | 0.043364 | 0.032145
PROGESTERONE | 4434 | 64543GM005 | 2010-10-25 | ng/L | 1.8173 | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl | 9.1896 | PROGESTERONE | E | 8 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8173 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.73173 | 0.60744 | 0.46157 | 0.043364 | 0.032145
PROGESTERONE | 4434 | 64543GM005 | 2010-11-15 | ng/L | 0.49992 | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl | 18.3831 | PROGESTERONE | E | 8 | 9.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49992 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.73173 | 0.60744 | 0.46157 | 0.043364 | 0.032145
PROGESTERONE | 4434 | 64543GM005 | 2014-12-23 | ng/L | 0.34796 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 15.9789 | PROGESTERONE | E | 8 | 5.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34796 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.26895 | 0.11174 | 0.26895 | 0.15802 | 0.11714
PROGESTERONE | 4434 | 64543GM005 | 2015-04-01 | ng/L | 0.18994 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 31.9579 | PROGESTERONE | E | 8 | 6.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18994 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.26895 | 0.11174 | 0.26895 | 0.15802 | 0.11714
PROGESTERONE | 4434 | 64543GM005 | 2016-01-08 | ng/L | 0.46667 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 24 | PROGESTERONE | E | 8 | 11.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46667 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.46667 |  | 0.46667 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2014-03-05 | ng/L | 0.41494 | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl | 27.4737 | PROGESTERONE | E | 8 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41494 | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.41494 |  | 0.41494 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-04-03 | ng/L | 0.42275 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 5.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42275 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42275 |  | 0.42275 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2012-12-18 | ng/L | 0.4427 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 21.0526 | PROGESTERONE | E | 8 | 9.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4427 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4427 |  | 0.4427 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2011-03-10 | ng/L | 0.5766 | 2011-01-06 07:30 | 20110070106 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.4406 | PROGESTERONE | E | 8 | 6.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5766 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-03-31 | ng/L | 0.42293 | 2011-03-03 08:00 | 20110620086 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 42.0875 | PROGESTERONE | E | 8 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42293 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-05-26 | ng/L | 0.44396 | 2011-04-28 08:00 | 20111190186 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.609 | PROGESTERONE | E | 8 | 4.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44396 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-07-11 | ng/L | 0.51371 | 2011-06-16 10:00 | 20111680031 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.3756 | PROGESTERONE | E | 8 | 5.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51371 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-09-29 | ng/L | 0.59612 | 2011-07-14 10:00 | 20111950200 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 42.1053 | PROGESTERONE | E | 8 | 25.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59612 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-10-13 | ng/L | 0.3192 | 2011-09-15 09:00 | 20112590006 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 3.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3192 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-11-28 | ng/L | 0.3477 | 2011-11-03 08:00 | 20113080005 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 3.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3477 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2012-02-01 | ng/L | 0.361 | 2011-12-13 08:30 | 20113490064 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 42.1053 | PROGESTERONE | E | 8 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.361 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2012-08-16 | ng/L | 0.6061 | 2012-05-31 07:30 | 20121520253 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 6.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6061 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2014-03-14 | ng/L | 0.28044 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 27.6347 | PROGESTERONE | E | 8 | 7.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28044 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.28044 |  | 0.28044 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-06-04 | ng/L | 0.45225 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 10.9895 | PROGESTERONE | E | 8 | 4.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45225 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.37536 | 0.10874 | 0.37536 | 0.15378 | 0.114
PROGESTERONE | 4434 | 64543GM005 | 2013-12-09 | ng/L | 0.29847 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 10.9895 | PROGESTERONE | E | 8 | 3.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29847 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.37536 | 0.10874 | 0.37536 | 0.15378 | 0.114
PROGESTERONE | 4434 | 64543GM005 | 2014-12-16 | ng/L | 0.32167 | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl | 15.9789 | PROGESTERONE | E | 8 | 5.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32167 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.2957 | 0.036729 | 0.2957 | 0.051943 | 0.038505
PROGESTERONE | 4434 | 64543GM005 | 2015-02-12 | ng/L | 0.26973 | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl | 31.9579 | PROGESTERONE | E | 8 | 8.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26973 | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.2957 | 0.036729 | 0.2957 | 0.051943 | 0.038505
PROGESTERONE | 4434 | 64543GM005 | 2014-09-23 | ng/L | 0.50692 | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl | 31.9579 | PROGESTERONE | E | 8 | 16.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50692 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42587 | 0.11461 | 0.42587 | 0.16209 | 0.12015
PROGESTERONE | 4434 | 64543GM005 | 2015-01-21 | ng/L | 0.34483 | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl | 15.9789 | PROGESTERONE | E | 8 | 5.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34483 | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42587 | 0.11461 | 0.42587 | 0.16209 | 0.12015
PROGESTERONE | 4434 | 64543GM005 | 2016-01-05 | ng/L | 0.47083 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 24 | PROGESTERONE | E | 8 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47083 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.47083 |  | 0.47083 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2015-11-02 | ng/L | 0.385 | 2015-08-20 07:30 | 20152330045 | Supelco, Crescent | LC13547, 04EE007 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl | 12 | PROGESTERONE | E | 8 | 4.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.385 | SuLC13547, Cr04EE007 | Su | Cr | Cr | LC13547 | 04EE007 | 04EE007 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.385 |  | 0.385 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2010-05-25 | ng/L | 0.55493 | 2010-01-28 07:30 | 20100280079 | Supelco | LB69645 | Supelco LB69645: 20 µl | 9.2984 | PROGESTERONE | E | 8 | 5.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55493 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-07-01 | ng/L | 0.46812 | 2010-04-01 08:30 | 20100920052 | Supelco | LB69645 | Supelco LB69645: 20 µl | 9.1003 | PROGESTERONE | E | 8 | 4.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46812 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-07-07 | ng/L | 0.39797 | 2010-05-13 08:30 | 20101340149 | Supelco | LB69645 | Supelco LB69645: 40 µl | 18.5693 | PROGESTERONE | E | 8 | 7.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39797 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-10-19 | ng/L | 0.895 | 2010-08-05 09:00 | 20102180082 | Supelco | LB69645 | Supelco LB69645: 20 µl | 9.1173 | PROGESTERONE | E | 8 | 8.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-11-17 | ng/L | 0.5325 | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl | 18.7793 | PROGESTERONE | E | 8 | 10 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5325 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358