## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TESTOSTERONE | 4434 | 64545GM005 | 2014-08-26 | ng/L | 0.8134 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 5.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8134 | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8134 |  | 0.8134 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-05-06 | ng/L | 0.72802 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 4.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72802 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76605 | 0.053784 | 0.76605 | 0.076062 | 0.056384
TESTOSTERONE | 4434 | 64545GM005 | 2014-05-14 | ng/L | 0.80409 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 2.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80408 | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76605 | 0.053784 | 0.76605 | 0.076062 | 0.056384
TESTOSTERONE | 4434 | 64545GM005 | 2014-08-11 | ng/L | 0.77304 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 4.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77304 | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77304 |  | 0.77304 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-12-09 | ng/L | 0.64886 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 4.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64886 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.60384 | 0.063663 | 0.60384 | 0.090033 | 0.06674
TESTOSTERONE | 4434 | 64545GM005 | 2015-01-29 | ng/L | 0.55882 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 1.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55882 | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.60384 | 0.063663 | 0.60384 | 0.090033 | 0.06674
TESTOSTERONE | 4434 | 64545GM005 | 2015-12-10 | ng/L | 0.64156 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 4.0526 | TESTOSTERONE | . | 1.6 | 2.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64156 | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64156 |  | 0.64156 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-12-22 | ng/L | 0.78235 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 2.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78235 | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78235 |  | 0.78235 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2015-04-13 | ng/L | 0.59763 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 3.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59763 | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59763 |  | 0.59763 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-02-19 | ng/L | 0.68162 | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 2.9048 | TESTOSTERONE | . | 1.6 | 1.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68162 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64031 | 0.058422 | 0.64031 | 0.082621 | 0.061246
TESTOSTERONE | 4434 | 64545GM005 | 2014-03-03 | ng/L | 0.599 | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 2.9048 | TESTOSTERONE | . | 1.6 | 1.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.599 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64031 | 0.058422 | 0.64031 | 0.082621 | 0.061246
TESTOSTERONE | 4434 | 64545GM005 | 2015-01-21 | ng/L | 0.5402 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 3.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5402 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61005 | 0.098787 | 0.61005 | 0.13971 | 0.10356
TESTOSTERONE | 4434 | 64545GM005 | 2015-04-01 | ng/L | 0.6799 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 2.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6799 | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61005 | 0.098787 | 0.61005 | 0.13971 | 0.10356
TESTOSTERONE | 4434 | 64545GM005 | 2011-02-07 | ng/L | 0.99712 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 2.5975 | TESTOSTERONE | . | 0.8 | 2.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99712 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2011-03-10 | ng/L | 0.78667 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 10.3856 | TESTOSTERONE | . | 0.8 | 8.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2011-05-09 | ng/L | 0.75898 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 2.5692 | TESTOSTERONE | . | 0.8 | 1.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75898 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2011-06-23 | ng/L | 0.83105 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 10.3363 | TESTOSTERONE | . | 0.8 | 8.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83105 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2011-07-25 | ng/L | 0.74711 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 2.6368 | TESTOSTERONE | . | 0.8 | 1.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74711 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2011-10-12 | ng/L | 0.92156 | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 2.6368 | TESTOSTERONE | . | 1.6 | 2.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92156 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2011-11-17 | ng/L | 1.0315 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 2.6368 | TESTOSTERONE | . | 1.6 | 2.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0315 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2012-03-27 | ng/L | 1.2231 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 10.5474 | TESTOSTERONE | . | 1.6 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2231 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2012-04-06 | ng/L | 0.90639 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 2.6368 | TESTOSTERONE | . | 1.6 | 2.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90639 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 0.9115 | 0.15463 | 0.90639 | 0.21046 | 0.15601
TESTOSTERONE | 4434 | 64545GM005 | 2014-07-14 | ng/L | 0.71405 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 2.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71405 | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71405 |  | 0.71405 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-09-04 | ng/L | 0.60539 | 2014-06-26 07:00 | 20141770146 | ERA, Spex Organics | 0227-14-07.2, E1140505004 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 1.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60539 | ER02207.2, SpE115004 | ER | Sp | Sp | 02207.2 | E115004 | E115004 | 02207.2 | E115004 | E115004 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60539 |  | 0.60539 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-02-25 | ng/L | 0.70228 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 7.2621 | TESTOSTERONE | . | 1.6 | 5.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70228 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70228 |  | 0.70228 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-03-05 | ng/L | 0.74496 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 7.2621 | TESTOSTERONE | . | 1.6 | 5.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74496 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74496 |  | 0.74496 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2013-09-16 | ng/L | 0.8503 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.9048 | TESTOSTERONE | . | 1.6 | 2.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8503 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8503 |  | 0.8503 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2013-11-18 | ng/L | 0.82276 | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 2.9048 | TESTOSTERONE | . | 1.6 | 2.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82276 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82276 |  | 0.82276 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2012-11-07 | ng/L | 0.86038 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 16.7368 | TESTOSTERONE | . | 1.6 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86038 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86038 |  | 0.86038 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2012-12-18 | ng/L | 0.8075 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 16.8421 | TESTOSTERONE | . | 1.6 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8075 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78969 | 0.025191 | 0.78969 | 0.035625 | 0.026408
TESTOSTERONE | 4434 | 64545GM005 | 2013-04-22 | ng/L | 0.77188 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 16.8421 | TESTOSTERONE | . | 1.6 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77188 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78969 | 0.025191 | 0.78969 | 0.035625 | 0.026408
TESTOSTERONE | 4434 | 64545GM005 | 2012-08-31 | ng/L | 0.85918 | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 8.3684 | TESTOSTERONE | . | 1.6 | 7.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85918 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83588 | 0.032954 | 0.83588 | 0.046604 | 0.034547
TESTOSTERONE | 4434 | 64545GM005 | 2012-12-03 | ng/L | 0.81258 | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 16.7368 | TESTOSTERONE | . | 1.6 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81258 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83588 | 0.032954 | 0.83588 | 0.046604 | 0.034547
TESTOSTERONE | 4434 | 64545GM005 | 2013-04-10 | ng/L | 0.92132 | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 8.3684 | TESTOSTERONE | . | 1.6 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92132 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92132 |  | 0.92132 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2015-09-14 | ng/L | 0.71558 | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl | 4.0526 | TESTOSTERONE | . | 1.6 | 2.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71558 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70325 | 0.017448 | 0.70325 | 0.024675 | 0.018292
TESTOSTERONE | 4434 | 64545GM005 | 2016-01-08 | ng/L | 0.69091 | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl | 2.4316 | TESTOSTERONE | . | 1.6 | 1.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69091 | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70325 | 0.017448 | 0.70325 | 0.024675 | 0.018292
TESTOSTERONE | 4434 | 64545GM005 | 2015-08-10 | ng/L | 0.86117 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 4.0526 | TESTOSTERONE | . | 1.6 | 3.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86117 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76781 | 0.13202 | 0.76781 | 0.18671 | 0.13841
TESTOSTERONE | 4434 | 64545GM005 | 2016-01-08 | ng/L | 0.67446 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 2.4316 | TESTOSTERONE | . | 1.6 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67446 | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76781 | 0.13202 | 0.76781 | 0.18671 | 0.13841
TESTOSTERONE | 4434 | 64545GM005 | 2012-12-18 | ng/L | 0.81938 | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 8.4211 | TESTOSTERONE | . | 1.6 | 6.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81938 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75406 | 0.092366 | 0.75406 | 0.13062 | 0.096831
TESTOSTERONE | 4434 | 64545GM005 | 2013-02-22 | ng/L | 0.68875 | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 16.8421 | TESTOSTERONE | . | 1.6 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68875 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75406 | 0.092366 | 0.75406 | 0.13062 | 0.096831
TESTOSTERONE | 4434 | 64545GM005 | 2014-12-23 | ng/L | 0.54641 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 3.2211 | TESTOSTERONE | . | 1.6 | 1.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54641 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55339 | 0.0098788 | 0.55339 | 0.013971 | 0.010356
TESTOSTERONE | 4434 | 64545GM005 | 2015-04-01 | ng/L | 0.56038 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 6.4421 | TESTOSTERONE | . | 1.6 | 3.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56038 | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55339 | 0.0098788 | 0.55339 | 0.013971 | 0.010356
TESTOSTERONE | 4434 | 64545GM005 | 2016-01-08 | ng/L | 0.71764 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 4.8632 | TESTOSTERONE | . | 1.6 | 3.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71764 | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71764 |  | 0.71764 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2013-02-22 | ng/L | 0.8305 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 8.3684 | TESTOSTERONE | . | 1.6 | 6.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8305 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8305 |  | 0.8305 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2013-04-03 | ng/L | 0.76 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 16.8421 | TESTOSTERONE | . | 1.6 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76 |  | 0.76 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-03-14 | ng/L | 0.83034 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 7.2621 | TESTOSTERONE | . | 1.6 | 6.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83034 | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83034 |  | 0.83034 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-03-14 | ng/L | 0.68988 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 7.2621 | TESTOSTERONE | . | 1.6 | 5.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68988 | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68988 |  | 0.68988 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2014-01-23 | ng/L | 0.8985 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.9048 | TESTOSTERONE | . | 1.6 | 2.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8985 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8985 |  | 0.8985 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2016-01-05 | ng/L | 0.7875 | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl | 4.8 | TESTOSTERONE | . | 1.6 | 3.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7875 | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7875 |  | 0.7875 | 0 | 0
TESTOSTERONE | 4434 | 64545GM005 | 2015-07-21 | ng/L | 0.7625 | 2015-06-11 06:30 | 20151620181 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl | 4 | TESTOSTERONE | . | 1.6 | 3.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | SuLC13547, SpEN11025 | Su | Sp | Sp | LC13547 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7625 |  | 0.7625 | 0 | 0