## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-07-03 | ug/L | 0.92021 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.94 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92021 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92021 |  | 0.92021 | 0 | 0
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-01-10 | ug/L | 1.0156 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.96 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.975 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0255 | 0.013995 | 1.0255 | 0.019792 | 0.014671
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-04-25 | ug/L | 1.0354 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.48 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0255 | 0.013995 | 1.0255 | 0.019792 | 0.014671
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-08-14 | ug/L | 0.88611 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.36 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88611 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86806 | 0.025534 | 0.86806 | 0.036111 | 0.026769
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-09-24 | ug/L | 0.85 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.54 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86806 | 0.025534 | 0.86806 | 0.036111 | 0.026769
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-05-20 | ug/L | 0.88723 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 0.47 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88723 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91277 | 0.036108 | 0.91277 | 0.051064 | 0.037853
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-07-11 | ug/L | 0.9383 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 0.94 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9383 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91277 | 0.036108 | 0.91277 | 0.051064 | 0.037853
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-06-07 | ug/L | 1.266 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 0.94 | 1,1-DICHLORO-2-PROPANONE | E | 0.24 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.266 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0936 | 0.24373 | 1.0936 | 0.34468 | 0.25551
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-11-22 | ug/L | 0.92128 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 0.47 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92128 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0936 | 0.24373 | 1.0936 | 0.34468 | 0.25551
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-05-20 | ug/L | 1.2092 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.368 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2092 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.078 | 0.18562 | 1.078 | 0.2625 | 0.19459
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-06-26 | ug/L | 0.94674 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.92 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.871 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94674 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.078 | 0.18562 | 1.078 | 0.2625 | 0.19459
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-06-16 | ug/L | 0.92572 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.552 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92572 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91449 | 0.015884 | 0.91449 | 0.022464 | 0.016652
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-06-25 | ug/L | 0.90326 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.92 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.831 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90326 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91449 | 0.015884 | 0.91449 | 0.022464 | 0.016652
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-05-14 | ug/L | 0.97283 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.552 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97283 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97283 |  | 0.97283 | 0 | 0
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-10-21 | ug/L | 1.2771 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 0.48 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.613 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2771 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2771 |  | 1.2771 | 0 | 0
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-08-13 | ug/L | 0.98229 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 0.96 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98229 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98229 |  | 0.98229 | 0 | 0
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-09-06 | ug/L | 1.0875 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 0.48 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0875 |  | 1.0875 | 0 | 0
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2015-08-24 | ug/L | 0.86111 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.54 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86111 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86111 |  | 0.86111 | 0 | 0
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-06-06 | ug/L | 1.2234 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.94 | 1,1-DICHLORO-2-PROPANONE | E | 0.24 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2234 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0809 | 0.2016 | 1.0809 | 0.28511 | 0.21135
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-07-30 | ug/L | 0.9383 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.47 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9383 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0809 | 0.2016 | 1.0809 | 0.28511 | 0.21135
1,1-DICHLORO-2-PROPANONE | 4437 | 80336GM016 | 2014-09-06 | ug/L | 0.80833 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.48 | 1,1-DICHLORO-2-PROPANONE | . | 0.24 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80833 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80833 |  | 0.80833 | 0 | 0