## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-08-14 | ug/L | 0.98 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.01 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97333 | 0.0094281 | 0.97333 | 0.013333 | 0.0098839
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-09-24 | ug/L | 0.96667 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.015 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97333 | 0.0094281 | 0.97333 | 0.013333 | 0.0098839
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-07-23 | ug/L | 0.85204 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.0392 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85204 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.875 | 0.032469 | 0.875 | 0.045918 | 0.034039
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-09-11 | ug/L | 0.89796 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.0196 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89796 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.875 | 0.032469 | 0.875 | 0.045918 | 0.034039
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-12-13 | ug/L | 0.91837 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.0196 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91837 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91837 |  | 0.91837 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-05-20 | ug/L | 0.84694 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 0.0196 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84694 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8801 | 0.0469 | 0.8801 | 0.066327 | 0.049167
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-07-11 | ug/L | 0.91327 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 0.0392 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91327 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8801 | 0.0469 | 0.8801 | 0.066327 | 0.049167
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-06-07 | ug/L | 0.97917 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 0.024 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97917 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96458 | 0.020624 | 0.96458 | 0.029167 | 0.021621
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-11-22 | ug/L | 0.95 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 0.012 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96458 | 0.020624 | 0.96458 | 0.029167 | 0.021621
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-06-16 | ug/L | 1.04 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.015 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.016 | 0.033941 | 1.016 | 0.048 | 0.035582
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-06-25 | ug/L | 0.992 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.025 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.016 | 0.033941 | 1.016 | 0.048 | 0.035582
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-10-21 | ug/L | 0.90306 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 0.0196 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90306 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90306 |  | 0.90306 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-08-13 | ug/L | 0.90051 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 0.0392 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90051 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90051 |  | 0.90051 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-09-06 | ug/L | 0.91667 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 0.012 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91667 |  | 0.91667 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-05-07 | ug/L | 0.85459 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.0392 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85459 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85459 |  | 0.85459 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-06-17 | ug/L | 0.88333 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.012 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91875 | 0.050087 | 0.91875 | 0.070833 | 0.052508
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2014-08-20 | ug/L | 0.95417 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.024 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91875 | 0.050087 | 0.91875 | 0.070833 | 0.052508
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-03-19 | ug/L | 0.88333 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.024 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88333 |  | 0.88333 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-05-05 | ug/L | 0.93 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 0.01 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93 |  | 0.93 | 0 | 0
1,2,3-TRICHLOROPROPANE | 4437 | 77443GM016 | 2015-07-30 | ug/L | 1.0933 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 0.015 | 1,2,3-TRICHLOROPROPANE | . | 0.006 | 0.0164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0933 |  | 1.0933 | 0 | 0