## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-03 | ug/L | 0.9875 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9875 |  | 0.9875 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-01-10 | ug/L | 0.95625 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97813 | 0.030936 | 0.97813 | 0.04375 | 0.032431
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-04-25 | ug/L | 1 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97813 | 0.030936 | 0.97813 | 0.04375 | 0.032431
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-08-14 | ug/L | 0.87248 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.00596 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87248 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94519 | 0.10282 | 0.94519 | 0.14541 | 0.10779
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-09-24 | ug/L | 1.0179 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.00894 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0179 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94519 | 0.10282 | 0.94519 | 0.14541 | 0.10779
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-04-30 | ug/L | 1.0625 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0625 |  | 1.0625 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-23 | ug/L | 0.90625 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0281 | 0.17236 | 1.0281 | 0.24375 | 0.18069
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-09-11 | ug/L | 1.15 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0281 | 0.17236 | 1.0281 | 0.24375 | 0.18069
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-12-13 | ug/L | 1.0875 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0875 |  | 1.0875 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-05-20 | ug/L | 1.0667 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.006 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0467 | 0.028284 | 1.0467 | 0.04 | 0.029652
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-06-26 | ug/L | 1.0267 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.015 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0467 | 0.028284 | 1.0467 | 0.04 | 0.029652
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-06-16 | ug/L | 1.0111 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.009 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0222 | 0.015713 | 1.0222 | 0.022222 | 0.016473
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-06-25 | ug/L | 1.0333 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.015 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0222 | 0.015713 | 1.0222 | 0.022222 | 0.016473
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-05-14 | ug/L | 1.0444 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.009 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0444 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0444 |  | 1.0444 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-08-24 | ug/L | 0.89485 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.00894 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89485 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89485 |  | 0.89485 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-05-07 | ug/L | 1.0875 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0875 |  | 1.0875 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-06-06 | ug/L | 1.1625 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1625 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.125 | 0.053033 | 1.125 | 0.075 | 0.055597
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-30 | ug/L | 1.0875 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.125 | 0.053033 | 1.125 | 0.075 | 0.055597
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-09-06 | ug/L | 1.35 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.35 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.35 |  | 1.35 | 0 | 0
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-06-17 | ug/L | 0.9875 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93125 | 0.07955 | 0.93125 | 0.1125 | 0.083395
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-08-20 | ug/L | 0.875 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93125 | 0.07955 | 0.93125 | 0.1125 | 0.083395
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-03-19 | ug/L | 1.1062 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1062 |  | 1.1062 | 0 | 0