## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-OCTANOL | 4437 | 77310GM016 | 2015-08-14 | ug/L | 0.71852 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 2.7 | 1-OCTANOL | . | 1.8 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71852 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7284 | 0.013968 | 0.7284 | 0.019753 | 0.014643
1-OCTANOL | 4437 | 77310GM016 | 2015-09-24 | ug/L | 0.73827 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 4.05 | 1-OCTANOL | . | 1.8 | 2.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73827 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7284 | 0.013968 | 0.7284 | 0.019753 | 0.014643
1-OCTANOL | 4437 | 77310GM016 | 2014-07-23 | ug/L | 0.83425 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 7.264 | 1-OCTANOL | . | 1.8 | 6.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83425 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78882 | 0.064247 | 0.78882 | 0.090859 | 0.067353
1-OCTANOL | 4437 | 77310GM016 | 2014-09-11 | ug/L | 0.74339 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 3.632 | 1-OCTANOL | . | 1.8 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74339 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78882 | 0.064247 | 0.78882 | 0.090859 | 0.067353
1-OCTANOL | 4437 | 77310GM016 | 2014-12-13 | ug/L | 0.94714 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 3.632 | 1-OCTANOL | . | 1.8 | 3.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94714 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94714 |  | 0.94714 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2014-05-20 | ug/L | 1.0352 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 3.632 | 1-OCTANOL | . | 1.8 | 3.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96572 | 0.098317 | 0.96572 | 0.13904 | 0.10307
1-OCTANOL | 4437 | 77310GM016 | 2014-07-11 | ug/L | 0.8962 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 7.264 | 1-OCTANOL | . | 1.8 | 6.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8962 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96572 | 0.098317 | 0.96572 | 0.13904 | 0.10307
1-OCTANOL | 4437 | 77310GM016 | 2014-06-07 | ug/L | 0.82044 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 7.24 | 1-OCTANOL | . | 1.8 | 5.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82044 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85083 | 0.042973 | 0.85083 | 0.060773 | 0.045051
1-OCTANOL | 4437 | 77310GM016 | 2014-11-22 | ug/L | 0.88122 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 3.62 | 1-OCTANOL | . | 1.8 | 3.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88122 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85083 | 0.042973 | 0.85083 | 0.060773 | 0.045051
1-OCTANOL | 4437 | 77310GM016 | 2015-05-20 | ug/L | 0.95885 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 2.722 | 1-OCTANOL | . | 1.8 | 2.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95885 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91293 | 0.064944 | 0.91293 | 0.091844 | 0.068083
1-OCTANOL | 4437 | 77310GM016 | 2015-06-26 | ug/L | 0.86701 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 6.805 | 1-OCTANOL | . | 1.8 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86701 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91293 | 0.064944 | 0.91293 | 0.091844 | 0.068083
1-OCTANOL | 4437 | 77310GM016 | 2015-06-16 | ug/L | 0.81068 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 4.083 | 1-OCTANOL | . | 1.8 | 3.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81068 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79035 | 0.028748 | 0.79035 | 0.040656 | 0.030138
1-OCTANOL | 4437 | 77310GM016 | 2015-06-25 | ug/L | 0.77002 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 6.805 | 1-OCTANOL | . | 1.8 | 5.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77002 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79035 | 0.028748 | 0.79035 | 0.040656 | 0.030138
1-OCTANOL | 4437 | 77310GM016 | 2015-05-14 | ug/L | 0.95763 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 4.083 | 1-OCTANOL | . | 1.8 | 3.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95763 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95763 |  | 0.95763 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2014-10-21 | ug/L | 0.9196 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 3.632 | 1-OCTANOL | . | 1.8 | 3.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9196 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9196 |  | 0.9196 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2014-08-13 | ug/L | 0.82874 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 7.264 | 1-OCTANOL | . | 1.8 | 6.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82874 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82874 |  | 0.82874 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2014-09-06 | ug/L | 0.93923 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 3.62 | 1-OCTANOL | . | 1.8 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93923 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93923 |  | 0.93923 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2015-08-24 | ug/L | 0.88642 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 4.05 | 1-OCTANOL | . | 1.8 | 3.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88642 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88642 |  | 0.88642 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2014-05-07 | ug/L | 0.8783 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 7.264 | 1-OCTANOL | . | 1.8 | 6.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8783 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8783 |  | 0.8783 | 0 | 0
1-OCTANOL | 4437 | 77310GM016 | 2014-06-17 | ug/L | 0.98066 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 3.62 | 1-OCTANOL | . | 1.8 | 3.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98066 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99793 | 0.024417 | 0.99793 | 0.03453 | 0.025597
1-OCTANOL | 4437 | 77310GM016 | 2014-08-20 | ug/L | 1.0152 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 7.24 | 1-OCTANOL | . | 1.8 | 7.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0152 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99793 | 0.024417 | 0.99793 | 0.03453 | 0.025597
1-OCTANOL | 4437 | 77310GM016 | 2015-03-19 | ug/L | 0.96547 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 7.24 | 1-OCTANOL | . | 1.8 | 6.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96547 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96547 |  | 0.96547 | 0 | 0