## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-07-03 | ug/L | 1.1958 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 2.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1958 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1958 |  | 1.1958 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-01-10 | ug/L | 0.7875 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7875 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85208 | 0.091335 | 0.85208 | 0.12917 | 0.09575
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-04-25 | ug/L | 0.91667 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85208 | 0.091335 | 0.85208 | 0.12917 | 0.09575
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-04-30 | ug/L | 0.8 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-07-23 | ug/L | 1.1333 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 2.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94167 | 0.27106 | 0.94167 | 0.38333 | 0.28416
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-09-11 | ug/L | 0.75 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | E | 0.6 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94167 | 0.27106 | 0.94167 | 0.38333 | 0.28416
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-12-13 | ug/L | 0.83167 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83167 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83167 |  | 0.83167 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-05-20 | ug/L | 1.1533 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.45 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93267 | 0.31207 | 0.93267 | 0.44133 | 0.32716
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-06-26 | ug/L | 0.712 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 1.125 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.712 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93267 | 0.31207 | 0.93267 | 0.44133 | 0.32716
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-05-14 | ug/L | 1.0119 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.675 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0119 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0119 |  | 1.0119 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-08-24 | ug/L | 0.70222 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.675 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70222 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70222 |  | 0.70222 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-05-07 | ug/L | 0.84583 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84583 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84583 |  | 0.84583 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-06-06 | ug/L | 1.1708 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1708 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1271 | 0.061872 | 1.1271 | 0.0875 | 0.064863
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-07-30 | ug/L | 1.0833 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1271 | 0.061872 | 1.1271 | 0.0875 | 0.064863
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-09-06 | ug/L | 1.1 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1 |  | 1.1 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-06-17 | ug/L | 1.1917 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 1.2 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1917 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3083 | 0.16499 | 1.3083 | 0.23333 | 0.17297
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2014-08-20 | ug/L | 1.425 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.6 | 3.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.425 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3083 | 0.16499 | 1.3083 | 0.23333 | 0.17297
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-03-19 | ug/L | 0.9625 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 2.4 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 2.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9625 |  | 0.9625 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-05-05 | ug/L | 0.98222 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 0.45 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98222 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98222 |  | 0.98222 | 0 | 0
1METHOXY-4(2-PROPENYL)BENZENE | 4437 | 68066GM016 | 2015-07-30 | ug/L | 0.77778 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 0.675 | 1METHOXY-4(2-PROPENYL)BENZENE | . | 0.3 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77778 |  | 0.77778 | 0 | 0