## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-07-03 | ug/L | 0.95227 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.088 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0838 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95227 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95227 |  | 0.95227 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-01-10 | ug/L | 0.96689 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.0876 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96689 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0417 | 0.10574 | 1.0417 | 0.14954 | 0.11085
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-04-25 | ug/L | 1.1164 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.0438 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1164 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0417 | 0.10574 | 1.0417 | 0.14954 | 0.11085
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-05-20 | ug/L | 1.0432 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 0.044 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0432 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0955 | 0.073925 | 1.0955 | 0.10455 | 0.077498
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-07-11 | ug/L | 1.1477 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 0.088 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1477 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0955 | 0.073925 | 1.0955 | 0.10455 | 0.077498
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-06-07 | ug/L | 1.0455 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 0.088 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99091 | 0.077139 | 0.99091 | 0.10909 | 0.080868
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-11-22 | ug/L | 0.93636 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 0.044 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93636 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99091 | 0.077139 | 0.99091 | 0.10909 | 0.080868
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-05-20 | ug/L | 0.86176 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.034 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86176 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92029 | 0.082773 | 0.92029 | 0.11706 | 0.086775
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-06-26 | ug/L | 0.97882 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.085 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97882 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92029 | 0.082773 | 0.92029 | 0.11706 | 0.086775
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-05-14 | ug/L | 0.98824 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.051 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98824 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98824 |  | 0.98824 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-10-21 | ug/L | 1.0205 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 0.0438 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0205 |  | 1.0205 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-08-13 | ug/L | 1.1872 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 0.0876 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1872 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1872 |  | 1.1872 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-09-06 | ug/L | 1.2854 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 0.0438 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2854 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2854 |  | 1.2854 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-08-24 | ug/L | 1.1078 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.051 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1078 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1078 |  | 1.1078 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-06-06 | ug/L | 0.91705 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.088 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91705 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0256 | 0.15347 | 1.0256 | 0.21705 | 0.16089
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-07-30 | ug/L | 1.1341 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.044 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1341 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0256 | 0.15347 | 1.0256 | 0.21705 | 0.16089
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2014-09-06 | ug/L | 1.0548 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.0438 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0548 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0548 |  | 1.0548 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-05-05 | ug/L | 0.95588 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 0.034 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95588 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95588 |  | 0.95588 | 0 | 0
2-HEXANONE, 5-METHYL- | 4437 | 77179GM016 | 2015-07-30 | ug/L | 0.99608 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 0.051 | 2-HEXANONE,_5-METHYL- | . | 0.022 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99608 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99608 |  | 0.99608 | 0 | 0