## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-NITROPROPANE | 4437 | 77076GM016 | 2015-08-14 | ug/L | 0.90556 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.18 | 2-NITROPROPANE | . | 0.12 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90556 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93056 | 0.035355 | 0.93056 | 0.05 | 0.037064
2-NITROPROPANE | 4437 | 77076GM016 | 2015-09-24 | ug/L | 0.95556 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.27 | 2-NITROPROPANE | . | 0.12 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93056 | 0.035355 | 0.93056 | 0.05 | 0.037064
2-NITROPROPANE | 4437 | 77076GM016 | 2014-07-23 | ug/L | 0.79805 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.4724 | 2-NITROPROPANE | . | 0.12 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79805 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81393 | 0.022453 | 0.81393 | 0.031753 | 0.023538
2-NITROPROPANE | 4437 | 77076GM016 | 2014-09-11 | ug/L | 0.82981 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.2362 | 2-NITROPROPANE | . | 0.12 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82981 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81393 | 0.022453 | 0.81393 | 0.031753 | 0.023538
2-NITROPROPANE | 4437 | 77076GM016 | 2014-12-13 | ug/L | 0.82557 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.2362 | 2-NITROPROPANE | . | 0.12 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82557 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82557 |  | 0.82557 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2014-05-20 | ug/L | 1.0711 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 0.2362 | 2-NITROPROPANE | . | 0.12 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0711 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99809 | 0.10328 | 0.99809 | 0.14606 | 0.10827
2-NITROPROPANE | 4437 | 77076GM016 | 2014-07-11 | ug/L | 0.92506 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 0.4724 | 2-NITROPROPANE | . | 0.12 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92506 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99809 | 0.10328 | 0.99809 | 0.14606 | 0.10827
2-NITROPROPANE | 4437 | 77076GM016 | 2014-06-07 | ug/L | 0.93125 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 0.48 | 2-NITROPROPANE | . | 0.12 | 0.447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92188 | 0.013258 | 0.92188 | 0.01875 | 0.013899
2-NITROPROPANE | 4437 | 77076GM016 | 2014-11-22 | ug/L | 0.9125 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 0.24 | 2-NITROPROPANE | . | 0.12 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92188 | 0.013258 | 0.92188 | 0.01875 | 0.013899
2-NITROPROPANE | 4437 | 77076GM016 | 2015-06-16 | ug/L | 0.91111 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.27 | 2-NITROPROPANE | . | 0.12 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91111 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90222 | 0.012571 | 0.90222 | 0.017778 | 0.013178
2-NITROPROPANE | 4437 | 77076GM016 | 2015-06-25 | ug/L | 0.89333 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.45 | 2-NITROPROPANE | . | 0.12 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90222 | 0.012571 | 0.90222 | 0.017778 | 0.013178
2-NITROPROPANE | 4437 | 77076GM016 | 2014-10-21 | ug/L | 0.98222 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 0.2362 | 2-NITROPROPANE | . | 0.12 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98222 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98222 |  | 0.98222 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2014-08-13 | ug/L | 0.87638 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 0.4724 | 2-NITROPROPANE | . | 0.12 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87638 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87638 |  | 0.87638 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2014-09-06 | ug/L | 0.99583 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 0.24 | 2-NITROPROPANE | . | 0.12 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99583 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99583 |  | 0.99583 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2014-05-07 | ug/L | 0.80864 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.4724 | 2-NITROPROPANE | . | 0.12 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80864 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80864 |  | 0.80864 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2014-06-17 | ug/L | 0.92917 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.24 | 2-NITROPROPANE | . | 0.12 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92917 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87708 | 0.073657 | 0.87708 | 0.10417 | 0.077218
2-NITROPROPANE | 4437 | 77076GM016 | 2014-08-20 | ug/L | 0.825 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.48 | 2-NITROPROPANE | . | 0.12 | 0.396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87708 | 0.073657 | 0.87708 | 0.10417 | 0.077218
2-NITROPROPANE | 4437 | 77076GM016 | 2015-03-19 | ug/L | 0.83333 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.48 | 2-NITROPROPANE | . | 0.12 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83333 |  | 0.83333 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2015-05-05 | ug/L | 0.98889 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 0.18 | 2-NITROPROPANE | . | 0.12 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98889 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98889 |  | 0.98889 | 0 | 0
2-NITROPROPANE | 4437 | 77076GM016 | 2015-07-30 | ug/L | 0.80741 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 0.27 | 2-NITROPROPANE | . | 0.12 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80741 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80741 |  | 0.80741 | 0 | 0