## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-PROPEN-1-OL | 4437 | 68729GM016 | 2014-07-03 | ug/L | 0.99073 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 5.612 | 2-PROPEN-1-OL | E | 1.4 | 5.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99073 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.99073 |  | 0.99073 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-01-10 | ug/L | 1.0086 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 5.612 | 2-PROPEN-1-OL | . | 7.8 | 5.66 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0086 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 1 | [5 empty] | 1 | 1.0086 |  | 1.0086 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2014-04-30 | ug/L | 0.70207 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 2.806 | 2-PROPEN-1-OL | . | 1.4 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70207 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70207 |  | 0.70207 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2014-07-23 | ug/L | 0.9551 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 5.612 | 2-PROPEN-1-OL | E | 1.4 | 5.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9551 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9551 |  | 0.9551 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-05-20 | ug/L | 1.0064 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 11.626 | 2-PROPEN-1-OL | . | 7.8 | 11.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0064 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97798 | 0.040142 | 0.97798 | 0.056769 | 0.042083
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-06-26 | ug/L | 0.9496 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 29.065 | 2-PROPEN-1-OL | . | 7.8 | 27.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9496 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97798 | 0.040142 | 0.97798 | 0.056769 | 0.042083
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-05-14 | ug/L | 0.99375 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 17.61 | 2-PROPEN-1-OL | . | 7.8 | 17.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99375 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99375 |  | 0.99375 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-08-24 | ug/L | 1.0051 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 17.61 | 2-PROPEN-1-OL | . | 7.8 | 17.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0051 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0051 |  | 1.0051 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2014-05-07 | ug/L | 0.75428 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 5.608 | 2-PROPEN-1-OL | . | 1.4 | 4.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75428 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75428 |  | 0.75428 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2014-06-06 | ug/L | 1.0646 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 5.608 | 2-PROPEN-1-OL | . | 1.4 | 5.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0646 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0646 |  | 1.0646 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2014-08-20 | ug/L | 1.3632 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 5.612 | 2-PROPEN-1-OL | E | 1.4 | 7.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3632 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3632 |  | 1.3632 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-03-19 | ug/L | 0.97718 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 5.608 | 2-PROPEN-1-OL | . | 7.8 | 5.48 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97718 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 1 | 0.97718 |  | 0.97718 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-05-05 | ug/L | 0.91141 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 11.74 | 2-PROPEN-1-OL | . | 7.8 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91141 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91141 |  | 0.91141 | 0 | 0
2-PROPEN-1-OL | 4437 | 68729GM016 | 2015-07-30 | ug/L | 0.91425 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 17.61 | 2-PROPEN-1-OL | . | 7.8 | 16.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91425 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91425 |  | 0.91425 | 0 | 0