## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-07-03 | ug/L | 1.065 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.04 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.065 |  | 1.065 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-01-10 | ug/L | 1.0675 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.04 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0212 | 0.065407 | 1.0212 | 0.0925 | 0.068569
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-04-25 | ug/L | 0.975 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0212 | 0.065407 | 1.0212 | 0.0925 | 0.068569
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-08-14 | ug/L | 0.84568 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.0162 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84568 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90226 | 0.080022 | 0.90226 | 0.11317 | 0.083891
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-09-24 | ug/L | 0.95885 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.0243 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95885 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90226 | 0.080022 | 0.90226 | 0.11317 | 0.083891
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-04-30 | ug/L | 0.985 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.985 |  | 0.985 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-07-23 | ug/L | 1.1225 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.04 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1225 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1063 | 0.022981 | 1.1063 | 0.0325 | 0.024092
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-09-11 | ug/L | 1.09 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1063 | 0.022981 | 1.1063 | 0.0325 | 0.024092
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-12-13 | ug/L | 1.19 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.19 |  | 1.19 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-05-20 | ug/L | 1.1519 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.0158 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1519 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1291 | 0.032223 | 1.1291 | 0.04557 | 0.03378
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-06-26 | ug/L | 1.1063 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.0395 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1063 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1291 | 0.032223 | 1.1291 | 0.04557 | 0.03378
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-06-16 | ug/L | 0.94515 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.0237 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94515 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95485 | 0.013724 | 0.95485 | 0.019409 | 0.014388
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-06-25 | ug/L | 0.96456 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.0395 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96456 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95485 | 0.013724 | 0.95485 | 0.019409 | 0.014388
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-05-14 | ug/L | 1.0802 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.0237 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0802 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0802 |  | 1.0802 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-08-24 | ug/L | 0.78601 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.0243 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78601 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78601 |  | 0.78601 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-05-07 | ug/L | 1.03 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.04 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.03 |  | 1.03 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-06-06 | ug/L | 1.05 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.04 | ACETATE,_ISOPROPYL | . | 0.01 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.05 | 0 | 1.05 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-07-30 | ug/L | 1.05 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.05 | 0 | 1.05 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-09-06 | ug/L | 1.345 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.345 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.345 |  | 1.345 | 0 | 0
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-06-17 | ug/L | 1.215 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.02 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.215 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1862 | 0.040659 | 1.1862 | 0.0575 | 0.042624
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2014-08-20 | ug/L | 1.1575 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.04 | ACETATE,_ISOPROPYL | . | 0.01 | 0.0463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1575 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1862 | 0.040659 | 1.1862 | 0.0575 | 0.042624
ACETATE, ISOPROPYL | 4437 | 45013GM016 | 2015-03-19 | ug/L | 1.355 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.04 | ACETATE,_ISOPROPYL | E | 0.01 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.355 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.355 |  | 1.355 | 0 | 0