## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-07-03 | ug/L | 1.4453 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.128 | ACETATE,_PROPYL | . | 0.032 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4453 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4453 |  | 1.4453 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-01-10 | ug/L | 1.5 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.128 | ACETATE,_PROPYL | E | 0.032 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.325 | 0.24749 | 1.325 | 0.35 | 0.25945
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-04-25 | ug/L | 1.15 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.064 | ACETATE,_PROPYL | . | 0.032 | 0.0736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.325 | 0.24749 | 1.325 | 0.35 | 0.25945
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-08-14 | ug/L | 0.93388 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.0484 | ACETATE,_PROPYL | . | 0.032 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93388 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93113 | 0.0038959 | 0.93113 | 0.0055096 | 0.0040842
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-09-24 | ug/L | 0.92837 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.0726 | ACETATE,_PROPYL | . | 0.032 | 0.0674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92837 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93113 | 0.0038959 | 0.93113 | 0.0055096 | 0.0040842
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-04-30 | ug/L | 0.975 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.064 | ACETATE,_PROPYL | . | 0.032 | 0.0624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.975 |  | 0.975 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-07-23 | ug/L | 1.2969 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.128 | ACETATE,_PROPYL | . | 0.032 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2969 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3258 | 0.04088 | 1.3258 | 0.057813 | 0.042856
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-09-11 | ug/L | 1.3547 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.064 | ACETATE,_PROPYL | . | 0.032 | 0.0867 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3547 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3258 | 0.04088 | 1.3258 | 0.057813 | 0.042856
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-12-13 | ug/L | 1.1281 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.064 | ACETATE,_PROPYL | E | 0.032 | 0.0722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1281 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1281 |  | 1.1281 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-05-20 | ug/L | 1.1494 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.0482 | ACETATE,_PROPYL | . | 0.032 | 0.0554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1494 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0685 | 0.11443 | 1.0685 | 0.16183 | 0.11996
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-06-26 | ug/L | 0.98755 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.1205 | ACETATE,_PROPYL | . | 0.032 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98755 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0685 | 0.11443 | 1.0685 | 0.16183 | 0.11996
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-06-16 | ug/L | 0.88105 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.0723 | ACETATE,_PROPYL | . | 0.032 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88105 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89696 | 0.022494 | 0.89696 | 0.031812 | 0.023582
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-06-25 | ug/L | 0.91286 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.1205 | ACETATE,_PROPYL | . | 0.032 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91286 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89696 | 0.022494 | 0.89696 | 0.031812 | 0.023582
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-05-14 | ug/L | 1.0664 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.0723 | ACETATE,_PROPYL | . | 0.032 | 0.0771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0664 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0664 |  | 1.0664 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-08-24 | ug/L | 0.74931 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.0726 | ACETATE,_PROPYL | . | 0.032 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74931 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74931 |  | 0.74931 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-05-07 | ug/L | 0.92969 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.128 | ACETATE,_PROPYL | . | 0.032 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92969 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92969 |  | 0.92969 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-06-06 | ug/L | 1.1953 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.128 | ACETATE,_PROPYL | . | 0.032 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1953 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2539 | 0.082864 | 1.2539 | 0.11719 | 0.08687
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-07-30 | ug/L | 1.3125 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.064 | ACETATE,_PROPYL | . | 0.032 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3125 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2539 | 0.082864 | 1.2539 | 0.11719 | 0.08687
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-09-06 | ug/L | 1.5266 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.064 | ACETATE,_PROPYL | . | 0.032 | 0.0977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5266 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.5266 |  | 1.5266 | 0 | 0
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-06-17 | ug/L | 1.4766 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.064 | ACETATE,_PROPYL | . | 0.032 | 0.0945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4766 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3555 | 0.17125 | 1.3555 | 0.24219 | 0.17953
ACETATE, PROPYL | 4437 | 45022GM016 | 2014-08-20 | ug/L | 1.2344 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.128 | ACETATE,_PROPYL | . | 0.032 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2344 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3555 | 0.17125 | 1.3555 | 0.24219 | 0.17953
ACETATE, PROPYL | 4437 | 45022GM016 | 2015-03-19 | ug/L | 1.8047 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.128 | ACETATE,_PROPYL | E | 0.032 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8047 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.8047 |  | 1.8047 | 0 | 0