## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACROLEIN | 4437 | 34210GM016 | 2014-06-07 | ug/L | 2.7801 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 0.9604 | ACROLEIN | E | 0.24 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
ACROLEIN | 4437 | 34210GM016 | 2015-06-16 | ug/L | 0.68889 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 4.5 | ACROLEIN | E | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68889 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74444 | 0.078567 | 0.74444 | 0.11111 | 0.082366
ACROLEIN | 4437 | 34210GM016 | 2015-06-25 | ug/L | 0.8 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 7.5 | ACROLEIN | E | 2 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74444 | 0.078567 | 0.74444 | 0.11111 | 0.082366
ACROLEIN | 4437 | 34210GM016 | 2014-09-06 | ug/L | 0.91628 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 0.4802 | ACROLEIN | E | 0.24 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91628 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.91628 |  | 0.91628 | 0 | 0
ACROLEIN | 4437 | 34210GM016 | 2014-06-17 | ug/L | 1.0183 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.4802 | ACROLEIN | E | 0.24 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0183 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8611 | 0.22235 | 0.8611 | 0.31445 | 0.2331
ACROLEIN | 4437 | 34210GM016 | 2014-08-20 | ug/L | 0.70387 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.9604 | ACROLEIN | E | 0.24 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70387 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8611 | 0.22235 | 0.8611 | 0.31445 | 0.2331
ACROLEIN | 4437 | 34210GM016 | 2015-03-19 | ug/L | 0.20825 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.9604 | ACROLEIN | E | 2 | 0.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.20825 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Estimated Values | Y | 1 | [5 empty] | 1 | 0.20825 |  | 0.20825 | 0 | 0
ACROLEIN | 4437 | 34210GM016 | 2015-07-30 | ug/L | 0.82222 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 4.5 | ACROLEIN | E | 2 | 3.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82222 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82222 |  | 0.82222 | 0 | 0