## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTANOL | 4437 | 77034GM016 | 2014-07-03 | ug/L | 0.95238 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 3.192 | BUTANOL | . | 0.8 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95238 |  | 0.95238 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2015-01-10 | ug/L | 0.96513 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 3.212 | BUTANOL | . | 0.8 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96513 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0336 | 0.096864 | 1.0336 | 0.13699 | 0.10155
BUTANOL | 4437 | 77034GM016 | 2015-04-25 | ug/L | 1.1021 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 1.606 | BUTANOL | . | 0.8 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1021 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0336 | 0.096864 | 1.0336 | 0.13699 | 0.10155
BUTANOL | 4437 | 77034GM016 | 2015-09-24 | ug/L | 0.95159 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 1.797 | BUTANOL | . | 0.8 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95159 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95159 |  | 0.95159 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2014-05-20 | ug/L | 0.78321 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 1.596 | BUTANOL | . | 0.8 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78321 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80357 | 0.028798 | 0.80357 | 0.040727 | 0.03019
BUTANOL | 4437 | 77034GM016 | 2014-07-11 | ug/L | 0.82393 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 3.192 | BUTANOL | . | 0.8 | 2.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82393 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80357 | 0.028798 | 0.80357 | 0.040727 | 0.03019
BUTANOL | 4437 | 77034GM016 | 2014-06-07 | ug/L | 1.0558 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 3.192 | BUTANOL | . | 0.8 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0558 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95081 | 0.14842 | 0.95081 | 0.2099 | 0.1556
BUTANOL | 4437 | 77034GM016 | 2014-11-22 | ug/L | 0.84586 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 1.596 | BUTANOL | E | 0.8 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84586 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.95081 | 0.14842 | 0.95081 | 0.2099 | 0.1556
BUTANOL | 4437 | 77034GM016 | 2015-05-20 | ug/L | 1.381 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 1.202 | BUTANOL | E | 0.8 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.381 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2113 | 0.24002 | 1.2113 | 0.33943 | 0.25162
BUTANOL | 4437 | 77034GM016 | 2015-06-26 | ug/L | 1.0416 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 3.005 | BUTANOL | E | 0.8 | 3.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0416 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.2113 | 0.24002 | 1.2113 | 0.33943 | 0.25162
BUTANOL | 4437 | 77034GM016 | 2015-06-16 | ug/L | 0.75984 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 1.803 | BUTANOL | . | 0.8 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75984 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85247 | 0.13099 | 0.85247 | 0.18525 | 0.13732
BUTANOL | 4437 | 77034GM016 | 2015-06-25 | ug/L | 0.94509 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 3.005 | BUTANOL | . | 0.8 | 2.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94509 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85247 | 0.13099 | 0.85247 | 0.18525 | 0.13732
BUTANOL | 4437 | 77034GM016 | 2015-05-14 | ug/L | 1.1093 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 1.803 | BUTANOL | . | 0.8 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1093 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1093 |  | 1.1093 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2014-10-21 | ug/L | 0.82814 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 1.606 | BUTANOL | . | 0.8 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82814 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82814 |  | 0.82814 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2014-08-13 | ug/L | 0.97136 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 3.212 | BUTANOL | . | 0.8 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97136 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97136 |  | 0.97136 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2014-09-06 | ug/L | 1.3387 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 1.606 | BUTANOL | . | 0.8 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3387 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3387 |  | 1.3387 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2015-08-24 | ug/L | 0.72343 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 1.797 | BUTANOL | . | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72343 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72343 |  | 0.72343 | 0 | 0
BUTANOL | 4437 | 77034GM016 | 2014-06-06 | ug/L | 1.0276 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 3.192 | BUTANOL | . | 0.8 | 3.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0276 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94612 | 0.11519 | 0.94612 | 0.16291 | 0.12076
BUTANOL | 4437 | 77034GM016 | 2014-07-30 | ug/L | 0.86466 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 1.596 | BUTANOL | . | 0.8 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86466 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94612 | 0.11519 | 0.94612 | 0.16291 | 0.12076
BUTANOL | 4437 | 77034GM016 | 2014-09-06 | ug/L | 1.2267 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 1.606 | BUTANOL | . | 0.8 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2267 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2267 |  | 1.2267 | 0 | 0