## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-07-23 | ug/L | 0.90571 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 4.836 | CYCLOHEXANONE | . | 1.2 | 4.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90571 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84367 | 0.08773 | 0.84367 | 0.12407 | 0.091971
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-09-11 | ug/L | 0.78164 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 2.418 | CYCLOHEXANONE | . | 1.2 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78164 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84367 | 0.08773 | 0.84367 | 0.12407 | 0.091971
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-12-13 | ug/L | 0.88089 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 2.418 | CYCLOHEXANONE | . | 1.2 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88089 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88089 |  | 0.88089 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-05-20 | ug/L | 0.88916 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 2.418 | CYCLOHEXANONE | . | 1.2 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88916 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96567 | 0.1082 | 0.96567 | 0.15302 | 0.11343
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-07-11 | ug/L | 1.0422 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 4.836 | CYCLOHEXANONE | . | 1.2 | 5.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0422 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96567 | 0.1082 | 0.96567 | 0.15302 | 0.11343
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-06-07 | ug/L | 0.95868 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 4.84 | CYCLOHEXANONE | . | 1.2 | 4.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95868 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94628 | 0.017532 | 0.94628 | 0.024793 | 0.018379
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-11-22 | ug/L | 0.93388 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 2.42 | CYCLOHEXANONE | . | 1.2 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93388 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94628 | 0.017532 | 0.94628 | 0.024793 | 0.018379
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-05-20 | ug/L | 0.91946 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 1.8054 | CYCLOHEXANONE | . | 1.2 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91946 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84967 | 0.098699 | 0.84967 | 0.13958 | 0.10347
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-06-26 | ug/L | 0.77988 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 4.5135 | CYCLOHEXANONE | . | 1.2 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77988 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84967 | 0.098699 | 0.84967 | 0.13958 | 0.10347
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-05-14 | ug/L | 1.0252 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 2.7018 | CYCLOHEXANONE | . | 1.2 | 2.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0252 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0252 |  | 1.0252 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-10-21 | ug/L | 0.80232 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 2.418 | CYCLOHEXANONE | . | 1.2 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80232 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80232 |  | 0.80232 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-08-13 | ug/L | 1.0112 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 4.836 | CYCLOHEXANONE | . | 1.2 | 4.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0112 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0112 |  | 1.0112 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-09-06 | ug/L | 1.1983 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 2.42 | CYCLOHEXANONE | . | 1.2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1983 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1983 |  | 1.1983 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-08-24 | ug/L | 0.87719 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 2.7018 | CYCLOHEXANONE | . | 1.2 | 2.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87719 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87719 |  | 0.87719 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-05-07 | ug/L | 0.84781 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 4.836 | CYCLOHEXANONE | . | 1.2 | 4.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84781 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84781 |  | 0.84781 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-06-17 | ug/L | 1.0413 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 2.42 | CYCLOHEXANONE | . | 1.2 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0475 | 0.0087658 | 1.0475 | 0.012397 | 0.0091895
CYCLOHEXANONE | 4437 | 77097GM016 | 2014-08-20 | ug/L | 1.0537 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 4.84 | CYCLOHEXANONE | . | 1.2 | 5.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0537 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0475 | 0.0087658 | 1.0475 | 0.012397 | 0.0091895
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-03-19 | ug/L | 1.1074 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 4.84 | CYCLOHEXANONE | . | 1.2 | 5.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1074 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1074 |  | 1.1074 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-05-05 | ug/L | 0.96047 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 1.8012 | CYCLOHEXANONE | . | 1.2 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96047 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96047 |  | 0.96047 | 0 | 0
CYCLOHEXANONE | 4437 | 77097GM016 | 2015-07-30 | ug/L | 0.78096 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 2.7018 | CYCLOHEXANONE | . | 1.2 | 2.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78096 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78096 |  | 0.78096 | 0 | 0