## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-07-03 | ug/L | 0.98684 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 14.592 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 14.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98684 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98684 |  | 0.98684 | 0 | 0
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-01-10 | ug/L | 1.0326 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 14.72 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 15.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0326 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.019 | 0.019215 | 1.019 | 0.027174 | 0.020144
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-04-25 | ug/L | 1.0054 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 7.36 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 7.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0054 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.019 | 0.019215 | 1.019 | 0.027174 | 0.020144
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-08-14 | ug/L | 0.68784 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 9.29 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 6.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68784 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77808 | 0.12762 | 0.77808 | 0.18048 | 0.13379
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-09-24 | ug/L | 0.86832 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 13.935 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 12.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86832 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77808 | 0.12762 | 0.77808 | 0.18048 | 0.13379
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-05-20 | ug/L | 1.3062 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 7.296 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 9.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3062 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1499 | 0.22097 | 1.1499 | 0.3125 | 0.23165
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-07-11 | ug/L | 0.9937 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 14.592 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 14.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9937 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1499 | 0.22097 | 1.1499 | 0.3125 | 0.23165
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-06-07 | ug/L | 0.95258 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 14.592 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 13.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95258 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92105 | 0.044582 | 0.92105 | 0.063048 | 0.046737
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-11-22 | ug/L | 0.88953 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 7.296 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 6.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88953 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92105 | 0.044582 | 0.92105 | 0.063048 | 0.046737
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-06-16 | ug/L | 0.63162 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 13.98 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 8.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63162 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69993 | 0.096608 | 0.69993 | 0.13662 | 0.10128
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-06-25 | ug/L | 0.76824 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 23.3 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 17.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76824 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69993 | 0.096608 | 0.69993 | 0.13662 | 0.10128
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-10-21 | ug/L | 1.1141 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 7.36 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 8.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1141 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1141 |  | 1.1141 | 0 | 0
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-08-13 | ug/L | 0.97147 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 14.72 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 14.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97147 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97147 |  | 0.97147 | 0 | 0
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-09-06 | ug/L | 1.3546 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 7.36 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 9.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3546 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3546 |  | 1.3546 | 0 | 0
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-06-06 | ug/L | 0.9937 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 14.592 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 14.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9937 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0204 | 0.037798 | 1.0204 | 0.053454 | 0.039625
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-07-30 | ug/L | 1.0471 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 7.296 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 7.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0471 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0204 | 0.037798 | 1.0204 | 0.053454 | 0.039625
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2014-09-06 | ug/L | 1.2011 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 7.36 | DIETHYLAMINE,_N-NITROSO- | . | 3.6 | 8.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2011 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2011 |  | 1.2011 | 0 | 0
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-05-05 | ug/L | 1.0764 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 9.29 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 10 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0764 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0764 |  | 1.0764 | 0 | 0
DIETHYLAMINE, N-NITROSO- | 4437 | 78200GM016 | 2015-07-30 | ug/L | 0.76538 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 13.98 | DIETHYLAMINE,_N-NITROSO- | . | 6.2 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76538 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76538 |  | 0.76538 | 0 | 0