## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-03 | ug/L | 0.77056 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77056 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77056 |  | 0.77056 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-01-10 | ug/L | 0.81761 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 6.36 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81761 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85063 | 0.046696 | 0.85063 | 0.066038 | 0.048953
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-04-25 | ug/L | 0.88365 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88365 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85063 | 0.046696 | 0.85063 | 0.066038 | 0.048953
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-08-14 | ug/L | 0.85346 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 2.402 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85346 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85554 | 0.0029438 | 0.85554 | 0.0041632 | 0.0030861
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-09-24 | ug/L | 0.85762 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 3.603 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 3.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85762 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85554 | 0.0029438 | 0.85554 | 0.0041632 | 0.0030861
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-05-20 | ug/L | 0.70621 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 3.186 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70621 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78782 | 0.11541 | 0.78782 | 0.16321 | 0.12099
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-15 | ug/L | 0.86943 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 5.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86943 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78782 | 0.11541 | 0.78782 | 0.16321 | 0.12099
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-06-07 | ug/L | 0.77997 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77997 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.707 | 0.1032 | 0.707 | 0.14595 | 0.10819
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-11-22 | ug/L | 0.63402 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 3.186 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63402 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.707 | 0.1032 | 0.707 | 0.14595 | 0.10819
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-06-16 | ug/L | 0.81667 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 3.6 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78583 | 0.043605 | 0.78583 | 0.061667 | 0.045713
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-06-25 | ug/L | 0.755 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 6 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.78583 | 0.043605 | 0.78583 | 0.061667 | 0.045713
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-11-13 | ug/L | 0.80189 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80189 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80189 |  | 0.80189 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-08-13 | ug/L | 0.75629 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 6.36 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75629 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75629 |  | 0.75629 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-09-06 | ug/L | 1.0723 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 3.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0723 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0723 |  | 1.0723 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-06-06 | ug/L | 0.67326 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67326 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69758 | 0.034401 | 0.69758 | 0.04865 | 0.036064
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-30 | ug/L | 0.72191 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 3.186 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72191 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69758 | 0.034401 | 0.69758 | 0.04865 | 0.036064
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-09-06 | ug/L | 0.91195 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91195 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.91195 |  | 0.91195 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-05-05 | ug/L | 1.2698 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 2.402 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2698 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2698 |  | 1.2698 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2015-07-30 | ug/L | 0.81667 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 3.6 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0