## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPHORONE | 4437 | 34408GM016 | 2014-07-03 | ug/L | 1.2298 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 20.004 | ISOPHORONE | . | 5 | 24.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2298 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2298 |  | 1.2298 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2015-01-10 | ug/L | 1.0048 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 20.004 | ISOPHORONE | . | 5 | 20.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0048 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9858 | 0.026865 | 0.9858 | 0.037992 | 0.028163
ISOPHORONE | 4437 | 34408GM016 | 2015-04-25 | ug/L | 0.96681 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 10.002 | ISOPHORONE | . | 5 | 9.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96681 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9858 | 0.026865 | 0.9858 | 0.037992 | 0.028163
ISOPHORONE | 4437 | 34408GM016 | 2015-08-14 | ug/L | 0.59019 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 7.54 | ISOPHORONE | . | 5 | 4.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59019 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67308 | 0.11723 | 0.67308 | 0.16578 | 0.12289
ISOPHORONE | 4437 | 34408GM016 | 2015-09-24 | ug/L | 0.75597 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 11.31 | ISOPHORONE | . | 5 | 8.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75597 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67308 | 0.11723 | 0.67308 | 0.16578 | 0.12289
ISOPHORONE | 4437 | 34408GM016 | 2014-04-30 | ug/L | 0.79684 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 10.002 | ISOPHORONE | . | 5 | 7.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79684 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79684 |  | 0.79684 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2014-07-23 | ug/L | 1.1298 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 20.004 | ISOPHORONE | . | 5 | 22.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1298 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92232 | 0.29339 | 0.92232 | 0.41492 | 0.30757
ISOPHORONE | 4437 | 34408GM016 | 2014-09-11 | ug/L | 0.71486 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 10.002 | ISOPHORONE | . | 5 | 7.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71486 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92232 | 0.29339 | 0.92232 | 0.41492 | 0.30757
ISOPHORONE | 4437 | 34408GM016 | 2014-12-13 | ug/L | 1.2178 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 10.018 | ISOPHORONE | . | 5 | 12.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2178 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2178 |  | 1.2178 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2015-05-20 | ug/L | 1.0986 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 7.546 | ISOPHORONE | . | 5 | 8.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0986 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97601 | 0.17336 | 0.97601 | 0.24516 | 0.18174
ISOPHORONE | 4437 | 34408GM016 | 2015-06-26 | ug/L | 0.85343 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 18.865 | ISOPHORONE | . | 5 | 16.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85343 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97601 | 0.17336 | 0.97601 | 0.24516 | 0.18174
ISOPHORONE | 4437 | 34408GM016 | 2015-06-16 | ug/L | 0.83135 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 11.319 | ISOPHORONE | . | 5 | 9.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83135 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84239 | 0.015618 | 0.84239 | 0.022087 | 0.016373
ISOPHORONE | 4437 | 34408GM016 | 2015-06-25 | ug/L | 0.85343 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 18.865 | ISOPHORONE | . | 5 | 16.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85343 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84239 | 0.015618 | 0.84239 | 0.022087 | 0.016373
ISOPHORONE | 4437 | 34408GM016 | 2015-05-14 | ug/L | 1.0248 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 11.319 | ISOPHORONE | . | 5 | 11.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0248 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0248 |  | 1.0248 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2015-08-24 | ug/L | 0.83554 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 11.31 | ISOPHORONE | . | 5 | 9.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83554 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83554 |  | 0.83554 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2014-05-07 | ug/L | 1.2378 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 20.036 | ISOPHORONE | . | 5 | 24.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2378 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2378 |  | 1.2378 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2014-06-06 | ug/L | 1.2527 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 20.036 | ISOPHORONE | . | 5 | 25.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2527 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.405 | 0.21528 | 1.405 | 0.30445 | 0.22569
ISOPHORONE | 4437 | 34408GM016 | 2014-07-30 | ug/L | 1.5572 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 10.018 | ISOPHORONE | E | 5 | 15.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5572 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.405 | 0.21528 | 1.405 | 0.30445 | 0.22569
ISOPHORONE | 4437 | 34408GM016 | 2014-09-06 | ug/L | 1.4174 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 10.018 | ISOPHORONE | . | 5 | 14.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4174 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4174 |  | 1.4174 | 0 | 0
ISOPHORONE | 4437 | 34408GM016 | 2014-06-17 | ug/L | 1.1798 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 10.002 | ISOPHORONE | . | 5 | 11.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1798 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1898 | 0.014139 | 1.1898 | 0.019996 | 0.014823
ISOPHORONE | 4437 | 34408GM016 | 2014-08-20 | ug/L | 1.1998 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 20.004 | ISOPHORONE | . | 5 | 24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1998 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1898 | 0.014139 | 1.1898 | 0.019996 | 0.014823
ISOPHORONE | 4437 | 34408GM016 | 2015-03-19 | ug/L | 1.2128 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 20.036 | ISOPHORONE | . | 5 | 24.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2128 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2128 |  | 1.2128 | 0 | 0